PAGE  
21

Table 1. Comparison of retention time (tR), peak half width (W0.5) and resolution (Rs) of d(pT)12-18 fragments on strong anion-exchange DVB-GMD-based monolith (100 x 3 mm I.D.).  Mobile phase, A : 0.02 mol/l sodium phosphate (pH's 7, 8, & 9, 20% acetonitrile); B: mobile phase A + 1.0 mol/l sodium chloride; gradient, 23-30% B in 4 minutes, then to 35% in 10 minutes; flow-rate, 2 ml/min; temperature, 25 oC; sample, 5.0 μg d(pT)12-18. 
	Fragment
	7
	8
	9

	
	tR
	W0.5
	Rs
	tR
	W0.5
	Rs
	tR
	W0.5
	Rs

	d(pT)12
	1.91
	0.50
	1.46
	1.34
	0.37
	1.05
	1.45
	0.41
	1.17

	d(pT)13
	3.16
	0.51
	1.35
	2.16
	0.56
	1.21
	2.36
	0.51
	1.18

	d(pT)14
	4.62
	0.77
	1.20
	3.40
	0.66
	1.21
	3.63
	0.76
	1.18

	d(pT)15
	6.13
	0.73
	1.20
	4.77
	0.68
	1.19
	5.02
	0.64
	1.05

	d(pT)16
	7.64
	0.77
	1.21
	6.15
	0.69
	1.19
	6.21
	0.70
	1.31

	d(pT)17
	9.18
	0.74
	1.15
	7.51
	0.67
	1.09
	7.71
	0.66
	1.09

	d(pT)18
	10.68
	0.80
	-
	8.89
	0.83
	-
	9.02
	0.77
	-


