Complex Formation in a Liquid-Liquid Extraction System Containing Co(II),

4-(2-Thiazolylazo)resorcinol and Monotetrazolium Salt

Vidka Divarova1, Kirila Stojnova2, Petya Racheva1 and Vanya Lekova2*

1 Department of Chemistry and Biochemistry, Faculty of Pharmacology, Medical University Plovdiv, 15A Vasil Aprilov Boulevard, Plovdiv 4002, Bulgaria

2 Department of General and Inorganic Chemistry, Faculty of Chemistry, Plovdiv University ”Paisii Hilendarski”, 24 Tsar Assen Street, Plovdiv 4000, Bulgaria

* Corresponding author: Vanya Lekova, e-mail: vanlek@uni-plovdiv.bg, tel.:+35932261420

Abstract

The ion-associated complex formed between anionic chelate of Co(II)–4-(2-Thiazolylazo)resorcinol (TAR) with the monotetrazolium cation of 2-(4-Iodophenyl)-3-(4-nitrophenyl)-5-phenyl-2H-tetrazolium chloride (INT) in the liquid-liquid extraction system Co(II)–TAR–INT–H2O–CHCl3 was studied by the spectrophotometric method. The optimum extraction conditions of Co(II) were found. The extraction equilibria were studied. The equilibrium constants, the recovery factor and some analytical characteristics were calculated. The validity of Beer’s law was checked. The molar ratio of the components in the ternary ion-associated complex Co(II)–TAR–INT was determined. The general formula of the complex was suggested. The effect of various foreign ions and reagents on the process of complex formation in the liquid-liquid extraction system was studied.

Keywords: complex formation; ion-associated chelate; extraction equilibria; UV-Vis spectroscopy

1. Introduction

The cobalt refers to a group of essential biochemical elements. One of cobalt containing complexes compounds is Vitamin B12. It participates in the synthesis of the hemoglobin and affects the protein and lipid metabolism. Cobalt deficiency can lead to hematologic, neuropsychiatric and cardiovascular disorders. The excessive consumption of cobalt with the food can lead to seriously toxicological poisoning. 1-4 Cobalt is a typical transition and complex formation metal. The complexes of cobalt with chelate formation ligands, containing N and O donor atoms have industrial, biological, pharmacological and medical applications. 5-9 Complex formation with azo derivatives of resorcinol through phenolic oxygen, azo nitrogen and thiazolyl or pyridylazo nitrogen, produces colored chelates with metal cations. 10-17 Tetrazolium salts are used as reagents for the extraction-spectrophotometric determination of metals, e.g. Mo(VI), W(VI), Ge(IV), Tl(III), Nb(V), V(IV), V(V), Ga(III). 18-25 The preparation and application of ion-associated complexes formed between anionic chelates of metals with various natural organic and inorganic ligands with N- and O-containing donor atoms and with the participation of mono and ditetrazolium cations is a special scientific research field of the Chemistry of the Coordination Compounds. It is up-to-date topic, not only as a theoretical background for the preparation of novel ion-associated complexes, but mainly concerning the possibility of their application in the Analytical Chemistry for determination of various metals in natural, industrial, pharmaceutical and biological samples, addressing in such a way a number of ecological issues. In our previous research the ion associates of cobalt(II) by spectrophotometric investigation of eight different liquid-liquid extraction systems were described. 26-29 The extraction equilibria were characterized quantitatively (association constant, distribution constant, extraction constant and recovery factor) and the analytical characteristics (molar absorptivity, Sandell’s sensitivity, adherence to Beer’s Law, limit of detection, limit of quantification) were calculated. The present work is a part of thorough and comprehensive study on the ion-associated complexes of cobalt(II) with azo derivatives of resorcinol and mono- or ditetrazolium salts.

The aim of this research is to study the extraction equilibria of complex formation between of anionic chelate of Co(II)‒4-(2-Thiazolylazo)resorcinol (TAR) with the tetrazolium cation of 2-(4-Iodophenyl)-3-(4-nitrophenyl)-5-phenyl-2H-tetrazolium chloride (INT) in the liquid-liquid system Co(II)–TAR–INT–H2O–CHCl3. The purpose is an application of the system for determination of cobalt in alloys, biological, medical and pharmaceutical formulations.

2. Experimental

2.1. Reagents and apparatus

- CoSO4 × 7H2O (Sigma-Aldrich, p. a.), 1000 mg L‒1 aqueous solution.

Working solution (CCo(II) = 1.7 × 10‒4 mol L‒1) was prepared by dilution.

- 4-(2-Thiazolylazo)resorcinol (TAR) (97%, Sigma-Aldrich), dissolved in slightly alkalized distilled water, CTAR = 2 × 10‒3 mol L‒1.

- 2-(4-Iodophenyl)-3-(4-nitrophenyl)-5-phenyl-2H-tetrazolium chloride (INT) (Sigma-Aldrich Chemie GMBH) – 2.0 × 10‒3 mol L‒1 aqueous solution.

- The acidity of the aqueous medium was set using the buffer solution prepared by mixing 2.0 mol L‒1 aqueous solutions of CH3COOH and NH4OH.

- The pH was checked by HI 83140 pH meter (Romania).

- A Camspec M508 spectrophotometer (United Kingdom), equipped with 10 mm path length cells, was employed for reading the absorbance.

- Organic solvent – CHCl3 (additionally distilled).

2.2. Procedure for Establishing the Optimum Extraction-Spectrophotometric Conditions

Aliquots of Co(II) solution, TAR solution, INT solution and buffer solution (pH = 3.0 ÷ 6.5) were introduced into separatory funnels. The resulting solutions were diluted with distilled water to a total volume of 10 mL. Then 10 mL of chloroform was added and the funnels were shaken. A portion of the organic extract was filtered through a filter paper into a cell and the absorbance was read against a blank. 28, 29

2.3. Procedure for Determination of the Distribution Constant

In order to determine the distribution constant KD, it is necessary to measure the light absorbance А1 and А3, which are respectively the light absorbance after a single extraction in chloroform under optimum operating conditions and after a triple extraction performed under the same conditions. The goal of these measurements is to calculate the distribution constant KD based on the ratio KD = A1 / (A3 – A1). Single extraction: the single extraction is conducted with 10 ml of chloroform. After the separation of the two phases, the organic extract is transferred into a 25 ml calibrated flask which is brought to volume with chloroform. The measurement of the light absorbance А1 is done against a blank sample, performed under the same conditions. Triple extraction: the first stage of the triple extraction is performed with 10 ml of chloroform and the extract is transferred into a 25 ml calibrated flask. During the second stage of the extraction, 8 ml of chloroform are added to the aqueous phase remaining after the first stage. The organic layer is added to those from the first stage. For the third stage of extraction, 7 ml of chloroform are added to the aqueous phase remaining after the second stage and for the third time an extraction is performed. The organic layer is transferred to the previous two. The calibrated flask is brought to volume with chloroform. The measurement of A3 is performed against a blank sample prepared in the same way.

3. Results and Discussion

3.1. Optimum Extraction-Spectrophotometric Conditions

The absorption spectra of the extract of the research ternary ion-associated complex Co–TAR–INT in CHCl3 was characterized by an absorption maximum in the visible range (λmax = 520 nm) (Figure 1). The acidity of the aqueous phase is the most important factor influencing on the extraction of the anionic chelate Co(II)–TAR into the organic phase as an ion-associated complex. The maximum and constant extraction of the ion-associated complex was achieved in the pH range from 4.5 to 5.5 (Figure 2). Acetate buffer solution with pH = 5.0 in all further experiments was used. The conducted experiments showed that the extraction equilibrium can be achieved within less than 60 s. The prolonged shaking doesn't have an impact on the absorbance. The next experiments were performed for 3 min. The chelate formation of Co(II)–TAR requires 5.9–fold excess of TAR (1.0 × 10–4 mol L‒1) and 9.4–fold excess of INT (1.6 × 10–4 mol L‒1) for a maximum association and extraction.

The optimum experimental conditions for the extraction of the ion-associated complex are shown in Table 1 column 1.

Figure 1. Absorption spectra of the complex Co–TAR–INT and

the blank TAR–INT in CHCl3; CCo(II) =1.7 × 10–5 mol L–1;

CTAR=1.8 × 10–4 mol L–1; CINT = 2.0 × 10–4 mol L–1;

pH = 5.0; l = 1 cm

Figure 2. Absorbance of Co–TAR–INT extract against TAR-INT

extract and absorbance of TAR–INT against CHCl3 vs. pH of

the aqueous phase plots

CCo(II) = 1.7 × 10–5 mol L–1; CTAR=2.0 × 10–4 mol L–1;

CINT =2.0 × 10–4 mol L–1

Table 1. Optimum extraction-spectrophotometric conditions

and analytical characteristics of the system Со(II)–ТAR–INT–H2O–CHCl3

| Optimum conditions | Analytical characteristic |
| --- | --- |
| Absorption maximum (λmax) 520 nm | Apparent molar absorptivity (εꞌ) (5.2 ± 0.2) × 104 L mol–1cm–1 |
| Volume of the aqueous phase 10 cm3 | True molar absorptivity (ε) (5.4 ± 0.2) × 104 L mol–1cm–1 |
| Volume of the organic phase 10 cm3 | Sandell’s sensitivity (SS) 1.14 ng cm‒2 |
| pH of the aqueous phase 5.0 | Adherence to Beer’s Law up to 2.00 μg cm‒3 |
| Shaking time (τ) 3 min | Relative standart deviation (RSD) 3.6% |
| Concentration of TAR 1.8 × 10–4 mol L‒1 | Limit of detection (LOD) 0.10 μg cm‒3 |
| Concentration of INT 2.0 × 10–4 mol L‒1 | Limit of quantification (LOQ) 0.34 μg cm‒3 |

3.2. Beer’s Law and Analytical Characteristics

Under the optimum conditions for complex formation, by using regression analysis, was studied the range of adherence to Beer’s Law – the linear relationship between cobalt concentration in aqueous phase and the absorbance of the ion-association complex in the organic phase after extraction. The equation of a straight line was found Y = 0.8474 X + 0.0207 with a correlation coefficient squared 0.9978 and other analytical characteristics e.g. apparent molar absoptivity εꞌ, adherence to Beer’s Law, Sandell’s sensitivity, limit of detection, limit of quantification are shown in Table 1, column 2.

3.3. Molar Ratios of the Complex

The mobile equilibrium method and the straight-line method of Asmus were applied to prove the molar ratio Co–TAR and Co–INT. 30 The results of application of the two independent methods are shown in Figure 3 and Figure 4, respectively. On the basis of the studies can be concluded that Co(II), TAR and INT interact in molar ratio 1:2:1.

Figure 3. Straight lines by the mobile equilibrium method for

determination of the molar ratios

Co : INT and Co : TAR (CCo(II) = 1.7 × 10–5 mol L–1)

● Co : INT, CTAR = 1.8 × 10–4 mol L–1;

■ Co : TAR, CINT = 2.0 × 10–4 mol L–1

Figure 4. Determination of the molar ratio (n) by

the method of Asmus: CCo(II) = 1.7 × 10–5 mol L–1

● Co(II) : INT CTAR = 1.8 × 10–4 mol L–1 n = 1;

■ Co(II) : TAR CINT = 2.0 × 10–4 mol L–1 n = 2

3.4. Reaction Scheme, Suggested General Formula, Extraction Equilibria and True Molar Absorptivity

In the pH range from 1.5 to 6.5, the reagent TAR is located in a molecular form (H2R). Deprotonation of TAR (HR–) starts at pH = 4.0 as a complete deprotonation (R2–) is achieved in the alkaline range – pH > 11. 31 The carried out experiments showed that the extraction of the ternary ion-associated complex Co(II)–TAR–INT was in the pH range 4.5 ÷ 5.5. Under these conditions, in the solution exists an equilibrium between the molecular form of TAR (H2R) and the monoprotonated form (HR–). Hence, the complex formation of anionic chelate Co(II)–TAR is given by the equation (1):

Having in mind the indicated above molar ratio and the reaction of chelate formation of Co(II)–TAR, it can be suggested that the formation of ion-association complex in the aqueous phase, its distribution between the aqueous and the organic phase and its extraction in chloroform is given by the following equations (2 ÷ 4):

Therefore, the ion-associated complex chelate of Co(II)–TAR with INT can be represented by the general formula (INT)[Co(HR)R]. The association process in aqueous phase and extraction process were investigated and quantitatively characterized. The constants needed for the quantitative assessment of the equilibria were calculated as follows:

(i) the association constant β and the true molar absorptivity ε by the method of Komar – Tolmachev (Figure 5). 30 The value of the true molar absorptivity ε is shown in Table 1 column 2;

Figure 5. Dependency on (C.l/A) of A–n/(n+1)

(method of Komar–Tolmachev)

CСо(II) = CINT = C mol L–1; A – absorbance; n = 1; l = 1 cm

(ii) the distribution constant KD and the recovery factor R%:

KD = A1 / (A3 – A1);  R% = 100 KD / (KD + 1)

where A1 is the absorption for a single extraction, A3 – the absorption for a triple extraction;

(iii) the extraction constant Kex:

Kex = KD × β;	log Kex = log KD + log β

The values of the equilibrium constants and the recovery factor are presented in Table 2. The values indicate that the ternary ion-associated complex of the chelate Co(II)–TAR with INT, among this type of compounds, is characterized by sufficiently high stability and good extraction. Based on this, it can be concluded that the ion-associated complex of Co‒TAR‒INT can be successfully used for determination of cobalt in alloys, biological, medical and pharmaceutical formulations. For this purpose the effect of various foreign ions and reagents on the process of complex formation was studied.

Table 2. Values of the equilibrium constants and the recovery factor

| Equilibrium constant and recovery factor | Value |
| --- | --- |
| Equilibrium (2) - Association constant = {(INT) [Co(HR)R]}aq / {[INT] +aq [Co(HR)R]–aq} | log =(5.10 ± 0.24)a log =(5.16 ± 0.90)b |
| Equilibrium (3) - Distribution constant KD KD = {(INT)[Co(HR)R]}org / {(INT)[Co(HR)R]}aq | log KD = (1.25 ± 0.01) |
| Equilibrium (4) - Extraction constant Kex Kex = {(INT)[Co(HR)R]}org / {[INT] +aq [Co(HR)R]–aq} | log Kex = (6.35 ± 0.25)c log Kex = (6.41 ± 0.91)d |
| Recovery factor R% R%= 100 KD / (KD + 1) | R = (94.49 ± 0.05)% |

a Calculated by the Holme-Langmyhr method; 32

b Calculated by the Komar-Tolmachev method;

c Calculated by the formula Kex = KD × ;  is determined by the Holme-Langmihr method;

d Calculated by the formula Kex = KD × ;  is determined by the Komar-Tolmachev method.

3.5. Effect of Foreign Ions and Reagents on the Complex Formation

The effect of various foreign ions and reagents on the process of ion-association and complex formation between the anionic chelate Co(II)‒TAR and monotetrazolium cation was studied under optimum extraction conditions (Table 1, column 1). The concentration of Co(II) in the presence of the foreign ion was determined from the sequence of Beer’s Law. 30 For an interfering effect was accepted a deviation of ±3% from the absorbance of the complex in the absence of foreign ions or reagents. The results are presented in Table 3.

From the presented results it can be concluded that the most of cations studied do not interfere, but some of them, like Al(III), Fe(II), Fe(III), Cd(II), Zn(II), Ni(II), V(V) in concentrations higher than the indicated, hinder the extraction of Co(II) as an ternary associated complex with TAR and INT. Fe(II) is readily oxidized and the influence of the Fe(III) and Al(III) is removed after pre-precipitation with NH3. The separation of Co(II) from Cd(II) and Zn(II) is based upon the different sustainability of their dithizonates to acids. 33

Upon extraction with dithizone (pH=8), in the chloroform extract pass dithizonates of Cd(II), Zn(II) and Co(II). Upon subsequent pre-extraction with a solution of hydrochloric acid (pH=2÷3), the dithizonates of Cd(II) and Zn(II) are destroyed. 34 The organic layer is analyzed for Co(II) based on above-mentioned procedure. The interference of Cd(II) is removed by a pre-extraction with dithizone. 33 The extraction equilibrium is hindered by Ni(II) and V(V).

Table 3. Effect of foreign ions and reagents on the complex formation of

the ion-associate Co(II)–TAR–INT for extraction in the present of 5 μg Co(II)

| Foreign ion and reagent | Foreign ion and reagent, µg/10 cm3 aqueous phase | Со(ІІ) found, µg | R, % |
| --- | --- | --- | --- |
| Na+ | 10 000 | 4.98 | 99.56 |
| K+ | 10 000 | 4.97 | 99.52 |
| NH4+ | 10 000 | 5.13 | 102.52 |
| Mg2+ | 10 000 | 5.11 | 102.21 |
| Ca2+ | 10 000 | 5.07 | 101.38 |
| Sr2+ | 10 000 | 4.97 | 99.32 |
| Ba2+ | 2 500 | 5.10 | 101.92 |
| Al3+ | 50 | 5.21 | 104.24 |
| Cu2+ | 5 | 4.62 | 92.31 |
| Zn2+ | 50 | 4.27 | 85.38 |
| Cd2+ | 100 | 5.22 | 104.38 |
| Ni2+ | 50 | 3.51 | 70.22 |
| Fe2+ | 30 | 2.78 | 55.55 |
| Fe3+ | 10 | 6.69 | 133.81 |
| Mn2+ | 750 | 5.15 | 102.92 |
| Cr3+ | 30 | 5.18 | 103.64 |
| Cr(VI) | 500 | 4.74 | 94.82 |
| V(V) | 10 | 9.17 | 182.32 |
| V(IV) | 60 | 7.26 | 145.18 |
| Mo(VI) | 10 000 | 4.88 | 97.62 |
| W(VI) | 10 000 | 5.06 | 101.15 |
| F─ | 10 000 | 5.05 | 101.00 |
| Cl─ | 5 000 | 4.83 | 96.62 |
| NO3─ | 250 | 4.88 | 97.54 |
| SCN─ | 500 | 4.77 | 95.42 |
| SO42─ | 5 500 | 5.12 | 102.41 |
| PO43─ | 3 500 | 5.12 | 102.34 |
| S2O32‒ | 6 000 | 5.12 | 102.33 |
| C2O42─ | 9 000 | 4.91 | 98.17 |
| C6H5O73─ | 5 000 | 4.87 | 97.36 |
| C4H4O62─ | 1 000 | 4.76 | 95.17 |
| L – ascorbic acid | 500 | 5.21 | 104.15 |

4. Conclusion

The complex formation of anionic chelate of cobalt(II)–4-(2-thiazolylazo)resorcinol with the monotetrazolium cation of 2-(4-iodophenyl)-3-(4-nitrophenyl)-5-phenyl-2H-tetrazolium chloride (INT) was investigated by the extraction-spectrophotometry method. The colored anionic chelate complex Co(II)-TAR, in the presence of a monotetrazolium cation, forms well soluble in chloroform ion-associated complex. The optimum conditions for the formation and solvent extraction of the ion-associated chelate complex of Co(II) were established. The effect of various foreign ions and reagents on the process of complex formation was studied. The molar ratio of the components, determined by independent methods, shows that the ion-association complex could be represented with the general formula (INT)+[Co(HR)R]‒. From the values of the equilibrium constants, the recovery factor and the analytical characteristics of the ion-associated complex Co‒TAR‒INT it can be concluded that the availability of hydrophilic substitutes in the phenyl radicals of the tetrazolium salt INT stabilizes the ion-associate in the aqueous phase. The bulky organic molecule of INT determined the extractability of the ion-associated complex in organic phase.

5. References

- 1. R. S. Oh, D. L. Brown, Am. Fam. Physician 2003, 67, 979–986.

- 2. E. Rynolds, The Lancet Neurology 2006, 5, 949–960.

- 3. J. Gal, A. Hursthouse, P. Tarner, F. Stewart, R.Welton, Environ. Inter. 2008, 34, 821–838.

- 4. D. Perclova, M. Sklensky, P. Janicek, K. Lach, Clinical Toxicology 2012, 50, 262–265.

- 5. K. Singh, J. Enzyme Inhib. Med. Chem. 2006, 21, 557–562.

- 6. C. A. Jimenez, J. B. Belmar, J. Alderete, F.S. Deldago, M. Lopez-Rodriques, O. Pena, M. Julve, C. Ruiz-Perez, Dalton Trans. 2007, 21, 2135–2144.

- 7. E. L. Chang, C. Simmers, D. A. Knight, Pharmaceuticals 2010, 3, 1711–1728.

- 8. S. Sujarani, A. J. Ramu, Chem. Pharm. Res. 2013, 5, 347–358.

- 9. D. K. Patel, Int. J. ChemTech Res. 2014, 2, 1472–1477.

- 10. P. F. Gordon, P. Gregory: Organic chemistry in colour, Springer-Verlag, Berlin•Heidelberg•New York, 1987, pp. 116–121.

- 11. H. Yamamoto, M. Kawasaki, Bull. Chem. Soc. Jpn. 2007, 80, 595–607.

- 12. H. R. Hovind, Analyst 1975, 100, 769–796.

- 13. V. M. Ivanov, J. Anal. Chem. 2005, 60, 486–490.

- 14. V. A. Lemas, E. S. Santos, M. S. Santos, R. T. Yamaki, Microchim. Acta 2007, 158, 189–204.

- 15. O. Navratil, R. W. Rrei, Anal. Chim. Acta 1970, 52, 221–227.

- 16. F. Karipcin, E. Kabalcilar, S. Ilican, Y. Caglar, M. Caglar, Spectrochim. Acta 2009, A73, 174–180.

- 17. P. X. Baliza, S. L. C. Ferreira, L. S. G. Teixeira, Talanta 2009, 79, 2–9.

- 18. A. N. Dimitrov, V. D. Lekova, K. B. Gavazov, B. S. Boyanov, Cent. Eur. J. Chem. 2005, 3, 747–755.

- 19. K. B. Gavazov, V. D. Lekova, G. I. Patronov, Acta Chim. Slov. 2006, 53, 506–511.

- 20. V. D. Lekova, K. B. Gavazov, A. N. Dimitrov, Chem. Pap. 2006, 60, 283–287.

- 21. A N. Dimitrov, V. D. Lekova, K. B. Gavazov, B. S. Boyanov, J. Anal. Chem. 2007, 62, 122–125.

- 22. K. B. Gavazov, A. N. Dimitrov, V. D. Lekova, Russ. Chem. Rev. 2007, 76, 169–179.

- 23. V. D. Lekova, P. V. Racheva, K. T. Stojnova, A. N. Dimitrov, K. B. Gavazov, Cemija 2010, 21, 106–111.

- 24. P. V. Racheva, K. B. Gavazov, V. D. Lekova, A. N. Dimitrov, J. Anal. Chem. 2010, 65, 21–25.

- 25. K. T. Stojnova, K. B. Gavazov, V. D. Lekova, Acta Chim. Slov. 2013, 60, 390–396.

- 26. V. V. Divarova, K. B. Gavazov, V. D. Lekova, A. N. Dimitrov, Chemija 2013, 24, 81–87.

- 27. V. V. Divarova, P. V. Racheva, V. D. Lekova, K. B. Gavazov, A. N. Dimitrov, J. Chem. Technol. Metall. 2013, 48, 623–630.

- 28. V. V. Divarova, V. D. Lekova, P. V. Racheva, K. T. Stojnova, A. N. Dimitrov, Acta Chim. Slov. 2014, 61, 813–818.

- 29. V. V. Divarova, K. T. Stojnova, P. V. Racheva, V. D. Lekova, A. N. Dimitrov, J. Serb. Chem. Soc. 2015, 80, 179–186.

- 30. M. I. Bulatov, I. P. Kalinkin: Practival Handbook on Photometric Methods of Analysis, Khimiya, Leningrad, Russia, 1986 pp. 174‒264.

- 31. D. Nonova, B. Evtimova, Anall. Chem. Acta 1972, 62, 456–461.

- 32. A. Holme, F. J. Langmyhr, Anal. Chim. Acta 1966, 36, 383–391.

- 33. M. V. Dowsen, S. J. Lyle, Talanta 1990, 33, 443–446.

- 34. Z. Marczenko, M. Baltcerzak: UV-Vis spectrophotometric methods applied to the inorganic analysis, BINOM, Moskow, Russia, 2007, pp. 233–235.