Novelties:

1) No study has reported the chemiluminescence determination of mepivacaine up to now.

2) This method has a good limit of detection which is 10 times lower than therapeutic concentration of mepivacaine in human plasma.

3) The broad time profile of mepivacaine allowed us to determine mepivacaine in plasma samples with minimum blank interferences from cysteine and ascorbic acid (time resolve CL).

4) Good recoveries obtained for the quantification of mepivacaine in real samples such as human plasma and injections.

5) A mechanism for the CL reaction has been proposed on the basis of UV-Vis, fluorescent and CL spectra.