Statement of novelty

- A GC-MS method for the determination of five phenolic acids (PAs), including their isomers, was developed.

- The developed method was confirmed on the Slovenian red wine samples from three different wine regions (Posavje, Podravje and Primorska). Free and bound PAs were quantified.

- The matrix interferences were successfully removed using hydrophilic modified styrene (HLB) cartridges.

- The recoveries for all investigated PAs ranged from 93% to 114%.

- Slovenian red wines were classified according to the PAs contents for the first time.

- The results of this study indicated that the highest contents of PAs were present in the wines from the Posavje region.