Dear colleagues!

The authors of the manuscript are very grateful to the referees of our paper. We considered all of the points raised by the referees and made the corresponding changes in the text of the revised manuscript. All the changes in the revised text are marked red. Below please find the detailed answers to all the referees’ comments.

Reviewer A:

- Line 18, normally, RSD is expressed using % unit;
corrected in Abstract. Page 1, Line 18

- Line 27, the current methods for trace Cr (VI) measurement should be better described, for example, liquid core waveguide based methods were missed;
corrected. Page 1, Lines 26–33

- Line 82, the unit like ppb or ppt is not recommended;
corrected. Page 3, Lines 92–94

- Line 145, three-line table is recommended;
according to the comment #2 of the Reviewer B, we completely re-made the table and changed the caption to provide a clearer view. Page 3–4, Lines 160–163

- Figure 3, why only three points were evaluated?
Actually, at the given experimental conditions (pump beam size 4 μm, frequency 1 kHz, and flow rate larger than 5 μL/min), flow-induced decrease and increase of the thermal lens strength are not based on incremental heating only. The signal increase may be mainly due to the less photodegradation and less Cr-DPC diffusion at relatively high flow rates. Also our previous findings made it possible to evaluate the general curve on flow rates for the thermal-lens microscope and the microchips of the geometry used, so extensive experiments were not required as justified in additional explanations on pages 7-8. In this paper, we focused on the implementation of the new flow technique with its advantages, so only the key points in the flow rate selection were considered. Some additions to this section were made, which also refer to the critique of the Reviewer B. Page 7, Lines 201–222

- Figure 7, only positive data were shown, so it was difficult to see the baseline of the output signal. Please re-plot the figure and make sure we can see the full data of the signal.
The thermal-lens signal is set to zero by subtracting the background signal, so the baseline is coincident with the axis, we changed the ordinate axis to separate the axis and the baseline. Page 12

- Real sample should be analyzed to evaluate the applicability of a method.
We believe that the DPC method for Cr(VI) determination is well established and results for various samples were reported in literature including the detection in a batch-mode TLS and for flowing systems such as IC-TLS; and TLS measurements of chromium were performed in good agreement with other methods such as AAS. In this paper, we focused on the implementation of the new flow technique with its advantages. For this reason, we do not see an additional need to prove the reliability of the technique for real sample analysis related to this work. The text and new references (29-33 now) are added to the manuscript to highlight this statement. Page 2, Lines 56–63.

- It is recommended to double check the references, should the name of the journal be full name or abbreviation? Ref. 11 uses full name.
corrected. Pages 15–17

Reviewer B:

- There are several grammatical errors or inappropriate expressions. The manuscript should be checked totally. 
checked, throughout the text
e.g. Line 164 "decreasing detection position" cannot be understood. 
corrected to “by shifting the detection position downstream from the junction point of carrier and reagent channels on the microchip”. Page 7, Lines 179–184

- L 160 "The classical theory of this effect in large-scale samples predicts a decrease in sample on an increase the flow rate" is not correct.
corrected to “decrease in signal with an increase of the flow rate”. Page 7, Line 190

- In Table 1, what is the meaning of "15/5", "30/5", and "30/15"?
These are the ratios of flow rates. The table was re-made and the caption changed to reflect it more clearly. Page 3–4, Lines 160–163

- The authors used two kind of microfluidic chips. Some explanation is needed why the two chips are needed.
This was already mentioned in the original manuscript, now additional descriptions are given for the used microchips for better understanding, the beginning of the section 3. Page 4, Lines 120–129

- Discussion on 3.2: Usually, thermal lens signal just decreases by increasing flow rate due to the heat dissipation by flow. And response time seems ~1 ms (just rough estimation) if the beam size is 4 um, and cooling will be recovered in one cycle. More quantitative explanation is needed by using tc=w2/4D in thermal lens theory.
We added a new paragraph to discuss the estimations of the thermal behavior with the characteristic time constant. Attaining of the thermal equilibrium and complete dissipation of the thermal lens take longer times than the characteristic time constant tc, so that is why the time is comparable with the 500 μs of the colling time and the complete dissipation does not occur. Page 8, Lines 214–222

- Optimized conditions should be summarized in a table for readers to see easily.
done, Table 2 is introduced into the text. Page 13, Lines 318–320