Table 1. Optimum extraction-spectrophotometric conditions and analytical characteristics of the system Ge(IV)–4-NC–Nt–H2O–CHCl3

| Optimum Conditions | Analytical Characteristic |
| --- | --- |
| Absorption maximum (λmax) 405 nm | Apparent molar absorptivity (εꞌ) (2.98 ± 0.11) × 104 L mol–1cm–1 |
| Volume of the aqueous phase 10 cm3 | True molar absorptivity (ε) (3.09 ± 0.25) × 104 L mol–1cm–1 |
| Volume of the organic phase 10 cm3 | Sandell’s sensitivity (SS) 2.43 ng cm‒2 |
| pH of the aqueous phase 3.0÷4.5 | Adherence to Beer’s law up to 5.81 μg cm‒3 |
| Shaking time (τ) 2 min | Relative standard deviation (RSD) 1.01% |
| Concentration of 4-NC ≥3.0×10–4 mol L–1 | Limit of detection (LOD) 0.34 μg cm‒3 |
| Concentration of Nt ≥1.0 × 10–4 mol L‒1 | Limit of quantification (LOQ) 1.13 μg cm‒3 |