PAGE  

cis-dioxo-bis [3-methoxy-2,2-dimethylpropanediamine] molybdenum/Surfactant-Modified Electrode for Simultaneous sensing of Ascorbic Acid and Dopamine
Ali Arjmandi,a Hamid Reza Zare-Mehrjardi,a,b,* and Hadi Kargara,b
aDepartment of Chemistry, Payame Noor University, PO BOX 19395-3697 Tehran, Iran
bResearch Center of Environmental Chemistry, Payame Noor University, Ardakan, Yazd, Iran

*Corresponding author. Tel.: +98 3532220011; fax: +98 3532228110

E-mail: hr_zare@pnu.ac.ir, zareanalyst@gmail.com, hr.zaremehr@yahoo.com 

Abstract

In this work, the carbon paste electrode (CPE) is modified using the cis-dioxo-bis[3-methoxy-2,2-dimethylpropanediamine] molybdenum(VI) complex and 1-octanaminium,N,N,N-trioctyl bromide. Using the modified electrode, the most peak separation for ascorbic acid (AA) and dopamine (DA) is obtained in solutions with pH 5.0 and the linear range for AA in buffered solutions of pH 5.0 is acquired in the range from 3.0×10−6 to 6.0×10−3 M and for DA from 2.0×10−6 to 1.0×10−2 M. The respective limits of detection (S/N = 3) were 4×10−7 M and 5×10−7 M for DA and AA, respectively. Surface regeneration and the very easy preparation of the modified CPE together with the very good peak resolution and sub-micromolar detection limits designate the prepared CPE in this work appropriate for simultaneous voltammetric determination of DA and AA.

Keywords: dopamine; ascorbic acid; modified electrode; Molybdenum Schiff base complex; differential pulse voltammetry 
1. Introduction


Recently, the manufacture and design of new voltammetric sensors have been of notable interest.1,2 Specially, detection of secretion neurotransmitters, e.g. ascorbic acid (AA) and dopamine (DA) as a vital nutritional factor, through the improvement of the electrochemical sensors received many interests.  DA, a significant neurotransmitter, exists in mammalian central nervous system and its primary content of DA is very low.3,4 Both of the plant and animal kingdoms contain AA. Among animal organs, anterior pituitary lobe, leukocytes and the liver represent the highest content of AA. AA or vitamin C is also used in multivitamin preparations and various biological systems.5 A serious problem in detection of DA or AA is the overlapping of the anodic peaks of AA and coexisting DA. The anodic oxidation potential of DA is close to that of AA at common solid electrodes and results in the lack of good resolution between their anodic peaks. Several methods have been applied in order to overcome this problem. For instance, the electrochemical behavior of DA was investigated at a glassy carbon electrode modified with graphene-zinc oxide composite,6 organic polymers-modified electrodes,7–9 nanoparticles10 and complexes of metal11 and so on. Recently, application of carbon nanotubes in modification of electrodes has performed for detection of DA.12–14 In recent years, in order to the determination of these biologically important compounds, chemically modified electrodes (CMEs) have extensively been applied. Application of functionalized carbon nanotubes,15-17 polymeric materials,18–20 complexes of transition metal21–23 and organic electron mediators24–26 in preparation of CMEs have attracted most consideration in this regard.  Using the electron mediators in modification of the electrodes, causes to decrease the overpotential of the electrochemical process of the interested analyte and of course improve the selectivity and sensitivity of the electrode response.

Previous works showed that Schiff base complexes are efficient electron mediators and the oxidation process of different biological compounds, such as AA can be catalyzed using them.27, 28 The major drawback in the using of redox mediators in the modification of the electrodes is lack of good resolution for simultaneous determination of different analytes in the mixed samples. On the other hand, the application of an electron mediator together with the ionic surfactant in the preparation of modified electrodes, because of the electrostatic repulsion or attraction between the charged analytes and the surfactant, can be separate the voltammetric peaks of different compounds and improve the selectivity for their simultaneous detection. Respect to the charge sign of various analytes and the ionic surfactant, the electrostatic interactions can be exclusive or inclusive that is important for the improvement of the voltammetric resolution between the analytes peak. A nafion/reduced graphene oxide prepared film on the surface of carbon electrode has been applied in electrocatalytic oxidation of ascorbic acid.29 Modification of carbon paste electrode using an ion pair (thionine/nafion) has been reported.18 This electrode has been effective in simultaneous voltammetric determination of AA and DA by DPV. Triton X-100 (as a neutral surfactant) has been applied in preparation of the modified glassy carbon electrode.30  Results of this work revealed that the hydrophobicity of the surfactant at the surface of the electrode is effective in promoting the electrochemical response of the studied heme proteins. 

In the present work, the electrochemical oxidation of AA and DA at the surface of the modified carbon paste electrode containing the cis-[Mo(O)2L]/cationic surfactant is studied. Modification of the carbon paste electrode using the cationic surfactant results in increasing the anodic overpotential for DA oxidation. In order to obtain a higher sensitivity and selectivity in the voltammetric response of the modified electrode, the effect of the cationic surfactant percent on the separation of the anodic peaks DA and AA is studied. Noteworthy advantages of the modified-CPE in this paper such as ease of surface regeneration and fabrication, excellent resolution between the anodic peaks of DA and AA and high stability of the cis-[Mo(O)2L]and cationic surfactant in its matrix designate it very useful for the sensitive and selective simultaneous detection of DA and AA. 
2. Experimental

2. 1. Materials

For the synthesis of the complex cis-dioxo-bis[3-methoxy-2,2-dimethylpropanediamine] molybdenum(VI), to a solution of 1 mmol [MoO2(acac)2] in 50 mL methanol was added a solution of 1 mmol 3-methoxy-2,2-dimethylpropanediamine (Schiff base ligand) in 10 mL methanol and the reaction mixture was stirred for 120 min at reflux condition. Then the precipitated orange complexes were filtered and washed with methanol.31 Spectroscopic mineral oil (Nujol), Graphite powder (20 µm), and1-octanaminium,N,N,N-trioctyl bromide as a cationic surfactant were purchased from Merck. All the other chemicals were analytical reagent grade, purchased from Merck. Using doubly distilled deionized water, all aqueous solutions were made up.
Stock solutions of DA and AA were freshly made up in a buffered solution and before voltammetric experiments, purged with pure nitrogen gas (99.999%) for 120 s. The buffered solutions of DA and AA was deoxygenated by purging the pure nitrogen (99.999% from Roham Gas Company), and then was used for voltammetric studies. Nitrogen gas was passed over the surface of the test solutions during the measurements, in order to avoid the influx of oxygen into the solution.

For the detection of the recovery in spiking of dopamine, the sample of fresh human serum, prepared from Razi Institute of Vaccine and Serum Co. (Tehran, Iran), was filtered and diluted using a 0.1 M acetate buffer solution of pH 5.0. Each tablet was grounded with a mortar and pestle to detect AA in commercial vitamin preparations then 100 mg of the powdered sample was dissolved in 100 ml of the buffered solution.

2. 2. Apparatus

In order to make up the buffered solutions, a digital pH/mV/ion meter (CyberScan model 2500) was used. A common three-electrode system was applied with a platinum wire as a counter electrode, a saturated Calomel reference electrode, and modified or unmodified carbon paste working electrode. Voltammetric measurements were performed using a computerized potentiostat/galvanostat Autolab model 302 (Eco Chemie Utrecht) controlled with General Purpose Electrochemical System (GPES) software. 
2. 3. Preparation of modified electrode


To prepare the unmodified CPE, a suitable amount of mineral oil with powder of graphite (~25:75, w/w) was mixed by hand mixing in a mortar and pestle, then a portion of the resulted mixture was packed into the end of a polyamide tube (ca. 2.5 mm i.d.). A copper pin makes the electrical contact into the back of the composite, in the polyamide tube. The cis-[Mo(O)2L]‑modified carbon paste electrode was fabricated by mixing the cis-[Mo(O)2L] (3%, w/w) with powder of graphite and a suitable amount of mineral oil, and then the resulted composite was dissolved in dichloromethane in order to better homogeneity and reproducibility by polishing the electrode surface. For fabrication of the cis-[Mo(O)2L]‑modified carbon paste electrode containing surfactant, various percents of cationic surfactant together with 3 wt.% cis-[Mo(O)2L], powder of graphite and a suitable amount of mineral oil were mixed in an appropriate amount of dichloromethane. The solvent of the resulted mixture has been evaporated completely by stirring, and then air dried for one day and packed into the end of a polyamide tube.
3. Results and discussion
3. 1. Voltammetric experiments of AA and DA at the prepared electrodes

Our previous work revealed that anodic overpotential for ascorbic acid oxidation is reduced and its oxidation process is catalyzed by Schiff base complexes.17 The electrochemical behavior of 1 mM AA in a buffered solution of pH 5.0 at the surface of the unmodified CPE and the cis-[Mo(O)2L]‑modified CPE containing various wt.% of cationic surfactant is studied by  cyclic voltammetry. Results of this study are shown in Figure 1A. As can be observed, at the surface of the unmodified carbon paste electrode, a relatively broad wave in 470 mV is appeared for the anodic oxidation of AA. But, by introducing the cis-[Mo(O)2L] in the matrix of the carbon paste electrode (cis-[Mo(O)2L]/CPE), the anodic oxidation potential of AA is decreased to about 435 mV. At the surface of modified electrodes including cis-[Mo(O)2L] and different wt.% of cationic surfactant, this overpotential is slightly decreased with increasing the amount of surfactant in the matrix of the electrode. A comprehensive explanation of the electrocatalytic oxidation of AA using the cis-[Mo(O)2L]/CPE is presented in the following. AA, with a pKa of 4.17, mainly exists as an anionic form (ascorbate) under the experimental condition (buffered solution with pH 5.0). Therefore, there is an electrostatic interaction between the anionic form of AA and the cationic surfactant on the surface of the modified-CPE including cationic surfactant (cis-[Mo(O)2L]/CS/CPE). Results of this investigation reveal that the higher percents of cationic surfactant, because of decreasing the electrical conductivity of the electrode and unsuitable mechanical properties, result in worsening the voltammetric response of the modified-CPE, e.g. enlargement of the capacitive background current, broadening the wave shape and lowering the anodic peak. Hence, the percent of cationic surfactant in the matrix of the modified-CPE is optimized to obtain the excellent resolution between the voltammetric responses of DA and AA and also, higher sensitivity in voltammetric peaks (lower background current and greater anodic peak current).

[image: image1.jpg]E(Vevesce) E(Volt V. SCB)




Figure 1. CV responses of blank buffered solution of pH 5.0 using cis-[Mo(O)2L]/modified CPE containing 2%CS (_._) and of 1 mM AA (A) and 1 mM DA (B) in the same buffer at the surface of unmodified CPE (____), CoL/modified CPE containing 0%(.....),  1%(---),  2% (_.._) and 3%CS (_ _ _). Sweep rate: 100 mVs-1; pulse amplitude: 50 mV.


The electrochemical behavior of 1 mM DA in a buffered solution of pH 5.0 at the surface of the unmodified CPE and the cis-[Mo(O)2L]-modified carbon paste electrode containing various wt.% of cationic surfactant is studied by cyclic voltammetric method. The results of this study are shown in Figure 1B. A pair of redox peaks with anodic and cathodic peak potentials respectively, 608 and 332 mV (ΔEp = 276 mV) and the ratio of cathodic to anodic peak current (Ip,c/Ip,a) nearly 0.88 were acquired for DA at unmodified carbon paste electrode (CPE). As a result, at the surface of CPE, the electrochemical process of DA is quasi-reversible and the oxidation product of DA under the empirical conditions (pH 5.0) is relative stable.


Previous studies revealed that oxidation product of DA (dopaminequinone) performed an intramolecular 1,4-Michael addition in solutions of higher pHs,32 that in this reaction, a nucleophilic attack of external amine group on dopaminequinone leads to leucodopaminochrome. Thus buffered solution of pH 5.0 was selected for all experiments of DA in order to obtain a simple electron transfer and prevent the following reactions for DA. In fact, in solutions of pH ≤5, DA contains protonated amine group and mostly exists in cationic form. Hence, the product of anodic oxidation of DA in acidic solutions will be almost stable and can be obtained about 1.0 for ratio of Ip,c/Ip,a.


Application of the cationic surfactant in the preparation of the modified-CPE causes an increase in anodic overpotential of DA oxidation, because of the electrostatic interaction at the surface of the modified electrode between the positive charge of cationic surfactant and the cationic form of DA. As a result, the reversibility of the electrochemical process of DA at the surface of the electrode is decreased (ΔEp is increases) and its overpotential for oxidation is increased. As can be seen in Figure 1B by increasing the percent of cationic surfactant in the modified carbon paste electrode, this effect is intensified. The result of this effect is excellent resolution between the anodic peaks of AA and DA.
3.2. Voltammetric experiments in the mixed solutions of DA and AA

Making an approach for separation of anodic peaks and simultaneous detection of AA and DA is very significant in clinical and analytical chemistry. At the traditional solid electrodes, the anodic overpotential for oxidation of AA is the same as that of DA; furthermore, both of AA and DA are present simultaneously in mammalian brain which will cause to overlap the voltammetric responses of these species.33 Many efforts have been made on the fabrication of the modified electrodes that are capable to separate their anodic peaks and make the feasibility of simultaneous determination of DA and AA.21-26

In this work, in order to simultaneous voltammetric detection of these compounds, the cis-[Mo(O)2L]-modified CPE containing cationic surfactant was used. The electrochemical behavior of 1 mM of both DA and AA in a buffered solution of pH 5.0 at the surface of the unmodified CPE and the cis-[Mo(O)2L]-modified carbon paste electrode containing various wt.% of cationic surfactant is studied by  cyclic voltammetric method. The results of this study are shown in Figure 2A.  Figure 2B shows the differential pulse voltammograms (DPVs) of five prepared electrodes in this solution. These figures revealed that at the surface of the unmodified CPE, only a quasi-reversible wave can be observed for DA and a distinguished wave cannot be obtained for AA, therefore this electrode (unmodified-CPE) isn’t suitable for the simultaneous voltammetric detection of DA and AA. By introducing the cis-[Mo(O)2L] in the matrix of carbon paste electrode (cis-[Mo(O)2L]/CPE), a little resolution between anodic peaks of DA and AA is obtained but the detection of each compound in the presence of the other isn’t possible because of the overlapping of their anodic peaks. Application of cis-[Mo(O)2L]-modified CPE containing cationic surfactant, results in more resolution of anodic peaks for DA and AA, because of positive shift of DA anodic peak. As can be seen in Figure 2, at the modified-CPE including 2 wt.% of cationic surfactant, the complete resolution between anodic peaks of DA and AA is obtained. The positive shift in anodic peak potentials of DA under the experimental condition (buffered solution of pH 5.0) is a result of the electrostatic repulsion effects between the cationic surfactant and cationic form of dopamine. A better resolution does not obtained by using higher percents of cationic surfactant, whereas the sensitivity of electrode response to DA is decreased because of the resulted anodic overpotential and kinetic limitation for DA. Moreover, this investigation revealed that using of higher percents of cationic surfactant in modification of the electrode caused to limit the voltammetric detection limit for DA and AA (increase the capacitive background current). These efficacies can be obviously seen by comparing of the CVs or DPVs for the different modified CPEs in Figure 2. As a result, the cis-[Mo(O)2L]-modified CPE containing 2 wt.% cationic surfactant was selected for simultaneous detection of DA and AA.
[image: image2.jpg]o

©

®

©

32 o0 oz o4 o8 o8 10 %3 a5 63

E(velevs 508 E(voltvs,

o8





Figure 2. (A) CV and (B) DPV responses of blank buffered solution of pH 5.0 using cis-[Mo(O)2L]/modified CPE containing 2%CS (_._) and of a mixture of 1 ‎mM DA and 1 ‎mM AA in the same buffer at the surface of unmodified CPE (____), CoL/modified CPE containing 0%(.....),  1%(---),  2% (_.._) and 3%CS (_ _ _). Sweep rate: 100 mVs-1; pulse amplitude: 50 mV.


The resulting resolution between the anodic peaks of DA and AA in this investigation (308 mV) is significantly more desirable than other reported voltammetric sensors.  The modified electrode with nanocomposite of carbon dots/ferrocene derivative functional Au NPs and graphene obtained a peak resolution for DA and AA about 180 mV using differential pulse voltammetry.34 Application of a nanocomposite containing polypyrrole/CuxO–ZnO in modification of the electrode for voltammetric detection of AA and DA resulted in a peak separation of 150 mV.35 The electrode modified with nanoparticles of γ-WO3 is applied using DPV for simultaneous detection of AA and DA and a peak resolution of 133 mV is obtained.36 In comparison to the previous works, the decay of anodic current between the anodic peaks of DA and AA is taken place close to the capacitive background by using the cis-[Mo(O)2L]-modified CPE containing cationic surfactant. The resulted decay of current significantly causes to decrease the overlapping of the anodic waves of DA and AA, and simultaneous detection of these compounds in mixture samples possesses a more desirable accuracy. Moreover the reproducibility of the detections is improved, due to more stability of DA and AA in slightly acidic condition (pH 5.0). 
3.3. The effect of pH and sweep rate


Voltammetric studies of the buffered solutions with different pHs containing AA and DA were carried out to find out the optimized pH for acquiring the good sensitivity and an excellent resolution between their anodic peaks. In these experiments, 0.1 M phosphate was applied in preparation of buffered solutions of pH 3.0, 6.0 and 7.0, and 0.1 M acetate for pHs 4.0 and 5.0. Table 1 shows the peak potentials and peak currents of cyclic voltamograms obtained at the surface modified CPE in the mixture solutions of DA and AA with different pHs. These results reveal that the best peak separation is resulted in pH 5.0. Therefore in all voltammetric studies, the buffered solution with pH 5.0 was applied as supporting electrolyte.

	Table 1. Variation of peak potential and peak current of cyclic voltammograms for mixture solutions of DA and AA with pH using cis-[Mo(O)2L]/modified CPE containing 2 wt.% of cationic surfactant

∆Ep
	DA
	
	AA
	pH

	
	Ep,a (mV)
	Ip,a (µA)
	
	Ep,a (mV)
	Ip,a (µA)
	

	273
	731
	23.6
	
	458
	24.2
	3

	301
	722
	22.5
	
	421
	19.9
	4

	315
	710
	25.3
	
	395
	22.5
	5

	288
	679
	23.8
	
	391
	18.8
	6

	281
	668
	23.3
	
	387
	16.5
	7



In order to investigate of the effect of the potential scan rate, cyclic voltammetric experiments were carried out in the buffered solution with pH 5.0. The results revealed that the anodic peak currents (Ip,a) of DA and AA increase linearly with increasing the square root of the scan rate (υ1/2) in the range of 25–200 mVs−1. These results corroborate the diffusion-controlled anodic oxidation of DA and AA at the prepared CPE surface. The current function (Ip/υ1/2) for AA decreased with υ1/2, which corroborates a catalytic manner for AA at the surface of the modified CPE, whereas for DA can’t be seen this effect.
3. 4. Analytical characterization


The differential pulse voltammetric method using the cis-[Mo(O)2L]‑modified CPE containing 2 wt.% of cationic surfactant was applied as a useful method with low limits of detection for detections of DA and AA in a wide range of their concentrations. Supporting electrolyte for these experiments was buffered solutions of pH 5.0. Figure 3 shows some obtained DPV waves in these experiments. By drawing the anodic current signal versus the concentration (the calibration curves), a linear range is obtained that is 2.0×10−6–1.0×10−2 M for DA and 3.0×10−6–6.0×10−3 M for AA (Figure 4). A slope of 9355.75 µA/M (R2 = 0.9985) is resulted for AA, and a slope of 6534.37 µA/M (R2 = 0.9986) for DA. The relative standard deviations (R.S.D.) for these slopes on the basis of five replicates were 3.4 and 3.1% for DA and AA, respectively and were less than 3.5% for both DA and AA, based on seven measurements in a period of two months. So the prepared modified CPE in this work revealed to be very stable. 
[image: image3.jpg]o

o

0z o4
EVatvasce)

o8

o4 o
EValt Vs.5CB)

o8




Figure 3. Differential pulse voltammograms of buffered solution of pH 5.0 containing (A) 0.0, 0.1, 0.2, 0.5, 0.8, 1.0, 2.0, 3.0, 4.0, 5.6 and 6.0 mM AA and (B) 0.0, 0.2, 0.3, 0.5, 0.9, 1.0, 1.2, 1.6, 2.2 and 2.5 mM DA (down to up). Pulse amplitude: 50 mV.


The differential pulse voltammograms obtained in solutions containing 5×10−4M AA and five various amounts of DA from 4×10−4 to 2×10−3 M are shown in Figure 5A. The waves obtained in solutions including 5×10−5 M DA and various amounts of AA in the range of 5×10−5 to 9×10−4 M is represented in Figure 5B. Using the modified CPE in this work, a linear range for AA in buffered solutions of pH 5.0 is acquired in the range from 4.0×10−6–7.0×10−3 M and for DA from 2.0×10−6–9.0×10−3 M. The respective limits of detection (S/N = 3) were 4×10−7 M and 5×10−7 M for DA and AA, respectively. The resulted limits of detection and linear ranges were very similar to the detections in solutions containing only one of DA or AA. In the presence of 5×10−4 M AA, the calibration curve slope for DA was 6403.68 µA/M (R2 = 0.9985), which was about 98% of the resulted slope value for the separate DA solutions. This slope for AA, in the presence of 5×10−5 M DA was 9075.08 µA/M (R2 = 0.9978).
[image: image4.jpg]ba

n

®

() angy

Concentration (M)




Figure 4. Linear calibration curves of current signals versus DA and AA concentration in the range 10.0 to 1000.0 µM.

[image: image5.jpg])

I

oz

B (Volt Ve. 5CB)

o4

o

o8

——t

@

0z o4

E (Volt Vs, SCEB)

o8





Figure 5. Differential pulse voltammograms for buffered solution of pH 5.0 containing (A) 0.5‎ mM AA (constant) and various concentrations of DA: 0.4, 0.7, 1.0, 1.6, 2.0 mM. (B) 0.5‎ mM DA (constant) and various concentrations of AA: 0.05, 0.1, 0.5, 0.7, 0.8 and 0.9 mM. Pulse amplitude: 50 mV.


The cis-[Mo(O)2L]-modified CPE containing 2 wt.% of cationic surfactant was successfully used in determination of AA in pharmaceutical preparations through the standard addition method. The analyzed vitamin preparations were effervescent tablets (Osvah Co.), multivitamin drops (Shahre Daro Co.) and vitamin C tablets (Osvah Co.). In addition to vitamin C, the multivitamin drops contained sodium saccharin and vitamins such as A, D, E, B1, B2, B3, B6, and B12. As a reference method, the method of U.S. Association of Official Analytical Chemists (AOAC)37 on the basis of using 2,6-dichloro-phenolindophenol was used. Table 2 shows the results of the experiments in different samples of vitamin and the results of the spiked samples with AA standard solutions. These results reveal that the prepared electrode in this work could be successfully used for the detection of AA in pharmaceutical samples because of the good enough precision and recovery. This modified electrode was also used for the recovery measurement in dopamine hydrochloride spiking to human serum samples. The results of these experiments are shown in Table 3.
Table 2. AA analysis results in vitamin preparations using cis-[Mo(O)2L]/modified CPE containing 2 wt.% of cationic surfactant

	Sample
	Added AA (mg)
	AA found (mg/100 mg sample)a

	
	
	Present method 
	Reference method
	Recovery (%)

	Multivitamin dropb
	
	36.3 (±1.5)
	37.0
	-

	
	10.0
	45.4 (±1.8)
	-
	98.0

	
	20.0
	54.1 (±1.9)
	-
	96.1

	
	30.0
	68.1 (±1.9)
	-
	102.7

	Vitamin C tablet
	
	66.6 (±1.7)
	67.1
	-

	
	10.0
	77.5 (±1.9)
	-
	101.1

	
	20.0
	85.2 (±2.0)
	-
	98.4

	
	30.0
	99.6 (±2.1)
	-
	103.1


a Replicates Number was five.

bLabeled AA value was 35 mg/ml. Determined values are also in mg/ml.
Table 3. Recovery results of the spiked DA to 10.0 ml of the diluted (10-fold) human serum sample

	No.
	added DA (μM)
	Amounts of founda DA (μM)
	Recovery (%)

	1
	10.0
	9.8
	98.0

	2
	25.0
	24.6 
	98.4

	3
	50.0
	50.7
	101.4

	4
	75.0
	76.5
	102.0

	5
	100
	98.2
	98.2


a For five replicates in the spiked range of DA concentration, R.S.D. was less than 3.7%.

4. Conclusion

The cis-[Mo(O)2L]-modified CPE containing cationic surfactant prepared in the present work can enhance the selectivity and resolution of voltammetric responses of DA and AA. This modified CPE has been revealed to be capable to separate the anodic peaks of DA and AA. Resulted resolution is much better than the previous reported works. Table 4 shows a comparison of analytical properties for the detection of DA and AA at the prepared electrode in this work and various electrodes. 
Table 4. Various modified electrodes: DA and AA analytical properties 

	Electrode
	Experimental condition
	Method
	ΔEp (mV)
	Linear range (μA)
	DL (μA)
	Ref.

	
	
	
	
	DA
	AA
	DA
	AA
	

	Carbon Paste-modified GCE
	pH 7.0

PBS
	DPV
	187
	3.84 - 27.0
	19.2 - 135
	1.5
	8.3
	6

	CPE modified with

[Cu(bp)(H2O)2]n


	pH 5.0

PBS
	DPV
	200
	0.05 - 30.0
	0.05 - 30.0
	0.04
	0.02
	18

	GCE modified with

CuNP/p-TAOX
	pH 4.0

PBS
	DPV
	205
	0.6 - 21.6
	240 - 750
	0.03
	5.0
	20

	Polyethylene oxide-modified 

GCE
	pH 5.0

PBS
	DPV
	216
	5.0 - 40
	300 - 1700
	0.25
	50
	25

	CCE modified MWCNTs-MIP
	pH 4.5

PBS
	DPV
	300
	1.72-11.58
	16.83-226
	0.21
	2.24
	26

	GCE modified with

ZnO-CuxO-PPy
	pH 4.0

BR solution
	DPV
	150
	0.1-130
	0.2-1.0
	0.04
	25.0
	38

	GCE modified with

γ-WO3
	pH 7.0

PBS
	DPV
	133
	0.1-600
	_
	0.024
	_
	39

	cis-[Mo(O)2L]-modified CPE containing surfactant
	pH 5.0

0.1M acetate buffer 
	DPV
	308
	2.0-10000.0
	3.0-6000.0
	0.4
	0.5
	This work


Note: CP, carbon paste; GCE, glassy carbon electrode; [Cu(bp)(H2O)2]n, polymer of 4,4'-dicyanamidobiphenyl Cu(II) complex; CuNP, Copper nanoparticles; p-TAOX, overoxidized poly(3-amino-5-mercapto-1,2,4-triazole; MWCNTs, multiwalled carbon nanotubes ; MIP, molecularly imprinted polymer; PPy, polypyrrole; γ-WO3, monoclinic structure of Tungsten trioxide nanoparticles.

Application of the modified CPE in differential pulse voltammetric method in this work, results in a good resolution more than 300 mV for anodic peaks of AA and DA making it very appropriate and efficient for simultaneous detection of these compounds. Surface regeneration and very easy preparation of the modified electrode together with the acceptable selectivity and sensitivity, sub-micomolar detection limit and good reproducibility of the voltammetric response represent the prepared modified system is very effective in the fabrication of accessible tools for the simultaneous detection of DA and AA in pharmaceutical and clinical preparations.

5. Acknowledgement

The authors gratefully acknowledge the Payame Noor University providing research facilities for this work. 
6. References
1. H. Zhang, J. Zhang, J. Zheng, Measurement 2015, 59, 177–183. 
2. D. M. Stankovi, A. Samphao, B. Dojcinovi, K. Kalcher, Acta Chim. Slov. 2016, 63, 220–226. 
3. D.W. Martin Jr., P.A. Mayes, V.W. Rodwell (Eds.), Harper’s Review of Biochemistry, 19th ed., Lange, Los Altos, CA, 1983, p. 112. 
4. R.M. Wightman, C. Amatorh, R.C. Engstrom, P.D. Hale, E.W. Kristensen, W.G. Kuhr, L.J. May, Neuroscience 1988, 25, 513-523. 
5. A.J. Downard, A.D. Roddick, A.M. Bond, Anal. Chim. Acta 1995, 317, 303-310. 
6. X. Zhang, Y.-Ch. Zhang, L.-X. Ma, Sens. Act. B 2016, 227, 488–496. 
7. X. Zheng, Y. Guo, J. Zheng, X. Zhou, Q. Li, R. Lin, Sens. Act. B 2015, 213, 188–194. 
8. R. Salgado, R. del Rio, M.A. del Valle, F. Armijo, J. Electroanal. Chem. 2013,704, 130-136. 
9. B. Mudabuka, A.S. Ogunlaja, Z.R. Tshentu, N. Torto, Sens. Act. B 2016, 222, 598–604. 
10. Y. Liu, W. Zhu, D. Wu, Q. Wei, Measuremen  2015, 60, 1–5. 
11. J. Oni, P. Westbroek, T. Nyokong, Electroanalysis 2003, 15, 847-854. 
12. A. Kutluay, M. Aslanoglu, Anal. Chim. Acta 2014, 839, 59-66. 
13. A. A. Abdelwahab, Y.-B. Shim, Sens. Act. B 2015, 221, 659–665. 
14. B. Yu, H. Yuan, Y. Y. Yang, H. L. Cong, T. Z. Hao, X. D. Xu, X. L. Zhang, Sh. J. Yang, L. X. Zhang, Chinese Chem. Lett. 2014, 25, 523-528. 
15. M. Mazloum-Ardakani, S.H. Ahmadi, Z.S. Mahmoudabadi, A. Khoshroo, Measurement 2016, 91, 162–167. 
16. D. Ragupathy, A.I. Gopalan, K. Lee, Sens. Act. B 2010, 143, 696-703. 
17. S. Shahrokhian, H.R. Zare-Mehrjardi, Electrochim. Acta 2007, 52, 6310-6317. 
18. E, Ülker, M. Kavanoz, Acta Chim. Slov. 2016, 63, 47–54. 
19. B.B. Prasad, D. Jauhari, M.P. Tiwari, Biosens. Bioelectron. 2013, 50, 19-27. 
20. A. Hatefi-Mehrjardi, M. A. Karimi, A. Barani, M. Soleymanzadeh, Acta Chim. Slov. 2017, 64, 193–201. 
21. S. B. A. Barros, A. Rahim, A. A. Tanaka, L. T. Arenas, R. Landers and Y. Gushikem, Electrochim. Acta 2013, 87, 140-147. 
22. M.K. Amini, S. Shahrokhian, S. Tangestaninejad, V. Mirkhani, Anal. Biochem. 2001, 290, 277-282. 
23. S. Shahrokhian, M. Karimi, Electrochim. Acta 2004, 50, 77-84. 
24. S. Shahrokhian, M. Ghalkhani, Electrochim. Acta 2006, 51, 2599-2606. 
25. W. Gong, Zh.-Y. Dou, P. Liu, X.-Y. Cai, X.-q. He, J. Electroanal. Chem. 2012, 666, 62–66. 
26. S.B. Khoo, F. Chen, Anal. Chem. 2002, 74, 5734-5741. 
27. S. Shahrokhian, A. Souri, H. Khajehsharifi, J. Electroanal. Chem. 2004,565, 95-101. 
28. S. Shahrokhian, H.R. Zare-Mehrjardi, Electroanalysis 2007, 19, 2234-2242. 

29. W. Liao, C. Guo, L. Sun, Z. Li, L. Tian, J. He, J. Li, J. Zheng, Z. Ma, Z. Luo, C. Chen, Int. J. Electrochem. Sci. 2015, 10, 5747-5755.

30. K. Chattopadhyay, S. Mazumdar, Bioelectrochem. 2000, 53, 17-24. 
31. H. Kargar, M.N. Tahir, Acta. Cryst. 2012, E68, m1297–m1298. 
32. H. Zhao, Y. Zhang, Z. Yuan, Anal. Chim. Acta 2001, 441, 117-122. 
33. E.W. Kristensen, W.G. Kuhr, R.M. Wightman, Anal. Chem. 1987, 59, 1752-1757. 
34. L. Yang, N. Huang, Q. Lu, M. Liu, H. Li, Y. Zhang and S. Yao, Anal. Chim. Acta 2016, 903, 69-80. 
35. Kh. Ghanbari and N. Hajheidari, Anal. Biochem. 2015, 473, 53-62. 
36. A. C. Anithaa, N. Lavanya, K. Asokan and C. Sekar, Electrochim. Acta 2015, 167, 294-302. 
37. P. Gunniff (Ed.), Official Methods of Analysis of the Association of Official Analytical Chemists (AOAC), vol. 2, 16th ed., Association of Official Analytical Chemists, Arlington, VA, 1995.

38. Kh. Ghanbari, N. Hajheidari, Anal. Biochem. 2015, 473, 53-62. 
39. A. C. Anithaa, N. Lavanya, K. Asokan, C. Sekar, Electrochim. Acta 2015, 167, 294-302. 
PAGE  
1

