PREDICTION IN VIVO BIOAVAILIBILITY BY IN VITRO CHARACTERIZATION OF ETHANEDIAMINE DIPROPANOIC ACID DERIVATIVES WITH CYTOTOXIC ACTIVITY
Biljana Tubić1,2*, Sandra Vladimirov3, Bojan Marković3, Tibor Sabo4
1Agency for Medicines and Medical Devices of Bosnia and Herzegovina
2Faculty of Medicine - Department of Pharmacy, University of Banja Luka
3Faculty of Pharmacy, University of Belgrade
4Faculty of Chemistry, University of Belgrade
Corresponding author: 

Biljana Tubić; Agency for Medicines and Medical Devices of Bosnia and Herzegovina; Veljka Mlađenovića bb; 78000 Banja Luka, Bosnia and Herzegovina; and Faculty of Medicine – Department for Pharmacy, University of Banja Luka; Save Mrkalja 4, 78000 Banja Luka, Bosnia and Herzegovina; 

Tel.: +38765962309

Fax: +38751450301

e-mail: b.tubic@almbih.gov.ba; biljana.tubic@unibl.rs
ABSTRACT
(S,S)-O,O-diethyl-1,2-ethanediamine-N,N’-di-2-(3-cyclohexyl)propanoate (DE-EDCP) is novel substance with cytotoxic activity in human leukemic cells. The aim of this study has been to predict in vivo bioavailability of the DE-EDCP and its potential metabolite (S,S)-1,2-ethanediamine-N,N’-di-2-(3-cyclohexyl)propanoic acid (EDCP) by in vitro characterization which includes determination of lipophilicity and passive membrane permeability. There has also been evaluated inter-laboratory reproducibility of the bio-analytical method which was previously developed and validated for non-clinical study of the DE-EDCP and EDCP.
Distribution coefficient n-octanol/water was 1.68 and 0.03, and apparent permeability coefficient was 4x10-4 cm/s and 20x10-4 cm/s, for the DE-EDCP and EDCP, respectively.

Observed results have shown that the DE-EDCP is more lipophilic with better membrane retention, but the EDCP has better pass through the membrane. It can be assumed that the mechanism of cytotoxic activity of the DE-EDCP is at the cell- membrane level. There has been demonstrated a reproducibility and robustness of the proposed bio-analytical method.
Key words: transfer of the UHPLC-MS/MS, cross validation, 1,2-ethanediamine-N,N’-di-2-(3-cyclohexyl) propanoic acid esters, membrane permeability, lipophilicity

INTRODUCTION
Cytotoxic activity of the novel ester derivatives of the (S,S)-1,2-ethanediamine-N,N′-di-2-(3-cyclohexyl)propanoic acid has been previously proven by the in vitro studies on various leukemic cell lines. It has demonstrated that methyl, ethyl, and n-propyl esters are toxic to HL-60, REH, MOLT-4, KG-1, JVM-2, and K-562 leukemic cell lines, while the non-esterified compound and the n-butyl ester are devoid of cytotoxic action. The ethyl ester (S,S)-O,O-diethyl-1,2-ethanediamine-N,N’-di-2-(3-cyclohexyl)propanoate dihydrochlorides (DE-EDCP), has performed  the highest cytotoxic activity on leukemic cell line HL-60 (IC50  in the range of 11 μM – 45 μM). Demonstrated data show that the toxicity is mediated by the caspase-independent apoptosis associated with an oxidative stress, mitochondrial dysfunction, and AIF translocation.1 DE-EDCP has been chosen for further characterization since it had exerted the strongest cytotoxic activity in HL-60 cell line.
In vitro characterization of new pharmaceutical substances includes determination of a lipophilicity and passive membrane permeability. These physicochemical properties of pharmaceutical substances are providing significant information for their in vivo bioavailability prediction (absorption and distribution). Lipophilicity is one of many factors involved in biological activity of a drug, and it is often one of the most influential.2 Lipophilicity is usually expressed by the n-octanol/water partition coefficient (logP) for neutral molecules and the distribution coefficient (logD) for ionized molecules.3 Method for a determination of the LogD is based on determination of the n-octanol/water partition coefficient.2 This procedure requires the measurement of the compound concentration in n-octanol and water phases after equilibration of both phases according to Eq. (1). Thus, the Eq. (1) can be written as:4 
logD = log (coctanol/cwater)







(1)

where coctanol and cwater are the concentrations of a substance in n-octanol and aqueous phase of the partition, respectively.

Method for the in vitro prediction of passive membrane permeability that can be used, is the parallel artificial membrane permeability assay (PAMPA). This method is used extensively for the early drug candidate evaluation. PAMPA was first introduced by Kansy et al.5-8 This method has been shown useful in assessing trans-membrane, non-energy dependent, and diffusion of drugs in such a way that a reasonable predictability with in vivo (passive) absorption is possible. 
The artificial membrane permeability may be expressed either as a percent of transport (%T) or as an apparent permeability coefficient Papp. 
%T = 100 · (AR ·VR)/(AD0 · VD)






(2)

Where AD0 and AR are the peak areas of the initial donor solution and the post-incubation receiving solution (from the acceptor wells), VR and VD are the volumes of the receiving and donor solutions.

The %T is related to Papp based on the following equation:

Papp = (VD · VR) / ((VD + VR) · S · t) · ln [(100 · VD) / (100 · VD - %T (VD +VR))]
(3)

Where S is the surface area of the artificial membrane and t is the incubation time.5
Generally, compounds that have a Papp< 10x10-6cm/s are classified as low permeability and ones with a Papp> 10x10-6cm/s are classified as high permeability.
In vivo characterization of new pharmaceutical substances includes non-clinical study on animal model. For non-clinical study of cytotoxic activity of the DE-EDCP and its potential metabolite (S,S)-1,2-ethanediamine-N,N’-di-2-(3-cyclohexyl)propanoic acid dihydrochlorides (EDCP), there has been  previously developed and validated the ultra-high performance liquid chromatography tandem mass spectrometry (UHPLC-MS/MS) bio-analytical method.9 Bioanalytical methods should be robust.10 Evaluation of reproducibility (transferability) of bio-analytical method is becoming increasingly important11-13  since the bio-analytical methods are often used in different laboratories during non-clinical and clinical studies. The transfer process requires  the procedure to be physically transferred from a laboratory which masters the technique (called sender or originator) to another site (called receiver or recipient).14 In the context of bio-analysis, method transfer is covered by the Food and Drug Administration (FDA) and European Medicines Agency (EMA) guidance documents on bio-analytical method validation.11,13,15 Although the need for method transfer is recognized by both authorities, little is said about the process itself. Several approaches have been described for the method transfers evaluation.12,16-24
New UHPLC-MS/MS bio-analytical method which has been developed and validated for the in vivo characterization (non-clinical study) of the DE-EDCP and EDCP9, is supposed to be used in different laboratories during the mentioned studies. However, in vitro characterization (lipophilicity and membrane permeability) of the DE-EDCP and EDCP has not been investigated until now. 

The aim of this study is to predict the in vivo bioavailability of the DE-EDCP and its potential metabolite EDCP by the in vitro characterization - determination of lipophilicity and passive membrane permeability. In this study, there has also been evaluated the inter-laboratory reproducibility of the previously mentioned bio-analytical method.

EXPERIMENTAL
Chemicals

(S,S)-O,O-diethyl-1,2-ethanediamine-N,N’-di-2-(3-cyclohexyl)propanoate dihydrochlorides (DE-EDCPx2HCl), (S,S)-1,2-ethanediamine-N,N’-di-2-(3-cyclohexyl)propanoic acid dihydrochlorides (EDCPx2HCl) and the internal standard (S,S)-O,O-dibutyl-1,3-propanediamine-N,N’-di-2-(3-cyclohexyl)propanoate dihydrochlorides (DB-PDCPx2HCl), were provided by the Faculty of Chemistry, University of Belgrade, Serbia (Table 1).
Table 1: Structure of EDCP, DE-EDCP, and the internal standard DB-PDCP

	
[image: image1.emf](S)

(S)

OR

O

H

N

OR

(CH

2

)n

O

H

N



	Name of compound
	Empirical formula
	Abbreviation
	MW (g/mol)
	R
	n

	(S,S)-1,2-1,2-ethanediamine-N,N’-di-2-(3-cyclohexyl)propanoic acid dihydrochlorides
	C20H38O4N2Cl2
	EDCP


	441.43


	H
	2

	(S,S)-O,O-diethyl-1,2-1,2-ethanediamine-N,N’-di-2-(3-cyclohexyl)propanoate dihydrochlorides
	C24H46O4N2Cl2
	DE-EDCP
	497.54
	C2H5
	2

	(S,S)-O,O-dibutyl-1,3- propanediamine-N,N’-di-2-(3-cyclohexyl)propanoate dihydrochlorides
	C29H56O4N2Cl2
	DB-PDCP
	567.67
	C4H9
	3


Acetonitrile, methanol, ethyl acetate, diethyl ether, triethanolamine, chloroform and trifluoroacetic acid (HPLC grade), ammonium acetate (CH3COONH4), sodium fluoride and KH2PO4 (ACS grade) from Fluka (Sigma-Aldrich Co.), n-octanol from Fluka AG (Buchs SG, Switzeland) and deionized water (Gen Pure Ultrapure, Germany), were used. Mouse serum was purchased from Sigma Aldrich (Saint Louis, USA).
Solutions
Preparation of all standard solutions is described in the previously study.9 Sample preparation is also described previously.9All these solutions were prepared by two different analysts in sending and receiving laboratories.

Equipment

Solids were weighted by using a 5-digit Mettler analytical balance (Mettler-Toledo International Inc, USA), and less sensitive weighting was performed on the Adventurer Pro analytical balance (OHAUS, USA). Sample preparation was done by using the Eppendorf 5417R micro-centrifuge (Eppendorf, Germany).

Sending laboratory

Development and validation of the method was done in the sending laboratory on the Thermo ACCELA (Thermo Scientific, Waltham, Massachusetts, USA) UHPLC system, coupled to a triple quad Mass Spectrometer Thermo TSQ Quantum Access Max (Thermo Scientific, Waltham, Massachusetts, USA),  with a heated electro-spray ionization (HESI) interface.24A reverse-phase Thermo Scientific Hypersil GOLD aQ column (100 x 2.1mm 1.9μm ThermoScientific, and guard cartridge (Thermo Scientific Hypersil GOLD aQ, 10 mm l × 4 mm ID), were used in both laboratories.
Receiving laboratory

In the receiving laboratory, method transfer and validation were carried out on the Agilent 1290 UHPLC system equipped with the Agilent 6420 triple-quad mass detector (Agilent Technologies, Santa Clara, USA) with the electro-spray ionization (ESI) interface. 

DE-EDCP, EDCP and IS were eluted by using a mobile phase as previously described.9 Quantitation was achieved by the MS–MS detection in the positive ionization mode for the DE-EDCP, EDCP and IS. The MS operating conditions were optimized as following: the capillary voltage was 4500 V, the gas temperature was set to 340 °C and gas flow was 10 L/min and the nebulizer pressure was 35 psi. Nitrogen was used as a collision gas. Fragmented voltage was set to 135 V. Ions detection was performed in the multiple reaction monitoring (MRM) by using the following transitions of m/z 425.2 → 197.8 and 226.1 for DE-EDCP, m/z 369.3 → 152.1 and 198.1 for EDCP and m/z 495.3 → 166.0 and 268.1 for DB-PDCP (IS), respectively, with a scan time of 0.1 s per transition.
Mass Hunter Optimizer software version 6.00 (Agilent Technologies, Santa Clara, USA) was used for automatic optimization of the acquisition parameters. Data Acquisition was performed by using the Mass Hunter Data Acquisition software version 6.00 (Agilent Technologies, Santa Clara, USA). Qualitative and quantitative data analyses were done by using the Mass Hunter Qualitative software version 6.00 and Mass Hunter Quantitative software version 6.00 (Agilent Technologies, Santa Clara, USA), respectively.
Method transfer was done from the sending laboratory to the receiving laboratory. 

The cross-validation samples were analyzed through a fully validated bio-analytical method at the receiving laboratory along with the calibration of the standards and QC samples for the validity of each analytical run. The following validation parameters were evaluated in the receiving laboratory for the UHPLC-MS/MS system: selectivity, linearity, limit of quantification (LLOQ), recovery, accuracy, precision and matrix effects.
Also, cross-validation samples were analyzed by the Passing and Bablok regression analysis. Passing and Bablok regression analysis is a statistical procedure which allows the valuable estimation of the analytical methods agreement and possible systematic bias between them. Results are presented with a scatter diagram and a regression line, as well as a regression equation where an intercept represents a constant and slope proportional measurement error. Confidence intervals of 95% of the intercept and slope, give the explanation whether their value differ from the value zero (intercept) and value one (slope) only by chance, allowing a conclusion of the method agreement and a correction action, if necessary.25
During this study, there have been tested the selectivity, linearity, limit of quantification (LLOQ), recovery (%), matrix effects, accuracy and precision, as described previously.9
Cross-validation showed to be successful in terms of the results’ traceability between the two instruments (slope and intercept with confidential interval values) and the results of validation parameters (selectivity, linearity, limit of quantification (LLOQ), recovery, accuracy, precision and matrix effects).
Determination of the n-octanol/water distribution coefficient (LogD) 

LogD values were determined by using a shake-flask method. In the shake-flask experiment, 5 mg of each substance (DE-EDCP and EDCP) was first mixed with 50 ml of aqueous buffer (pH 7.4). Then, 10 ml of this solution was mixed with 10 ml of the n-octanol (water saturated). The sample vial was placed on the shaker and been shaken for 12 h at 250 rpm. After equilibration, it was left to stand for 2 h to phases well separated. The separated aqueous phase is being centrifuged, the residual drops of the n-octanol to be eliminated. The aqueous phase was sampled and assayed by the transferred and cross-validated UHPLC-MS/MS which had been previously validated for the determination of the investigated substances in the aqueous buffer (pH 7.4) in order to determine the logD value. The concentration of the investigated substances in the n-octanol phase was obtained as a difference in the concentrations in the aqueous buffer, prior to mixing with the n-octanol and after mixing with the n-octanol.
Prediction of membrane permeability (PAMPA test)
The in vitro method for the prediction of membrane permeability which was used in these studies, was carried out in a 96-well format. 96-well micro-titer plates (hydrophobic PVDF MultiScreen IPFilter Plate 0.45 μm, from Milipore (Bedford, MA, USA)), were assembled into such a "sandwich" that each composite well was separated by a 125 μm microfilter disc. Filter material in each well of the filtration plate was wetted with 5 μl of the artificial membrane solution, which consisted of 1 % egg lecithin in the n-dodecane. Subsequently, the filter plate was placed on the bottom micro-titer plate containing the following donor solution: 300 μl of the compound in the concentration of 0.1 mg/mL dissolved in the buffer KH2PO4 0.2M, pH=7.4. The top acceptor wells of the sandwich, were hydrated with the 300 μl of the buffer KH2PO4 0.2M, pH 7.4. To prevent loss by evaporation, the system was first covered with a paraffinic film. The surface area of the artificial membrane was S=0.28 cm2 and the period of incubation was t=7200 s (2 h).
After incubation, the amount of the DE-EDCP and EDCP in the donor and acceptor wells, was determined by the UHPLC-MS/MS method which had been previously transferred and cross-validated.
Software

For the determination of lipophilicity (LogD7.4) of the investigated substances by the in silico model, there was used the MarvinSketch 4.1.13 (ChemAxon, Budapest, Hungary).

RESULTS AND DISCUSSION 

UHPLC-MS/MS method: transfer and cross-validation
Transfer of the ultra-high performance liquid chromatography-electro-spray tandem mass spectrometry (UHPLC-ESI-MS/MS) method for non-clinical studies and the in vitro characterization of recently synthesized substances with the cytotoxic activity, DE-EDCP and its potential metabolite EDCP, in biological material, was carried out. The reproducibility and transferability of this bio-analytical method in the mouse serum was evaluated by the validation and cross-validation of the method through using two different UHPLC-MS/MS systems. The parallel displayed values of the observed validation parameters are given in the Table 2.

Table 2: Validation parameters for the DE-EDCP and EDCP on the Thermo ACCELA and the Agilent 1290 UHPLC system

	Validation parameter
	Sending laboratory (Thermo ACCELA)
	Receiving laboratory (Agilent 1290 UHPLC system)

	
	DE-EDCP
	EDCP
	DE-EDCP
	EDCP

	Linearity of calibration curves
	1.3 - 26.7 ng/ml y=0.0461x+0.0895, r=0.9978
	0.33 - 6.67 (g/ml y=0.1527x+0.0045, r=0.9987
	3.3 - 26.7 ng/ml

y=64.243x+114.54,

r=0.9983
	0.33 - 6.67 (g/ml

y=9322.3x-103.4,

r=0.9989

	LLOQ
	1.3 ng/ml
	0.33 μg/ml
	3.3 ng/ml
	0.33 μg/ml

	Recovery %
	90.0 - 99.3
	75.8 - 100.3
	91.0 - 99.8
	77.8 - 101.5

	Matrix effect
	95.5–108.2 %
	96.7–109.4%

	Precision (%CV)
	15.99
	5.58
	3.22
	4.00

	
	13.68
	4.43
	3.36
	2.05

	
	2.25
	5.32
	3.97
	3.95

	
	3.49
	4.01
	1.87
	2.00

	Accuracy (%RE)
	3.01
	6.06
	17.05
	-9.93

	
	12.61
	-2.41
	11.50
	-14.52

	
	6.30
	-3.20
	5.20
	-13.13

	
	1.80
	-14.40
	1.73
	-14.20


y represents the peak area ratio of analyst to IS

The method was proven to be highly selective for the analytes, since no interfering peaks from the endogenous compounds were observed at the retention times for the DE-EDCP and EDCP in any of the six independent blank serum extracts evaluated.
Also, cross-validation samples analyzed by the Passing and Bablok regression analysis, showed to be successful in terms of the results’ traceability between the two instruments (for DE-EDCP: slope=0.9821 with lower 95 %-CL=0.7737 and upper 95%-CL=1.1685, and intercept=0.0547 with lower 95 %-CL=-5.1662 and upper 95%-CL=3.4285; for EDCP: slope=1.0187 with lower 95 %-CL=0.9522 and upper 95%-CL=1.1505, and intercept=-0.0488 with lower 95 %-CL=-0.5347 and upper 95%-CL=0.2187).

Overall results of the cross-validation were satisfactory in terms of all the investigated parameters proving that the method can be successfully transferred under the aforementioned conditions. Results of the validation and cross validation demonstrate that the novel UHPLC-MS/MS method for the in vivo characterization (non-clinical study) of the novel DE-EDCP and EDCP substances with cytotoxic activity, is appropriately transferred and validated at the receiving laboratory.
Validation of the UHPLC-MS/MS in the aqueous buffer

The observed UHPLC-MS/MS method was successfully validated for the determination of the investigated substances DE-EDCP and EDCP from an aqueous buffer (pH 7.4). Results of the validation parameters are given in the Table 3.
Table 3: Validation parameters for the DE-EDCP and EDCP on the Thermo ACCELA and the Agilent (in an aqueous buffer, without a biological matrix)
	Validation parameter
	Sending laboratory (Thermo ACCELA)

	
	DE-EDCP
	EDCP

	Linearity of calibration curves
	2.0 to 40.0 ng/ml

r=0.9930
	0.5 to 10.0 (g/ml

r=0.9997

	LLOQ
	2.0 ng/ml
	0.50 μg/ml

	Precision (%CV)
	3.29 to 18.07 %
	6.09 to 15.50 %

	Accuracy (%RE)
	0.01 to 16.00 % 
	1.48 to 13.50 %


Determination of the Log D7.4 in vitro/in silico and the PAMPA test
Lipophilicity of the observed substances DE-EDCP and EDCP, has been tested by the traditional shake-flask method. Passive membrane permeability has been tested by the PAMPA test. Experimental results that have been obtained in this study are shown in the Table 4. Also, in the Table 4, there can be seen in silico results of the lipophilicity of the DE-EDCP and EDCP.

Table 4: Lipophilicity and passive membrane permeability data for the investigated substances DE-EDCP and EDCP
	Compound
	Log D7.4*
	Log D7.4
	Papp (cm/s)
	%T
	% Membrane retention

	EDCP
	-1.8
	0.03
	20*10-4
	7.94
	6.90

	DE-EDCP
	4.04
	1.68
	4*10-4
	1.76
	97.46


*by MarvinSketch 4.1.13
The results represent obvious difference in the lipophilicity between the DE-EDCP and EDCP. Lipophilicity data obtained through the shake flask method, and membrane permeability data acquired by the PAMPA test, are correlated with the results gained in the previous in vitro activity studies on various leukemic cell lines of the investigated compounds. Compound DE-EDCP with a significant cytotoxic activity,1 has greater lipophilicity which allows more retention in the cell membrane. This characteristic of the aforementioned compound is particularly important for its activity. On the other hand, the suspected metabolite EDCP is more hydrophilic and passes through the membrane, without retention in the cell membrane. For that reason, the lower in vitro activity of the EDCP has been observed in the investigated cell lines. It could be hypothesized that the observed compounds with the most significant anti-neoplastic activity in the previous studies, DE-EDCP and EDCP, have the mechanism of action on the cell- membrane level.

CONCLUSIONS
In this study, there is predicted the in vivo bio-availability of the DE-EDCP and EDCP through the in vitro characterization – determination of lipophilicity and passive membrane permeability. Observed results are showing that the DE-EDCP is more lipophilic than the EDCP, with better membrane retention. It can be assumed that the mechanism of the cytotoxic activity of the DE-EDCP is at the cell-membrane level. Also, in this study, there is demonstrated a good reproducibility (transferability) and robustness of the bio-analytical method which is proposed for the in vivo characterization of the investigated substances.
ACKNOWLEDGEMENTS

This work was partly supported by the Ministry of Education, Science and Technological Development of the Republic of Serbia, as a part of the Projects No. 172041 and No. 175035. One of the authors (B.T.) is thankful to the Ministry of Science and Technology of the Republic of Srpska for funding the study through the Project 19/6-020/961-169/14.

1. REFERENCES

2. S. Misirlić Denčić, J. Poljrević, U. Vilimanovich, A. Bogdanović, J. A. Isaković, T. Kravić Stevović, M. Dulovic, N. Zogovic, M. A. Isaković, S. Grguric-Sipka, V. Bumbasirević, T. Sabo, V. Trajković, I. Marković, Chem Res Toxicol. 2012, 25, 931-939. 

3. E. Rutkowska, K. Pajak, K. Jozwiak, Acta Pol Pharm – Drug Research. 2013, 70, 3-18.
4. X. Xuan, L. Xu, L. Li, C. Gao, N. Li, Int J Pharm.2015, 490, 258-264.

5. A. Andres, M. Roses, C. Rafols, E. Bosch, S. Espinosa, V. Segarra, J. M. Huerta, Eur J Pharm Sci. 2015, 76, 181-191.

6. C. Zhu, L. Jiang, M. T. Chen, K. K. Hwang, Eur J Med Chem. 2002, 37, 399-407.
7. M. Kansy, F. Senner, K. Gubernator, J Med Chem. 1998, 41,1107-1110.
8. K. Sugano, H. Hamada, M. Machida, H. Ushio, J Biomol Screen. 2001, 6,189-196.
9. F. Wohnsland, B. Faller, J Med Chem. 2001, 44, 923-930.
10. B. Tubić, B. Marković, S. Vladimirov, S. Ristić, B. Ivković, M. Savić, J. Poljarević, T. Sabo, Acta Chromatogr. http://www.akademiai.com/doi/pdf/10.1556/1326.2017.29.2.7 (assessed: April 24, 2017)
11. T. Yoneyama, T. Kudo, F. Jinno, R. E. Schmidt, T. Kondo, The AAPS Journal. 2014, 16, 1226-1236.

12. M. H. Hill, G. Smith, Bioanalysis.2015, 7(7),783-787.

13. A. K. Shah, T. H. Karnes, J Chromatogr B. 2009, 877, 2270-2274.

14. Food and Drug Administration, Guidance for Industry: Bioanalytical Method Validation U.S. Department of Health and Human Services Food and Drug Administration Center for Drug Evaluation and Research (CDER) Center for Veterinary Medicine (CVM) BP http://www.fda.gov/downloads/Drugs/.../Guidances/ucm070107.pdf (assessed: April 24, 2017)

15. E. Rozet, W. Dewe, R. Morello, P. Chaip, F. Lecomte, E. Ziemons, S. K. Boos, B. Boulanger, J. Crommen, Ph. Hubert, J Chromatogr A. 2008, 1189,32-41.

16. European Medicines Agency,Guideline on bioanalytical method validation Doc. Ref: EMEA/CHMP/EWP/192217/2009 Rev. 1 Corr. 2** http://www.ema.europa.eu/docs/en_GB/document_library/Scientific_guideline/2011/08/WC500109686.pdf (assessed: April 24, 2017)
17. International Society for Pharmaceutical Engineering,Good Practice Guide: Technology Transfer (Second Edition) http://www.ispe.org/ispe-good-practice-guides/technology-transfer (assessed: April 24, 2017)

18. U. Schepers, H. Watzig, J Pharmaceut Biomed. 2005, 39,310-314. 

19. W. Dewe, B. Govaerts, B. Boulanger, E. Rozet, P. Chiap, Ph. Hubert, Chemometr Intell Lab.2007, 85,262-268.

20. C. Hartmann, J. Smayers-Verbeke, W. Penninckx, Y. Vander Heyden, P. Vankeerberghen, L. D. Massart, Anal Chem. 1995, 67, 4491-4499.

21. D. Chambers, G. Kelly, G. Limentani, A. Lister, R. Lung, E. Warner, J Pharm Technol. 2005, 9,64-80.

22. U. Schepers, H. Watzig, J Pharmaceut Biomed. 2006, 41, 290-292.

23. S. Feng, Q. Liang, D. R. Kinser, K. Newland, R. Guilbaud, Anal. Bioanal. Chem. 2006, 385, 975-981.

24. J. Vial, A. Jardy, P. Anger, A. Braun, J. Manet, J Chromatogr A. 1998, 815, 173-182.

25. G. de Fontenay, J Pharmaceut Biomed. 2008, 46, 104-112.

26. L. Bilić-Zulle, Biochemia Medica. 2011, 21(1), 49-52.
TABLE CAPTIONS
Table 1: Structure of EDCP, DE-EDCP, and the internal standard DB-PDCP.
Table 2: Validation parameters for the DE-EDCP and EDCP on the Thermo ACCELA and the Agilent (in an aqueous buffer, without a biological matrix).
Table 3: Validation parameters for the DE-EDCP and EDCP on the Thermo ACCELA and the Agilent 1290 UHPLC system.
Table 4: Lipophilicity and passive membrane permeability data for the investigated substances DE-EDCP and EDCP.
14

_1554478013.cdx

