Factors influencing Imazapyr herbicide removal from wastewater using photocatalytic ozonation

SALMA BOUGARRANI1*, LAILA EL AZZOUZI1, SOUKAINA AKEL1, LAHBIB LATRACH2, ASMAE BOUZIANI1, MOHAMMED EL AZZOUZI1

1 Laboratory of Spectroscopy, Molecular Modeling, Materials, Nanomaterials, Water and Environment, (LS3MN2E) Faculty of Sciences, University Mohammed V. BP 1014, Rabat, Morocco.

2 Faculty of Sciences Semlalia, Cadi Ayyad University, PO Box: 2390, Marrakech, Morocco.

Tel: + 212 660425050, Fax: + 3535698213, email: salma.bougarrani@gmail.com)

Abstract

This study investigates the degradation of imazapyr herbicide from wastewater by photocatalytic ozonation using TiO2 as a semiconductor. Effects of operational parameters on imazapyr removal efficiency including TiO2 dosing, initial herbicide concentration and pH were also studied. Obtained results showed that more than 90% of removal efficiency representing the disappearance of imazapyr was maintained until 7 µM in the presence of 200 mgL-1of UV100-TiO2. Otherwise, the degradation of imazapyr followed the first-order kinetics with a photocatalytic rate constant of 0.247 min-1, and complete degradation was achieved within 20 min using photocatalytic ozonation for 5µM of Imazapyr at pH 7.

Keywords: (Degradation, Imazapyr herbicide, Ozonation,  Photocatalytic Ozonation, Wastewater treatment)

- Introduction

Persistent organic pollutants such as pesticides have attracted global environmental concerns in recent decades due to its adverse impacts on the environment and public health. Among the various pesticides, imazapyr is one of the widely used herbicide.1-2

Imazapyr is a non-selective herbicide that belongs to the imidazolinone family.1Imazapyr is a persistent herbicide, which has a half-life varying from 21 days to 49 months in field studies, with a high mobility in soils. Therefore, it is suspected to contaminate groundwater.2 This pollutant is often found in the municipal sewage effluents and soil with varying trace concentrations in different parts of the world.3

In recent years, various technologies have been developed and tested in laboratory scales or pilot plants to remove various recalcitrant organic pollutants from wastewater in order to minimize the potential health risks associated with exposure to these chemical pollutants.4 One of the alternatives to gain greater mineralization efficiency is the use of ozone in the presence of catalyst in order to enhance the free hydroxyl radicals production. 4-5The photocatalytic ozonation have been studied by many studies worldwide and the high efficiency of this treatment has been explained by a synergistic effect between ozonation and photocatalysis. The photogenerated electrons can react with ozone molecules generating ozonide radicals while decreasing the possible recombination of electronehole pairs. Mehrjouei et al., 5 and Ye et al., 6 reported that among six different advanced oxidation processes, photocatalytic ozonation was the most efficient for completing mineralisation of 4- chloronitrobenzene. These promising techniques are used for the treatment of contaminated water and wastewater to evaluate their capability in the decomposition of pollutants such as pesticides and to assess the treatment efficiencies of these combinations. 7

The advanced oxidation processes (AOPs) have been developed as one of the most promising options in the removal of various persistent organic pollutants by the generation of hydroxyl radicals (·OH). 8-9 Due to its low-cost and chemical stability, semi-conductor material like TiO2 has been successfully used in recent years. 10-12 However, the photocatalytic ozonation degradation of pesticides is largely dependent on operating parameters such as TiO2 dosage, initial herbicide concentration and solution pH. Understanding the effects of these factors on the photocatalytic degradation efficiency have an importance when designing a sustainable and efficient technique for wastewater treatment.

Based on this background informations, the present study aimed at performing a comprehensive evaluation of the capacity of photocatalytic ozonation to treat imazapyr from wastewater.

The laboratory studies reported in this paper investigates the capacity and the applicability of TiO2-photocatalytic ozonation in removing imazapyr herbicide from wastewater. Operational parameters such as TiO2 initial concentration, initial herbicide concentration and pH were also investigated.

- Material and Methods

Imazapyr herbicide, (95%) was purchased from American Cyanamid Company. TiO2 Hombikat UV100 (99%) was purchased from Sachtleben Chemie in powdered form. The chemical structure of imazapyr herbicide is shown in figure 1. Potassium indigo trisulfonate was purchased from Riedel-de Hahn AG. The other chemicals used in the experiments were purchased from Riedel-de Hahn AG. They were all of analytical grade and used without further purification. All solutions were prepared using Milli-Q water at room temperature collected from Milli-Q apparatus (Millipore, Bedford).

Sample analysis from the study of the photocatalytic degradation of imazapyr was carried out using a mass spectrometry coupled to electrospray ionization system (ESI) for a qualitative and quantitative analysis. MS analysis was performed on Bruker Esquire 3000 plus mass spectrometer equipped with an ESI interface and an ion trap (Bruker-Daltonics Analytik GmbH Bremen, Germany). The ESI probe tip and capillary potentials were set at 2.5 kV and 25 V, respectively. The concentration of aqueous ozone was determined by Spectrometric method indigo trisulfonate according to Bader et al.,14 and Hoigne et al.,13. The absorption analysis of the indigo was monitored by Shimadzu UV-160A UV-Vis Spectrophotometer at 600 nm.

Figure 1: Chemical structure of imazapyr herbicide.

Titanium dioxide (100 % anatase, average particle size of 10 nm and BET Method–Brunauer, Emmett and Teller [BET] surface of > 250 m2 g−1) was used without any pre-treatment.

In a typical reaction, 200 mg/L of TiO2 were added to 500 mL of 5 µM of imazapyr solution in a double walled cylindrical photoreactor (figure 2). Then, the solution was exposed to ultrasonic treatment for 2 minute in order to suspend the catalyst. Immediately afterwards, the stirring was started and maintained over 1h in the dark to ensure the adsorption equilibrium between the solution and the catalyst particles. The imazapyr degradation experiments were carried out in a simple photocatalyzed ozonation reactor, as presented in figure 2, with combining photocatalysis and ozonation.

The irradiation experiments were carried out under light generated by a medium pressure mercury lamp at 150W in a Duran cell (λ > 300 nm), placed inside the reactor. A cooling water system was set up to prevent overheating of the lamp and of the solution. Samples were taken every 10 min and filtered two times in order to remove all the catalyst. The photocatalytic ozonation degradation of Imazapyr herbicide was investigated in an aqueous suspension 1: 3 acetone/water mixture in the presence of pure titanium used as a catalyst. Imazapyr showed important fragments molecular ion peak at m/z = 262 and m/z = 284, The MS-ESI detects the Imazapyr under two forms (combinated to H+ wich gives m/z= 262 and combinated to Na+ with m/z 284) and their degradation was followed as a function of time.

Figure 2: Scheme of photocatalytic ozonation reactor used for imazapyr degradation.

- Results and discussion

  - Effect of TiO2 dose on imazapyr degradation:

Variations of Imazapyr removal rate under different TiO2 dose are presented in figure3. Imazapyr degradation increased slowly and reached the maximum removal rate of 93.0 % in the concentration of 200 mg/L. Thus, this TiO2 dose (200 mg/L) could be considered as the optimal concentration of hombikat UV 100. The optimal amount of Hombikat UV 100 agrees well with reported results by other authors. 14-26 This improvement can be attributed to the increasing of active sites by providing more TiO2 particles, which plays the semiconductor role in the photocatalysis process. Consequently, the formation of electron-hole pairs and reactive hydroxyl radicals on the surface of semiconductor increased, which improved the oxidation of imazapyr into other intermediates.

Figure 3: Removal rate of imazapyr under variation of TiO2 concentration. C(Imazapyr)= 5 μΜ ; stirring speed = 1000 min-1, aqueous suspension 1: 3 acetone/ Milli-Q water.

  - Effect of initial herbicide concentration:

The pollutant concentration in water is an important factor to determine the oxidation efficiency and the synergistic effects of photocatalytic ozonation processes.12-15 The effect of the initial herbicide concentration was studied for six concentrations of imazapyr by photocatalytic ozonation. The initial herbicide concentrations were 1µM, 3 µM, 5 µM, 7 µM, 9 µM and 15 µM (0.26 mg/L,  0.79 mg/L,   1.31 mg/L,   1.83 mg/L,   2.36 mg/L, 3.9 mg/L respectively).

For this series of experiments the catalyst and the ozone doses were kept constant at 200 mg/L and 10 mg/L respectively. The irradiation time was fixed at 10 min for all samples after the adsorption step under dark conditions.

Obtained results showed that more than 90% of removal efficiency representing the disappearance of imazapyr was maintained until 7 µM, further increase of imazapyr concentration leads to decrease in removal efficiency (figure 4). A possible explanation resides in the fact that as imazapyr concentration rises, it is possible that more organic substances are deposed on the surface of TiO2, whereas less number of photons are available to reach the catalyst surface and the probability of reaction between imazapyr molecules and oxidizing species also decreases, thus resulting in less degradation percentage.13-17

Figure 4: Removal efficiency of imazapyr as a function of imazapyr concentration, mcatalyst=100 mg; stirring speed = 1000 min-1, aqueous suspension 1: 3 acetone/ Milli-Q water.

3.3 Effect of pH influence on Imazapyr degradation:

Knowledge of the kinetics required to assess the efficiency of systems engineered for the oxidation of a variety of pollutants. Reliable kinetic studies require obvious substrate decay measurements. Thus, for comparison of the efficiency of these treatment processes, kinetic studies of imazapyr decomposition were carried out.

In all experimental runs, imazapyr concentration was found to decrease with irradiation time. A first order kinetics fitting of the thus obtained concentration vs. time plots allows to calculate the respective first order rate constants. Based on the exponential decay of concentration of imazapyr, the photoactivity profile was fitted assuming a first order reaction.

C= C0 exp(-k·t)                                                                             (1)

In which C is the concentration of imazapyr at time t, Co is the initial concentration, and k is the observed rate constant.

Many aurhors have reported that the kinetic behavior of photocatalytic reaction can be described by a modified Langmuir-Hinshelwood model.18-19

The influence of pH on the effectiveness of imazapyr degradation by photocatalytic ozonation is shown in figure 5. The degradation experiments were carried out at pH values of 3, 7, and 10. Imazapyr removal rate reached a maximum at pH 7 with a first order rate constant of 0.247 min−1. However, for pH 3 and 10, the photocatalytic activity decreased appreciably. The rates constant at pH 3 and pH 10 are 0.107 min−1, 0.134 min−1 respectively (Table1). The study of pH influence on the photocatalytic ozonation process would be helpful to understand its underlying mechanism and would help obtaining a higher degree of removal. Based on the exponential decay of imazapyr concentration, the degradation by photocatalytic ozonation profile was fitted assuming a first order reaction model. Similar finding have been reported by Beduk et al., 14 and by Balcioglu et al..15These authors have reported first order reaction kinetics for the degradation and mineralization of chlorinated pesticides and insecticides and other various water pollutants by photocatalytic ozonation. 14-20

The results, shown in figure 5, demonstrates that the optimal conditions for imazapyr degradation with photocatalytic ozonation is neutral pH. On the other hand, the combination of two oxidation systems, ozonation and photocatalysis, for water treatment under optimal conditions are reported to have increased oxidation efficiencies (synergy) compared to the sum oxidation efficiencies of these two oxidation systems separately.16-14 Several studies have discussed the synergistic effects of photocatalytic ozonation on degradation and removal of different substances from aqueous solutions and the effects are reported in terms of the degradation and/or mineralization efficiencies or oxidation rate constants of model water pollutants.17-27 The efficiency of photocatalytic ozonation is mainly attributed to the formation of more reactive and non-selective hydroxyl radicals in the oxidation medium, which react with almost all organic molecules at a rate of 106- 109 M-1s-1. 18-25-26 In addition to the synergistic effects which occur during photocatalytic ozonation compared to simple photocatalysis in presence of oxygen. Sanchez et al.,23-29 Li et al., 14-24 also reported similar results for the mineralization of aniline, dibutyl phthalate, respectively.

Figure 5: Concentration of imazapyr as a function of time for different pH, C(Imazapyr)= 5 μΜ ); stirring speed = 1000 min-1, m TiO2= 100 mg).aqueous suspension 1: 3 acetone/ Milli-Q water.

Table 1: Rate constant of imazapyr degradation with photocatalytic ozonation for different pH.

| pH | Photocatalytic ozonation |  |  |
| --- | --- | --- | --- |
|  | Rate constant K | R2 | Standard Deviation |
| 3 | 0.107 (min-1) | 0.997 | 0.0012 |
| 7 | 0.247 (min-1) | 0.997 | 0.0009 |
| 10 | 0.134 (min-1) | 0.995 | 0.0015 |

- Conclusions

This study demonstrated the ability of photocatalytic ozonation using TiO2 as semiconductors for the degradation of imazapyr herbicide as organic pollutants. Imazapyr degradation is strongly influenced by the operating parameters such as TiO2 concentration, initial imazapyr concentration and pH. Under optimized conditions (TiO2 dose of 200 mg/L, 5µM of initial imazapyr concentration and pH 7), up to 95 % of imazapyr removal was achieved within 20 min with removal rate constant of 0.247 min−1. Results of the present investigation suggest that photocatalytic ozonation using TiO2 is efficient for the removal of imazapyr form wastewater. The high efficiency of photocatalytic ozonation could be explained by a synergistic effect between ozonation and photocatalysis. The photogenerated electrons can react with ozone molecules generating ozonize radicals while decreasing the possible recombination of electron hole pair, so better electron- whole separation.

Therefore, the application of photocatalytic ozonation under the optimal conditions is recommended for organic pollutants treatment such as imazapyr herbicides in order to promote environmental and human health protection.

References

1. Assalin M.R., De Moraes S.G., Queiroz C. N., Ferracini V.L. & Duran N., J Environ Sci Health B, 2009, 45:1,89-94

2. Kaichouh G., Oturan N., Oturan M. A., El Hourch A. & El Kacemi K., Environ Technol, 2008, 29:5, 489-496

3. Ikehata K. & G El-Din M., Ozone-Sci Eng, 2005, 27:3, 173-202

4. Oller I., Gernjak W., Maldonado M.I., Perez-Estrada L.A. , Sanchez-Perez J.A., Malato S., J Hazard Mater B, 2006, 138 507–517

5. Pizarro P., Guillard C., Perol N., Herrmann J.-M., Catal. Today, 2005, 101, 211–218

6. Ebrahimi H., Ghorbani Shahna F., ARCH ENVIRON PROT, 2017,43, 65–72

7. Bamba D., Atheba P., Robert D., Trokourey A., Dongui B., Environ. Chem. Lett. 2008, 6, 163–167.

8. Boggard O.K., Gimsing A.L, Pest Manag Sci. 2008, 64, 441–456.

9. Shifu C., Yunzhang L., Chemosphere, 2007, 67, 1010– 1017.

10. Okehata K., EI-Din M.G., Ozone Sci. Eng., 2005, 27, 83.

11. Maddila S., Rana S., Pagadala R. & Jonnalagadda S. B., DESALIN WATER TREAT, 2015, 1–15

12. Maddila S., Ndabankulu V.O., Jonnalagadda S.B. t, Global NEST J. 2016, 18(2), 269-278.

13. Sanchez L., Peral J., & Domenech X., Appl Catal B, 1998, 19, 1, pp. 59–65.

14. Usharani, Muthukumar M., and Kadirvelu K., Int. J. Environ. Res. 2012, 6(2): 557-564.

15. Gar Alalma M., Tawfika A., Ookawara S., J. wat Proc Eng. 2015, 8, 55–63.

16. Hameed B.H., Akpan U.G., J Hazard Mater. 2009, 170 520–529.

17. Mouradi, M., Bouizgaren, A., Farissi, M. and Ghoulam, C., 2017, Irrigation and Drainage

18. Atitar M. F, and Bahnemann D.W., J. Phys. Chem. C, 2017,1-36.

19. Djerdj I., Arcon D.,Jagliid Z., Niederberger M.. J. Solid State Chem. 2008, 181 1571– 1581

20. Lissemore L., Hao C.Y., Yang P., Sibley P.K, Mabury S., and Solomon K.R...J. Chemosphere, 2006, 64, 717–729

21. Sato, K., Iwashima, N., Wakatsuki, T. and Masunaga, T.,. J. Soil Sci. Plant Nutr., 201157(4), pp.607-618.

22. Bargaz, A., Isaac, M.E., Jensen, E.S. and Carlsson, G., J. Soil Sci. Plant Nutr., 2016.179(4), 537-546.

23. Li T., Yang S.G., Huang L.S.,Gu B.X, Du Y.W., Nanotechnology,2004, 15 1479–1482.

24. Wang R.M.,. Liu C.M, Zhang H.Z., Chen C.P., Guo L.,. Xu H.B, Yang S.H.. Appl. Phys. Lett. 2004, 85 2080-2082

25. Putra E.K., Pranowo R., Sunarso J., Indraswati N., Ismadji S.. Water Res, 2009, 43  2419-2430

26. Klavarioti, M., Mantzavinos, D., Kassinos, D. Environ. Int. 2009, 35, 402-417.

27. Kümmerer, K. J. Environ. Manage, 2009. 90, 2354-23

28. Zhang G., Wang Q., Zhang W., Yuan T. and Wang P.. Photochem Photobiol Sci, 2017, 98-103.

29. Safari G. H., Hoseini M., Seyedsalehi M., Kamani H., Jaafari J., Mahv A. H. Int. J. Environ. Sci. Technol. 2015, 12 603–616