Modified screen printed electrode for selective analysis of folic acid

Hadi Beitollahi1 and Mohadeseh Safaei*,2 
1Environment Department, Institute of Science and High Technology and Environmental Sciences, Graduate University of Advanced Technology, Kerman, Iran
2Department of Chemistry, Faculty of Sciences, Islamic Azad University, Yazd Branch, Yazd, Iran

*Corresponding author: E-mail: mohadesehsafaei2017@gmail.com
Tel.: +98 3531872576; Fax: +98 3531872576

Abstract
In the present work, NiFe2O4 nanoparticles was successfully synthesized. The novel voltammetric sensor was used as electrochemical sensor for determination of folic acid. Differential pulse voltammetry response shows the linear increment of oxidation signals with an increase in the concentration of folic acid in the range of 1.0 × 10-7-5.0 × 10-4 M with limit of detection 3.4 × 10-8  M. Finally, the screen printed electrode modified by NiFe2O4 nanoparticles (NFO/SPE) was used as high sensitive tools for analysis of folic acid in real samples.
Keywords: Folic acid; NiFe2O4 nanoparticles; Screen printed electrodes; Voltammetry; Real sample; Eectrochemical sensor.
1. Introduction
Application of screen-printed electrodes (SPEs) has a main advantage of miniaturization compared to the conventional electrodes including carbon paste or glassy carbon electrodes. 1 SPEs offer attractive advantages in electrochemical analysis featuring disposability, low cost, flexible in design, ease of chemical modification, and rapid response. 2-4 

Magnetic nanoparticles (NPs) are the most popular materials in analytical biochemistry, medicine, removal of heavy metals and biotechnology, and have been increasingly applied to immobilize proteins, enzymes, and other bioactive agents due to their unique advantages. 5-9 NiFe2O4 nanoparticles (NiFe2O4 NPs) have attracted an increasing interest in construction of sensors and biosensors because of their good biocompatibility, strong super paramagnetic property, low toxicity, easy preparation and high adsorption ability. The quantitative cytotoxicity test verified that NiFe2O4 nanoparticles had noncytotoxicity. Moreover, NiFe2O4 NPs exhibit high surface area and low mass transfer resistance.10-12 

Folic acid (FA) is a kind of water-soluble vitamin and can act as coenzyme in the transfer and utilization of one-carbon groups and in the regeneration of methionine from homocysteine.13 
This vitamin has lately received considerable attention due to its believed antioxidant activity and use for cancer prevention. While present in a wide variety of nutritions and pharmaceutical formulations, the human metabolism is unable to produce folic acid.14-16 The decrease in concentration of folic acid can cause however serious complications such as leucopoenia, gigantocytic anemia, psychosis, devolution of mentality and increasing possibility of heart attack and stroke. Hence, the development of sensitive and fast methods for the determination of folic acid has attracted considerable attention.17-19 
 Which is important in amino acid and nucleotide metabolism, growth and health of most aquatic animals.20 Deficiency of folic acid is a common cause of anaemia and it is thought to increase the likelihood of heart attack and stroke. Many studies suggest that diminished folate status is associated with enhanced carcinogenesis as folic acid with vitamin B12 participates in the nucleotide synthesis, cell division and gene expression.21 

The lack of FA in human body can lead to anemia. Especially, for pregnant women, the lack of FA may cause a low birth weight of the fetus, cleft lip, heart defects and so on.22 However, too much FA in the human body can lead to zinc deficiency and anorexia, nausea and a series of gastrointestinal symptoms. Meanwhile, uric acid (UA) is a product of metabolic breakdown of purine nucleotides and it coexists with FA. So it is important to accurately detect FA in biological systems. Some analytical methods have been reported for the determination of FA with high performance liquid chromatography,23 spectrophotometry,24 chemiluminescence,25 spectrofluorometric 26 and Enzyme-linked ligand sorbent test methods.27 
 But these techniques have many disadvantages, such as high cost from the equipments and disposable chemicals, complicated and time-consuming pretreatments, and so on. Electrochemical techniques are the most preferred ones considering their simplicity, rapid response, good stability, low cost, high sensitivity and excellent selectivity，which are widely used in the field of food, drug, biological and environmental analysis.28-41 Recently, some nanomaterials modified electrodes have been used to electrochemically detect FA.42-53 However, some drawbacks are associated with these modified electrodes, such as tedious electrode protocles, high detection limit, low sensitivity and poor selectivity.
The direct electrochemical oxidation of folic acid at bare electrode results in high overpotential in the oxidation process, increase of background current and high limit of detection.54 

The present study is aimed at the synthesis of the NiFe2O4 nanoparticles and its application in the form of the modified screen printed electrode for trace, rapid, and sensitive determination of folic acid through cyclic voltammetric and differential pulse voltammetric techniques. To our knowledge, there is no report on the voltammetric behaviour, and the determination of folic acid at the NiFe2O4 nanoparticles. Low detection limit, high sensitivity, and a wide linear range of folic acid concentrations were thus obtained.

2. Experimental
2.1. Apparatus and chemicals 
Fourier transform infrared (FT-IR) spectra were recorded in transmission mode with a Perkin Elmer BX FT-IR infrared spectrometer. FT-IR spectra in the range 4000–400 cm-1 were recorded in order to investigate the nature of the chemical bonds formed. X-ray powder diffraction (XRD) analysis was conducted on a Philips analytical PC-APD X-ray diffractometer with graphite monochromatic CuKα radiation (α1,λ1=1.54056 Å, α2,λ2=1.54439 Å) to verify the formation of products. The X-ray diffraction pattern was indexed using Joint Committee on Powder Diffraction Standards (JCPDS) card. SEM images of the samples were collected on JSM, 6380 LV equipped with an EDX microanalysis.
The electrochemical measurements were performed with an Autolab potentiostat/galvanostat (PGSTAT 302N, Eco Chemie, the Netherlands). The experimental conditions were controlled with the General Purpose Electrochemical System (GPES) software. The screen-printed electrode (DropSens, DRP-110, Spain) consists of three main parts which are a graphite counter electrode, a silver pseudo-reference electrode and a graphite working electrode, unmodified. A Metrohm 710 pH meter was used for pH measurements. 
Folic acid and all other reagents were of the analytical grade, and they were obtained from Merck (Darmstadt, Germany). The buffer solutions were prepared from orthophosphoric acid and its salts over the pH range of 2.0-9.0. 

2.2. Synthesis of NiFe2O4 nanoparticles
NiFe2O4 nanoparticles were synthesized in the presence of urea using a hydro/solvothermal method. Solution of urea were dissolved in 60 ml of deionized water and then 20 ml polyethylene glycol (PEG) was added to solution to form brown homogeneous solutions. Then 10 mL FeCl3.6H2O (16 mmol) and 10 mL NiCl2.6H2O (8 mmol) were added into the above solution, respectively. The mixed solutions, with stoichiometric 30 molar ratio of urea/Fe3+ (with excess urea that form sufficient precipitating ions for metal oxides formation), were magnetically stirred until all the starting materials were totally dissolved at 25 °C. These solutions were further homogenized in an ultrasonic water bath for 15 min and then respectively transferred into Teflon-lined stainless steel autoclave with a capacity of 200 ml in order to keep them at 200 °C for 24 h in an oven. Subsequently, the autoclaves were air cooled to room temperature. The as-obtained precipitates were centrifuged, and then washed with deionized water and absolute ethanol for several times to remove the impurities in the products. The resulting products were dried in a vacuum oven at 105 °C for 12 h. 
2.3. Preparation of the electrode
 The bare graphite screen printed electrode was coated with NiFe2O4 nanoparticles, as shown in the following. A stock solution of NiFe2O4 nanoparticles in 1 mL of the aqueous solution was prepared by dispersing 1 mg of NiFe2O4 nanoparticles with ultrasonication for 30 min, while 5 µl of aliquots of the NiFe2O4 suspension solution was cast on the carbon working electrodes, followed by waiting until the solvent was evaporated in room temperature (Sheme 1). 
[image: image1.jpg]-

/ \
4 \

Folic acid, - Folic acidg 4

S ulaliquot of the NiFe, 04
NP:H,0 suspension





Sheme 1. The schematic diagram of the fabrication of NFO/SPE.
2.4. Preparation of real samples

Folic acid tablets (Ruzdarou, Iran [labelled value folic acid = 5 mg/tablet]) were perchased. The folic acid tablets were completely grounded and homogenized before preparing 10 mL of the 0.1 M stock solution. The solution was sonicated to assure complete dissolution and then filtered. The required amount of clear filtrate was then added to the electrochemical cell containing 10 mL of the 0.1 M PBS (pH 7) to record the DPV voltammogram.

Urine samples were stored in a refrigerator immediately after collection. Ten millilitres of the samples were centrifuged for 15 min at 2000 rpm. The supernatant was filtered out by using a 0.45 µm filter. Next, different volumes of the solution was transferred into a 25 mL volumetric flask and diluted to the mark with PBS (pH 7.0). The diluted urine samples were spiked with different amounts of folic acid. The folic acid contents were analysed by the proposed method by using the standard addition method.

3. Result and Discussion
3.1. Morphology and structure of NiFe2O4 nanoparticles 

The vibration frequencies in the infrared spectrum of a molecule were considered to be a unique physical property and were a characteristic of the molecule. Fig. 1 shows two persistent absorption bands corresponding to the vibration of tetrahedral and octahedral complexes at 599 cm-1 and 465 cm-1, respectively. Those bands confirmed the formation of spinel nickel ferrite structure. As can be seen from FT-IR spectra the normal mode of vibration of tetrahedral cluster (599 cm-1) is higher than that of octahedral cluster (465 cm-1). This is due to the shorter bond length of tetrahedral cluster than the octahedral cluster. 10, 55
[image: image2.jpg]0ZL o0L 08 09 oOoF 02
[24] @oueniwsues )

3500 3000 2500 2000 1500 1000
Wavenumber/ Cm-!

4000




Fig. 1. FT-IR spectra of NiFe2O4 nanoparticles
An XRD spectrum of the NiFe2O4 nanoparticles is shown in Fig. 2. For the NiFe2O4 nanoparticles, the eleven characteristic peaks occur at 2θ of 30.48°, 35.87°, 36.21°, 45.52°, 51.89°, 57.51°, 63.63°, 72.14°, 75.52°, 76.68°, and 79.68°, which are marked by their corresponding indices (220), (311), (222), (400), (422), (511), (440), (620), (533), (622) and (444), respectively. This reveals that the magnetic particles are pure NiFe2O4 with a spinel structure. No diffraction peaks of other impurities such as α-Fe2O3 or NiO were observed. The broadness of the diffraction peaks suggests the nano-sized nature of the product and the average crystallite size (t) of it was calculated using the Debye–Scherrer formula as 40.0 nm. t = 0.9 λ / β cos (θ) where λ is the wavelength of the X-ray radiation (1.54056 Å for Cu lamp), θ is the diffraction angle and β is the full width at half-maximum (FWHM). 10, 55, 56
[image: image3.jpg]Aisuajui

60 70 80

40 50
2 Theta/ degree

30

20




Fig. 2. X-ray diffraction patterns of the NiFe2O4 nanoparticles.
The morphology of the product was examined by SEM. Fig. 3A depicts the SEM pictures of NiFe2O4 nanoparticles. From the graph, it was observed that the nanoparticles, which are nearly spherical, are not agglomerated and they are seen as less than 10 nm. 

The EDX analysis was performed to further confirm the composition of the obtained products. Fig. 3B shows that the products are composed of Ni, Fe and O. The C peak in the spectrum is attributed to the electric latex of the SEM sample holder.
[image: image4.jpg]MMV 2000 v WO 15720
MMAG 7001 kx Dot S8

Dete(wdy) 0M1INT  guest





Fig. 3. (A) SEM micrographs with (B) its EDX spectra of NiFe2O4 nanoparticles.
3.2. Electrochemical behaviour of folic acid at the surface of various electrodes
 The electrochemical behaviour of folic acid depends on the pH value of the aqueous solution. Therefore, the pH optimization of the solution seems to be necessary in order to obtain the best results for electro-oxidation of folic acid. Thus, the electrochemical behaviour of folic acid was studied in 0.1 M PBS in different pH values (2.0-9.0) at the surface of NFO/SPE by voltammetry. It was found that the electro-oxidation of folic acid at the surface of NFO/SPE was more favoured under neutral conditions than in acidic or basic medium. Here pH 7.0 was chosen as the optimum pH for electro-oxidation of folic acid at the surface of NFO/SPE. 
Fig. 4 depicts the CV responses for electro-oxidation of 100.0 μM folic acid at the unmodified SPE (curve b) and NFO/SPE (curve a). The peak potential occurs at 670 mV due to the oxidation of folic acid, which is about 70 mV more negative than the unmodified SPE. Also, NFO/SPE shows much higher anodic peak currents for the oxidation of folic acid compared to the unmodified SPE, indicating that the modification of the unmodified SPE with NiFe2O4 nanoparticles has significantly improved the performance of the electrode towards folic acid oxidation. 
[image: image5.jpg]|1 pA

8.70

5.70 -

2.70 -

200

500 800
E/ mV vs. Ag/AgCI/KCI

1100




Fig. 4. CVs of a) NFO/SPE and b) unmodified SPE in the presence of 100.0 µM folic acid at pH 7.0. In all cases, the scan rate was 50 mV s-1.

3.3. Effect of scan rate 
Fig. 5 illustrate the effects of potential scan rates on the oxidation currents of folic acid, indicating that increasing the scan rate increased the peak currents. Also based on the fact that the plots of Ip against the square root of the potential scan rate (ν1/2) for analyte was linear, it was concluded that the oxidation processes are both diffusion controlled. 
[image: image6.jpg]I/ pA

57

37 -

17 -

60
y =1.9247x -2.2236
R* = 0.9969
12 Vi
A
40 -
<
.
20 -
1
0 ey
0 10 20 30
viZ] (mV s1)12
0 1000 2000 3000

E/ mV vs. Ag/AgCI/KCI




Fig. 5. CVs of NFO/SPE in 0.1 M PBS (pH 7.0) containing 150.0 µM of folic acid at various scan rates; numbers 1-12 correspond to 10, 25, 50, 75, 100, 200, 300, 400, 500, 600, 700 and 800 mV s-1, respectively. Inset: Variation of anodic peak current vs. square root of scan rate.

3.4. Chronoamperometric measurements
 Chronoamperometric measurements of folic acid at NFO/SPE were carried out by setting the working electrode potential at 0.75 V vs. Ag/AgCl/KCl (3.0 M) for various concentrations of folic acid (Fig. 6) in PBS (pH 7.0). For electroactive materials (folic acid in this case) with a diffusion coefficient of D, the current observed for the electrochemical reaction at the mass transport limited condition is described by the Cottrell equation.57 
I =nFAD1/2Cbπ-1/2t-1/2
where D and Cb are the diffusion coefficient (cm2 s-1) and the bulk concentration (mol cm−3), respectively. Experimental plots of I vs. t−1/2 were employed with the best fits for different concentrations of folic acid (Fig. 6A). The slopes of the resultant straight lines were then plotted against folic acid concentrations (Fig. 6B). From the resultant slope and the Cottrell equation, the mean values of D were found to be 1.3×10-5 cm2/s for folic acid.
[image: image7.jpg]|1 A

480

320 -

I/ pA

160

s

1

-

=

—
R y = 12.265x + 3.6754|

0 R* = 0.9993
0 0.8 1.6 24

[Folic acid] / mM

t/s




Fig. 6. Chronoamperograms obtained at NFO/SPE in 0.1 M PBS (pH 7.0) for different concentrations of folic acid. The numbers 1-6 correspond to 0.1, 0.25, 0.5, 1.0, 1.5 and 2.0 mM of folic acid. Insets: (a) Plots of I vs. t-1/2 obtained from chronoamperograms 1-6. (b) Plot of the slope of the straight lines against folic acid concentrations.

3.5. Calibration plots and limits of detection
 The electro-oxidation peak currents of folic acid at the surface of NFO/SPE can be used to determine folic acid in the solution. Since differential pulse voltammetry (DPV) has the advantage of having an increase in sensitivity and better characteristics for analytical applications, DPV experiments were performed by using NFO/SPE in 0.1 M PBS containing various individual concentrations of folic acid (Fig. 7). The results show that the electrocatalytic peak currents of folic acid oxidation at the surface of NFO/SPE were linearly dependent on folic acid concentrations over the range of 1.0-500.0 µM, while the detection limit (3σ) was obtained as 0.023µM. These values are comparable with values reported by other research groups for electrocatalytic oxidation of levodopa at the surface of chemically modified electrodes (see Table 1).
[image: image8.jpg]|/ pA

33

22 -

11 -

33

0+

y = 0.0564x + 2.077
R*=0.9975

0 180 360 540
[Folic acid] / pM

200 800

1400 2000

E/ mV vs. Ag/AgCI/KCI




Fig. 7. DPVs of NFO/SPE in 0.1 M PBS (pH 7.0) containing different concentrations of folic acid. Numbers 1-18 correspond to 0.1, 0.5, 1.0, 5.0, 10.0, 20.0, 30.0, 40.0, 50.0, 60.0, 70.0, 80.0, 90.0, 100.0, 200.0, 300.0, 400.0 and 500.0 μM of folic acid. The inset shows the plot of the peak current as a function of the folic acid concentration in the range of 0.1-500.0 μM.
Table 1. Comparison of the efficiency of some electrodes used in detection of folic acid.

	Electrode
	Modifier
	Method
	LOD (M)
	LDR (M)
	Ref.

	Carbon paste
	multiwall carbon nanotubes


	Voltammetry
	1.1 × 10-6
	4.6× 10-6-152.0 × 10-6
	58

	Carbon paste
	(DEDE) and NiO/CNTs nanocomposite
	Voltammetry
	0.9× 10-6
	3.0× 10-6-550.0× 10-6
	59

	Carbon paste
	ZrO2 nanoparticles
	Voltammetry
	9.86 × 10-6
	2.0× 10-5-2.5 × 10-3
	60

	Glassy carbon
	graphene/MWCNT nanocompositeloaded Au nanoclusters
	Voltammetry
	0.09 × 10-6
	10.0× 10-6-170.0 × 10-6
	61

	Carbon paste
	Ruthenium(II) Complex-ZnO/CNTs Nanocomposite


	Voltammetry
	1.0 × 10-6
	3.0× 10-6-700.0 × 10-6
	62

	Screen printed
	NiFe2O4 nanoparticles
	Voltammetry
	3.4 × 10−8 
	1.0 × 10−7–5.0 × 10−4 
	This

Work


3.6. Real sample analysis
 In order to evaluate the analytical applicability of the proposed method, it was applied to determine folic acid in folic acid tablets and urine samples by using the standard addition method. The results for the determination of the folic acid in real samples are given in Table 2. Satisfactory recoveries of the experimental results were found for folic acid. The reproducibility of the method was demonstrated by the mean relative standard deviation (R.S.D.).
Table 2. Determination of folic acid in folic acid tablet and urine samples. All the concentrations are in μM (n=5).

	Sample
	Spiked
	Found 
	Recovery (%)
	R.S.D. (%)

	Folic acid tablet
	0
	15.0
	-
	3.2

	
	2.5
	17.8
	101.7
	1.7

	
	5.0
	19.5
	97.5
	2.8

	
	7.5
	23.3
	103.5
	2.2

	
	10.0
	24.8
	99.2
	2.4

	Urine
	0
	-
	-
	-

	
	10.0
	10.3
	103.0
	3.4

	
	20.0
	19.9
	99.5
	1.7

	
	30.0
	29.1
	97.0
	2.3

	
	40.0
	40.5
	101.2
	2.8


4. Conclusion
     In this work, NiFe2O4 nanoparticles has been employed as a modifier in the modification of SPEs. A novel sensor has been developed, which provides an extremely sensitive and selective method for determination of folic acid. The proposed protocol demonstrated a novel, simple, portable, inexpensive, and easy-to-use fabrication method to measure folic acid concentrations in real samples with good analytical performance. 

6. References:
1. D. Martín-Yerga, E. Costa Rama, A. García, J Chem Educ, 2016, 93, 1270-1276. DOI:10.1021/acs.jchemed.5b00755

2. L. Ochiai, M. D. Agustini, L. C. Figueiredo-Filho, C. E. Banks, L. H. Marcolino-Junior, M. F. Bergamini,  Sens Actuator B, 2017, 241, 978-984. DOI: 10.1016/j.snb.2016.10.150
3. F.Y. Kong, S.X. Gu, W. Li, T.T. Chen, Q. Xu, W. Wang, Biosens Bioelectron, 2014, 56, 77-82.  DOI:10.1016/j.bios.2013.12.067
4. W. Sun, S. Gong, Y. Deng, T. Li, Y. Cheng, W. Wang, L. Wang, Thin Solid Films, 2014, 562, 653-658.  DOI:10.1016/j.tsf.2014.05.002
5. M. R. Akhgar, H. Beitollahi, M. Salari, H. Karimi-Maleh, H. Zamani, Anal. Methods, 2012, 4, 259-264. DOI:10.1039/C1AY05503H
6. M. Mazloum-Ardakani, H. Beitollahi, Z. Taleat, H. Naeimi, N. Taghavinia, J. Electroanal., Chem 2010, 644, 1-6.  DOI:10.1016/j.jelechem.2010.02.034
7. H. Chen, J. Yan, H. Wu, Y. Zhang, S. Z. Liu, J. Power Sources, 2016, 324, 499-508.  DOI:10.1016/j.jpowsour.2016.05.075
8. X. Sun, Y.Q. Ma, S. T. Xu, Y. F.  Xu, B. Q. Geng, Charact, 2015, 107, 343-349.  DOI:10.1016/j.matchar.2015.08.003
9. Y. Xiong, L. Fu, X. Wang, Chem. Eng. J., 2012, 195, 149-157.  DOI:10.1016/j.cej.2012.05.007
10. A. A. Ensafi, A. R. Allafchian, B. Rezaei, R. Mohammadzadeh, Mater. Sci. Eng. C, 2013, 33, 202-208.  DOI:10.1016/j.msec.2012.08.031
11. A. A. Ensafi, B. Arashpour, B. Rezaei, A. R. Allafchian, Mater. Sci. Eng,. C 2014, 39, 78-85.  DOI:10.1016/j.msec.2014.02.024
12. U. Kurtan, H. Gungunes, H. Sozeri, A. Baykal, Ceramics Int, 2016, 42, 7987-7992.  DOI:10.1016/j.ceramint.2016.01.200
13. C.M. Pfeiffer, Z. Fazili, L. McCoy, M. Zhang, E.W. Gunter, Clin. Chem., 2004, 50, 423–432. DOI:10.1373/clinchem.2003.026955
14. W. Shi, Y. Wang, H. Zhang, Z. Liu, Z. Fei, Food Chem., 2017, 226, 128-134.  DOI:10.1016/j.foodchem.2017.01.054
15. M. Dervisevic, M. Senel, T. Sagir, S. Isik, Biosens. Bioelectron, 2017, 91, 680-686.  DOI:10.1016/j.bios.2017.01.030
16. B.N. Chandrashekar, B. E. Kumara Swamy, K.J. Gururaj, C. Cheng, J. Mol. Liq., 2017, 231, 379-385.  DOI:10.1016/j.molliq.2017.02.029
17. L. Zhang, C. Xiong, H. Wang, R. Yuan, Y. Chai, Sens. Actuators B, 2017, 241, 765-772.  DOI:10.1016/j.snb.2016.10.138
18. K. Vimala, K. Shanthi, S. Sundarraj, S. Kannan, J. Colloid Interface Sci., 2017, 488, 92-108.  DOI:10.1016/j.jcis.2016.10.067
19. C. Santos, P. Gomes, J. A. Duarte, M. M. Almeida, M. E. V. Costa, M. H. Fernandes, Int. J. Pharm., 2017, 516, 185-195.  DOI:10.1016/j.ijpharm.2016.11.035
20. H. Karimi-Maleh, M. Moazampour, H. Ahmar, H. Beitollahi, A. A. Ensafi, Measurement, 2014, 51, 91-99.  DOI:10.1016/j.measurement.2014.01.028
21. D. Hoegger, P. Morier, C. Vollet, D. Heini, F. Reymond, J.S. Rossier, Anal. Bioanal. Chem. 2007, 387, 267-275. DOI: 10.1007/s00216-006-0948-6
22. A. Asaikkutti, P.S. Bhavan, K. Vimala, Aquaculture, 2016, 46, 4136-144.  DOI:10.1016/j.aquaculture.2016.06.014
23. R. H. F. Cheung, P. D. Morrison, D. M. Small, P. J. Marriott, J. Chromatogr. A. 2008, 1213, 93-99.  DOI:10.1016/j.chroma.2008.09.098 

24. M. R. Shishehbore, A. Sheibani, A. Haghdost, Spectrochim. Acta A, 2011, 81, 304-307.  DOI:10.1016/j.saa.2011.06.015
25. B.T. Zhang, L. X. Zhao, J. M. Lin, Talanta, 2008, 74, 1154-1159.  DOI:10.1016/j.talanta.2007.08.027
26. J. L. Manzoori, A. Jouyban, M. Amjadi, J. Soleymani, Luminesence, 2011, 26, 106-111. DOI:10.1002/bio.1191

 27. J. Arcot, A. K. Shrestha, U. Gusanov, Food Control, 2002, 13, 245-252.  DOI: 10.1016/S0956-7135(02)00018-X
28. M. Najafi, M. A. Khalilzadeh, H. Karimi-Maleh, Food Chem., 2014, 158, 125-131.  DOI:10.1016/j.foodchem.2014.02.082
 29. M. Elyasi, M. A. Khalilzadeh, H. Karimimaleh, Food Chem., 2013, 141, 4311-4317.  DOI:10.1016/j.foodchem.2013.07.020
30. M. Bijad, H. Karimi-Maleh, M. A. Khalilzadeh, Food Anal. Methods, 2013, 6, 1639-1647. DOI: 10.1007/s12161-013-9585-9
31. S. Gheibi, H. Karimi-Maleh, M. A. Khalilzadeh, H. Bagheri, J. Food Sci. Technol., 2015, 52, 276-284. DOI: 10.1007/s13197-013-1026-7
32. J. B. Raoof, N. Teymoori, M. A. Khalilzadeh, Food Anal. Methods, 2015, 8, 885-892.  DOI: 10.1007/s12161-014-9962-z
33. M. A. Khalilzadeh, M. Borzoo, J. Food Drug Anal., 2016, 24, 796-803. DOI: 10.1016/j.jfda.2016.05.004
34. H. Beitollahi, H. Karimi-Maleh, H. Khabazzadeh, Anal. Chem., 2008, 80, 9848-9851. DOI: 10.1021/ac801854j 

35. M. Mazloum-Ardakani, B. Ganjipour, H. Beitollahi, M. K. Amini, F. Mirkhalaf, H. Naeimi, M. Nejati-Barzoki, Electrochim. Acta, 2011, 56, 9113-9120.  DOI:10.1016/j.electacta.2011.07.021
36. Z. Taleat, M. M. Ardakani, H. Naeimi, H. Beitollahi, M. Neiati, H. R. Zare, Anal. Sci., 2008, 24, 1039-1044.  DOI:10.2116/analsci.24.1039
37. H. Beitollahi, A. Gholami, M. R. Ganjali, Mater. Sci. Eng. C, 2015, 57, 107-112.  DOI:10.1016/j.msec.2015.07.034
38. H. Beitollahi, S. Tajik, P. Biparva, Measurement, 2014, 56, 170-177.  DOI:10.1016/j.measurement.2014.06.011
 39. H. Beitollahi, M. A. Taher, M. Ahmadipour, R. hosseinzadeh, Measurement, 2014, 47, 770-776.  DOI:10.1016/j.measurement.2013.10.001
40. H. Karimi-Maleh, A. A. Ensafi, H. Beitollahi, V. Nasiri, M. A. Khalilzadeh, P. Biparva, Ionics, 2012, 18, 687-694. DOI: 10.1007/s11581-011-0654-z
41. A. Chen, B. Shah, Anal. Methods, 2013, 5, 2158-2173. 
DOI: 10.1039/C3AY40155C
42. H. Beitollahi, I. Sheikshoaie, Electochim. Acta, 2011, 56, 10259-10263.  DOI:10.1007/s00604-005-0437-110.1016/j.electacta.2011.09.017
43. S. H. Wei, F.Q. Zhao, Z. Y. Xu, B. Z. Zeng, Microchim. Acta, 2006, 152, 285-290. DOI: 10.1007/s00604-005-0437-1
 44. D. Manoj, D. R. Kumar, J. Santhanalakshmi, Appl. Nanosci., 2012, 2, 223-230. DOI: 10.1007/s13204-012-0093-9
 45. F. Xiao, C. P. Ruan, L. H. Liu, R. Yan, F. Q. Zhao, B. Z. Zeng, Sens. Actuators B, 2008, 134, 895-901.  DOI:10.1016/j.snb.2008.06.037
 46. L. Mirmoghtadaie, N. Shamaeizadeh, N. Mirzanasiri, Int. J. prev.  medi, 2015, 6, 100-106. DOI:10.4103/2008-7802.167179

47. M. Mazloum-Ardakani, H. Beitollahi, M. K. Amini, F. Mirkhalaf, M. Abdollahi-Alibeik, Anal. Methods, 2011, 3, 673-677. DOI: 10.1039/C0AY00740D
48. N. Lavanya, S. Radhakrishnan, N. Sudhan, C. Sekar, S. G. Leonardi, C. Cannilla, G. Neri, Nanotechnology, 2014, 25, 295501. DOI: 10.1088/0957-4484/25/29/295501/meta
 49. T. Maiyalagan, J. Sundaramurthy, P. S. Kumar, P. Kannan, M. Opallo, S. Ramakrishna, Analyst, 2013,138,1779-1786. DOI: 10.1039/C3AN00070B
50. H. Karimi-Maleh, M. Hatami, R. Moradi, M. A. Khalilzadeh, S. Amiri, H. Sadeghifar, Microchim. Acta, 2016, 183, 2957-2964. DOI: 10.1007/s00604-016-1946-9
 51. J. B. Raoof, N. Teymoori, M. A. Khalilzadeh, R. Ojani, Mater. Sci. Eng. C, 2015, 47, 77-84.  DOI: 10.1016/j.msec.2014.11.012
52. M. A. Khalilzadeh, H. Karimi-Maleh, V. K. Gupta, Electroanal., 2015, 27, 1766-1773. DOI: 10.1002/elan.201500040 

 53. A. Taherkhani, H. Karimi-Maleh, A. A. Ensafi, H. Beitollahi, A. Hosseini, M. A. Khalilzadeh, H. Bagheri, Chinese Chem. Lett., 2012, 23, 237-240.  DOI:10.1016/j.cclet.2011.10.023
54. F. Tan, L. Cong, X. Li, Q. Zhao, H. Zhao, X. Quan, J. Chen, Sens Actuator B, 2016, 233, 599-606.  DOI:10.1016/j.snb.2016.04.146
55. A. A. Ensafi, B. Arashpour, B. Rezaei, A. R. Allafchian, Mater. Sci. Eng. C, 2014, 39, 78-85.  DOI:10.1016/j.msec.2014.02.024
56. U. Kurtan, H. Gungunes, H. Sozeri, A. Baykal, Ceramics Int., 2016, 42, 7987-7992.  DOI:10.1016/j.ceramint.2016.01.200
57. A. J. Bard, L. R. Faulkner, Electrochemical Methods Fundamentals and Applications, 2001, second ed, (Wiley, New York).

58. A. A. Ensafi, H. Karimi-Maleh, J. Electroanal. Chem., 2010, 640, 75-83.  DOI:10.1016/j.jelechem.2010.01.010
59. H. Karimi-Maleh, P. Biparva, M. Hatami, Biosens. Bioelectron., 2013, 48, 270-275.  DOI:10.1016/j.bios.2013.04.029 

60. M. Mazloum-Ardakani, H. Beitollahi, M. K. Amini, F. Mirkhalaf, M. Abdollahi-Alibeik, Sens. Actuators B, 2010, 151, 243-249.  DOI:10.1016/j.snb.2010.09.011
61. A. A. Abdelwahab, Y. B. Shim, Sens. Actuators B, 2015, 221, 659-665.  DOI:10.1016/j.snb.2015.07.016
62. H. Karimi-Maleh, F. Tahernejad-Javazmi, M. Daryanavard, H. Hadadzadeh, A. A. Ensafi, M. Abbasghorbani,  Electroanalysis, 2014, 26, 962-970. DOI:10.1002/elan.201400013
PAGE  
19

