An Electrochemical Sensing Platform Based on Iridium Oxide for Highly Sensitive and Selective Detection of Nitrite and Ascorbic Acid
Totka Dodevska*, Ivan Shterev, Yanna Lazarova
Department of Organic Chemistry and Inorganic Chemistry, University of Food Technologies, 26, Maritsa Boulevard, Plovdiv 4002, Bulgaria 

*Corresponding author: E-mail: dodevska@mail.bg
Tel.: +359 32 603 679; Fax: +359 32 644 102
Abstract

Iridium oxide (IrOx) was electrodeposited onto glassy carbon electrode applying two-step potential cycling procedure. The electrocatalytic properties of the modified electrode IrOx/GC were evaluated with regards to electrochemical oxidation of nitrite and ascorbic acid (AA). The developed electrode-catalyst have been extensively studied by various electrochemical techniques. Differential pulse voltammetry (DPV) experiments indicated that the modified electrode possesses excellent electrocatalytic activity towards the oxidation of both nitrite and AA in neutral medium and offers simultaneous quantification of these substances. Constant potential amperometry studies also were performed – the IrOx/GC showed sensitive response to nitrite (159.7 μA mM–1 cm–2) with a wide linear range from 0.002 to 10 mM at 0.77 V (vs. Ag/AgCl, 3 M KCl), and to AA (96.2 µA mM–1 cm–2) with a linear range from 0.01 to 3 mM at 0.025 V. The detection limit was 0.63 μM nitrite and 4 μM AA, respectively, and both of them had fast response within 5 s. Considering the simple and rapid electrodeposition procedure for preparation, IrOx/GC is a new electrode-catalyst for sensitive and selective quantitative detection of nitrite and AA. The wide linear range, good selectivity, reproducibility of the amperometric response and long-time stability of the IrOx/GC make it a promising sensing material for practical nonenzymatic quantitative detection of nitrite and AA.
Keywords: Electrochemistry, Electrocatalytic oxidation, Sensor, Nitrite, Ascorbic acid

1. Introduction

Nitrite (NO2–) is widely used food additive in meat products as an antimicrobial agent (prevents bacterial growth), a preservative (retards lipid peroxidation) and a color fixative.1 Nitrate also has been found in beverages, commercially available vegetables and drinking water. The concentration of NO2– is one of the most important parameters in water quality – the World Health Organization (WHO) recommends a guideline value of 3 mg L–1 (65 μM) and a provisional guideline value of 0.2 mg L–1 (4.3 μM) for short-term and long-term exposures, respectively;2,3 according to the regulation of the European Community the maximum permissible nitrite content in drinking water is 0.1 mg L–1 (2.2 μM).4,5 A serious threat to human health is the overweight content of nitrite in food products, as the excessive ingestion of nitrites via the dietary intake has potential toxic and mutagenic effects. Nitrite consumption has been linked with chronic obstructive pulmonary disease6, methemoglobinemia7 – nitrite interacts with the hemoglobin (Fe2+) to form methemoglobin (Fe3+) which has no oxygen carrying ability, gastric and oesophageal cancer8 – nitrite ion is an essential precursor in the formation of highly carcinogenic nitrosamines in the stomach. The acceptable daily intake of nitrite is 0 – 0.07 mg kg–1 (body weight) per day.9 
Classical analytical techniques have been employed for quantitative detection of nitrite such as coulometric titration,10 spectrofotometry,11 chemiluminescence,12 capillary electroforesis,13 high-performance liquid chromatography.14 Most of these analytical methods, however, require complex painstaking procedures for sample pre-treatment, as well as involve fairly expensive and sophisticated instruments. Therefore, the importance of improved analytical methods for determination of nitrite has received considerable attention.

Nitrite ion is an electroactive and can be quantified electrochemically. In comparison with the aforementioned techniques, electrochemical analysis has been considered as a low-cost and effective way due to its intrinsic simplicity and high sensitivity. The electrochemical sensor devices provide the opportunity for an accurate, sensitive, selective, interference-free, fast, cost-effective and susceptible to automation analysis, and are a promising alternative of the traditional analytical techniques. 
The electrochemical determination of nitrite can be realized based on oxidation or reduction, as oxidation is usually preferred because cathodic measurement is prone to interference from other easily reducible species such as nitrate ion (product of nitrite reduction) and molecular oxygen. At the same time detection based on the oxidation of nitrite offers some advantages, such as no interference from nitrate ion, sulfate ion, and molecular oxygen. Nitrite can be oxidased at conventional electrode – bare glassy carbon (GC), platinum or gold electrodes, but the direct electrooxidation of nitrite ions requires high overpotential at the surface of the unmodified electrode and quantification suffers from interference from other compounds. The process is accompanied by co-oxidation of interfering species that present in the real samples. As a result, the registered signal is higher and does not correspond to the real concentration of the analyte. 
In order to improve the oxidation response of NO2– (resp., the selectivity of detection), the applied potential should be efficiently lowered.  This can be achieved by modifying the surface of the bare electrode with suitable electrocatalytic active phase, that facilitates electron-transfer process – conducting polymer films,15-22 metal particles decorated polymers,3,23,24 metal complexes,25-27 metal-organic frameworks,28 metal or metal oxide patricles,29-35 bimetallic nanomaterials,36 ionic liquid,29,37 methylene blue,38 chemically reduced graphene oxide.39
One of the main interfering substances in the quantitative detection of nitrite in food samples is ascorbic acid. Ascorbic acid (AA), also known as vitamin C, is one of the most important vitamins that takes part in some important biological reactions such as free radical scavenging and cancer preventing. This compound exists in plant, especially fresh fruits and leafy vegetables, and animal tissues. The strong antioxidant activity of AA and its ability to protect oxidizable constituents, including phenolic and flavor compounds, is the main factor AA to be frequently used in food industry to prevent unwanted changes in color or flavor. Additives, based on AA, are widely used in production of several foods and drinks such as beer, jam, sweets, fruit juices, fish products and meats. AA is used as well as in cosmetics (as a skin conditioning agent) and in pharmaceutical industry (as a diet supplement in various forms). Side effects are not observed at normal AA intake (about 70 – 90 mg for adults),40 due to the fact that it is water soluble and quickly excreted. After single oral doses of vitaminin C greater than 2 g daily, gastrointestinal distress and diarrhea are the most common side effects. However, in individuals with renal disfunction, production of kidney stones is observed as a serious side effect with vitaminin C overdose. Due to the crucial role of AA in biochemistry and in industrial applications, recently there is a considerable research interest to develop electrochemical sensors for detection of AA content in various samples including foods, drugs and biological fluids.40-51
Among the above-mentioned modified electrodes-catalysts applied for nitrite detection, metal oxide-modified electrodes possess some unique electrochemical properties and advantages compared to the other – high stability, enhancement of reaction rate due to the redox couples of oxide species of two different states, as well as weak adsorption or exclusion of hydrogen species on an oxide surface.31 Because of the high electron transfer rate constant of Ir(IV)/Ir(III) redox couple, IrOx were used as an electron transfer mediator and successfully applied in electrocatalysis.52-54 The present research reports an amperometric sensor for nitrite and AA detection, based on modified with iridium oxide GC electrode. As an electrode material, GC is distinguished by its chemical inertness, low background currents, wide potential window and low price. Cyclic voltammetry (CV) was applied to form iridium oxide layers at the surface of the bare GC electrode as the fastest and simplest electrodeposition technique, that not requires expensive equipment or special experimental conditions (high temperature and pressure). The developed electrode exhibits remarkable electrocatalytic activity in two independent electrocatalytic processes – oxidation of nitrite (at an applied potential of 0.77 V vs. Ag/AgCl, 3 M KCl) and oxidation of AA (at 0.025 V) and offers simultaneous quantification of both substances. The modified electrode has advantages such as high sensitivity in a relatively wide range of substrate concentrations, selectivity, excellent reproducibility of the current signal and long-term stability.
2. Experimental
2.1. Materials

Na2IrCl6, HCl, H2SO4, NaOH, NaNO2, NaNO3, NaOOCCH3, NaCl, Na2CO3, KCl, KBr, KBrO3, KI, MgCl2, CuSO4 were purchased from Fluka; Na2HPO4.12H2O, NaH2PO4.2H2O, K3[Fe(CN)6], sodium citrate (Na3C6H5O7), ascorbic acid (C6H8O6) and glucose (C6H12O6) were purchased from Sigma-Aldrich. All chemicals used were of analytical grade and double distilled water was used to prepare aqueous solutions. Buffer solution, 0.1 M, was made of monobasic and dibasic sodium phosphates dissolved in double distilled water with pH 7.0 adjusted with NaOH. The working electrode was a disc (3 mm diameter) from glassy carbon rod (Metrohm) in Teflon holder. 
2.2. Apparatus and Measurements
All the electrochemical measurements were performed using potentiostat EmStat2 (PalmSens BV, The Netherlands) interfaced with a computer and controlled by ‘PSTrace 2.5.2’ software. A conventional thermostated three-electrode cell including a working electrode, an Ag/AgCl (3 M KCl) as a reference electrode, and a platinum wire as a counter electrode was used.  Before the measurement the background electrolyte was purged with pure argon for at least 15 min to remove dissolved oxygen. The modified electrode was investigated using cyclic voltammetry (CV), differential pulse voltammetry (DPV) and amperometry at a constant potential. Cyclic voltammograms (CVs) were recorded at scan rates from 10 to 150 mV s–1. The DPV parameters were chosen as follows: scan rate 9 mV s–1, pulse amplitude 50 mV, pulse interval 70 ms. Amperometric (i-t) curves were monitored at a constant applied potential under hydrodynamic condition. The experimental data analysis was performed using software package ‘OriginPro 8.0’.
2.3. Electrodeposition of Iridium Oxide onto Glassy Carbon Electrode
Prior to the modification, the glassy carbon electrode surface was polished mechanically using 0.05 µm alumina slurry, rinsed, sonicated in double distilled water for 5 min and allowed to dry at room temperature. The electrodeposition of IrOx onto the GC electrode was carry out in two-step procedure as follows: deposition of iridium from 2.0 % Na2IrCl6 in 0.1 M HCl solution using CV from –0.3 to 0.3 V applying 100 cycles at scan rate of 100 mV s–1 and subsequent oxidation of iridium applying 100 cycles from –0.3 to 1.4 V in electrolyte 0.5 M H2SO4. 
3. Results and Discussion
3.1. Electrochemical Behavior of IrOx/GC Modified Electrode

The electrochemical behavior of the IrOx/GC modified electrode was investigated by cyclic voltammetry. The cyclic voltammograms of the bare GC electrode and IrOx/GC modified electrode registered in PBS pH 7.0 are shown in Fig. 1. Compared with the bare GC electrode (curve a), the background current of the modified electrode is apparently larger, which indicates that the effective electrode surface area is significantly enhanced (curve b). The pair of well-defined redox peaks at 0.13 V and 0.02 V, respectively, assigned to the redox couple Ir(III)/Ir(IV), proves the successful modification of the electrode surface. 
[image: image1.emf]-0.4 -0.2 0.0 0.2 0.4 0.6

-10

-5

0

5

10

I (



A)

E (V) 

a

b


Fig. 1. CVs of the bare GC electrode (curve a) and IrOx/GC modified electrode (curve b) in PBS, pH 7.0, recorded at scan rate of 50 mV s–1.

For the evaluation of the electrochemically active surface area of the modified electrode, cyclic voltammograms were registered at different scan rates using [Fe(CN)6]3–/4– in 0.1 M KCl as a redox probe. The data confirm that the IrOx-deposit favors the electron transfer rate of the redox probe. A noticeable enhancement in the peak magnitude accompanied with decreased peak potential separation (ΔEp) were observed after the modification of bare GC, which indicated that the IrOx-deposit could enhance the effective surface area and the conductivity of the electrode. 
For the single electron transfer of Fe3+/Fe4+ redox reaction at a scan rate of 50 mV s–1 for IrOx/GC modified electrode was determinated peak potential separation ΔEp = 0.09 V, which is 0.07 V lower than that of the bare GC electrode (ΔEp = 0.16 V). A linear dependence was obtained between the peak currents and the square root of the scan rate, demonstrating that the redox process of ferri/ferrocyanide at the modified electrode surface is diffusion controlled (Fig. 2). The electro-active surface area was estimated according to Randles–Ševćik equation:


[image: image2.wmf](

)

2

1

0

2

1

0

0

2

3

2

1

3

4463

.

0

v

C

D

A

n

T

R

F

I

p

=


where Ip is the peak current (A), v is the applied scan rate (V s–1), n = 1 (number of electrons involved in the redox reaction), A0 is the electrode surface area (cm2), D0 is diffusion coefficient (D0 = 7.6 × 10−6 cm2 s−1), C0 is the bulk concentration of the substrate (C0 = 5 × 10−3 M). In this system, the slope is 243.94, taking temperature T = 298 K, molar gas constant R = 8.314 J K−1 mol−1, and Faraday’s constant F = 96480 C mol−1, the effective surface area was calculated to be 0.065 cm2. Compared with the bare GC electrode (0.036 cm2, calculated analogously), the electroactive surface area of the IrOx/GC modified electrode was increased by approximately 80 %.
[image: image3.emf]-0.25 0.00 0.25 0.50 0.75 1.00

-120

-80

-40

0

40

80

0.1 0.2 0.3 0.4

15

30

45

60

75

90

I

a

P

 (



A)

v

1/2

 (V

1/2

 s

1/2

)

y = 243.94x - 4.3722

R

2

 = 0.9992

I (



A)

E (V)


Fig. 2. CVs of modified electrode IrOx/GC in presense of 5 mM of K3[Fe(CN)6] in 0.1 M KCl solution registered at different scan rates (10 – 150 mV s–1). Inset: plot of anodic peak current vs. v1/2.

3.2. Electrocatalytic Oxidation of Nitrite and Ascorbic Acid
To study the application of the modified electrode IrOx/GC in electrochemical sensing of nitrite and AA, electrooxidation and quantitative detection of these substances in neutral medium were investigated. The performance of the modified electrode regarding the sensing of each of the substances was evaluated using two electrochemical techniques – DPV and constant potential amperometry, according to the sensitivity, linear range, detection limit, and stability. 
DPV technique was first employed to study the electrochemical oxidation of AA on IrOx/GC and bare GC electrode in PBS, pH 7.0 (Fig. 3A). The electrooxidation of AA was shown in the form of peak shaped differential pulse voltammogram with maximum current intensity at 0.25 V on bare GC (black curve) and at 0.025 V (red curve) on modified IrOx/GC electrode, respectively. The modified electrode possesses a better sensitivity and selectivity in comparison to the bare GC – the oxidation peak potential of ascorbic acid at the modified electrode is significantly shifted (by ~0.225 V) in the negative direction compared with the bare GC, and 2.5-fold increase in the peak current at the modified IrOx/GC was observed. The oxidation potential value (0.025 V) is significantly lower than the AA oxidation potential reported in previous research articles.40, 45-51 The results indicate that the presented modified electrode is distinguished by a higher efficiency in the selective detection of ascorbic acid compared to other electrocalysts.
The possibility of the modified electrode for simultaneous detection of AA and nitrite was next examined. In buffer solution, that contains 1 mM AA and 1 mM nitrite, DPV response of the modified electrode IrOx/GC shows two well-defined and well-separated oxidation peak current responses as presented in Fig. 3B. It is obvious that the oxidation potential of AA is much more negative than those of nitrite (0.77 V). The peak separation is about 0.745 V between AA and nitrite, implying it is feasible to detect nitrite in the presence of AA by DPV with the IrOx/GC electrode.
[image: image4.emf]-0.2 -0.1 0.0 0.1 0.2 0.3 0.4

3

6

9

12

15

18

I (



A)

E (V)

IrO

x

/GC

GC

1 mM Ascorbic acid

A)


[image: image5.emf]-0.4 -0.2 0.0 0.2 0.4 0.6 0.8 1.0

3

6

9

12

15

18

I (



A)

E (V)

IrO

X

/GC

GC

1 mM Ascorbic acid + 1 mM Nitrite

B)


Fig.3. A) DPV response of modified electrode IrOx/GC for 1 mM ascorbic acid in PBS (pH 7.0); B) Simultaneous DPV response of IrOx/GC for a mixture of ascorbic acid (1 mM) and nitrite (1 mM) in PBS (pH 7.0).

Fig. 4A shows the DPV curves obtained at the IrOx/GC when the concentration of AA is changed (peak 1) while the concentration of nitrite kept constant (peak 2). The peak current associated with the oxidation of AA is increased linearly with the increase in AA concentration, while the peak height of nitrite remains stable. The observed phenomenon clearly shows that it is possible to detect selectively AA concentration in the presence of nitrite ions. An analogous analytical test was also carried out at a constant concentration of AA and varying concentration of nitrite (Fig 4B). The obtained results prove that the modified electrode possesses the ability to detect single species separately or to determine the specific concentrations of mixtures of the two species.
[image: image6.emf]-0.4 -0.2 0.0 0.2 0.4 0.6 0.8 1.0

4

8

12

16

20

I (



A)

E (V)

1

2

A)

a

g


[image: image7.emf]-0.4 -0.2 0.0 0.2 0.4 0.6 0.8 1.0

4

8

12

16

20

I (



A)

E (V)

1

2

a

g

B)


Fig.4. DPVs response of IrOx/GC in PBS (pH 7.0) containing: A) 1 mM nitrite (peak 2) in the presence of different concentrations of AA (peak 1); B) 1 mM AA (peak 1) in the presence of different concentrations of nitrite (peak 2). Concentrations (in mM) as follows: (a) 0.1, (b) 0.2, (c) 0.3, (d) 0.4, (e) 0.6, (f) 0.8 and (g) 1.0.
3.2.1. Voltammetric and Amperometric Detection of Nitrite 
The DPV curves of the bare GC and of the IrOx/GC electrode (Fig. 3B) clearly show that the modified electrode exhibits higher electrocatalytic activity towards nitrite oxidation. In the presence of nitrite the higher peak current and shift towards lower potential indicate better catalytic behaviour of the modified electrode.

Fig. 5 presents the DPV curves of nitrite with different concentrations. The peak current was proportional to the nitrite concentration and it can be expressed in a model such as: y = ax + b, where a is the slope of the calibration curve in terms of sensitivity. The linear regression equation was as follows: Ip (μM) = 9.419 C (mM) + 0.397 and was accomplished with a correlation coefficient of 0.998 (Fig. 4, inset). The proposed electrode shows good electrochemical sensitivity of 133.2 μA mM–1 cm–2 (normalized to the electrode geometric surface area) up to 3.1 mM nitrite.
[image: image8.emf]0.4 0.6 0.8 1.0

0

10

20

30

40

0 1 2 3

0

10

20

30

I (



A)

C (mM)

y = 9.419x + 0.397

R

2

 = 0.9975

I (



A)

E (V)


Fig. 5. DPVs of modified electrode IrOx/GC in the presence of various concentrations of nitrite in PBS (pH 7.0). Inset: linear relationship between the peak current and the concentration.
The reproducibility of the current response of the modified electrode is essential for its successful application as a sensing element in construction of electrochemical sensor systems. In this connection, the reproducibility of the DPV current of  IrOx/GC to 0.6 mM and 1.2 mM nitrite was examined. For 10 successive independent measurements in presence of 0.6 mM nitrite the electrode response was 6.099 ± 0.064 μA and the relative standard deviation (RSD) was calculated to be 1.05 %. Analogous studies carried out in presence of 1.2 mM nitrite show electrode response of 11.659 ± 0.114 μA and RSD of 0.98 %. The results prove that the modified electrode possesses excellent reproducibility of the current signal. 

Selectivity plays a vital role in practical use of sensors. In order to study the selectivity of the modified electrode, the interference effect of various species (in concentrations 10 times that of nitrite): Cl–, Br–, CO32–, NO3–, SO42–, BrO3–, CH3COO–, Mg2+, Cu2+, glucose and sodium citrate, was examined during DPV current response for NO2–, performing an independent DPV measurement for each substance, respectively. The response current increased about 6.8 % when Br– was injected into the buffer solution, suggesting this anion might have a moderate interference in the detection of nitrite. In the other experiments, no obvious interference was observed – the changes in current response on the modified electrode keep within 5 % in the presence of 10 mM Cl–, CO32–, NO3–, SO42–, BrO3–, CH3COO–, Mg2+, Cu2+, glucose and sodium citrate in 1 mM nitrite solution, indicating that they have negligible interference for nitrite detection (Table 1).

Table 1. Changes in DPV current response on the modified electrode in the presence of several inorganic and organic compounds (10 mM of each interferent) in 1 mM nitrite solution.

	Interferent
	Signal change (%)
	Interference

	NaCl
	–2.6
	Negligible

	KBr
	+6.8
	Moderate

	MgCl2
	–3.6
	Negligible

	Na2CO3
	–0.96
	Negligible

	NaNO3
	–1.2
	Negligible

	CuSO4
	–0.66
	Negligible

	KBrO3
	+4.4
	Negligible

	NaOOCCH3
	–0.55
	Negligible

	C6H12O6
	–0.32
	Negligible

	Na3C6H5O7
	–1.3
	Negligible


The amperometric response was evaluated for the modified electrode with the successive additions of nitrite at a fixed potential. Fig. 6 displays the authentic record of the amperometric response of IrOx/GC to successive additions (in 30 s intervals) of NO2– stock solution at a constant applied potential of 0.77 V under constant stirring. A remarkable increase and a fast response of the amperometric current were observed. Upon addition of nitrite the modified electrode shows increasing staircase current response, corresponding to the electrochemical oxidation of the analyte, which evidences that IrOx/GC efficiently promoted the electrooxidation of nitrite. Steady-state current value was reached within 5 s. 
The background subtracted steady-state response of the electrode (Fig. 6, inset) was proportional to the nitrite concentration up to 10 mM (correlation coefficient of 0.989) with a sensitivity of 11.294 µA mM–1 (or 159.7 μA mM–1 cm–2), calculated on the basis of 49 points. The limit of detection is 0.63 µM (defined at a signal-to-noise ratio of 3), which is lower than the drinking water limit quantity postulated by the WHO (4.3 µM) [2].
[image: image9.emf]400 800 1200 1600

0

20

40

60

80

100

120

150 300 450 600

0

5

10

15

20

I (



A)

t (s)

0 2 4 6 8 10

0

20

40

60

80

100

I (



A)

C (mM)

y = 11.294x + 4.0379

R

2

 = 0.9892

I (



A)

t (s)


Fig. 6. Amperometric response of modified electrode IrOx/GC in PBS (pH 7.0) for successive additions of nitrite at potential of 0.77 V. Inset: the enlarged initial section of the amperometric curve (12 injections of 0.1 mM NO2– and 1 injection of 0.2 mM NO2– were added) and the corresponding calibration plot.
The selectivity of the modified electrode for nitrite was also confirmed by amperometric measurements. For interference test, we used the same common interfering ions and organic substances as reported for our DPV experiments. Amperometric response of IrOx/GC towards the additions of these substances, followed by nitrite addition, were examined at a constant potential of 0.77 V. Fig. 7 shows the authentic response of electrode IrOx/GC for the interval (in 25 s) additions of 0.35 mM nitrite and a 10-fold concentration of the above mentioned interfering substances. The amperometric record clearly shows that the tested species had no effect on the quantitative nitrite detection. No response was observed for modified electrode in the presence of interfering substances and the electrode response for nitrite after adding interfering substances was not changed. The results reveal the application potential of the modified electrode IrOx/GC for precise sensing of nitrite in real samples.
[image: image10.emf]400 500 600 700 800

-4

-2

0

2

4

6

8

10

12

14

16

18

I (



A)

t (s)

A

A

A

A

B C

D

E

F

G

H I

J

K


Fig. 7. Amperometric i-t curve of modified electrode IrOx/GC for the determination of 0.35 mM NO2–  (A) in the presence of 3.5 mM of different interfering species (B) CH3COO–, (C) Cl–, (D) Br–, (E) CO32–, (F) citrate, (G) BrO3–, (H) NO3–, (I) SO42–, (J) glucose and (K) Mg2+, added one by one with an interval of 25 s to 0.1 M PBS (pH 7.0) at an applied potential of 0.77 V.

The comparison of sensing performance based on different electrochemical methods and modified materials for the detection of nitrite in previous reports was shown in Table 2. We have summarized various nitrite sensors with respect to the working potential, sensitivity, linearity, detection limit and the reproducibility of the signal. From the data presented it can be seen that the proposed IrOx-modified glassy carbon electrode possesses superior reproducibility of the current response. It is found that the developed electrocatalyst is more preferable than a number of other electrode-catalysts, employed as nitrite sensors, in one or more categories, particularly because of the lower working potential, higher sensitivity and wider linear range.
Table 2. Comparison of the proposed IrOx/GC with other reported sensors for determination of nitrite.
	Sensing electrodea
	Techniqueb
	E,

V
	Sensitivity,

µA mM-1 cm-2
	Linear range,

µM
	Detection limit, µM
	RSD,
%

	p-NiTAPc/GC55
	DPA
	0.82c
	–
	0.5–8000
	0.1
	2.8 (n=12)

	CDP/GS/MWCNTs/GC19
	CV
	0.7c
	12.68e
	5–6750
	1.65
	3.7(n=5)

	Hb/PLE56
	DPV
	–0.8 c
	2.164g
	10–220
	5.0
	2.0(n=3)

	Nano-Pt/P3MT/GC24
	DPV
	0.78d
	222.82
	8–1700
	1.5
	3.4(n=10)

	Thionine/ACNTs/GC57
	DPV
	0.8d
	–
	3–500
	1.12
	2.75(n=5)

	AgPs-IL-CPE29
	SWV
	–
	– 
	50–1000
	3.0
	0.3(n=7)

	EAG/SPCE58
	Amp
	0.8d
	126
	0.1–16400
	0.038
	1.4(n=5)

	GR/Ppy/CS/GC20
	Amp
	0.9c
	40.0e
	0.5–722
	0.1
	1.8(n=10)

	Poly-TBO-SWCNT/GC21
	Amp
	0.92d
	84.3e
	1–4000
	0.37
	–

	Nano-Au/P3MT/GC59
	Amp
	0.78c
	–
	10–1000
	2.3
	3.0(n=10)

	PAOA/GC60
	Amp
	1.0c
	64.3
	5–2000
	2.0
	1.2(n=6)

	CoHCF/CPE27
	Amp
	0.92d
	11.11e
	100–2150
	1.19
	3.27

	CR-GO/GC39
	Amp
	0.8d
	0.0267f
	8.9–167
	1.0
	2.29(n=4)

	MWCNTs/MB paper38
	Amp
	0.83d
	400
	12–2500
	3.6
	–

	PANI-MoS2/GC22
	Amp
	0.9c
	28.68
	4–4834
	1.5
	–

	Fe-HNPs/GC33
	Amp
	0.73c
	19.83e
	9–3000
	2.6
	0.7

	AgNPs/GC61
	Amp
	0.82c
	–
	10–1000
	1.2
	–

	ZnO@rFGO/GC35
	Amp
	0.9d
	–
	10–5000
	41
	–

	AuNPs/SG/GC62
	Amp
	0.73c
	45.44e 
	10–3960
	0.2
	1.92(n=8)

	IrOx/GCThis work
	DPV

Amp
	0.77d
	133.2

159.7
	10–3100

2–10000
	5

0.63
	1.05(n=10)

2.6(n=5)


aGC – glassy carbon; SPCE – screen printed carbon electrode; CPE – carbon paste electrode; NPs – nanoparticles; MWCNTs – multiwall carbon nanotubes, SWCNTs – singlewall carbon nanotubes; p-NiTAPc – polymeric nikel tetraaminothphalocyanine; CDP/GS – poly-cyclodextrin/graphene; Hb – hemoglobin; PLE – pencil lead electrode; EAG – electrochemically activated graphite; ACNTs – aligned carbon nanotubes; GR/PPy/CS – graphene/polypyrrole/chitosan; TBO – Toluidine Blue O; P3MT – poly(3-methylthiophene); PAOA – poly(aniline-co-o-aminophenol); CoHCF – cobalt hexacyanoferrate; CR-GO – chemically reduced graphene oxide; MB – methylene blue; PANI – polyaniline; IL – ionic liquid; Fe-HNPs – hollow hematite nano-polyhedrons; rFGO – reduced functionalized graphene oxide;
bDPA – differential pulse amperometry; CV – cyclic voltammetry; DPV – differential pulse voltammetry; SWV – square wave voltammetry; Amp – amperometry; 
c Reference electrode: saturated calomel electrode; 

d Reference electrode: Ag/AgCl, 3 M KCl;
e in: µA mM-1;
f in: A M-1;
g in: nA µM-1.
3.2.2. Voltammetric and Amperometric Detection of Ascorbic Acid

The analytical parameters of the modified electrode IrOx/GC for AA quantitative detection also were studied in detail. A clear increase in DPV peak current was observed upon increasing the concentration of AA and the peak current was found to increase linearly as a function of the concentration up to 1.9 mM with a correlation coefficient of 0.999 (Fig. 8, Inset). The sensitivity calculated from the slope of the regression line was 9.55 µA mM–1 (135 µA mM–1 cm–2). Measurements (n = 10) done with the presented modified electrode in presence of 1 mM AA showed current signal of 9.256 ± 0.084 µA featuring extremely high reproducibility (RSD equal to 0.91 %).
[image: image11.emf]-0.3 -0.2 -0.1 0.0 0.1 0.2 0.3

4

8

12

16

20

24

0.0 0.5 1.0 1.5 2.0

0

3

6

9

12

15

18

I (



A)

C (mM)

y = 9.5533x - 0.3214

R

2

 = 0.9985

I (



A)

E (V)


Fig. 8. DPVs of modified electrode IrOx/GC in the presence of various concentrations of AA in PBS (pH 7.0). Inset: linear relationship between the peak current and the concentration.

Fig. 9 displays the current-time response of the modified electrode recorded after successive additions of 0.1 and 0.2 mM AA into magnetically stirred PBS (pH 7.0) at an applied potential of 0.025 V. The electrode reaction is fast in reaching a dynamic equilibrium upon each addition of AA and the response time was 5 s. The calibration plot corresponding to the amperometric current response is illustrated as an Inset of the same figure. The sensitivity was 96.2 µA mM–1 cm–2 and the linear response was proportional to the AA concentration in the range from 0.01 to 3 mM (0.994), being wider than those reported for other modified electrodes.44,46,48-51 The merits of the presented modified electrode IrOx/GC can be evaluated by the comparative review presented in Table 3. As can be seen, the IrOx/GC exhibits comparable or better analytical performance than other published electrochemical sensors for AA detection.
[image: image12.emf]200 300 400 500 600 700 800

0

5

10

15

20

0 1 2 3

0

5

10

15

20

I (



A)

C (mM)

y = 6.8042x + 0.9428

R

2

 = 0.9941

I (



A)

t (s)


Fig. 9. Amperometric response of modified electrode IrOx/GC in PBS (pH 7.0) for successive additions of AA at an applied potential of 0.025 V. Inset: calibration plot of chronoamperometric currents vs. AA concentration. 

Several forms of inorganic and organic interference were tested to determine whether they could affect the detection of AA with the modified electrode. These interferences were investigated in 0.1 M PBS (pH 7.0) containing 0.5 mM AA at constant potential of 0.025 V. The results showed that concentrations of 3 mM NaCl, KI, KBr, Na2CO3, MgCl2, NaOOCCH3, sodium citrate and glucose did not influence the current signal, confirming the high selectivity of IrOx/GC in AA quantitative determination.
Table 3. Comparison of the proposed IrOx/GC with other reported sensors for determination of ascorbic acid.

	Sensing electrodea
	Technique
	E,

V
	Sensitivity,

µA mM-1 cm-2
	Linear range,

µM
	Detection limit, µM
	RSD,

%

	pdon/CNTs/GC44
	Amp
	–0.1c
	2.1e
	2–1000
	0.8
	4.8(n=5)

	GDSP/CPE45
	Amp
	0.4c
	21.879e
	150–8000
	3.375
	–

	EMGON/CPE46
	Amp
	0.38c
	78.63e
	up to 1000
	1.54
	1.15(n=15)

	Q-chitosan/C40
	Amp
	0.1d
	76
	10–5000
	3
	–

	Au-PANI/GC47
	Amp
	–0.2h
	25.69
	10–12000
	8.2
	5.9(n=3)

	Au/EPA/CPE48
	Amp
	0.3d
	21.7e
	50–750
	2.75
	2.23(n=3)

	CoTNPPcMWCNTs/GC49
	Amp
	0.215c
	–
	10–1600
	5
	–

	AuNPs/GO/GC50
	Amp
	0.15d
	101.86
	0.11–600
	0.11
	–

	PEDOT/CPE51
	CV
	0.29d
	12.3e
	50–3000
	–
	–

	IrOx/GCThis work
	DPV

Amp
	0.025d
	135

96.2
	50–1900

10–3000
	10

4
	0.91(n=10)

3.2(n=5)


a pdon – 1,10-phenenthroline-5,6-dione; GDSP – gold decorated SiO2@polyaniline (PANI) core-shell microspheres; EMGON – electroactive mesoporous gold-organosilica nanocomposite; Q-chitosan – hydroquinone modified chitosan; Au/EPA – gold/aniline-pentamer-based electroactive polyamide; CoTNPPc – cobalt(II) tetra-neopentyloxy phthalocyanine;
h Reference electrode: saturated mercurous sulfate electrode (SMSE).
Other abbreviations are the same as Table 2.

Since long-term stability is crucial factor when the modified material is used in sensor system, the developed electrode IrOx/GC was stored at room temperature and measured every 4 days. After 20 days storage the current response to 1 mM nitrite (measured by constant potential amperometry at 0.77 V) retained 94 % of the initial value, demonstrating the good stability of the electrodeposited catalytic active phase.
4. Conclusion

In summary, applying simple and rapid two-step procedure for electrodeposition of iridium oxide onto glassy carbon, a new type modified electrode IrOx/GC was developed. DPV experiments indicated that the IrOx/GC possesses excellent electrocatalytic activity towards the oxidation of both nitrite and AA. The proposed modified electrode-catalyst, studied by DPV and constant potential amperometry, exhibits remarkable analytical characteristics for its use in nitrite and AA sensing applications – wide linear range, high sensitivity, good selectivity, fast and stable amperometric response with excellent reproducibility and long-term stability. The sensor performances were unaffected by the presence of variety of inorganic and organic interferences make it a promising sensing material for sensitive and selective nonenzymatic quantitative detection of nitrite and AA.
5. References

1. R. Pegg, F. Shahidi: Nitrite Curing of Meat. Food & Nutrition Press Inc., Trumbull, 
    CT, USA, 2008, pp. 1–268. 

    https://onlinelibrary.wiley.com/doi/abs/10.1002/9780470385081.ch1   
2. World Health Organization, Guidelines for Drinking-Water Quality: Fourth Edition

Incorporating the First Addendum, WHO, Geneva, 2017, ISBN-13: 978-92-4-154995-0
https://www.ncbi.nlm.nih.gov/books/NBK442376/        
3. P. Rastogi, V. Ganesan, S. Krishnamoorthi, J. Mater. Chem. A 2014, 2, 933–943.

     http://dx.doi.org/10.1039/C3TA13794E 

4. E. Beamonte, J. Bermudez, A. Casino, J. Environ. Manag. 2007, 83, 307–314. 
     https://doi.org/10.1016/j.jenvman.2006.03.010
5. D. Zhang, H. Ma, Y. Chen, H. Pang, Y. Yu, Anal. Chim. Acta 2013, 792, 35–44.
     http://dx.doi.org/10.1016/j.aca.2013.07.010 

6. R. Jiang, D. Paik, J. Hankinson, R. Barr, Am. J. Respir. Crit. Care Med. 2007, 175, 

    798–804.  https://doi.org/10.1164/rccm.200607-969OC  
7. T.  Chan, Toxicol. Lett. 2011, 200, 107–108. https://doi.org/10.1016/j.toxlet.2010.11.002 

8. P. Jakszyn, C. Gonzalez, World J. Gastroenterol. 2006, 12, 4296–4303.

    https://www.ncbi.nlm.nih.gov/pubmed/16865769    
9.  P. Erkekoglu, H. Sipahi, T. Baydar, Food Anal. Meth. 2009, 2, 61–65.
     https://doi.org/10.1007/s12161-008-9045-0  
10. K. Lenghartova, L. Lauko, F. Cacho, E. Beinrohr, Acta Chim. Slov. 2015, 62, 152–158.
     http://dx.doi.org/10.17344/acsi.2014.838
11. H. Filik, D. Giray, B. Ceylan, R. Apak, Talanta 2011, 85, 1818–1824

     https://doi.org/10.1016/j.talanta.2011.07.052
12. Z. Lin, X. Dou, H. Li, Y. Ma, J. Lin, Talanta 2015, 132, 457–462.
      https://doi.org/10.1016/j.talanta.2014.09.046
13. X. Wang, E. Adams, A. Van Schepdael, Talanta 2012, 97, 142–144

      https://doi.org/10.1016/j.talanta.2012.04.008
14. W. Jobgen, S. Jobgen, H. Li, C. Meininger, G. Wu, J. Chromatogr. B 2007, 851, 71–82.
     https://doi.org/10.1016/j.jchromb.2006.07.018
15. G. Xu, G. Xu, M. Xu, Z. Zhang, Y. Tian, H. Choi, W. Lee, Bull. Korean Chem. Soc. 2012,
     33, 415–419. http://dx.doi.org/10.5012/bkcs.2012.33.2.415
16. L. Chen, X. Liu, C. Wang, S. Lv, C. Chen, Microchim. Acta 2017, 184, 2073–2079.

     https://doi.org/10.1007/s00604-017-2189-0    

17. J. Dai, D. Deng, Y. Yuan, J. Zhang, F. Deng, S. He, Microchim. Acta 2016, 183, 
    1553–1561. https://doi.org/10.1007/s00604-016-1773-z 
18. C. Yang, Q. Lu, S. Hu, Electroanalysis 2006, 18, 2188–2193.
       https://doi.org/10.1002/elan.200603646   

19. Y. Zhang, R. Yuan, Y. Chai, W. Li, X. Zhong, H. Zhong, Biosens. Bioelectron.
      2011, 26, 3977–3980. https://doi.org/10.1016/j.bios.2011.03.017
20. D. Ye, L. Luo, Y. Ding, Q. Chen, X. Liu, Analyst 2011, 136, 4563–4569.

      http://dx.doi.org/10.1039/C1AN15486A
21. D. Gligor, A. Walcarius, J. Solid State Electrochem. 2014, 18, 1519–1528. 

      https://doi.org/10.1007/s10008-013-2365-z
22. Y. Zhang, P. Chen, F. Wen, C. Huang, H. Wang, Ionics 2016, 22, 1095–1102.
      https://doi.org/10.1007/s11581-015-1634-5 
23. K. Promsuwan, P. Thavarungkul, P. Kanatharana, W. Limbut, Electrochim. Acta 2017,

     232, 357–369. http://dx.doi.org/10.1016/j.electacta.2017.02.138
24. Y. Zhou, H. Xian, F. Li, S. Wu, Q. Lu, Y. Li, L. Wang, Electrochim. Acta 2010, 

      55, 5905–5910. http://dx.doi:10.1016/j.electacta.2010.05.043 

25. D. Zhang, H. Ma, Y. Chen, H. Pang, Y. Yu, Anal.Chim. Acta 2013, 792, 35–44.
      http://dx.doi.org/10.1016/j.aca.2013.07.010 

26. R. Hallaj, A. Salimi, B. Kavosi, G. Mansouri, Sens. Actuat. B 2016, 233, 107–119. 
      http://dx.doi.org/10.1016/j.snb.2016.04.028 

27. H. Heli, I. Eskandari, N. Sattarahmady, A. Moosavi-Movahedi, Electrochim. Acta  
      2012, 77, 294–301. http://dx.doi.org/10.1016/j.electacta.2012.06.014 

28. C. Kung, T. Chang, L. Chou, J. Hupp, O. Farha, K. Ho, Electrochem.  Commun.  

      2015, 51, 2414–2417.  http://dx.doi.org/10.1039/C4CC09272D 
29. E. Menart, V. Jovanovski, S. B. Hočevar, Electrochem. Commun. 2015, 52, 45–48. 
       http://dx.doi.org/10.1016/j.elecom.2015.01.017 

30. P. K. Sonkar, V. Ganesan, J. Solid State Electrochem. 2015, 19, 2107–2115.
      https://doi.org/10.1007/s10008-014-2725-3
31. L. Zhang, F. Yuan, X. Zhang, L. Yang, Chem. Centr. J. 2011, 5, 75–84.
       https://doi.org/10.1186/1752-153X-5-75 
32. Y. Liu, J. Zhou, J. Gong, W. Wu, N. Bao, Z. Pan, H. Gu, Electrochim. Acta 2013, 111,
      876–887. https://doi.org/10.1016/j.electacta.2013.08.077 
33. C. Xia, X. Yanjun, W. Ning, Electrochim. Acta 2012, 59, 81–85.   

       https://doi.org/10.1016/j.electacta.2011.10.039 
34. Z. Wang, F. Liao, T. Guo, S. Yang, C. Zeng, J. Electroanal. Chem. 2012, 664, 135–138.

      https://doi.org/10.1016/j.jelechem.2011.11.006 

35. A. Marlinda, A. Pandikumar, N. Yusoff, N. Huang, H. Lim, Microchim. Acta 2014, 

     182, 1113–1122. https://doi.org/10.1007/s00604-014-1436-x 
36. Q. Xie, W. He, S. Yu, X. Chen, X. Zhang, Y. Shen, Anal. Meth. 2014, 6, 7716–7721. 
       http://dx.doi.org/10.1039/C4AY01461H
37. L. Zhou, J. Wang, L. Gai, D. Li, Y. Li, Sens. Actuat. B 2013, 181, 65–70.

       https://doi.org/10.1016/j.snb.2013.02.041   

38. T. Ömür, M. Alanyalıoğlu, Ionics 2017, 23, 3507–3516. 
      https://doi.org/10.1007/s11581-017-2142-6 
39. V. Mani, A. Periasamy, S. Chen, Electrochem. Commun. 2012, 17, 75–78. 
       https://doi.org/10.1016/j.elecom.2012.02.009  

40. H. Jirimali, R. Nagarale, D. Saravanakumar, J. Lee, W. Shin, Carbohydr. Pol. 2013, 92, 
      641–644. http://dx.doi.org/10.1016/j.carbpol.2012.09.024
41. A. Pisoschi, A. Pop, A. Serban, C. Fafaneata, Electrochim. Acta 2014, 121, 443–460.
      https://doi.org/10.1016/j.electacta.2013.12.127 

42. T. Dodevska, E. Horozova, N. Dimcheva, Mat. Sci. Eng. B 2013, 178, 1497–1502.  

      https://doi.org/10.1016/j.mseb.2013.08.012 
43. N. Dimcheva, T. Dodevska, E. Horozova, J. Electrochem. Soc. 2013, 160, 414–419. http://dx.doi.org/10.1149/2.025308jes
44. M. Wu, X. Mao, X. Li , X. Yang, L. Zhu, J. Electroanal. Chem. 2012, 682, 1–6.  
      http://dx.doi.org/10.1016/j.jelechem.2012.06.007                                           

45. C. Weng, Y. Chen, C. Chien, S. Hsu, Y. Jhuo, J. Yeh, C. Dai, Electrochim. Acta 2013, 

      95, 162–169. http://dx.doi.org/10.1016/j.electacta.2013.01.150 
46. C. Weng, P. Hsu, S. Hsu, C. Chang, W. Hung, P. Wu, J. Yeh, J. Mater. Chem. B 2013, 1, 

      4983–4991. http://dx.doi.org/10.1039/C3TB20433B   

47. H. Zhang, F. Huang, S. Xu, Y. Xia, W. Huang, Z. Li, Electrochem. Commun. 2013, 30,
      46–50. http://dx.doi.org/10.1016/j.elecom.2013.02.007
48. M. Tsai, S. Lu, Y. Lai, G. Lai, G. Dizon, T. Yang, Y. Lin, Y. Chou, eXPRESS Pol. Lett. 
      2018, 12, 71–81. https://doi.org/10.3144/expresspolymlett.2018.6
49. X. Zuo, N. Li, H. Zhang, J. Mater. Sci. 2012, 47, 2731–2735. 

      https://doi.org/10.1007/s10853-011-6099-y
50. J. Song, L. Xu, R. Xing, Q. Li, C. Zhou, D. Liu, H. Song, Sci. Rep. 2014, 4, 7515–7520. 

      https://doi.org/10.1038/srep07515
51. J. Sui, W. Li, Q. Pan, Int. J. Polym. Mater. 2016, 66, 258–264.  

      https://doi.org/10.1080/00914037.2016.1201826
52. A. Salimi, R. Hallaj, B. Kavosi, B. Hagighi, Anal. Chim. Acta 2010, 661, 28–34. 

      https://doi.org/10.1016/j.aca.2009.12.005 

53. M. Roushani, M. Sarabaegi, J. Electroanal. Chem. 2014, 717, 147–152.
      https://doi.org/10.1016/j.jelechem.2014.01.013 
54. L. Preda, T. Kondo, T. Spataru, M. Matin, M. Radu, P. Osiceanu, A. Fujishima, N.
       Spataru, Chem. ElectroChem. 2017, 4, 1908–1915.  

      https://doi.org/10.1002/celc.201700155 

55. Z. Wen, T. Kang, Talanta 2004, 62, 351–355. 
      https://doi.org/10.1016/j.talanta.2003.08.003
56. M. Majidi, A. Saadatirad, E. Alipour, Electroanalysis 2013, 25, 1–9.

      https://doi.org/10.1002/elan.201300082  
57. K. Zhao, H. Song, S. Zhuang, L. Dai, P. He, Y. Fang, Electrochem. Commun.  2007, 9, 
      65–70.  https://doi.org/10.1016/j.elecom.2006.07.001        
58. S. Palanisamy, C. Karuppiah, S. Chen, P. Periakaruppan, J. Electroanal.Chem. 2014, 727, 
      34–38.  http://dx.doi.org/10.1016/j.jelechem.2014.05.025 

59. X. Huang, Y. Li, Y. Chen, L.Wang, Sens. Actuat. B 2008, 134, 780–786.
      https://doi.org/10.1016/j.snb.2008.06.028 
60. L. Liu, H. Cui, H. An, J. Zhai, Y. Pan, Ionics 2017, 23, 1517–1523.
      https://doi.org/10.1007/s11581-017-1972-6 
61. Z. Wang, F. Liao, T. Guo, S. Yang, C. Zeng, J. Electroanal. Chem. 2012, 664, 135–138.

      https://doi.org/10.1016/j.jelechem.2011.11.006 

62. S. Li, G. Zhao, R. Zhang, Y. Hou, L. Liu, H. Pang, Microchim. Acta  2013, 180, 821–827. 
      https://doi.org/10.1007/s00604-013-0999-2 
_1590918928.unknown

