Table 1. Optimum extraction-spectrophotometric conditions and analytical characteristics of the system Ge(IV)–4-NC–TV–H2O–CHCl3
	Optimum Conditions
	Analytical Characteristic

	Absorption maximum (λmax) 420 nm
	Apparent molar absorptivity (εꞌ)

(2.87 ± 0.05) × 104 L mol–1cm–1

	Volume of the aqueous phase 10 cm3
	True molar absorptivity (ε)

(2.95 ± 0.01) × 104 L mol–1cm–1

	Volume of the organic phase 10 cm3
	Sandell’s sensitivity (SS)  2.53 ng cm‒2

	pH of the aqueous phase 3.5÷4.5
	Adherence to Beer’s law

up to 4.07 μg cm‒3

	Shaking time (τ) 2 min
	Relative standard deviation (RSD)  1.98%

	Concentration of 4-NC ≥ 3.0×10–4 mol L–1
	Limit of detection (LOD)  0.10 μg cm‒3

	Concentration of TV ≥ 9.0 × 10–5 mol L‒1
	Limit of quantification (LOQ)  0.33 μg cm‒3


