Effect of Microwave-Assisted Extraction on Polyphenols Recovery from Tomato Peel Waste

Marina Tranfić Bakić, Sandra Pedisić, Zoran Zorić, Verica Dragović-Uzelac, Antonela Ninčević Grassino*

Faculty of Food Technology and Biotechnology, University of Zagreb, Pierottijeva 6, 10000 Zagreb, Croatia

Corresponding Author

*Antonela Ninčević Grassino

Department of Chemistry and Biochemistry

Faculty of Food Technology and Biotechnology

University of Zagreb

Pierottijeva 6, 10000 Zagreb, Croatia

Phone: +385 1 4605 062

Fax: +385 1 4836 083

E-mail address: aninc@pbf.hr

Table of contents:

Total phenols content

Total flavonoids content

Total phenols content

Briefly, 400 L of the tomato peel extract was put into a 10 mL volumetric flask, and 4 mL of distilled water and 520 L of 0.2 M Folin-Ciocalteu reagens were added. Five minutes later, 1.5 mL of saturated (20 % w/v) sodium carbonate solution was added to the mixture and it was topped up with distilled water. After 2 hours, the absorbance of the prepared samples was measured at 765 nm in a 1 cm path-length quartz cell thermostated at 25.0 (± 0.1) °C on a PerkinElmer λ-25 Spectrophotometer.

For the preparation of a calibration curve, gallic acid was used as standard and linear regression equitation with R2 = 0.9998 was:

A765 = 0.00374 ×  (gallic acid)/(mg L-1)							(1)

Total flavonoids content

Briefly, 1 mL of the tomato peel extract was put into a 10 mL volumetric flask, and 2 mL of distilled water and 0.3 mL of 5 % (w/v) NaNO2 were added. Five minutes later, 0.5 mL of aluminum chloride 10 % (w/v) solution was added to the mixture, and after another 6 minutes, 2 mL of NaOH was added and it was topped up with distilled water. Absorbance of the prepared samples was measured at 510 nm in a 1 cm path-length quartz cell thermostated at 25.0 (± 0.1) °C on a PerkinElmer λ-25 Spectrophotometer.

For the preparation of a calibration curve, methanol solution of rutin (1 mg L-1) was used as a standard. Linear regression equation with R2 = 0.9958 was:

A510 = 1.0994·10-4 ×  (rutin)/(mg L-1)							(2)

Figure S1. Influence of temperature (25, 55 and 90 °C) and solvent (water, 1 % HCl, 50 and 70 % methanol with and without addition of 1 % HCl, and 50 and 70 % ethanol) on content of total phenols (TP) and total flavonoids (TF) extracted from tomato peel waste by MAE.

Figure S2. Influence of extraction time (5 and 10 min) and solvent (water, 1 % HCl, 50 and 70 % methanol with and without addition of 1 % HCl, and 50 and 70 % ethanol) on content of total phenols (TP) and total flavonoids (TF) extracted from tomato peel waste by MAE.

a)

b)

Figure S3. 3D categorized plots of influence of HCl addition to solvent (water, and 50 and 70 % methanol) or not vs: a) temperature (25, 55 and 90 °C) and b) time (5 and 10 min) on content of total phenols (TP) and total flavonoids (TF) extracted from tomato peel waste by MAE.

Figure S4. Influence of time (5 and 10 min) and solvent (water, 1 % HCl, 50 and 70 % methanol with and without addition of 1 % HCl and 50 and 70 % ethanol) on content of individual phenolic compounds extracted from tomato peel waste by MAE.