Extraction-chromogenic systems for vanadium(V) based on azo dyes and xylometazoline hydrochloride

Danail G. Hristov, Nikolina P. Milcheva, Kiril B. Gavazov*

Department of Chemical Sciences, Medical University of Plovdiv, 120 Buxton Brothers St., Plovdiv 4004, Bulgaria

Abstract

Liquid-liquid extraction-chromogenic systems for vanadium(V) based on xylometazoline hydrochloride (XMZ) and azo derivatives of resorcinol (ADRs) were studied. The following ADRs were used: 4-(2-thiazolylazo)resorcinol (TAR), 5-methyl-4-(2-thiazolylazo)resorcinol (MTAR), and 6-hexyl-4-(2-thiazolylazo)resorcinol (HTAR). Concentration of the reagents, pH of the aqueous medium and shaking time were subjects of optimization experiments. The chloroform-extracted ternary complexes were of composition 1:1:1. The molar absorptivity coefficients (), absorption maxima (), constants of extraction (Log K), and fractions extracted (E%) were found to be 553 = 2.50  104 dm3 mol–1 cm–1, Log K = 3.5, and E = 96% (ADR = TAR); 550 = 1.88  104 dm3 mol–1 cm–1, Log K = 3.4, and E = 98% (ADR = MTAR); and 554 = 2.62  104 dm3 mol–1 cm–1, Log K = 5.0, and E = 99.5% (ADR = HTAR). The Sandell’s sensitivities and Beer’s law limits were determined as well.

Keywords: 6-Hexyl-4-(2-thiazolylazo)resorcinol; 5-Methyl-4-(2-thiazolylazo)resorcinol; 4-(2-Thiazolylazo)resorcinol; Xylometazoline hydrochloride; Ion-association; Ternary complex

1. Introduction

Vanadium, atomic number 23, is the first in the line of essential trace metals (V – Zn) located in the first transition row of the Periodic table. It can exist in a variety of oxidation states (–I, 0, I, II, III, IV, and V), in monomeric, oligomeric and polymeric species, and is the fifth most abundant transition element in the Earth’s crust.1 Vanadium can enter the environment because of natural processes, such as rock weathering, sediment leaching, volcanic activity, aeolian dust, marine aerosols formation, and wild forest fires.2, 3 At the levels, provided by these processes, it is considered to be health-promoting,4 but it can become toxic in accordance with Paracelsus’ principle "the dose makes the poison". Serious health hazards are associated with elevated vanadium concentrations;5-7 they are typically related to V(V), the most toxic8, 9 and one of the most common vanadium’s oxidation states in the earth’s surface systems.9, 10

Large amounts of V(V) have been released in the biosphere as a result of industrial growth. The main sources of anthropogenic vanadium are the combustion of fossil fuels (especially oil), mining, processing of ores, production of steel alloys, glass, ceramics, rubber, redox batteries and dyes, application in catalysts for large-scale processes, fertilizing and recycling of domestic waste.3, 9, 11, 12 At present, vanadium has the highest anthropogenic enrichment factor of all trace elements in the atmosphere; it ranks fourth in this factor for global rivers (after antimony, cadmium and nickel).13

Many organic reagents have been applied for vanadium preconcentration and determination.8, 10, 14-16 Among the most promising and widely used are the azo dyes.8, 15-24 Azo derivatives of resorcinol (ADR), such as 4-(2-pyridylazo)resorcinol (PAR),24, 25 4-(2-thiazolylazo)resorcinol (TAR),26, 27 and 5-methyl-4-(2-thiazolylazo)resorcinol (MTAR)28, 29 form ternary complexes it the presence of cationic ion-association reagents (CIAR). Their composition, stability, and extraction-chromogenic characteristics depend on the particular pair of reagents. The composition, for example, can be 1:1:1,26, 28 2:2:2,29 1:2:325 or 1:2:130 (V:ADR:CIAR). The differences are explained by the possibility of interactions (H-bonding) between ADR and CIAR or between CIAR and the VO2 group,29 which is generally stable26, 31, 32 but under certain conditions is prone to lose an oxygen atom. Moreover, V(V) is stereochemically flexible;33-35 the same is true for ADRs which have many conformers36 and can be tridentate, bidentate, and even monodentate ligands37 depending on the environment.

Xylometazoline hydrochloride (XMZ) is a substance widely used in the pharmaceutical industry and included in WHO Model List of Essential Medicines.38 From a chemical point of view, it can be considered as a cationic ion-association reagent.39, 40 Various extraction-chromogenic systems containing transition metals, XMZ and PAR have been described in the literature.40-44 However, to the best of our knowledge, there are no reports involving both XMZ and thiazolylazo reagents. In the present paper, we discuss three liquid-liquid extraction-chromogenic systems containing V(V), XMZ and thiazolylazo dye {TAR, MTAR or 6-hexyl-4-(2-thiazolylazo)resorcinol (HTAR)}. In contrast to TAR and MTAR, which have been the subject of many experimental and theoretical studies,26, 31, 36, 45 HTAR is unexplored reagent. According to the manufacturer, this reagent is part of a collection of rare and unique chemicals. Its formula, along with the formulaе of the other reagents, is shown in Table 1.

Table 1. Reagents in the present study.

| Formula | Name | CAS number | Molar mass |
| --- | --- | --- | --- |
|  | Xylometazoline hydrochloride (XMZ) | 1218-35-5 | 280.84 |
|  | 4-(2-thiazolylazo)resorcinol (TAR) | 2246-46-0 | 221.24 |
|  | 5-methyl-4-(2-thiazolylazo)resorcinol (MTAR) | 37422-56-3 | 235.26 |
|  | 6-hexyl-4-(2-thiazolylazo)resorcinol (HTAR) | 14383-66-5 | 305.402 |

2. Experimental

2. 1. Reagents and Apparatus

V(V) solution (2×10–4 mol dm–3) was prepared from NH4VO3 (puriss. p.a., VEB Laborchemie Apolda, Germany). XMZ and ADRs (TAR, 97%; MTAR, 95%; and HTAR) were purchased from Merck. XMZ was dissolved in water; the obtained solutions (2×10–2 and 2×10–4 mol dm–3) were kept in dark-glass vessels.43, 44 Aqueous solutions of ADRs (2.0×10–3 mol dm–3) were prepared in the presence of KOH (1-2 pellets per 100 cm3).28 The acidity of the aqueous phase was set by ammonium acetate buffer solution (prepared by mixing 2.0 mol dm–3 solutions of CH3COOH and ammonia). The pH was checked by a WTW InoLab 7110 (Germany) instrument. Absorbance measurements were performed using a Ultrospec3300 pro UV-Vis spectrophotometers (UK), equipped with 1-cm path-length glass cuvettes. Distilled water and additionally distilled commercial chloroform (p. a.) were used throughout the work.

2. 2. General Procedure

Solutions of V(V), buffer (pH 3.8 – 6.8), ADR and XMZ were placed into a separatory funnel. The resulting mixture was diluted with water to a total volume of 10 cm3. Then 10 cm3 of chloroform were added and the funnel was shaken for a fixed time interval (up to 10 min). After a short wait for phase separation (5 – 10 seconds), a portion of the chloroform extract was transferred through a filter paper into the cuvette. The absorbance was measured against chloroform or simultaneously prepared blank (containing all the reagents except for vanadium).

2. 3. Determination of the Coefficients of Distribution and Fractions Extracted

The coefficients of distribution D were calculated by the formula D = A1/(A3 – A1), where A1 is the absorbance obtained after a single extraction (under the optimal extraction conditions, Table 2), and A3 is the absorbance obtained after a triple extraction under the same conditions. The final volume in both cases (single extraction and triple extraction) was 25 cm3.28, 29 The fractions extracted were calculated by the formula E% = 100 × D / (D +1).

Table 2. Optimum operating conditions.

| Extraction system | max, nm | pH | cADR, mol dm–3 | cXMZ, mol dm–3 | Extraction time, min |
| --- | --- | --- | --- | --- | --- |
| V(V) – TAR – XMZ | 553 | 4.7 | 3.010–4 | 6.010–3 | 1.0 |
| V(V) – MTAR – XMZ | 550 | 4.7 | 4.010–4 | 8.010–3 | 1.5 |
| V(V) – HTAR – XMZ | 554 | 5.1 | 2.010–4 | 4.010–3 | 8.0 |

3. Results and Discussion

3. 1. Extraction-Spectrophotometric Optimization

In a slightly acidic aqueous-ethanolic medium (pH 4.5 – 5.5), TAR and MTAR react with V(V)29, 46 to form red-colored anionic complex species. In the presence of CIAR, such as tetraphenylarsonium chloride, triphenylmethylarsonium iodide, tetraphenylphosphonium chloride, and tetrazolium salts27, 29, 47, 48 and replacing ethanol with a water-immiscible solvent (e. g., chloroform), ternary ion-association complexes are formed. Preliminary investigations on the V(V) – ADR – XMZ – water – chloroform systems (where ADR = TAR, MTAR or HTAR) confirmed our expectations for the formation of hydrophobic, well chloroform-extractable complexes. Spectra of these complexes are shown in Fig. 1. The absorption maxima (max) in chloroform are located at 552 – 553 nm (TAR complex), 549 – 550 nm (MTAR complex) and 553 – 554 nm (HTAR complex). One can judge that HTAR (spectrum 3) and TAR (spectrum 1) ensure higher molar absorptivity than MTAR (spectrum 2). The blank at max is the lowest when ADR = TAR (spectrum 1’) and the highest when ADR = MTAR (spectrum 2’). The latter, however, is significantly lower than the blank for the similar system,28 containing Aliquat 336 instead of XMZ and isobutanol instead of chloroform.

Figure 1. Absorption spectra in chloroform of the V(V) – ADR – XMZ complexes against blanks (1 – 3; cV(V) = 410−5 mol dm−3) and blanks (ADR – XMZ) against chloroform (1’ – 3’).  (1, 1’) cTAR = 310−4 mol dm−3, cXMZ = 610−3 mol dm−3, pH 4.7, extraction time t = 1 min; (2, 2’) cMTAR = 410−4 mol dm−3, cXMZ = 810−3 mol dm−3, pH 4.7, extraction time t = 2 min; (3, 3’) cHTAR = 210−4 mol dm−3, cXMZ = 410−3 mol dm−3, pH 5.1, extraction time t = 8 min;

The effect of pH of the aqueous phase on the complex formation and extraction is shown in Fig. 2. The absorbance is maximal over the broadest pH range (4.1 – 5.6) for ADR = TAR (curve 1). The left part of this curve resembles the left part of the curve with MTAR (curve 2). Further experiments with TAR and MTAR were performed at pH 4.7. The optimal pH for the system with HTAR appears to be 5.1; the absorbance in this case abruptly decreases at pH > 5.6 (curve 3). In all experiments ammonium acetate buffer (1 cm3) was used; it exhibits high buffering capacity at the optimal pH values.49

The effect of ADR and XMZ concentrations on the absorbance is shown in Fig. 3 and 4 respectively. The selected optimal concentrations are shown in Table 2. Maximal absorbance is achieved easily (with the lowest reagents concentrations) for the system with HTAR (curves 3 in Figs. 3 and 4). However, the complex with this reagent is extracted most slowly (Table 2). The time required for shaking in this case (8 min) is comparable to that recommended when using tetraphenylphosphonium or tetraphenylarsonium chloride (10 min) 47.

Figure 2. Absorbance of the V(V) – ADR – XMZ complexes vs pH of the aqueous phase, cV = 210−5 mol dm−3. (1) cTAR = 310−4 mol dm−3, cXMZ = 610−3 mol dm−3, extraction time t = 1 min; (2) cMTAR = 410−4 mol dm−3, cXMZ = 810−3 mol dm−3, extraction time t = 2 min; (3) cHTAR = 210−4 mol dm−3, cXMZ = 410−3 mol dm−3, extraction time t = 8 min;

Figure 3. Effect of ADR concentration on the absorbance, cV = 210−5 mol dm−3 (1) cXMZ = 610−3 mol dm−3, pH 4.7, extraction time t = 1 min; (2) cXMZ = 810−3 mol dm−3, pH 4.7, extraction time t = 2 min; (3) cXMZ = 410−3 mol dm−3, pH 5.1, extraction time t = 8 min.

Figure 4. Effect of XMZ concentration on the absorbance, cV = 210−5 mol dm−3 (1) cTAR = 310−4 mol dm−3, pH 4.7, extraction time t = 1 min; (2) cMTAR = 410−4 mol dm−3, pH 4.7, extraction time t = 2 min; (3) cHTAR = 210−4 mol dm−3, pH 5.1, extraction time t = 8 min.

Figure 5. Determination of the XMZ-to-vanadium(V) molar ratio by the Job’s method of continuous variations, cXMZ + cV(V) = 1.010–4 mol dm−3. (1) cTAR = 310−4 mol dm−3, pH 4.7, extraction time t = 1 min; (2) cMTAR = 410−4 mol dm−3, pH 4.7, extraction time t = 1.5 min; (3) cHTAR = 210−4 mol dm−3, pH 5.1, extraction time t = 8 min.

3. 2. Molar Ratios, Composition and Stability

The molar ADR-to-V(V) and XMZ-to-V(V) ratios were determined by different methods from the experimental results presented in Figs. 3 – 5. The following methods were used: the mobile equilibrium method,50 the straight-line method of Asmus,51 the  molar ratio method,52 and the Job’s method of continuous variations.53 As can be concluded from Table 3, and also from Figs. 5 – 8, all ternary complexes have a composition of 1:1:1. Such a composition was reported for the V(V) ternary complexes with the couples PAR – XMZ,43 TAR – tetraphenylarsonium chloride,47 TAR – tetraphenylphosphonium chloride,47 and MTAR – Aliquat336.28 The complex involving HTAR appears to be the most stable: the molar ratio method can be applied only to it, Table 3. The isomolar series (Fig. 5) and the straight lines obtained by the mobile equilibrium method (Fig. 6) are also in agreement with this conclusion; curve 3 in Fig. 5 is characterized by a well-defined peak, and curves 3 and 3’ in Fig. 6 have the largest y-intercept values.

Table 3. Molar ratios in the ternary V(V)  TAR  XMZ complexes obtained by different methods

| Molar ratio | Mobile equilibrium method | Asmus’ method | Job’s method | Molar ratio method |
| --- | --- | --- | --- | --- |
| TAR : V | 1:1 | 1:1 |  | Not applicable |
| MTAR : V | 1:1 | 1:1 |  | Not applicable |
| HTAR : V | 1:1 | 1:1 |  | 1:1 |
| XMZ : V (V TAR XMZ) | 1:1 | 1:1 | 1:1 | Not applicable |
| XMZ : V (V MTAR XMZ) | 1:1 | 1:1 | 1:1 | Not applicable |
| XMZ : V (V HTAR XMZ) | 1:1 | 1:1 | 1:1 | 1:1 |

Figure 6. Straight lines obtained by the mobile equilibrium method for ADR-to-V(V) (lines 1 – 3) and XMZ-to-V(V) (lines 1’ – 3’). The experimental conditions are given in Fig. 3 and Fig. 4, respectively. Straight lines equations: (1) y = 0.98x + 4.95, R2=0.9984; (1’) y = 1.13x + 3.97, R2 = 0.9967; (2) y = 1.09x + 4.90, R2=0.9943; (2’) y = 1.01x + 3.42, R2 = 0.9940; (3) y = 1.13x + 6.01, R2 = 0.9840; (3’) y = 1.07x + 5.74, R2 = 0.9637.

Figure 7. Application of the molar ratio method for the determination of the HTAR-to-V(V) molar ratio. The experimental conditions are given in Fig. 3, line 3.

Figure 8. Application of the straight-line method of Asmus for the determination of the XMZ-to-V(V) molar ratio in the extraction system containing MTAR. The experimental conditions are given in Fig. 4, line 2.

3.3. Chemical Equations and Extraction Characteristics

The formation and extraction of the ternary complexes can be represented in several successive steps. The first step is the formation of binary V(V) – ADR complexes in aqueous phase (Eq. 1). This equation is based on information concerning the state of V(V)54, 55 and ADRs (TAR56 and MTAR57) at the reaction conditions. There is no information in the literature about the state of HTAR but considering the similar behavior of the blank samples TAR – XMZ, MTAR – XMZ and HTAR – XMZ (Fig. 1), it can be assumed that this reagent is also in neutral form (H2L) at the optimum pH.

VO3(aq) + H2L(aq) ⇄ [VO2L](aq) + H2O 				(1)

The next steps, ion-association and extraction can be represented simultaneously by Eq. 2.

[VO2L](aq) + XMZ+Cl (aq) ⇄ (XMZ+)[VO2L](org) + Cl(aq)		(2)

In it, XMZ and its cation are denoted as XMZ+Cl and XMZ+, respectively. The conditional equilibrium constants characterizing Eq. 2 were calculated by two independent methods: the mobile equilibrium method50 (Fig. 6, straight lines 1’, 2’ and 3’) and the Likussar-Boltz method.58 The values obtained by these methods are statistically identical (Table 4). The extraction constant K for the system involving HTAR is the highest. The same is true for the other characteristics listed in Table 4, the distribution coefficient D and fraction extracted E%. This is related to the highest hydrophobicity and molecular mass (Table 1) of this reagent.

Table 4. Calculated values of the extraction constants (K), distribution coefficients (D) and fractions extracted (E%) at the optimum conditions.

| Extraction system | Log K | Log D | E% |
| --- | --- | --- | --- |
| V(V) – TAR – XMZ | 3.5 0.1 a 3.52 0.07 b | 1.5 0.3 (N=4) | 96 2 (N=4) |
| V(V) – MTAR – XMZ | 3.3 0.1 a 3.39 0.06 b | 1.6 0.2 (N=6) | 98 1 (N=6) |
| V(V) – HTAR – XMZ | 5.0 0.1 a 5.4 0.5 b | 2.4 0.3 (N=3) | 99.5 0.3 (N=3) |

a Calculated by the Likussar-Boltz method

b Calculated by the molar equilibrium method (Fig. 6)

3. 3. Beer’s Law and Analytical Characteristics

The dependences between the concentration of V(V) in aqueous phase and the absorbance of the extracted ternary complexes were studied under the optimum conditions (Table 2). The linear regression equations and some attendant parameters are listed in Table 5: molar absorptivities, Sandell’s sensitivities, Beer’s law limits and standard deviation of the slopes, y-intercepts and blanks. The limits of detection (LODs) and quantitation (LOQs) were calculated as 3- and 10-times standard deviation of the blank divided by the slope 59.

Table 5. Characteristics concerning the application of the ternary complexes for extraction-spectrophotometric determination of vanadium(V).

| Analytical characteristics | V(V) TAR XMZ | V(V) MTAR XMZ | V(V) HTAR XMZ |
| --- | --- | --- | --- |
| Molar absorptivity (), dm3 mol–1 cm–1 | 2.50 × 104 | 1.88 × 104 | 2.62 × 104 |
| Sandell’s sensitivity, ng cm–2 | 2.0 | 2.8 | 2.0 |
| Adherence to Beer’s law, µg cm–3 | 0.03 3.6 | 0.3 3.1 | 0.07 5.1 |
| Linear regression equation y = ax + b | y = 0.486x + 0.001 (R2=0.9997; N=8) | y = 0.370x – 0.006 (R2=0.9992; N=8) | y = 0.513x – 0.013 (R2=0.9991; N=8) |
| Standard deviations of the slope (a) and y-intercept (b) | 0.004; 0.007 | 0.004; 0.007 | 0.006; 0.017 |
| Limit of detection (LOD), µg dm–3 | 0.009 | 0.10 | 0.02 |
| Limit of quantitation (LOQ), µg dm–3 | 0.027 | 0.29 | 0.07 |
| Standard deviation of the blank | 0.001 | 0.011 | 0.003 |

4. Conclusions

Ternary well chloroform-extractable complexes are formed in systems containing vanadium(V), thiazolylazo derivatives of resorcinol (TAR, MTAR, HTAR), and xylometazoline hydrochloride. They have a composition of 1:1:1 and can be represented by the general formula (XMZ+)[VO2(ADR)], where ADR is in its doubly deprotonated form (ADR2–). The complexes have good extraction-spectrophotometric characteristics. The most extractable (E = 99.5%) and intensively colored ( = 2.62  104 dm3 mol–1 cm–1) is the complex of HTAR. The TAR complex is also advantageous. It is formed in the widest pH range, and the absorbance of the blank at max for this reagent is the lowest and repeatable. The latter, along with its high molar absorptivity (95% of that for the HTAR complex), provides the lowest LOD and LOQ values. Another advantage of the extraction system containing TAR is the shortest time of extraction.

5. References

1.	A. S. Tracey, G. R. Willsky, E. S. Takeuchi, Vanadium: chemistry, biochemistry, pharmacology and practical applications, CRC press, Boca Raton, 2007, pp. 1–2.

2.	W. H. Schlesinger, E. M. Klein, A. Vengosh, Proc. Natl. Acad. Sci.  2017, 114, E1109–E11100. DOI: 10.1073/pnas.1715500114

3.	B. Gummow, in: Nriagu, J. O., (Ed.): Encyclopedia of Environmental Health, Elsevier, Burlington, 2011; pp. 628–636.

4.	K. Marczewski, B. Marczewska, R. Kuzioła, J. Jpn. Soc. Balneol. Climatol. Phys. Med. 2015, 78, 201–208. DOI: 10.11390/onki.78.201.

5.	D. Rehder, ChemTexts 2018, 4, 20. DOI: 10.1007/s40828-018-0074-z.

6.	K. Gruzewska, A. Michno, T. Pawelczyk, H. Bielarczyk, J. Physiol. Pharmacol. 2014, 65, 603–611.

7.	M. R. Awual, M. M. Hasan, A. M. Asiri, M. M. Rahman, J. Mol. Liq. 2019, 283, 704–712. DOI: 10.1016/j.molliq.2019.03.119.

8.	M. J. C. Taylor, J. F. Staden, Analyst 1994, 119, 1263–1276. DOI: 10.1039/AN9941901263.

9.	M. Imtiaz, M. S. Rizwan, S. Xiong, H. Li, M. Ashraf, S. M. Shahzad, M. Shahzad, M. Rizwan, S. Tu, Environ. Int. 2015, 80, 79–88. DOI: 10.1016/j.envint.2015.03.018.

10.	K. Pyrzyńska, T. Wierzbicki, Talanta 2004, 64, 823–829. DOI: 10.1016/j.talanta.2004.05.007.

11.	P. N. Linnik, R. P. Linnik, Russ. J. Gen. Chem. 2018, 88, 2997–3007. DOI: 10.1134/S1070363218130273.

12.	H.-I. Kim, G. Moon, I. Choi, J.-Y. Lee, R. K. Jyothi, J. Clean. Prod. 2018, 187, 449–458. DOI: 10.1016/j.jclepro.2018.03.247.

13.	J. A. Watt, I. T. Burke, R. A. Edwards, H. M. Malcolm, W. M. Mayes, J. P. Olszewska, G. Pan, M. C. Graham, K. V. Heal, N. L. Rose, S. D. Turner, B. M. Spears, Environ. Sci. Technol. 2018, 52, 11973−11974. DOI: 10.1021/acs.est.8b05560.

14.	Z. Marczenko, M. Balcerzak, Separation, preconcentration and spectrophotometry in inorganic analysis, Elsevier, Amsterdam, 2000, pp. 456–465.

15.	K. Pyrzyńska, Microchim. Acta 2005, 149, 159–164. DOI: 10.1007/s00604-004-0304-5.

16.	W.-y. He, K.-p. Wang, J.-y. Yang, Toxicol. Environ. Chem. 2018, 120. DOI: 10.1080/02772248.2018.1428325.

17.	T. Stefanova-Bahchevanska, N. Milcheva, S. Zaruba, V. Andruch, V. Delchev, K. Simitchiev, K. Gavazov, J. Mol. Liq. 2017, 248, 135−142. DOI: 10.1016/j.molliq.2017.10.046.

18.	L. Rostampour, M. A. Taher, Talanta 2008, 75, 1279−1283. DOI: 10.1016/j.talanta.2008.01.045.

19.	S. Chandramouleeswaran, J. Ramkumar, Der Chemica Sinica 2018, 9, 605−608.

20.	C. Zhang, J. Liu, B. Yao, L. Zhang, in: 2011 International Symposium on Water Resource and Environmental Protection (ISWREP), Xi'an, China, IEEE, 2011, pp. 1803–1806. DOI: 10.1109/ISWREP.2011.5893600.

21.	A. S. Amin, A. L. Saber, T. Y. Mohammed, Spectrochim. Acta, Part A 2009, 73, 195–200. DOI: 10.1016/j.saa.2009.02.010.

22.	H. Filik, Z. Yanaz, R. Apak, Analytica Chimica Acta 2008, 620, 27–33. DOI: 10.1016/j.aca.2008.05.024.

23.	H. Filik, K. I. Berker, N. Balkis, R. Apak, Anal. Chim. Acta 2004, 518, 173–179. DOI: 10.1016/j.aca.2004.05.012.

24.	M. Uslu, H. Ulutürk, A. Yartaşı, S. Döker, Toxicol. Environ. Chem. 2014, 95, 1638–1649. DOI: 10.1080/02772248.2014.896920.

25.	T. S. Stefanova, K. K. Simitchiev, K. B. Gavazov, Chem. Pap. 2015, 69, 495–503. DOI: 10.1515/chempap-2015-0048.

26.	N. Galesic, M. Siroki, Acta Crystallogr., Sect. C 1984, 40, 378–381. DOI: 10.1107/S0108270184004212.

27.	K. B. Gavazov, V. D. Lekova, A. N. Dimitrov, G. I. Patronov, Cent. Eur. J. Chem. 2007, 5, 257–270. DOI: 10.2478/s11532-006-0053-x.

28.	G. K. Toncheva, N. P. Milcheva, K. B. Gavazov, Acta Chim. Slov. 2018, 65, 847–852. DOI: 10.17344/acsi.2018.4491.

29.	K. B. Gavazov, V. B. Delchev, K. T. Mileva, T. S. Stefanova, G. K. Toncheva, Acta Chim. Slov. 2016, 63, 392–398. DOI:10.17344/acsi.2016.2431.

30.	L. M. Dimova, E. A. Morgen, Zavod. Lab. 1984, 50, 7–9.

31.	M. Široki, L. Marić, Z. Štefanac, J. Inorg. Nucl. Chem. 1981, 43, 1151–1153. DOI: 10.1016/0022-1902(81)80008-5.

32.	H. E. Michibata, Vanadium: biochemical and molecular biological approaches. Springer, Dordrecht, 2012.

33.	S. Kodama, Y. Ueta, J. Yoshida, A. Nomoto, S. Yano, M. Ueshima, A. Ogawa, Dalton Trans. 2009, 9708–9711. DOI: 10.1039/B913823D.

34.	D. C. Crans, J. J. Smee, E. Gaidamauskas, L. Yang, Chem. Rev. 2004, 104, 849–902. DOI: 10.1021/cr020607t.

35.	G. K. Toncheva, Z. T. Zhelev, V. B. Delchev, K. B. Gavazov, Acta Chim. Slov. 2018, 65, 462–469. DOI: 10.17344/acsi.2018.4225.

36.	Y. Erdogdu, Ü. C. Başköse, S. Sağlam, Chem. Pap. 2019. DOI: 10.1007/s11696-019-00739-4.

37.	K. B. Gavazov, V. B. Delchev, N. P. Milcheva, G. K. Toncheva, Open Chem. 2019 (in press).

38.	WHO Model List of Essential Medicines, 20th eddition https://www.who.int/medicines/publications/essentialmedicines/en/ (assessed: May 3, 2019)

39.	S. Khalil, Microchim. Acta 1999, 130, 181184. DOI: 10.1007/BF01244925.

40.	Y. Anjaneyulu, K. Chandra Sekhar, M. Ravi Prakasa Reddy, R. N. Sarma, Microchim. Acta 1985, 87, 2329. DOI: 10.1007/BF01201983.

41.	S. N. Bhadani, M. Tewari, A. Agrawal, C. Sekhar, J. Indian Chem. Soc. 1998, 75, 176177.

42.	Y. Anjaneyulu, M. R. Reddy, C. S. Kavipurapu, Analyst 1986, 111, 11671169. DOI: 10.1039/AN9861101167.

43.	A. Yerramilli, C. S. Kavipurapu, R. R. Manda, C. M. Pillutla, Anal. Chem. 1986, 58, 14511453. DOI: 10.1021/ac00298a040.

44.	C. S. Kavipurapu, S. C. Srivastava, K. K. Gupta, L. P. Pandey, Mikrochim. Acta 1993, 111, 127132. DOI: 10.1007/BF01240175.

45.	M. Smolinska, O. Korkuna, T. Vrublevska, P. Rudchuk, G. Teslyar, Open Chem. 2015, 13, 1254–1268. DOI: 10.1515/chem-2015-0139.

46.	M. Langova, I. Klabenesova, K. Kasiura, L. Sommer, Coll. Czech. Chem. Commun. 1976, 41, 23862405. DOI: 10.1135/cccc19762386.

47.	L. Marić, M. Široki, Z. Štefanac, M. J. Herak, Microchem. J. 1979, 24, 536544. DOI: doi:10.1016/0026-265X(79)90102-4.

48.	K. B. Gavazov, T. S. Stefanova, Croat. Chem. Acta 2014, 87, 233240. DOI: 10.5562/cca2436.

49.	L. Konermann, J. Am. Soc. Mass Spectrom. 2017, 28, 18271835. DOI: 10.1007/s13361-017-1739-3.

50.	Z. Zhiming, M. Dongsten, Y. Cunxiao, J. Rare Earths 1997, 15, 216–219.

51.	E. Asmus, Fresenius' J. Anal. Chem. 1960, 178, 104–116. DOI: 10.1007/bf00467200.

52.	J. H. Yoe, A. L. Jones, Ind. Eng. Chem. Anal. Ed. 1944, 16, 111–115. DOI: 10.1021/i560126a015

53.	P. Job, Ann. Chim. (Paris) 1928, 9, 113134.

54.	L. D. Kurbatova, O. V. Koryakova, M. A. Valova, M. Yu. Yanchenko, Z. Anorg. Allg. Chem., 2015, 641, 617–621. DOI: 10.1002/zaac.201400426

55.	N. K. Temel, R. Gürkan, Acta Chim. Slov., 2018, 65, 138–149. DOI: 10.17344/acsi.2017.3724.

56.	K. Pytlakowska, V. Kozik and M. Dabioch, Talanta 2013, 110, 202228. DOI: 10.1016/j.talanta.2013.02.037.

57.	N. Menek, E. Eren, S. Topçu, Dyes Pigm., 2006, 68, 205–210. DOI: 10.1016/j.dyepig.2005.01.010

58.	W. Likussar, D. F. Boltz, Anal. Chem. 1971, 43, 12651272. DOI: 10.1021/ac60304a006.

59.	A. Shrivastava, V. B. Gupta, Chron. Young Sci. 2011, 2, 2125. DOI: 10.4103/2229-5186.79345.