Dear Editor - Acta Chimica Slovenica

Thank you for the email dated 14 May 2020 and useful comments of respectful reviewers’ on our manuscript entitled: “Ionic liquid-based dispersive liquid-liquid microextraction for the simultaneous determination of carbamazepine and lamotrigine in biological samples” by Salumeh Ranjbar, Ameneh porgham Daryasari and Mojtaba soleimani. Attached please find the revised manuscript. In the revised copy the following points were considered:

Answers to comments:

Comment 1: Authors have described the analytical performance of their method for urine and plasma samples (section 3.7), giving the linearity range, determination coefficients, LOD, LOQ, and RSD for both analytes. However, there is no corresponding description of the validation procedure in the Experimental. A detailed description on the validation procedure should be given in the Experimental, also stating how the blank samples were obtained and verified.

Answer to comment 1: A detailed description on the validation procedure was done and about the blank samples more explained. Pages 7, 17 and 18

Comment 2: It is also unusual that the section 3.8 describes the determination of analytes in human plasma and urine samples separately. If the calibration was already done on urine and plasma samples, as stated in 3.7, what are then samples presented in section 3.8? If they were quality control samples, it should be stated and preparation described in Experimental as well. Please clarify.

Answer to comment 2: It was corrected. Pages 18 and 19

Comment 3: Figures 8 and 9. From these figures, it is obvious that both analytes elute at the same retention time. How was then possible to determine them simultaneously? This should be thoroughly explained. Besides, the chromatographic peak shape for both analytes is really poor and it would be impossible to notice or integrate the peak at low concentrations. Authors should clarify this issue as well. Why wasn’t the peak shape improved?

Answer to comment 3: In the measurement of lamotrigine (LTG) and carbamazepine (CBZ) in the optimization steps and also determination in real samples, the mixture of both drugs were used. The maximum wavelengths for measurement of LTG and CBZ were 308nm and 284nm, respectively. Unfortunately, in 308nm and 284nm, both of the drugs have peaks. However, CBZ at 284nm and LTG at 308nm have peaks with high intensities. The maximum intensity of the drugs peaks at the selected wavelengths were used for the subsequent experimental. The retention time of LTG was 5.1 min and the retention time of CBZ was 12.1 min at the measurement in the maximum wavelengths. Explanations about the Figures 8 and 9 was added in the text. Pages 6, and 20

Comment 4: Some references were added, but all of them are still more than 5 years old. Authors should find some more recent literature from the field. DLLME is a relatively recent method and is still widely used by analytical chemists. It is difficult to believe that there are no new references from the field.

Answer to comment 4: We try to update the references as possible and also we want to use references from ACSi journal, therefore in the reference numbers from 25-27 which related to the DLLME works we used these references from ACSi journal.

eferents:

All changes made are marked red on the revised copy. We hope that our manuscript is now suitable for publication in the Acta Chimica Slovenica.

Best Regards

Assistant Professor

Ameneh porgham Daryasari

Department of Chemistry, Lahijan Branch, Islamic Azad University, Lahijan, Iran

Email: porgham54@gmail.com

4 June 2020