Supplementary Material

Determination of morin and quercetin in fruit juice samples using air-assisted liquid-liquid microextraction based on solidification of floating organic droplet and HPLC

Armin Fallah, Mohammad Reza Hadjmohammadi*

Department of Analytical Chemistry, Faculty of Chemistry, University of Mazandaran, NirooHavayii boulevard, 47416-95447 Babolsar, Iran

Table S1. Main factors, symbols, levels of each factors for CCD runs

| Factor | Symbol |  |  | Level |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | -1.141 | -1 | 0 | +1 | +1.414 |
| pH of sample solution | X1 | 2.17 | 3 | 5 | 7 | 7.83 |
| volume of extraction solvent (µL) | X2 | 29.29 | 50 | 100 | 150 | 170.71 |

Table S2. Design matrix and obtained responses for CCD

| Run | X1 | X2 | Sum of peak area |
| --- | --- | --- | --- |
| 1 | 0 | 0 | 820973 |
| 2 | -1 | 1 | 842129 |
| 3 | 0 | 0 | 844408 |
| 4 | 0 | 0 | 841186 |
| 5 | 0 | 0 | 839513 |
| 6 | -1.414 | 0 | 750872 |
| 7 | 1 | -1 | 749777 |
| 8 | 1 | 1 | 610669 |
| 9 | -1 | -1 | 803086 |
| 10 | 0 | -1.414 | 830847 |
| 11 | 1.414 | 0 | 580406 |
| 12 | 0 | 1.414 | 789451 |
| 13 | 0 | 0 | 817729 |

Fig. S1. Typical chromatograms of (g) red grape sample ; (h) spiked red grape sample ; (i) peach sample ; (j) spiked peach sample. HPLC conditions and experimental details are described in the text. MR=morin and QR=quercetin.