Extraction-Chromogenic System for Cobalt Based on 5-Methyl-4-(2-thiazolylazo)resorcinol and Benzalkonium Chloride

Danail G. Hristov,1 Petya V. Racheva,1,2 Galya K. Toncheva3 and Kiril B. Gavazov1,2,*

1 – Department of Chemical Sciences, Medical University of Plovdiv, 120 Buxton Brothers St., Plovdiv 4004, Bulgaria

2 – Research Institute at the Medical University of Plovdiv, 15A Vasil Aprilov Bld., Plovdiv, Bulgaria

3 – Department of General and Inorganic Chemistry with Methodology of Chemical Education, University of Plovdiv Paisii Hilendarski, 24 Tsar Assen St., Plovdiv 4000, Bulgaria

* Corresponding author: E-mail: kgavazov@abv.bg

Abstract

The interaction between CoII and 5-methyl-4-(2-thiazolylazo)-resorcinol (MTAR) was studied in a water-chloroform system, in the presence or absence of benzalkonium chloride (BZC) as a cationic ion-association reagent. The optimum conditions for the extraction of Co were found: pH, concentration of the reagents and extraction time. In the presence of BZC, the extracted ion-associate could be represented by the formula (BZ+)[CoIII(MTAR2–)2], where MTAR is in its deprotonated form. The following extraction-spectrophotometric characteristics were determined: absorption maximum, molar absorptivity, Sandell’s sensitivity, limit of detection, limit of quantification, constant of extraction, distribution ratio and fraction extracted. In the absence of BZC, the extraction is incomplete and occurs in a narrow pH range. The extracted chelate contains one deprotonated and one monoprotonated ligand: [CoIII(MTAR2–)(HMTAR–)].

Keywords: Cobalt; 4-(2-thiazolylazo)orcinol; benzalkonium chloride; ternary complex; solvent extraction; spectrophotometry

1. Introduction

Cobalt is a group 9 transition metal that occupies position 27 in the periodic table. Because of its unique properties it is important for industry, agriculture, medicine and high technology development. As a highly wear- and corrosion-resistant metal which retains these properties even at high temperature, cobalt is an essential constituent of alloys for special uses.1, 2 It is also applied in the manufacture of sintered cutting tools, catalysts, permanent magnets, pigments, siccatives and rechargeable (e.g., lithium-ion) batteries. Since the need of these batteries increases, some business experts predict a 47x increase in global demand for cobalt in 2030 compared to 2017.3

Cobalt is a relatively rare element. It is present in rocks, soils and sea water at very low concentrations and its average content in the continental crust is approximately 17.3 mg/kg.4 There are several commercially important cobalt-containing minerals, such as heterogenite, linnaeite, cobaltite, smaltite, erythrite, carrolite, skutterudite and asbolite. However, in most deposits, this element is not in sufficient quantity to be economically minable alone and is obtained as a by-product of the metallurgy of copper, nickel, silver, gold, lead and zinc.1, 4, 5

Cobalt is an essential trace element for all animals, including humans, and an active nutrient for bacteria, fungi and algae. It is utilized by animals only in the form of vitamin B-12, synthesized by certain bacteria and archaea in the presence of enough cobalt. Cobalt deficiency (or vitamin B-12 deficiency) in humans can lead to pernicious anemia and nerve damage.6 On the other hand, excess cobalt can provoke numerous negative effects on central metabolism.7, 8 That is why its content in various samples should be monitored.8-11

There are many analytical methods for cobalt. Azo dyes such as 4-(2-pyridylazo)resorcinol (PAR)12-23 and 4-(2-thiazolylazo)resorcinol (TAR)24-27 have long been used for its preconcentration and subsequent determination. Due to the ability of these reagents to form anionic chelates with cobalt cations, analytical procedures are often associated with the addition of auxiliary reagents providing the necessary hydrophobicity and extraction characteristics.

The following cationic reagents have been used as components of Co-PAR and Co-TAR ternary complexes: diphenylguanidine,15 dicyclohexyl-18-crown-6,17 tetradecyl(trihexyl)phosphonium chloride,21 xylometazoline hydrochloride,19 tributylammonium bromide,22 tetraphenylarsonium chloride,28, 29 tetraphenylphosphonium chloride,28, 29 nitron,30 tetrazolium salts,27, 31-33 and  quaternary ammonium salts.16, 18, 20, 34-36

5-Methyl-4-(2-thiazolylazo)resorcinol (MTAR)37 is a TAR derivative that has been used in our laboratory for the liquid-liquid extraction of VIV,V 38-42 and NiII.43 Its interaction with CoII in water-ethanol medium has been studied by Kiryukhina.44 This reagent has also been used for the reversed-phase capillary high-performance liquid chromatographic determination of CoII.45 There are no reports on the liquid-liquid extraction of Co complexes with MTAR, nor on the ternary Co-MTAR complexes with auxiliary reagents.

The objective of this work was to investigate the complex formation and liquid-liquid extraction of Co with MTAR in the presence and absence of benzalkonium chloride (BZC). BZC (Fig. 1) is a mixture of quaternary ammonium chlorides used in pharmaceuticals, cosmetics and cleaning products due to its valuable bacteriostatic, bactericidal, fungicidal, algicide, spermicide and surfactant properties.46, 47 Its ability to form ion-pairs with bulky anions has been used in liquid-liquid extraction methods for its determination.48

Fig. 1. Structural formula of BZC. The index n can be 8, 10, 12, 14, 16 or 18 (constituents with n = 12, 14, and 16 predominate).

2. Experimental

2. 1. Reagents and Apparatus

Cobalt standard solution (1000 mg dm−3, Co(NO3)2) was obtained from Merck, Germany. Working solutions (cCo=4.010–4 mol dm–3) were prepared by appropriate dilution. MTAR (95 %) and BZC (≥ 95 %) were also Merck products. Neutral or slightly basic aqueous solutions of MTAR (2.0×10–3 mol dm–3) were prepared by the addition of KOH.40, 41 BZC was dissolved in water (cBZC= 2×10–2 mol dm–3 and 4×10–4 mol dm–3). Chloroform was redistilled and used repeatedly. The acidity of the aqueous phase was maintained constant by the addition of buffer solution, prepared by mixing 2 mol dm−3 aqueous solutions of acetic acid and ammonia. The resulting pH was checked by a WTW InoLab 720 pH-meter (Germany) with a precision of ±0.01 pH units. UV/vis spectrophotometers Ultrospec3300 pro and Camspec M508 UV-Vis (UK), equipped with 10-mm path-length cells, were employed for absorbance measurements. Distilled water was used in all experiments.

2. 2. General Procedure

Solutions of CoII, buffer (pH 3.7 – 9.2), MTAR and BZC were sequentially transferred into a separatory funnel. Water was added to a total volume of 10 cm3. Then 10 cm3 of chloroform were buretted and the funnel was shaken for a fixed time interval. After a short wait for phase separation, a portion of the organic extract was transferred through a filter paper into the spectrophotometer cell. Absorbance was measured against chloroform or a simultaneously prepared blank.

2. 3. Determination of the Distribution Ratio and Fraction Extracted

The distribution ratio D was found from the equation D = A1/(A3 – A1), where A1 is the absorbance measured after a single extraction under the optimum conditions in the presence of BZC (Table 1) and A3 is the absorbance measured after a triple extraction under the same conditions. The total volume in both cases (single extraction and triple extraction) was 25 cm3.39-41 The fraction extracted was calculated from the equation E% = 100×D/(D+1).

Table 1. Optimum extraction-spectrophotometric conditions.

| Extraction system | max, nm | pH | cMTAR, mol dm–3 | cBZC, mol dm–3 | Shaking time, min |
| --- | --- | --- | --- | --- | --- |
| Co – MTAR – water –chloroform | 509 | 5.5 | 4.010–4 | – | 3a |
| Co – MTAR – BZC– water –chloroform | 550 | 7.5 | 1.610–4 | 1.410–4 | 3 |

a quantitative extraction cannot be achieved

3. Results and Discussion

3. 1. Absorption Spectra and Effect of pH

Kiryukhina44 reported that CoII reacts with MTAR in a water-ethanol medium to form a 1:2-complex with an absorption maximum max = 520 nm. She found that the optimum pH of complex formation was 6 – 8 but did not pay attention to the change in spectral characteristics as the pH changed.

Our extraction studies have shown that the extracted into organic phase complex in the Co-MTAR-water-chloroform system has an absorption maximum at 509 nm (Fig. 2, spectrum 1). In the presence of BZC, the absorption maximum shifts to the higher wavelengths (about 549 – 550 nm; spectrum 2) and the optimum pH range widens significantly and shifts to higher pH values (Fig. 3).

Figure 2. Absorption spectra in chloroform of the Co-MTAR binary complex (1) against blank (1’) and Co-MTAR-BZC ternary complex (2) against corresponding blank (2’). cCo = 410−5 mol dm−3; tex = 3 min; cMTAR = 4.010−4 mol dm−3 (1, 1’) or 1.610−4 mol dm−3 (2, 2’); pH = 5.5 (1, 1’) or 7.5 (2, 2’); cBZC = 1.410−4 mol dm−3 (2, 2’).

Figure 3. Absorbance of the Co-MTAR (1) and Co-MTAR-BZC (2) complexes and corresponding blanks (1’ and 2’) vs pH of the aqueous phase. Co = 410−5 mol dm−3 (1, 2); cMTAR = 410−4 mol dm−3 (1, 1’, 2, 2’); cBZC = 110−3 mol dm−3 (2, 2’);  = 509 nm (1,1’) or 550 nm (2,2’); tex = 3 min.

3. 2. Effect of MTAR Concentration and the MTAR-to-Co Molar Ratio

The effect of MTAR concentration on the absorbance at 509 and 550 nm is shown in Fig. 4, curves 1a,b,c. Processing of the data received in the presence or absence of BZC by the straight-line method of Asmus49 (Fig. 5) showed that in both cases the MTAR-to-Co molar ratio is 2:1. When the concentration of MTAR increases in the presence of BZC, the absorption maximum shifts to lower wavelengths. This can be attributed to the simultaneous extraction of the binary CoMTAR complex (max = 509 nm).

Figure 4. Effect of MTAR (1a,b,c) and BZC (2) concentration. (1a) cCo = 410−5 mol dm−3, pH 5.2, tex = 3 min,  = 509 nm; (1b) cCo = 8.510−5 mol dm−3, cBZC = 410−4 mol dm−3, pH 6.0, tex = 3 min,  = 509 nm; (1c) cCo = 4.010−5 mol dm−3, cBZC = 1.410−4 mol dm−3, pH 7.5, tex = 3 min,  = 550 nm; (2) cCo = 410−5 mol dm−3, cMTAR = 210−4 mol dm−3, pH 7.5, tex = 3 min,  = 550 nm.

a

b

c

Figure 5. Determination of the MTAR-to-Co molar ratio by the straight-line method of Asmus. The experimental conditions are given in Fig. 4, curves 1a,b,c, respectively.

3. 3. Effect of BZC Concentration and the BZC-to-Co Molar Ratio

The effect of BZC concentration is shown in Fig. 4, curve 2. This curve allowed the BZC-to-Co molar ratio (= 1:1) to be determined by many methods: straight-line method of Asmus,49 Bent and French limited logarithm method50, 51 (Fig. 6), You and Jones method52 (Fig. 7) and mobile equilibrium method53 (Fig. 8). Successful determination of the composition by all these methods is rarely possible since they have certain limitations related to the stability of the species and the presence of side processes.51, 54

In addition to the aforementioned methods, the composition was determined by the Job’s method of continuous variations (Fig. 9).55 The obtained curve shows that the complex is rather stable.

Figure 6. Determination of the BZC-to-Co molar ratio by the Bent-French limited logarithm method.

Figure 7. Determination of the BZC-to-Co molar ratio by the You and Jones method.

Figure 8. Determination of the BZC-to-Co molar ratio by the mobile equilibrium method.

Figure 9. Determination of the BZC-to-Co molar ratio by the Job’s method of continuous variations and Kex by the Likussar-Boltz method. k = cCo + cBZC = 8×10−5 mol dm−3, cMTAR = 2×10−4 mol dm−3, pH 7.5,  = 547 nm.

3. 4. Suggested Chemical Formulae and Equations

In order to propose correct formulae for the extracted species, the data for their composition must be synchronized with the information accumulated in the literature for the possible oxidation of CoII to CoIII by the atmospheric oxygen. Numerous studies in this area allow us to summarize that in the presence of azo dyes17, 27-31, 56-61 such as PAR  and TAR, (i) the oxidation proceeds rapidly (in seconds);58, 61 (ii) the oxidation is quantitative;60 (iii) CoII is oxidized even in the presence of reducing agents such as ascorbic acid, sulfite or hydrazine;57, 61 (iv) the protonation state of the azo dye in the complex can be estimated by the position and intensity of the spectral bands in the visible range.

The MTAR complex extracted in the absence of BZC has a composition of Co:MTAR = 1:2. Because of the requirement of electroneutrality, it is reasonable to assume that its formula is [CoIII(HL–)(L2–)]0 (L2– and HL– are the deprotonated and monoprotonated forms of the ligand H2L = MTAR). A similar Co-PAR complex has been isolated and studied by Mochizuki et al.58 The chloroform-extracted (at pH close to 4) Co-TAR binary complex29 can probably be represented by the same formula.

It can be seen from Fig. 3 (curve 1) that the Co-MTAR binary complex is formed in a narrow pH range (about pH 5.5), which corresponds well with the onset of the decrease in absorbance (curve 1 ') associated with the conversion of the neutral MTAR into a monoanion:

H2L0 ⇄ HL– + H+								(1)

The course of curve 1' is in good agreement with the pKa value determined by Menek et al.62 (Table 2; pKp-OH = 5.7), characterizing Eq. 1.

As the pH increases the neutral complex is transformed into an anionic complex with a bathochromically shifted absorption maximum:

[CoIII(HL–)(L2–)]0 ⇄ [CoIII(L2–)2]– + H+						(2)

The anionic complex can also be formed by the direct interaction (Eq. 3) of the metal with the dominant form of the reagent under optimal conditions (i.e., HL–).

CoII(aq) + 2 HL– ⇄ [CoIII(L2–)2] + 2H+ + e–					(3)

The formation of the ternary ion-association complex can be described by Eq. 4, in which BZ+ is the cation of BZC.

[CoIII(L2–)2]– + BZ+ ⇄ (BZ+)[CoIII(L2–)2]					(4)

The overall process of complex formation and extraction at the optimum pH-range (see Fig. 3, curve 2) is shown in Eq. 5.

CoII(aq) + 2 HL–(aq) + BZ+(aq) ⇄ (BZ+)[CoIII(L2–)2] (org) + 2H+(aq) + e–		(5)

It involves metal assisted deprotonation of the ligand HL–, oxidation of the initially formed labile CoII-complex to inert CoIII-complex in the presence of air,16, 58, 63 and ion-association between BZ+ and the anionic complex.54, 64 The spectral characteristics and composition of the ternary complex (Co:MTAR:BZC = 1:2:1), and the optimal pH-range of its existence suggests that it contains two deprotonated ligands, as in the literature concerning similar ternary PAR- and TAR-complexes.27-31 These azo dyes have pKa values (Table 2) that are close to those reported for MTAR.

Table 2. Dissociation constants of MTAR, TAR and PAR

| Azo dye | pKa |  |  | Conditions | Ref. |
| --- | --- | --- | --- | --- | --- |
|  | pKNH | pKp-OH | pKo-OH |  |  |
| MTAR |  | 5.7 | 11.8 |  | 62 |
| TAR | 1.25 | 6.0 | 9.3 | 0.1 mol dm3 NaC1O4 | 65, 66 |
|  | 0.96 | 6.23 | 9.44 | 0.1 mol dm3 NaC1O4 |  |
|  |  | 6.16 | 9.59 | I = 0.2 |  |
|  |  | 6.15 | 9.68 |  |  |
| PAR | 2.7 | 5.83 | 12.5 | 0.1 mol dm3 KNO3 | 65, 66 |
|  | 2.66 | 5.48 | 12.31 | 0.1 mol dm3 NaC1O4 |  |
|  | 3.1 | 5.6 | 11.9 | I = 0.1 |  |
|  | 2.57 | 6.2 | 11.5 |  |  |

3. 5. Extraction Characteristics

The conditional equilibrium constant characterizing Eq. 5 was calculated by the mobile equilibrium method53 (Fig. 8), Likussar-Boltz method67 (Fig. 9) and Holme-Langhmyir method.68 The obtained values are given in Table 3, along with the values for fraction extracted (E) and distribution ratio (D).

Table 3. Extraction characteristics

| Extraction characteristic | Value |
| --- | --- |
| Extraction constant (Log Kex) | 5.6 0.2а (N = 3) 5.7 0.3а (N = 5) 5.8 0.1c (N = 5) |
| Distribution ratio (Log D) | 1.4 0.2 (N = 4) |
| Fraction extracted (E), % | 96 2 (N = 4) |

a Likussar-Boltz method

b Molar equilibrium method

c Holme-Langmyhr method

3. 6. Beer’s Law and Analytical Characteristics

The relationship between the concentration of CoII in the aqueous phase and the absorbance of the extracted ternary complex was studied under optimum conditions (Table 1). A good linearity was observed in the concentration range of 0.2 – 2.8 μg cm–3 (R2 = 0.9994, N = 7). The linear regression equation was A = 0.395 + 0.004, where A is the absorbance and  is the concentration (μg cm–3). The standard deviations of the slope and intercept were 0.004 and 0.008, respectively. The limits of detection (LOD) and quantitation (LOQ), calculated as 3- and 10 times standard deviation of the intercept divided by the slope, were LOD = 0.058 μg cm–3 and LOQ = 0.193 μg cm–3. The molar absorptivity () and Sandell’s sensitivity (SS) were  = 2.33104 dm3 mol–1 cm–1 and SS = 2.5310–3 μg cm–2, respectively.

4. Conclusions

The present investigations shed light on the complex formation of CoII with MTAR in the presence or absence of BZC. The conditions of formation of two electroneutral complex species, were found: [CoIIIL(HL)] and (BZ+)[CoIII(L)2]. The first one contains one monoprotonated MTAR and one deprotonated MTAR. It is extracted in a narrow pH-range (about 5.5) and shows an absorption maximum at 509 nm. In the presence of BZC, a ternary ion-association complex (max = 550 nm) is formed over a wider pH range (6.8 – 8.7). In both cases, the complex formation involves the oxidation of CoII to CoIII by atmospheric oxygen.

5. Acknowledgements

This study is part of a project (DPDP-24) within the framework of a scientific competition "Doctoral and postdoctoral projects-2019" at the Medical University-Plovdiv.

6. References

- K. K. Chatterjee, Uses of Metals and Metallic Minerals, New Age International (P) Ltd. Publishers, New Delhi, India, 2007, pp. 272–275.

2. 	S. Gialanella, A. Malandruccolo, Aerospace Alloys, Springer, Cham, Switzerland, 2020, pp. 267–386. DOI: 10.1007/978-3-030-24440-8_6

3.	T. Wilson, We'll all be relying on Congo to power our electric cars, https://www.bloomberg.com/news/articles/2017-10-26/battery-boom-relies-on-one-african-nation-avoiding-chaos-of-past, (assessed: March 31, 2020)

4.	G. M. Mudd, Z. Weng, S. M. Jowitt, I. Turnbull, T. Graedel, Ore Geol. Rev. 2013, 55, 87–98. DOI: 10.1016/j.oregeorev.2013.04.010

5.	G. Rao, Nickel and Cobalt Ores: Flotation, in: Reference Module in Chemistry, Molecular Sciences and Chemical Engineering, Elsevier, 2014, pp. 1–27. DOI: 10.1016/B978-0-12-409547-2.10944-8

6.	D. Linhares, A. Pimentel, C. Borges, J. V. Cruz, P. Garcia, A. dos Santos Rodrigues, Sci. Total Environ. 2019, 684, 715–721. DOI: 10.1016/j.scitotenv.2019.05.359

7.	S. J. Moore, M. J. Mayer, R. Biedendieck, E. Deery, M. J. Warren, New Biotechnol. 2014, 31, 553–561. DOI: 10.1016/j.nbt.2014.03.003

8.	A. Z. Zalov, Sh. A. K. Ibragimova,  Izv. Saratov Univ. (N. S.), Ser. Chemistry. Biology. Ecology, 2019, 19, 379–386 (in Russian). DOI: 10.18500/1816-9775-2019-19-4-379-386

9.	L. Dospatliev, M. Ivanova, Bulg. Chem. Commun. 2017, 49, 787–791.

10.	L. Dospatliev, Z. Yaneva, Sci. Technol. 2014, 4, 31–35.

11.	A. Z. Zalov, K. A. Kuliev, S. M. Shiralieva, S. A. Mammadova, K. R. Aliyeva, S. N. Gahramanova, J. Pharmacogn. Phytochem. 2019, 8, 2612–2616.

12.	T. Yotsuyanagi, R. Yamashita, K. Aomura, Jpn. Anal. 1970, 19, 981–982. DOI: 10.2116/bunsekikagaku.19.981

13.	R. Yamashita, T. Yotsuyanagi, K. Aomura, Jpn. Anal. 1971, 20, 1282–1288. DOI: 10.2116/bunsekikagaku.20.1282

14.	H. Okochi, Jpn. Anal. 1972, 21, 51–56. DOI: 10.2116/bunsekikagaku.21.51

15.	S. G. Mamuliya, I. V. Pyatnitskii, L. L. Kolomiets, K. I. Grigalashvili, Zh. Anal. Khim. 1980, 35, 1306–1309.

16.	T. Okutani, A. Sakuragawa, M. Murakami, Anal. Sci. 1991, 7, 109–112. DOI: 10.2116/analsci.7.Supple_109

17.	A. G. Gaikwad, H. Noguchi, M. Yoshio, Anal. Lett. 1991, 24, 1625–1641. DOI: 10.1080/00032719108052999

18.	J. Dolezal and L. Sommer, Collection Czech. Chem. Commun. 1994, 59, 2209–2226. DOI:10.1135/cccc19942209

19.	S. N. Bhadani, M. Tewari, A. Agrawal, C. Sekhar, J. Indian Chem. Soc. 1998, 75, 176–177.

20.	K. Sato, T. Goto, Jpn. Anal. 1998, 47, 735–738. DOI:10.2116/bunsekikagaku.47.735

21.	P. Berton, R. G. Wuilloud, Anal. Methods 2011, 3, 664–672. DOI: 10.1039/C0AY00616E

22.	M. H. Hosseini, F. Kaveh, H. Haddadi, E. Zolfonoun, Sep. Sci. Technol. 2017, 52, 2632–2640. DOI: 10.1080/01496395.2017.1301955

23.	M. A. Akl, W. S. Alharawi, Egypt. J. Chem. 2018, 61, 639–650. DOI:10.21608/EJCHEM.2018.3586.1300

24.	K. Ueda, Bull. Chem. Soc. Jpn. 1979, 52, 1215–1216. DOI:10.1246/bcsj.52.1215

25.	M. Soylak, E. Yilmaz, J. Hazard. Mater. 2010, 182, 704–709. DOI: 10.1016/j.jhazmat.2010.06.089

26.	V. Divarova, K. Stojnova, P. Racheva, V. Lekova, Russ. J. Inorg. Chem. 2018, 63, 974–977. DOI: 10.1134/S0036023618070057

27.	V. V. Divarova, P. V. Racheva, V. D. Lekova, K. B. Gavazov, A. N. Dimitrov, J. Chem. Technol. Metall. 2013, 48, 623–630.

28.	M. Široki, L. Marić, Z. Štefanac, M. J. Herak, Anal. Chim. Acta 1975, 75, 101–109. DOI: 10.1016/S0003-2670(01)81957-7

29.	L. Marić, M. Široki, Z. Štefanac, M. J. Herak, J. Inorg. Nucl. Chem. 1981, 43, 3357–3361. DOI: 10.1016/0022-1902(81)80115-7

30.	P. V. Racheva, K. B. Gavazov, V. D. Lekova, A. N. Dimitrov, J. Mater. 2013, 2013, 7. DOI: 10.1155/2013/897343

31.	V. V. Divarova, K. B. Gavazov, V. D. Lekova and A. N. Dimitrov, Chemija 2013, 24, 81–87.

32.	V. V. Divarova, V. D. Lekova, P. V. Racheva, K. T. Stojnova, A. N. Dimitrov, Acta Chim. Slov. 2014, 61, 813–818.

33.	V. Divarova, K. Stojnova, P. Racheva, V. Lekova, Acta Chim. Slov. 2016, 63, 97–103. DOI: 10.17344/acsi.2015.1987

34.	J. B. Noffsinger, N. D. Danielson, J. Liq. Chromatogr. 1986, 9, 2165–2183. DOI: 10.1080/01483918608074141

35.	H. R. Pouretedal, P. Sononi, M. H. Keshavarz, A. Semnani, Chemistry 2009, 18, 22–34.

36.	K. Ueda, Analytical Letters 1978, 11, 1009–1021. DOI: 10.1080/00032717808067896

37.	Y. Erdogdu, Ü. C. Başköse, S. Sağlam, Chem. Pap. 2019, 73, 1879–1891. DOI: 10.1007/s11696-019-00739-4

38.	K. B. Gavazov, T. S. Stefanova, Croat. Chem. Acta 2014, 87, 233–240.

39.	K. B. Gavazov, V. B. Delchev, K. T. Mileva, T. S. Stefanova, G. K. Toncheva, Acta Chim. Slov. 2016, 63, 392–398. DOI: 10.17344/acsi.2016.2431

40.	G. K. Toncheva, N. P. Milcheva, K. B. Gavazov, Acta Chim. Slov. 2018, 65, 847–852. DOI:10.17344/acsi.2018.4491

41.	D. G. Hristov, N. P. Milcheva, K. B. Gavazov, Acta Chim. Slov. 2019, 66, 987–994. DOI: 10.17344/acsi.2019.5244

42.	K. B. Gavazov, V. B. Delchev, N. P. Milcheva, G. K. Toncheva, Open Chem. 2019, 17, 599–608. DOI: 10.1515/chem-2019-0071

43.	G. K. Toncheva, D. G. Hristov, N. P. Milcheva, K. B. Gavazov, Acta Chim. Slov. 2020, 67, 151–158. DOI: 10.17344/acsi.2019.5299

44.	N. N. Kiryukhina, Tr. Perm. Med. Inst. 1972, 108, 178–181.

45.	Y. Chung, W. Chung, Bull. Korean Chem. Soc. 2003, 24, 1781–1784. DOI: 10.5012/bkcs.2003.24.12.1781

46.	L. Mastropasqua, L. Agnifili, R. Mastropasqua, V. Fasanella, Curr. Opin. Pharmacol. 2013, 13, 56–64. DOI: 10.1016/j.coph.2012.10.002.

47.	R. C. Rowe, P. Sheskey, M. Quinn (Ed.): Handbook of pharmaceutical excipients, Pharmaceutical Press, London, UK, 2009, pp. 56-58

48.	J. Halvax, G. Wiese, J. Arp, J. Vermeer, W. Van Bennekom, A. Bult, J. Pharmaceut. Biomed. Anal. 1990, 8, 243–252. DOI: 10.1016/0731-7085(90)80033-L

49.	E. Asmus, Fresenius' J. Anal. Chem. 1960, 178, 104–116. DOI: 10.1007/bf00467200

50.	H. E. Bent, C. L. French, J. Am. Chem. Soc. 1941, 63, 568–572. DOI: 10.1021/ja01847a059

51.	M. I. Bulatov, I. P. Kalinkin, Practical Handbook on Photometric Methods of Analysis, Khimiya, Leningrad, Russia, 1976.

52.	J. H. Yoe, A. L. Jones, Ind. Eng. Chem. Anal. Ed. 1944, 16, 111–115. DOI: 10.1021/i560126a015

53.	Z. Zhiming, M. Dongsten, Y. Cunxiao, J. Rare Earths 1997, 15, 216–219.

54.	K. B. Gavazov, Liquid-liquid extraction of ion-association complexes, in: J. C. Taylor (Ed.) Advances in Chemistry Research, Vol. 50, Nova Science Publishers, New York, 2019, pp. 203–238.

55.	P. Job, Ann. Chim. (Paris) 1928, 9, 113134.

56.	A. Corsini, Q. Fernando, H. Freiser, Inorg. Chem. 1963, 2, 224–226. DOI: 10.1021/ic50005a061

57.	T. Iwamoto, M. Fujimoto, Anal. Chim. Acta 1963, 29, 282–284. DOI: 10.1016/S0003-2670(00)88616-X

58.	K. Mochizuki, T. Imamura, T. Ito, M. Fujimoto, Bull. Chem. Soc. Jpn. 1978, 51, 1743–1750. DOI: 10.1246/bcsj.51.1743

59.	K. Mochizuki, T. Ito, M. Fujimoto, Bull. Chem. Soc. Jpn. 1979, 52, 441–445. DOI: 10.1246/bcsj.52.441

60.	V. Cucinotta, R. Caruso, A. Giuffrida, M. Messina, G. Maccarrone, A. Torrisi, J. Chromatogr. A 2008, 1179, 17–23. DOI: 10.1016/j.chroma.2007.09.063

61.	I. Vyshcherevich, I. Kalinichenko, J. Water Chem. Technol. 2010, 32, 33–38. DOI: 10.3103/s1063455x10010042

62.	N. Menek, E. Eren, S. Topçu, Dyes Pigm., 2006, 68, 205–210. DOI: 10.1016/j.dyepig.2005.01.010

63.	X.-Q. Luo, Q.-R. Liu, Y.-J. Han, L.-W. Xue, Acta Chim. Slov. 2020, 67, 159–166. DOI:

http://dx.doi.org/10.17344/acsi.2019.5303

64.	K. Tôei, Anal. Sci. 1987, 3, 479–488. DOI: 10.2116/analsci.3.479

65.	A. Hulanicki, S. Glab, G. Ackermann, Pure and Applied Chemistry 1983, 55, 1137–1230. DOI: 10.1351/pac198355071137

66.	K. Pytlakowska, V. Kozik, M. Dabioch, Talanta 2013, 110, 202–228. DOI: 10.1016/j.talanta.2013.02.037

67.	W. Likussar, D. F. Boltz, Anal. Chem. 1971, 43, 12651272. DOI: 10.1021/ac60304a006

68.	A. Holme, F. J. Langmyhr, Anal. Chim. Acta 1966, 36, 383391. DOI: 10.1016/0003-2670(66)80066-1