A New Reagent – 5-[2-(4-Hydroxyphenyl)hydrazineylidene]-4-iminothiazolidin-2-one for Spectrophotometric Determination of Ir(IV)
Oleksandr Tymoshuk1, Lesia Oleksiv1*, Orest Fedyshyn1, Petro Rydchuk1,Vasyl Matiychuk1, Taras Chaban2
1Department of Chemistry, Ivan Franko National University of Lviv, Kyryla and Mefodiya Str., 6, 79005 Lviv, Ukraine;

2Faculty of Pharmacy, Danylo Halytsky Lviv National Medical University, Pekarska Str., 69, 79010 Lviv, Ukraine

* Corresponding author: E-mail: l_lozynska@ukr.net
Abstract
The results of studies of a new azolidone derivative – 5-[2-(4-hydroxyphenyl)hydrazineylidene]-4-iminothiazolidin-2-one and its interaction with iridium(IV) ions are presented. The Ir(IV) with this reagent in the pH 5.0 without heating forms stable complex (λmax = 328 nm). The stoichiometric ratio of Ir(IV) to reagent in complex is 1:1. The molar absorptivity and Sandell’s sensitivity are 5.57×103 L mol-1 cm-1 and 0.034 µg cm-2 respectively. The calibration curve is linear in the range of 1.0-11.5 µg mL-1 of Ir(IV) (R = 0.9996). The limit of detection is 0.4 µg mL-1. On the basis of the conducted investigation a novel, rapid, simple, spectrophotometric method for determination of Ir(IV) using 5-[2-(4-hydroxyphenyl)hydrazineylidene]-4-iminothiazolidin-2-one as a chromophoric reagent was developed. The iridium(IV) was determined in various synthetic mixtures and alloys. 

Keywords: iridium(IV); spectrophotometry; 5-[2-(4-hydroxyphenyl)hydrazineylidene]-4-iminothiazolidin-2-one; azolidones.
1. Introduction

The relevance of platinum metals and their compounds usage encourages development of simple, rapid, inexpensive, selective and sensitive methods for determination of the trace amounts of these metals in complex samples. Spectrophotometric methods of analysis are successfully used to solve this problem in analytical chemistry with the use of organic reagents containing functional-analytical groups.1, 2
Spectrophotometric methods are one of the most widely used methods of physic-chemical analysis in industrial and research laboratories. The main advantages of spectrophotometry are versatility, sufficient sensitivity to solve specific analytical problems, simplicity, the possibility of analysis automation, which provide it a leading place in the modern analytical chemistry. Spectrophotometric methods for platinoids determination are characterized by different sensitivity (ελ~103–105 L mol-1 cm-1) depending on the choice of reagent. Their sensitivity is significantly increased using organic reagents, namely heterocyclic azo derivatives and sulfur-containing compounds.1-3 Among the large number of azo dyes, azolidones and their derivatives are of particular interest. The color reactions of noble metals with this group of reagents are highly sensitive (ε=(0.4–1.5)×104 L mol-1 cm-1) and contrast (Δλ=70–80 nm). Azorodanines contain several functional-analytical groups in their molecules, which makes it possible to use them as group reagents for the determination of precious metals.3-6
Our scientific group first investigated the analytical properties of several azolidone derivatives and successfully used them to determine a number of ions: Cu(II), Ni(II), Cd(II), Zn(II), Hg(II), Pd(II), Pt(IV), Rh(III), Ir(IV), Ru(IV).7-21 
Due to wide usage of iridium in various industries (such as jewelry, electrical equipment, dental alloys, automobile, chemical and electronics industries, the field of photography and aviation) it is important to develop efficient analytical methods for this metal determination in various samples.22, 23 Most of spectrophotometric methods for the determination of Iridium are not enough sensitive, selective and need heating or extraction.1, 2, 4, 11, 24-27  For this reasons the goal of our research was to find the effective analytical reagents for spectrophotometric determination of Ir(IV) using azolidones derivatives. One of them was a new reagent – 5-[2-(4-hydroxyphenyl)hydrazineylidene]-4-iminothiazolidin-2-one (HPIT). 
2. Experimental

2. 1. Equipment
Spectrophotometric measurements were performed with a computerized spectrophotometer, model ULAB 108-UV, fitted with 1.0 cm quartz cells. 
Computerized device MTech OVA-410 with linear potential sweep was used for voltammetric measurements.28 A three-electrode system includig dropping mercury electrode (working electrode), a saturated calomel electrode (reference electrode), and platinum (counter electrode) was used. 
The pH-150 М pH-meter equipped with a combined glass electrode was used to measure the pH values of solutions .

1H NMR spectra were registered on the spectrometr Varian Mercury UX-400, DMSO-d6 was used as a solvent, tetramethylsilane as a standard.
2. 2. Reagents
The stock solution of iridium(IV) chloride was prepared by melting the exact mass of pure iridium (99.99%) with the oxidizing mixture of NaNO3 + NaOH (1:3, v/v), and BaO2 at 950 K for 45–60 min. Then the fusion was dissоlved in 3.0  mol L-1 hydrochloric acid. The existence form of Ir(IV) ([IrCl6]2-) in the obtained solution was confirmed by comparing its absorption spectra with the literature data.29 The obtained solution of Ir(IV) was additionally standardized using titration method – iodometry, due to possible losses during sintering.1,2 Standard working solutions of Ir(IV) were prepared by diluting an aliquot of Ir(IV) initial stock solution in 1.0  mol L-1 HCl.

The solution of 5-[2-(4-hydroxyphenyl)hydrazineylidene]-4-iminothiazolidin-2-one was prepared by dissolving the exact mass of the pre-purified reagent in dimethyl sulfoxide. Working solutions of HPIT were prepared by diluting an aliquot of the stock solution in dimethyl sulfoxide.
The solution of HCl was prepared by dilution of concentrated HCl. The solutions of sodium salts (to study the effect of anions), NaCl and NaOH were prepared by dissolving an appropriate amount of respective salts and NaOH in distilled water. The Britton–Robinson buffer (BRB) was prepared by mixing solutions of boric, phosphoric and acetic acids.30 The solutions of various metals (to study the effect of cations) were prepared by dissolving the exact mass of the corresponding metal in HCl or HNO3 acids either its mixture, or their salts in distilled water or dilute hydrochloric or nitric acids. The solutions of Rh(III) and Ru(IV) were prepared by sintering corresponding metal with the oxidizing mixture NaNO3 + NaOH (1:3, v/v) with further dissolving the fusion in 3.0 mol·L-1 HCl. 
All chemicals used were of analytical grade and distilled water was used for the aqueous solutions preparation.

2. 3. Procedure

Research of spectral characteristics of the HPIT
Aliquots of 2.0 mL working solution of HPIT (2.5×10-4 mol L-1) were transferred into a series of 25.0 mL volumetric flasks, then 2.0 mL BRB (1.5 mol L-1), 1.25 mL NaCl (2.0 mol L-1) and water (~15-20 mL) were added to each flask. The pH values (pH 2.0-12.0) were adjusted using NaOH (4.0 mol L-1) and then diluted to volume with distilled water. The solution with pH 1.0 was prepared as described above but without BRB addition and pH value was adjusted using HCl (6.0 mol L-1). The absorption spectra were measured against distilled water as blank.
General procedure for determination of Ir(IV) with HPIT 

An aliquot of Ir(IV) solution (in the range of 1.0-11.5 µg mL-1 at final volume), 2.5 mL (1.0×10-3 mol L-1) HPIT, 1.0 mL (1.5 mol L-1) BRB and 1.25 mL (2.0 mol L-1) NaCl were placed into 25.0 mL calibrated flasks and then distilled water was added (~15 mL). The pH was adjusted to ~5.0 with NaOH solution and diluted to the mark with distilled water. The absorbance was measured at 328 nm against a reagent blank.
Alloys samples preparation
The alloys (Gd2Ir3Al9, Tb2Ir3Al9) were synthesized by arc melting of pure metalls (Gd ≥ 99.86%, Tb ≥  99.83%, Ir ≥ 99.9%, Al ≥ 99.998%) under an argon atmosphere and heated to 873 K, held at that temperature for 720 h and than cooled to room temperature.31
The solutions of alloys samples were prepared by dissolving of 0.05-0.1 g of sample in 10-20 mL of HCl and HNO3 (10:1, v/v) mixture and heating for ~ 2 h. Then the black residue was filtered and filtrate transferred to a 200.0 mL volumetric flask. The residue was sintered with an NaNO3 and NaOH (1:3, v/v) mixture at 950 K (60 min). The melt was dissolved in 3.0 mol L-1 HCl. The obtained solution was transferred to the previous filtrate and distilled water was addeed to the mark. The 0.4-1.5 mL of alloys aliquots were taken for Ir(IV) determination with HPIT as descrided above.11 
fi
3. Results and Discussion

3. 1. Research spectral characteristics of the HPIT
We research a new reagent – 5-[2-(4-hydroxyphenyl)hydrazineylidene]-4-iminothiazolidin-2-one (1H NMR (400 MHz, DMSO-d6; δ, ppm): 6.70 (d, J=9.0 Hz, 2H, С6Н4), 7.28 (d, J=9.0 Hz, 2H, С6Н4), 8.71 (s, 1H, NH), 8.97 (s, 1H, NH), 10.17 (s, 1Н, NH)), which is a derivative of azolidone (Fig. 1). HPIT is the crystalline yellow-sand sparingly soluble in water and ethanol but well soluble in dimethylformamide and dimethyl sulfoxide. The melting point is 515 K.
[image: image1.jpg]HN

k A
HO N ” 0

Fig. 1. Structural formula of the HPIT




In our previous work,32 we investigated the effect of the medium acidity on the absorption spectra of HPIT over the pH range 1.0–12.0. As shown by the results of the experiment, the absorption maximum of HPIT depends on the pH of solution, that is associated with different forms of existence depending on the medium acidity (Fig. 2). At pH 1.0, the absorption spectrum is characterized by a maximum at a wavelength of 418 nm, which corresponds to the protonated form of the reagent; at pH 2.0–10.0, the maximum of absorbance shifts slightly to the region of smaller wavelengths (400 nm), and in the alkaline medium (pH>10.0) (Fig. 3), there is a course of hydrolysis reaction with the release of ammonia (Scheme 1). The molar absorptivity at λ=418 nm is 2.04×104 L mol-1 cm-1 (pH 1.0); at λ=400 nm is (1.14–1.85)×104 L mol-1 cm-1 (pH 2.0–9.0) and 1.02×103 L mol-1 cm-1 (pH 10.0).
[image: image2.jpg]Absorbance /a.u.

025

020

B
Wavelength /nm

Fig. 2. Absorbance specra of HPT at different pH

00




[image: image3.jpg]Absorbance /a.u.

o 2z & & 8
BH
Fig. 3. Effect pH onthe absorbance of HPIT

10

2




[image: image4.jpg]+ NH;
o

e
Feanals

Scheme 1. Hydrolysis of 5-[2-(4-hydroxyphenylhydrazineylidene]-4





HPIT does not polymerize and does not form tautomeric forms at pH 1.0 in the concentration range 5.0×10-6–8.0×10-5 mol L-1, since in this range the Beer’s law is applicable and only one maximum is observed (Fig. 4).
[image: image5.jpg]—0.000005
—0.00001

04

03

02

Absorbance /a.u.

04

00
270 320 30 40 &0 S0 510

Wavelendth/nm

Fig. 4. Absorbance specra of HPT of different molar
concentration





3. 2. Investigation of the interaction of Ir(IV) with HPIT 
It was found that the Ir(IV) ions form a complex with HPIT (Fig. 5). The absorption spectra of HPIT, Ir(IV) and Ir(IV)-HPIT were recorded over the range 200 to 550 nm. As shown on Fig.5 the maximum of the reagent at 400 nm (pH 5.0) is reduced in the presence of iridium(IV) ions. Instead, there is an increase in the absorption of Ir(IV)-HPIT in the wavelength range from 250 to 360 nm compared to the absorption of the reagent, which indicates the interaction. The largest difference in light absorption of the reagent and compound is at λ=328 nm.
[image: image6.jpg]0.4
—ry
—pT

—irV)HPIT

0z

02

Absorbance jau.

04

230 280 30 W 40 40 50
Wavelength /nm

Fig. 5. Absorbance specira of (V),reagent and complex
(V) with HPT




The effect of various parameters on the absorption intensity of the formed products was studied and the reactions condition were optimized.

Effect of pH

Acidity of the medium is one of the important parameters that affect on the complexation. Between pH of 2.0 to 10.0 Ir(IV) ions form a complex with HPIT (Fig. 6). The highest absorption is at pH 5.0. Hence this value of pH was selected for futher studies.
[image: image7.jpg]Absorbance /a.u.

0145

0125

0105

0085

0085

0045

0025

00 10 20 30 40 50 60 7.0 80 90 100

oH

Fig. 6. Effectof p onthe maximum yield of (V) with
HPIT colored complex.




Effect of time and temperature

The process of complexation of iridium(IV) ions with HPIT occurs at room temperature (~ 291−296 K) immediately after the acidity of the medium is established. The effect of heating time on the maximum yield of the colored compound was investigated. The solutions heating in a boiling water bath (~ 371 K) causes a decrease in the absorption of the solutions, but the complex compound Ir(IV)−HPIT is not completely destroyed even when heated for 60 min. Therefore it is recommended that the reaction sould be carried out at room temperature. The absorbance of obtained Ir(IV)−HPIT complex was stable up to 72 h.
Composition of complex
The Job’s method of continuous variations (Fig. 7) and the mole-ratio method were used to determine the composition of the complex. These methods indicate that complex with stoichiometry 1:1 is formed. A 1.5 fold excess of reagent is required for full complexation. The formal stability constant of the Ir(IV)−HPIT complex was calculated and it is equal to 8.9×105. 

[image: image8.jpg]Absorbance /a.u.

o 02 04 06
CorlComr o)
Fig. 7. The method of continuous variations.

08





Calibration curve
The calibration graph for Ir(IV) determination with HPIT was constructed using  the optimal conditions and showed that the system obeys Beer’s law in the concentration range of 1.0-11.5 µg mL-1 of Ir(IV). The linear equetion is ∆А = 0,01 + 0,029×СIr(IV) (∆A - absorbance, C – concentration of Ir(IV) in µg mL-1) with correlation coefficient 0.9996. The molar absorptivities and Sandell sensitivity are 5.57×103 L mol-1 cm-1 and 0.034 µg cm-2 respectively. The limit of detection is 0.4 µg mL-1. 
3. 3. Selectivity of the Ir(IV) determination
The influence of various cations and anions on the iridium(IV) determination were studied under the condition of the standard procedure. The tolerance limits of tested interfering ions were calculated as the maximum concentrations that do not cause an error of more than ± 5% in an absorbance value. The tolerance limits for foreign ions are showed in Table 1. It has been found that the majority of cations do not interfere significantly. The iridium(IV) ions can be easily determined in the presence of Tb(III), Gd(II), Cd(II), Zn(II), Mn(II), Ni(II), Cu(II), Ca(II), Mg(II), Ba(II) and the studied anions. However, several ions such as Pd(II), Rh(III), Pt(IV), Ru(IV) interfere seriously. Their effect can be eliminated by using some of the studied anions as masking agents. This method has higher sensitivity than most of spectrophotometric methods of Iridium determination.1, 2, 4, 11, 24-27
Table 1 Selectivity of Ir(IV) spectrophotometric determination (CIr(IV) = 2.5×10-5 mol L-1; CHPIT = 1.0×10-4 mol L-1; CNaCl = 0.1 mol L-1; CBRB = 0.06 mol L-1; pH = 5.0; λ = 328 nm; l = 1.0 cm)
	Foreign ion
	Tolerance limit Cion : CIr(IV)
	Foreign ion
	Tolerance limit Cion : CIr(IV)
	Foreign ion
	Tolerance limit Cion : CIr(IV)

	Pd(II)
	0.1
	Ni(II)
	150
	Ca(II), Mg(II)
	>200

	Pt(IV)
	0.25
	Fe(III)
	15
	C2O42-
	100

	Rh(III)
	0.1
	Cd(II)
	75
	F-
	100

	Ru(IV)
	0.25
	Pb(II)
	75
	EDTA
	100

	Tb(III)
	100
	Mn(II)
	100
	Sal-
	100

	Gd(III)
	75
	Zn(II)
	75
	Citr3-
	100

	Cu(II)
	50
	Al(III)
	8
	Tart2-
	100

	Co(II)
	30
	Ba(II)
	75
	PO43-
	100


3. 4. Analytical application 
The developed spectrophotometric method was applied to the determination of Ir(IV) in synthetic mixtures and alloys in order to validate it.

Analysis of Ir(IV) in synthetic mixtures

Different synthetic mixtures were prepared and analyzed using proposed develoved method (Table 2). As can be seen in Table 2, the obtained results are consistent with the added amounts of Ir(IV). The calculated values of the relative standard deviation and the absence of a systematic error indicate a good reproducibility and accuracy of this spectrophotometric method.
Table 2. Determination of Iridium(IV) in synthetic mixtures, n = 3; P = 0.95
	Composition of synthetic mixture
	Added 

Ir(IV), μg
	Found Ir(IV), 
[image: image9.wmf]n

t

s

x

a

´

±

, μg
	RSD, %

	12.6 µg Ru(IV), 0.7 mg Co(II)
	96
	98±5
	2.0

	3.3 µg Pd(II), 2.8 mg Ni(II), 9.7 mg Pb(II)
	96
	101±7
	2.8

	24.4 µg Pt(IV), 3.4 mg Mn(II)
	96
	100±8
	3.2


Analysis of Ir(IV) in the alloys
The results of Iridium determination in the alloys are given in Table 3. The data obtained by the spectrophotometric method were compared with Ir(IV) contents determined by the voltammetric method. As seen, the results of both methods are agreement.
Table 3. Results of the determination of Ir(IV) in alloys, n = 3, P = 0,95
	Alloy
	
[image: image10.wmf]calc

Ir

w

, %
	Spectrophotometry
	Voltammetry

	
	
	
[image: image11.wmf]n

t

S

pr

Ir

a

w

´

±

, %
	RSD, %
	
[image: image12.wmf]n

t

S

pr

Ir

a

w

´

±

, %
	RSD, %

	Gd2Ir3Al9
	50.9
	51.5±1.8
	1.4
	51.2±1.4
	1.1

	Tb2Ir3Al9
	50.7
	51.0±1.5
	1.2
	50.8±1.6
	1.3


4. Conclusions

The results of this research indicate that the developed spectrophotometric method based on the complexation of Ir(IV) with new azolidone derivative (5-[2-(4-hydroxyphenyl)-hydrazineylidene]-4-iminothiazolidin-2-one) can be successfully used for the determination of iridium(IV) in different samples. This method is simple, sensitive, very selective, reproducible and rapid, because it does not require heating or separation from a large number of foreign ions.
6. References

1. Ya.A. Zolotov, G.M. Varshal, V.M. Ivanov, Analiticheskaya Khimiya Metallov Platinovoi Gruppy, Editorial URSS, Moscow, Russia, 2003, p. 592.

2. S.I. Ginzburg, N.A. Yezerskaya, I.V. Prokof’eva, N.V. Fedorenko, V.I. Shlenskaya, N.K. Belsky, Analiticheskaya Khimiya Platinovykh Metallov, Nauka, Moscow, Russia, 1972, p. 613.

3. R.F. Gur’eva, S.B. Savvin, Zh. Anal. Khim. 2002, 57, 980 –996. 

DOI: 10.1023/A:1020917221896.
4. R.F. Gur’eva, S.B. Savvin, Usp. Khim. 1998, 67, 236–251.
DOI: 10.1070/RC1998v067n03ABEH000375.
5. S.B. Savvin, R.F. Gur’eva, Talanta 1987, 34, 87–101. 
DOI: 10.1016/0039-9140(87)80012-7.
6. E. Tang, G. Yang, J. Yin, Spectrochim. Acta, Part A. 2003, 59, 651–656. 

DOI: 10.1016/S1386-1425(02)00209-3.
7. L. Lozynska, O. Tymoshuk, Chem. Chem. Technol. 2013, 7, 391–395. 

DOI: 10.23939/chcht07.04.391.
8. L. Lozynska, O. Tymoshuk, In: O.L. Berezko, The Interaction of 5-hydroxyimino-4-imino-1,3-thiazolidin-2-one with Platinum(IV) Ions,3rd International Conference of Young Scientists CCT-13, Lviv, Ukraine, 2013, 166.
9. L.V. Lozynska, O.S. Tymoshuk, T.I. Chaban, Methods Objects Chem. Anal. 2014, 9, 50–54.
DOI: 10.17721/moca.2014.50–54.
10. L.V. Lozynska, O.S. Tymoshuk, Issues Chem. Chem. Technol., 2014, 1, 80–85.
11. L.V. Lozyns’ka, O.S. Tymoshuk, T.Ya. Vrublevs’ka, Materials Science 2015, 6, 870–876. DOI: 10.1007/s11003-015-9795-y.
12. L. Lozynska, O. Tymoshuk, T. Chaban, Acta Chim Slov. 2015, 62, 159–167. 
DOI: 10.17344/acsi.2014.866.
13. A. Tupys, O. Tymoshuk, P. Rydchuk, Chem. Chem. Technol. 2016, 10, 19–25. 
DOI: 10.23939/chcht10.01.019.
14. A. Tupys, J. Kalembkiewicz, Y. Bazel, L. Zapala, M. Dranka, Y. Ostapiuk, O. Tymoshuk, E. Woźnicka, J. Mol. Struct. 2017, 1127, 722–733.
DOI: 10.1016/j.molstruc.2016.07.119.
15. A. Tupys, J. Kalembkiewicz, Y. Ostapiuk, V. Matiichuk, O. Tymoshuk, E. Woźnicka, L. Byczyński, J. Therm. Anal. Calorim. 2017, 127, 2233–2242. 

DOI: 10.1007/s10973-016-5784-0.
16. M. Fizer, V. Sidey, A. Tupys, Y. Ostapiuk, O. Tymoshuk, Y. Bazel, J. Mol. Struct. 2017, 1149, 669–682.
DOI: 10.1016/j.molstruc.2017.08.037

17. Y. Bazel, A. Tupys, Y. Ostapiuk, O. Tymoshuk, V. Matiychuk, J. Mol. Liq., 2017, 242, 471–477.
DOI: 10.1016/j.molliq.2017.07.047.
18. Y. Bazel,  A. Tupys,  Y. Ostapiuk,  O. Tymoshuk,  J. Imricha,  J. Šandrejová, RSC Adv., 2018, 8, 15940–15950.
DOI: 10.1039/C8RA02039F.
19. O. Tymoshuk, L. Oleksiv, L. Khvalbota, T. Chaban, I. Patsay, Acta Chim Slov. 2019, 66, 62–69.
DOI: 10.17344/acsi.2018.4448.
20. P.V. Rydchuk, O.S. Tymoshuk, L.V. Oleksiv, T.I. Chaban, V.S. Matiychuk, Methods Objects Chem. Anal. 2019, 14, 130–139.
DOI: 10.17721/moca.2019.130-139.
21. O.S. Tymoshuk, O.S. Fedyshyn, L.V. Oleksiv, P.V. Rydchuk, I.O. Patsai, Materials Science 2019, 55, 455–459. 
DOI: 10.1007/s11003-019-00325-9.

22. V. Drušković, V. Vojković, S. Miko, Talanta 2004, 62, 489–495.
DOI: 10.1016/j.talanta.2003.08.031.
23. L. Zhang, N. Li, P. Fan, X. Chu, S. An, J. Zhang, X.Wang, Hydrometallurgy 2012, 127–128, 8–15.
DOI: 10.1016/j.hydromet.2012.06.012.
24. V. Drušković, V. Vojković, Croat. Chem. Acta 2003, 76, 49–54.

25. A.S. Amin, I.A. Zaafarany, Anal. Chem. Res. 2015, 3, 77–81. 
DOI: 10.1016/j.ancr.2014.10.001
26. M.A. Taher, S. Puri, R.K. Bansal, B.K. Puri, Talanta 1997, 45, 411–416.

DOI: 10.1016/S0039-9140(97)00149-5.

27. S. Kuchekar, S. Bhumkar, H. Aher, S.H. Han, J. Mater. Environ. Sci. 2019, 10, 1200–1213.

DOI: 10.20959/wjpps20174-8960.

28. I. Patsay, P. Rydchuk, O. Tymoshuk, Visnyk of the Lviv University. Series Chemistry 2017, 58, 219–224.

29. N.E. Ezerskaya, I.N. Kiseleva, Zh. Anal. Khim. 2001, 967–970, 855–858.
DOI: 10.1023/A:1016768614942.
30. Yu.Yu. Lur’e, Spravochnik po analiticheskoi khimii, Khimiya, Moscow, Russia, 1971, p. 456.
31. Yu. Lutsyshyn, Ya. Tokaychuk, P. Demchenko, R. Gladyshevskii, Visnyk of the Lviv University. Series Chemistry 2010, 51, 52–59.

32. L. Khvalbota, O. Tymoshuk, V. Matiychuk, Visnyk of the Lviv University. Series Chemistry 2016, 57, 219–225.

_1648512354.unknown

_1648512399.unknown

_1587152573.unknown

