Table 1. HPLC conditions for determination of insulin in liposomes.

	System
	Parameters

	HPLC equipment
	HPLC AGILENT, model 1200

	Mobile phase
	Acetonitrile : 0.1% TFA aqueous solution (60:40,v/v)

	Column
	RP C18- Luna® Phenomenex (4.6 x 250 mm, 5 μm particle size)

	Wavelength
	214 nm

	Flow rate
	1.0 mL/min

	Volume of injection
	20 μL

	Temperature
	25 ± 1°C

	Retention time
	4.5 min


