Table 2.  Results of intra and inter-day precision for determination of insulin in standard solutions.

	Level
	Concentration μg/mL
	RSDa (%)

	Repeatability (intra-day)
	50 μg/mL
	0.77 (n=6)

	Intermediated precision (inter-day)
	50 μg/mL
	1.18 (n=12)


aRSD: relative standard deviation.

