Table 3. Determination of the recovery of the analytical method for insulin in liposomes

	Insulin standard solution added
(μg/mL)
	Insulin standard solution found a
(μg/mL)
	Recovery (%)
	RSD b (%)
	Average Recovery (%)

	R1
	5
	4.88
	93.88
	2.26
	97.58

	R2
	20
	19.85
	99.26
	0.27
	

	R3
	50
	49.74
	99.61
	1.28
	


a Mean of three replicates analysis.

b RSD: relative standard deviation.

