Table 4. Robustness of the analytical method for insulin quantification

	Chromathografic conditions
	Recovery(%)
	RSD a (%)

	Flow rate of the mobile phase
	
	

	0,9 mL/min
	98.8
	0.60

	1,1 mL/min
	104.4
	0.18

	Ratio of mobile phase
	
	

	61:39
	99.3
	0.05

	59:41
	98.0
	0.20

	Column temperature (°C)
	
	

	24°C
	101.3
	0.58

	26°C
	99.2
	0.49

	Wavelength (nm)
	
	

	213 nm
	100.8
	0.83

	215 nm
	100.3
	0.34


a RSD: relative standard deviation.

