Degradation of plasticized poly(vinyl chloride) waterproofing membranes used as a building material

Gregor Kravanjaab*, Andrej Ivaničb, Samo Lubejb

a University of Maribor; Faculty of Chemistry and Chemical Engineering; Laboratory of separation processes and product design; Smetanova ul. 17; 2000 Maribor; Slovenia

b University of Maribor, Faculty of Civil Engineering, Transportation and Architecture, Smetanova 17, 2000 Maribor, Slovenia

Abstract

In the present work, both unused plasticized poly(vinyl chloride) membranes and membranes taken from a flat roof area were comprehensively analysed. First, tensile strength and elongation at breaking points were determined, followed by measurements of wettability. Secondly, morphological changes were analysed using scanning electron microscopy (SEM). To study chemical changes in aged membranes, Fourier transform infrared spectroscopy (FTIR) analysis in the attenuated total reflection mode (ATR) was used. Finally, thermogravimetric analysis and differential scanning calorimetry (TGA-DSC) were performed simultaneously to study thermal degradation. The results show obvious changes in the mechanical, physical and chemical properties of membranes caused by plasticizer loss. Surface microstructure becomes stiffer, which leads to contractions and the prevalence of voids. In cross-sectional area, average thickness values decrease. Due to the degradation of the plasticized waterproofing membranes, the roofing area had to be completely replaced.

Keywords: degradation; waterproofing membranes; plasticized poly(vinyl chloride); SEM; FTIR; TGA-DSC

1. Introduction

Poly (vinyl chloride) (PVC) is formed by the polymerization of vinyl chloride monomers. It is one of the most commonly used thermoplastics in construction, automotive, electrical parts and packaging.1 The properties of PVC can be significantly improved by adding plasticizers to make it more flexible and durable, which greatly expands its applications.2, 3Plasticized PVC membranes are among the most commonly used waterproofing materials for roofing and geotechnical applications. However, practice shows that roofing membranes undergo chemical and physical changes when exposed to the combined effects of heat from solar radiation, near ultraviolet radiation, atmospheric oxidation, moisture and air pollution over long periods of time.4 As a result, plasticizers escape from the membranes through evaporation, leaching, and migration into other materials, causing significant changes in material flexibility, hardness, mass and elasticity.5

Despite extensive research in recent years in the field of testing of waterproofing membranes, there is still a shortage of specific studies on the durability, repairability and performance of such materials in roofing applications. The performance of plasticized PVC membranes has been evaluated by Dunn et al.6 who exposed the membranes to different climatic conditions for 4.5 years and reported the loss of plasticizer by evaporation. Similarly, Audouin et al.7 showed that increased temperature affects the migration of plasticizer from the membranes. They analysed the mass loss kinetics of plasticized PVC between 85 °C and 120 °C. Ito and Nagai8 investigated the influence of artificial ageing conditions on plasticized PVC. They found obvious changes in mechanical properties and microstructure through the thickness difference caused by plasticizer loss. Beer at al.9 investigated the long-term behaviour of plasticized PVC at different locations in Europe and North America. They confirmed reduced low-temperature flexibility and elongation at break points following plasticizer migration. Blanco et al.10 investigated the long-term behaviour of high-density polyethylene (HDPE), ethylene-propylene-diene monomer (EPDM) and plasticized PVC membranes, and reported that the shear strength of joints remained relatively unaffected by ageing despite the loss of plasticiser. Kositchaiyong et al.11 studied anti-fungal performance and mechanical-morphological properties of PVC and wood/PVC composites under the influence of soil and UV light, and concluded that UV weathering reduced the antifungal performance of the material from 81.4% to 28.3%. Recently, environmental and economic comparisons of the life cycle performance of bituminous, synthetic, liquid and cement-based membranes suitable for flat roofs were reviewed by Goncalves et al.12 Paolini et al.13 investigated twelve roofing membrane products made of modified bitumen, PVC and polyolefin with different spectral reflectances in terms of energy demand for building cooling. It was found that weathering, soiling and biological growth significantly affect their solar reflectance and thus increase the energy consumption for air conditioning. Furthermore, as shown in our previous study, natural ageing under high humidity and thermal fluctuations can strongly influence the surface morphology and chemical composition of fibrous insulation material covered with plasticized PVC.14 A probable reason for the deterioration of the insulation was the damaged waterproofing PVC membrane. To ensure a fully functional and repair-free lifetime of a building, the degradation and durability estimation of covering water-repellent PVC-P membranes must be considered.

The objectives of this study were to evaluate the basic properties of plasticized PVC membranes and to measure the level of degradation by comparing unused membranes and weathered (aged) membranes from a flat roofing area. To the best of the authors knowledge, little information was reported in the literature on plasticized PVC membranes reinforced with a polyester mesh that can be used for mechanically fixed roof systems above thermal insulation. First, the mechanical properties and wettability of these membranes were comprehensively evaluated. Secondly, morphological changes in the microstructure were evaluated to determine the thickness and prevalence of voids that were probably created by plasticizer loss. To explain such plasticizer loss in the material, chemical changes were identified and quantified. Finally, the thermal stability of the samples was examined to determine the degree of thermal degradation

2. Material and characterization methods

New plasticized PVC membranes and membranes from the flat roof area, which are about 10 years old, were comprehensively analysed in a laboratory using various techniques.

2.1 Samples from the case study

1.2 mm thin Standard Grey RAL 7047  plasticized PVC membranes reinforced with polyester mesh (Flagon SR, Soprema, Italy) were obtained from the unvented roof of an industrial building located in Slovenia, Central Europe, which is characterized by a Cfb climate zone (Figure 1 a,b,c). Membranes are made of 51% pure PVC, 46% additives and 3% reinforcing material. The roof construction consisted of several layers: on top, a 1.2 mm thick plasticized PVC membrane; below, a 200 mm thick layer of thermal insulation with a density of 150 kg/m3, followed by a 0.3 mm thick vapor barrier and trapezoidal sheet metal cladding anchored in steel roof beams (Appendix 1). An inspection revealed that the waterproofing membranes were damaged at several points where the photovoltaic modules were installed; the damage was visible as star-shaped cracks (Figure 1. d).

Figure 1. Plasticized PVC waterproofing membranes were taken from a flat industrial roof located in Slovenia, Central Europe (a, b) Extraction at sampling location 1 (c). Naturally aged and locally damaged plasticized PVC membrane (d).

Samples exposed to natural outdoor weathering were taken from various sampling locations, as shown in Appendix 2. Location 1 is an area with many visible star-shaped cracks on the surface of membranes. Location 2 is an area where a strong colour variation of the membranes was observed. Location 3 is a softening roofing area where a significant deterioration in the strength of the insulation has been observed. Plasticized PVC membranes were taken from each of these roofing areas, immediately wrapped in polyethylene, and transported to the laboratory for further analysis.

Plasticized PVC membranes are produced by caste spreading, whereby a spreading head applies a substrate of a liquid-viscosity raw material called "plastisol". The spreading and gelation process is repeated four times, creating a membrane of four differently formulated layers. Between the second and third layers an inner reinforcing layer of polyester mesh is inserted. This process creates a molecular bond between the layers, resulting in a homogeneous, elastic, single-layer membrane. 15

2.2 Mechanical testing

The mechanical performance of new, unused PVC membranes and aged membranes from the roof area was measured with a Zwick/Roell Z010 universal testing machine according to standard EN 12311-2. The length of the samples was 200 mm and width 50 mm. At an elongation of 1% and 2%, the secant modulus of elasticity was measured at a cross-head speed of 1.25 mm/min. After exceeding a deformation of 2%, samples were measured with a test cross-head speed of 200 mm/min until they broke. All specimens were tested in longitudinal and transverse directions using the same test method under laboratory conditions T = 393.15 ± 2 K, RH (relative humidity) = 50  5 %.

2.3 Contact angle measurement

The wettability of plasticized membranes was assessed with an exact experimental procedure. Droplets of milli-Q water (a specific resistance of 18.2 µΩ) with exact sizes of 10 µl were formed on a membrane with a micropipette. Droplets were filmed with a Basler Aca1300-200um digital camera equipped with a Basler Premium Lens with C-mount, connected to a computer using the OpenDrop algorithm to calculate the contact angles.16 To avoid optical aberrations and the fake reflections from other sources that can occur at the drop edge, the drop of  was lit from the opposite side with a diffusion light, which was achieved by placing a glass diffuser between the light source and the sessile drop. The undesired effect of drop oscillation was minimized by using an anti-vibration table.

2.4 Thickness evaluation, surface morphology and chemical characterization

The thickness evaluation and morphological changes in aged membrane microstructure were scanned using ESEM (Environmental Scanning Electron Microscopy) Quanta 200 3D (FEI Company, Hillsboro, OR). Chemical modifications were identified and quantified using Fourier Transform Infrared Spectroscopy (FTIR) analysis on a Bruker Tensor 27 DTGS spectrometer in attenuated total reflection (ATR) mode between 4000 and 450 cm−1 with an average of 32 consecutive scans and a resolution of 4 cm−1.

2.5. Low-temperature flexibility

Low-temperature flexibility is an important membrane property, especially during the application phase. Normally, the flexibility of membranes decreases significantly along with the surrounding temperature.9 A test of low-temperature resistance was carried out according to the SIST EN 495-5 standard. This European Standard specifies a method for the determination of the behaviour of plastic and rubber sheets for waterproofing to folding after exposure at a low temperature. The examined samples were folded at 180° and conditioned for 12 h at low temperatures in a chamber. The occurrence of cracks in the samples indicates that the material is not resistant to low temperatures.

2.6 Thermal degradation

Thermogravimetric analysis and thermal transition of material samples were carried out using a TGA/DSC (Differential Scanning Calorimetry) instrument (Mettler Toledo). The investigated material was placed in separate vials and heated in an N2 atmosphere at a rate of 20 K/min from 298 K to 1273 K. Mass loss was measured as a consequence of thermal degradation of membrane layers.

3. Results and discussion

3.1 Mechanical performance

The maximum tensile strength in MPa (σ) and the elongation at break in % (ε) were determined for samples after 10 years of use and the values were compared with those of new samples (Figures 2 and 3). Three samples were tested from each sampling location. As can be seen in Figure 3, there is a small variation in tensile strength in the longitudinal direction of aged membranes. It appears that the polyester mesh is well encapsulated within the membrane matrix and has not degraded over time. In addition, there is a tendency for tensile strength to increase with age, as the membrane loses flexibility over time.9 Similar observations were made in a study by Blanco et al.10, where both load and tensile strength in longitudinal and transversal directions were evaluated for 35-year-old geomembranes with reinforced polyester.

On the other hand, the strength of aged membranes decreases in the transverse directions compared to the strength of a new membrane. As shown in Table 1, aged membrane samples showed a shorter elongation at break than that of the new membrane. This indicates a loss of flexibility caused by natural aging under high humidity and thermal fluctuations. The deterioration in elastic properties is caused by the loss of plasticizers as a result of a long period of combined exposure to heat from solar radiation, ear-ultraviolet radiation, atmospheric oxidation, humidity and air pollution.17 It was found that the influence of plasticizer content has a certain influence on elongation, but a mixed influence on the tensile strength of membranes reinforced with polyester mesh. Despite sufficient tensile strength, the wettability properties of these membranes were strongly influenced by age.

Figure 2. Tensile strength and elongation at break (load/strain curves) for new plasticized PVC membrane samples tested longitudinal (left) and transverse (right) directions at conditions: T = 393.15 ± 2 K, RH (relative humidity) = 50 ± 5 %.

Figure 3. Tensile strength and elongation at break (load/strain curves) for aged, plasticized PVC membrane samples tested longitudinal (left) and transverse (right) directions at conditions: T = 393.15 ± 2 K, RH (relative humidity) = 50 ± 5 %.

Table 1. Tensile strength and elongation at break.

| Sample | σ (MPa) | ε (%) | σ (MPa) | ε (%) |
| --- | --- | --- | --- | --- |
|  | longitudinally |  | transversely |  |
| New | 20.23 | 22.36 | 19.17 | 20.01 20.51 |
|  | 18.68 | 44.54 | 19.27 |  |
|  | 20.43 | 22.16 | 18.17 | 19.28 |
| Location 1 | 24.94 | 19.34 | 17.88 | 17.48 |
| 25.16 22.53 | 18.79 16.76 | 18.57 17.54 | 17.16 16.83 |
| Location 2 | 23.90 | 18.36 | 15.91 | 17.21 |
|  | 23.55 | 17.31 | 15.04 | 15.49 |
|  | 23.70 | 18.39 | 16.12 | 16.51 |
| Location 3 | 24.01 | 19.96 | 16.26 | 18.96 |
|  | 24.26 25.27 | 19.99 19.96 | 14.38 15.29 | 17.73 16.29 |

3.2 Contact angle and wettability

The surface wettability of the membranes was evaluated by measuring the contact angles of sessile droplets. As can be seen from Table 2, the contact angles of new plasticized PVC membranes remain almost constant within 180 seconds and have a significantly higher initial contact angle compared to the aged samples.  In contrast, the contact angle for aged membranes is significantly reduced from 56.1°±2.5° at 10s to 16.5°±4.5° at 30 seconds and becomes zero after 120 seconds (Table 3, 4 and 5). Despite the good mechanical performance, the water repellency of these membranes is strongly impaired. Increasing the hydrophilicity of the aged membrane increases the unwanted water permeability and can cause damage in other roof layers.18

Table 2. Contact angles vs time of the new plasticized PVC membrane.

| CA | 69.4°±1.1° | 68.2°±1.5° | 66.5°±0.8° | 65.11°±0.5° |
| --- | --- | --- | --- | --- |
| t (s) | 10 s | 30 s | 120 s | 180 s |

Table 3. Contacts angle vs time of natural aged and damaged plasticized PVC (location 1).

| CA | 56.1°±2.5° | 16.5°±4.5° | / | / |
| --- | --- | --- | --- | --- |
| t (s) | 10 s | 30 s | 120 s | 180 s |

Table 4:  Contacts angle vs time for naturally aged and damaged plasticized PVC (location 2).

| CA | 54.1°±1.5° | 18.5°±3.5° | / | / |
| --- | --- | --- | --- | --- |
| t (s) | 10 s | 30 s | 120 s | 180 s |

Table 5: Contacts angle vs time for naturally aged and damaged plasticized PVC (location 3).

| CA | 52.1°±4.5° | / | / | / |
| --- | --- | --- | --- | --- |
| t (s) | 10 s | 30 s | 120 s | 180 s |

3.3 Surface morphology

As mentioned above, the distribution and loss of plasticizer in the membrane can play an important role in tensile strength and elongation at break as well as in wettability properties. Change in surface of membranes that may result in the loss of plasticizer was also demonstrated by observation of micrographs from scanning electron microscopes (SEM).

3.3.1 Microstructure

Microphotographs of new and aged membranes taken by SEM show significant differences between them. As shown in Figure 4, new membranes have a smooth surface, without cracks. Locally, only the grains of filler can be observed. In contrast, aged membranes that have been exposed to natural weathering show irritated surfaces with many cracks, agglomerates and craters as a result of plasticizer loss. The material becomes stiffer, which leads to contractions and the prevalence of voids (Figure 5). It is assumed that the rearrangement and aggregation of molecular chains are the main mechanisms of membrane degradation.19 Pedrosa et al.20 presented an interesting study using X-ray spectroscopy and SEM analysis of membranes exposed to different weathering conditions. They reported that aged membranes show numerous cracks and fractures and there is a significant decrease in chlorine content. Therefore, they suggested that dehydrochlorination may be the main mechanism of deterioration.

Figure 4. Microstructure of new membranes’ upper layer (a, c) and lower layer (b, d).

Figure 5. The microstructure of aged membranes extracted from different sampling locations: 1 (a, b), 2 (c, d), and 3 (e, f).  The surface is more heterogeneous, with many craters, cracks, agglomerates, and voids.

3.3.2 Thickness evaluation

Cross-sectional microphotographs with thickness evaluations of the investigated plasticized PVC membranes are presented in Figure 6 and Table 6. It can be seen that the thickness of the aged membranes is decreased. As can be seen in Figure 6, there is also a visible difference in cross-sectional area between new and aged membranes. For example, the average thickness values for location 3 decrease from 1.18 mm to 1.09 mm. Changes in material thickness might be because of the reduction of plasticizer content. To justify plasticizer loss in material, chemical changes were identified and quantified using ATR/FTIR analysis.

Table 6. Thickness of the new and aged membranes.

| Samples | Average value (mm) | Standard deviation (%) |
| --- | --- | --- |
| Location 1 | 1.17 | 1.25 |
| Location 2 | 1.11 | 1.63 |
| Location 3 | 1.09 | 1.63 |
| New | 1.18 | 2.05 |

Figure 6. Microphotographs in cross section with thickness evaluation for new membrane (a) and aged membranes (a, b, c).

3.4. ATR/FTIR analysis

FTIR spectra were recorded to investigate the chemical changes in the aged membranes from location 3 (with the highest exposed to solar radiation, near-ultraviolet radiation, atmospheric oxidation and moisture. Both the front (directly exposed to weathering) and side (inverted next to the insulation material) surfaces of the membranes were examined (Table 7, Figure 7 and 8). In FTIR, the spectra appearance of several characteristic bands can be seen. In particular, the C=O stretching vibration of the ester function from plasticizer is detected at 1720.50 cm-1. O-H bending is detected at 1425.40 cm-1 and the C-O stretching vibration at 1072.42 cm-1, 1122.57 cm-1. At the front side of aged membrane new peaks appear at 1660.71-1618.28 cm-1 that are associated with the stretching of the C=C bonds of the aromatic ring, indicating that chemical degradation appeared in the membrane molecules 21. Compared to the front side of new membranes, the characteristic C-Cl stretching vibration at 642.95-605.65 cm-1 is not visible. This suggests that UV aging could have caused a dehydrochlorination reaction. These data are consistent with changes in the membrane morphology and elongation properties. On the back side of the membranes there is no visible difference in spectra between new and aged samples. The C-H stretching mode can be observed at 2954.95-2852.72  cm−1  and the  trans C-H wagging mode at 873.75 cm−1 22.

Figure 7. FTIR spectra at the front side of the new plasticized membranes (black line) and aged membranes (red line) operating in attenuated total reflection (ATR) mode.

Figure 8. FTIR spectra at the back side of the plasticized membranes (black line) and aged membranes (red line) operating in attenuated total reflection (ATR) mode.

Table 7: Main FTIR bands for the front and back sides of plasticized PVC membranes.

|  | Wavenumber, cm-1 | Chemical Group |
| --- | --- | --- |
| Front side (new) | 2954.95-2854.65 | C-H stretching |
|  | 1720.50 | C=O stretching vibration |
|  | 1425.40-1379.10 | O-H bending |
|  | 1280.08 | C-O stretching |
|  | 1122.57-1039.63 | C-O stretching |
|  | 873.75 | C-H bending |
|  | 740.67-605.65 | C-Cl stretching |
| Front side (aged) | 2926.01 | C-H stretching |
|  | 1660.71-1618.28 | C=C stretching |
|  | 1253.73 | C-O stretching |
| Back side (new and aged) | 2954.95-2852.72 | C-H stretching |
|  | 1720.50 | C=O stretching vibration |
|  | 1425.40 | O-H bending |
|  | 1122.57 | C-O stretching |
|  | 742.95-605.65 | C-Cl stretching |

3.5 Low-temperature flexibility

Three 50 mm wide rectangular samples from each sampling location were folded between two metal plates and then stored in a chamber to allow them to cool to the desired test temperature. In the first experiment, all samples were subjected for 12 h to the temperature of 248 K (−25 °C). New samples meet the requirement according to the standard SIST EN 495-5 and stay unaltered after 180° bending around a small radius. In contrast, the flexibility of all aged membranes decreased significantly. Visible cracks were observed on the surface of the membranes and it was also possible to see into the polyester reinforcement in the upper layer of the membrane.

In the second experiment, the lowest temperature at which aged samples stay visually unaltered (without cracking) was recorded (Figure 9 a). The reproducibility of the test method was ± 5 K. There is a clear difference in low temperature flexibility between new and aged membranes. As can be seen in Figure 9, aged membranes are resistant to low temperature bending up to 278 ± 5 K, while new ones are resistant to 238 K. The results are in accordance with those in a study by Beer et al., who performed similar tests on PVC membranes after long-term exposure.9 Although flexibility is mainly an issue during installation and roof maintenance, the obtained results are important to understand the long-term behaviour of membranes.

Figure 9. The lowest temperature at which aged samples stay visually unaltered (a). Cracks were observed along the upper layer of aged membranes after exposure to the temperature of 248 K (−25 °C) (b).

3.6 TGA-DSC analysis

Figure 10 shows the thermal properties of a new membrane and an aged membrane (from location 3) heated in nitrogen at a temperature range from 298 K up to 1273 K. The TG characteristic temperatures of the membranes are illustrated in Figure 10, including the onset temperature (Tonset), 5% weight loss temperature (T5%), the temperature at the maximum degradation rate (Tmax), and the maximum degradation rate (Rmax). It can be observed that new membranes have relatively high thermal stability below 470.93 K. In the case of aged membranes, the weathering effects led to a decrease in the Tonset value from 470.93 K to 411.83 K, and for T5% from 560.65 K to 536.38 K. This seems to confirm that weathering aging over a long period of time resulted in degradation of the membrane molecules, as suggested by FTIR analysis.

The initial negative heat flux shows that the decomposition reactions occur due to the heating of PVC, plasticizers and polyester mesh. In this step, dehydrochlorination takes place, producing HCl molecules.23 In the temperature range from 540 K to 650K, both membranes show a characteristic endothermic deviation from baseline, which is more evident in a new sample (Figure 10). The increase in heat flux at about 880 K could correspond to an exothermic transformation caused by crystallization of the samples. HCl is released from the melt and the molecules are rearranged by cross-linking reactions. Above 1273 K, the total charring of the membranes corresponds to a high negative heat flux.

Figure 10. Results of the TGA-DSC analysis for new and aged membranes from location 3.

4. Conclusions

The results of the measurements reaffirmed the sensitivity of plasticized PVC membranes reinforced with polyester mesh used for mechanically fixed unvented roof systems over thermal insulation. During 10 years of use, plasticized PVC gradually degraded, and its primary physical, chemical and mechanical properties changed. This tendency was observed in all three sampling locations. Therefore, the roofing area had to be completely replaced. The main conclusions are:

- there is a tendency for tensile strength to increase with age. It appears that the polyester mesh is well encapsulated within the membrane matrix,

- aged membrane samples exhibited shorter elongation at break than new ones. This indicates a loss of flexibility under high humidity and thermal fluctuations,

- wettability properties of examined membranes were highly affected with age,

- the surface of aged membranes is more heterogeneous that that of new ones, containing many craters, cracks, agglomerates, and voids. Similarly, the thickness of the aged membranes decreased probably due the migration of plasticizer content.

- FTIR analysis confirmed the chemical changes in aged membranes. New peaks appear at 1660.71-1618.28 cm-1, indicating that chemical degradation had occurred in the membrane molecules.

- when low-temperature flexibility tests were performed, visible cracks were observed along the aged membranes,

- thermal analysis revealed that the weathering aging effects resulted in reductions of Tonset and T5%.

To reduce degradation and increase the durability of PVC membranes, new durable additives and plasticizers that are resistant to heat from solar radiation, near-ultraviolet radiation, atmospheric oxidation and moisture should be used. In future studies, we will use time-temperature superposition models to assess the effect of aging on waterproofing membranes.

Acknowledgments

The authors would like to acknowledge the Slovenian Research Agency (ARRS) for partly financing this research within the frame of program P2-0046.

Conflicts of Interest

The authors declare no conflict of interest.

Appendices

Appendix 1: Scheme of the roofing structure with a top layer of plasticized PVC membrane.

Appendix 2: Sampling locations.

References y

1.	Y. Ma, S. Liao, Q. Li, Q. Guan, P. Jia and Y. Zhou, React Funct Polym. 2020, 147,  637-642.

2.	Z. Kormosh, I. Hunka and Y. Bazel, Acta Chim. Slov. 2008, 55. 261–267.

3.	M. Shamsipur, S. Sahari, M. Payehghadr and K. Alizadeh, Acta Chim. Slov.2011, 58. 555– 562.

4.	M. Zagorodnikova, V. Yartsev and V. Rupyshev, Adv. Mater. Technol. 2019. 2, 41-47.

5.	M. Londschien and M. Bonnet, J. Appl. Polym. Sci. 2018, 135, 46689.

6.	P. Dunn, D. Oldfield and R. Stacewicz, J. Appl. Polym. Sci. 1970, 14, 2107-2116.

7.	L. Audouin, B. Dalle, G. Metzger and J. Verdu,  J. Appl. Polym. Sci. 1992, 45, 2091-2096.

8.	M. Ito and K. Nagai, Polym. Degrad. Stab. 2007, 92, 260-270.

9.	H. Beer, A. Delgado, R. Paroli and S. Graveline: 10DBMC International Conference On 10. Durability of Building Materials and Components LYON, International AG, Industriestrasse, Lyon, France 2005, 1-7.

10.	M. Blanco, N. Touze-Foltz, M. Pérez Sánchez, M. Redón-Santafé, F.-J. Sánchez Romero, J. B. Torregrosa Soler and F. A. Zapata Raboso, Geosynth. Int.2018, 25, 85-97.

11.	A. Kositchaiyong, V. Rosarpitak, H. Hamada and N. Sombatsompop, Int. Biodeterior. Biodegradation 2014, 91, 128-137.

12.	M. Gonçalves, J. D. Silvestre, J. de Brito and R. Gomes, J. Build. Eng. 2019, 24, 100710.

13	R. Paolini, M. Zinzi, T. Poli, E. Carnielo and A. G. Mainini, Energy Build. 2014, 84, 1	333-343.

14.	A. Ivanič, G. Kravanja, W. Kidess, R. Rudolf and S. Lubej, Materials 2020, 13, 2392.

15.	Flagon, https://pdf.archiexpo.com/pdf/soprema/flagon/3193-66009.html.

16.	E. Huang, A. Skoufis, T. Denning, J. Qi, R. R. Dagastine, R. F. Tabor and J. D. Berry.

J. Open Source Softw. 2021, 58, 2604

17.	M. Lenartowicz, B. Swinarew, A. Swinarew and G. Rymarz, Int. J. Polym. Anal. Charact. 2014, 19, 611-624.

18.	A. Behboudi, Y. Jafarzadeh and R. Yegani, Chem. Eng. Res. Des. 2016, 114, 96-107.

19.	Y. Fu and J. R. Lakowicz, Nature 2011, 472, 178-179.

20.	A. Pedrosa and M. Del Río, Materiales de Construcción 2017, 67, 109.

21.	A. Royaux, I. Fabre-Francke, N. Balcar, G. Barabant, C. Bollard, B. Lavédrine and S. Cantin, Polym. Degrad. Stab. 2017, 137, 109-121.

22.	S. Ramesh, K. H. Leen, K. Kumutha and A. K. Arof, Spectrochim. Acta A Mol. Biomol. Spectrosc. 2007, 66, 1237-1242.

23.	A. Marongiu, T. Faravelli, G. Bozzano, M. Dente and E. Ranzi, J Anal Appl Pyrolysis. 2003, 70, 519-553.