COMPOSITE ELECTRODES WITH CARBON SUPPORTED Ru- NANOPARTICLES FOR H2O2 DETECTION

Valdrin Januzaj1, Vllaznim Mula1, Graziella Turdean2*, and Liana Maria Muresan2*

1Department of Chemistry, University of Pristina, 10000 Pristina, Kosovo

2Department of Chemical Engineering, Babes-Bolyai University, 400028 Cluj-Napoca, Romania 
*Corresponding author: E-mail: limur@chem.ubbcluj.ro
gturdean@chem.ubbcluj.ro
Novel composite electrodes based on carbon paste (CPE) incorporating carbon supported ruthenium nanoparticles (RuNP) were developed and characterized
The electrochemical parameters of the H2O2 electroreduction at CPE-RuNP electrodes were estimated by cyclic voltammetry.

The electrocatalytic efficiency of CPE-RuNP modified electrodes towards H2O2 reduction was estimated from cyclic voltammetry and amperometric measurements
The electroanalytical parameters of the CPE-RuNP electrodes prepared with different RuNP:CPE ratios were evaluated

