Experimental studies on the removal of aluminium ions from synthetic aqueous solution by hydroxyapatites

Doina Humelnicu1*, Inga Zinicovscaia2,3, Ionel Humelnicu1, Maria Ignat1

1“Alexandru Ioan Cuza” University of Iasi, Faculty of Chemistry, Iasi, Romania

2Department of Nuclear Physics, Joint Institute for Nuclear Research, Dubna, Russia

3Department of Nuclear Physics, Horia Hulubei National Institute for R&D in Physics and Nuclear Engineering, Bucharest - Magurele, Romania

Corresponding author: doinah@uaic.ro

Key words: aluminium removal, adsorption, hydroxyapatite, wastewaters

Abstract

In this work we have presented the results obtained in the adsorption behavior of hydroxyapatite with different treatment towards aluminium ions from synthetic wastewaters. Experiments were performed in batch technique at different pH values, temperatures, sorbent dosage, contact time and initial aluminium concentration. The thermodynamic studies on the adsorption process of aluminium onto hydroxyapatite indicated that the process is spontaneous and endothermic. The Langmuir, Freundlich, Flory-Huggins, Dubinin-Radushkevich and Temkin equilibrium models were applied to the description of experimental data. The adsorption of aluminium follows the Langmuir adsorption isotherm. The kinetics of adsorption was evaluated using the pseudo-first order, pseudo-second order and intraparticle diffusion kinetic models. The rate of aluminium adsorption was successfully described by a pseudo-second-order kinetic model. The obtained results indicated that hydroxyapatite treated with Pluronic P123 surfactant has a higher sorption capacity toward aluminium ions (117.65 mg·g−1) than hydroxyapatite untreated (104.17 mg·g−1) and hydroxyapatite treated with Pluronic F127 surfactant (109.89 mg·g−1).

- Introduction

Wastewaters that contain metals are considered to be dangerous to both human and the environment due to their acute toxicity and non-biodegradability, even when the metals are present at very low concentrations. Metal ions are known as priority pollutants, due to their mobility and toxicity in natural water ecosystems.

Aluminium is usually present in alum treated water, effluents from aluminum based industries and also due to the salts of aluminum added to many processed foods and medicine. The main factors of presence of aluminium in water are the industrial processes. Acid rains are the other important source for aluminium contamination of natural waters.1-3

The sources of aluminum contamination is attributed to the presence of ‘residual aluminum’ present in alum treated waters,4,5 effluents from aluminum based industries and also due to the salts of aluminum being to human health.1-5 Aluminum is a neurotoxin when added to many processed foods and medicine.6

Wastewaters that result from industrial activities regularly can pollute drinking water supplies as well as rivers, lakes, seawater and other aquatic ecosystems. In time, this can cause a contamination of aluminium entering the food chain and possibly cause many medical disorders in living organisms.7,8

Harmfulness of aluminum can be attributed to its accumulation in bone and central nervous system especially in people who have kidney failure. In high doses (>110 μg L−1),9 aluminium can cause neurotoxicity being associated with Parkinson dementia, and Alzheimer’s disease.10 Also, aluminium can reduce skeletal mineralization because it competes with calcium absorption in bones.

For the removal of aluminium from wastewaters has been proposed several methods such as ion exchange, reverse osmosis, chemical precipitation, and solvent extraction. Such methods generate toxic sludge that constitutes serious environmental and economical problems. Consequently, the adsorption has been found to be a better method for removal of metals from wastewaters due to its simplicity, efficiency and low costs.

It has been reported different type of sorbents that have the capacity to adsorb and accumulate metals from wastewaters, mainly activated carbon,11,12 natural zeolites,13,14 different algae types,15,16 magnetic nanoparticle,17 rice hulk, polymers.18-21 Hydroxyapatite (HAP) is the most stable form of calcium phosphate with the chemical formula Ca10(PO4)6(OH)2.22 Hydroxyapatite is a cheap and efficient sorbent being used in order to remove heavy metals from wastewaters due to its high sorption capacity23 and ion exchange properties.24 Different methods of synthesis influence the morphology of HAP, and, consequently cause some properties such as adsorption and mechanical strength.22,25,26 As a result of these properties HAP has been used as sensor, as adsorbent for dyes and heavy metals from residual waters.27-31

The objective of this study was to evaluate the feasibility of using the hydroxyapatite for the removal of aluminium from aqueous solution. The influence of experimental parameter such as contact time, sorbent dose, pH, temperature, and initial Al(III) concentration were studied. The adsorption process was studied from kinetic and isotherm standpoints.

- Material and Methods

Calcium nitrate, aluminum nitrate and phosphoric acid were purchased from Sigma Aldrich. Ethylic alcohol and liquid ammonia were purchased from Chemical Company, and surfactants (Pluronic P123 and Pluronic F127) were purchased from Sigma Aldrich. All chemicals were reagent grade and were used without further purification.

  - Sorbents Synthesis

Hydroxyapatite (HAP) was prepared by coprecipitation of calcium nitrate and phosphoric acid according to the synthesis reported by Arsad and colab.28 with some modifications.  Aqueous solution of 0.5 M calcium nitrate was added to 50 mL ethanol and was vigorously stirred at room temperature. Afterward few drops of 25% (v/v) ammonia solution were then added to the solution in order to adjust the pH to 10, and then a solution of 0.3 M phosphoric acid was added slowly in a dropwise manner to allow reacting with calcium nitrate. After 1 h reaction at 60 °C, the reaction mixture was allowed to age overnight at room temperature to complete the reaction. The suspension was centrifuged at 4,000 rpm for 15 min., separated and dried at room temperature.  The white powder of sample was calcined for 6 hours at 550 °C and labeled as HAP.

The HAP P123 and HAP F127 samples have been obtained following the same procedure with the mention that to the reaction mixture the corresponding surfactants were added. Thus, the Pluronic P123 has been used in the synthesis of HAP P123 sample, and Pluronic F127 in the synthesis of HAP F127 sample.

The N2 adsorption/desorption isotherms for BET specific surface area measurements were recorded on a NOVA 2200e (Quantachrome Instruments) automated gas adsorption analyzer. Before analysis the samples were outgassed at 120 °C for at least 6 h under vacuum.

  - Sorption experiments

Sorption of aluminum ions from synthetic wastewaters was carried out in batch mode to establish the sorption capacity of sorbents as function of contact time, pH, initial concentration of aluminium ions, temperature, sorbent dose.

The aluminum ion concentration in the samples collected at different contact times and at equilibrium was measured at a wavelength of 309 nm by flame atomic absorption spectroscopy (FAAS) on the continuum source atomic absorption spectrometer—contrAA® 300— equipped with an optimized high-resolution Echelle double monochromator. Infrared spectra were performed with a BRUKER ALPHA FT-IR Spectrometer between 400-4000 cm-1.

Experiments were performed in triplicate and the average of measurements was used in calculation.

The amount of aluminum retained per unit mass of sorbent was calculated with Eq. (1).

, (mg Al/g sorbent)						(1)

where C0 is initial concentration of aluminum, (mg∙L-1), Ce is aluminum concentration in aqueous solution at equilibrium, (mg∙L-1), V is the volume of aqueous solution (L), and m is sorbent mass (g).

- Results and discussion

Infrared spectra of the sorbent point out that the use of surfactants did not influence their surface chemistry, but only changed their textural properties, meaning that the specific surface area and pores volume increased/decreased according to the used structure directing agent. The infrared spectra show broad bands characteristic to hydroxyapatite nanomaterial. The characteristic peaks attributed to PO43- appear at 475, 570, 600, 962, 1039, and 1091 cm-1, showing a distinguishable P-O stretching vibration and a triple degenerate bending vibrations of phosphate groups in hydroxyapatite.32 The FTIR spectra after adsorption experiments highlight the increase in the intensity of some absorption bands.

Nitrogen adsorption-desorption analysis has been employed to characterize the porous structure of the synthesized samples.33 Figure 1 shows typical isotherms characteristic to hydroxyapatite materials. All isotherms are of type IV, characterizing mesoporous materials, accompanied by a H3 type hysteresis loop, which according to IUPAC classification34 is attributed to the formation of aggregated plate-lite particles giving rise to pores of slit shapes.

Figure 1. Nitrogen sorption isotherm and corresponding pore size distributions for the

synthesized HAP samples.

The textural characteristics of the investigated sorbents are presented in Table 1. It can be observed that the surfactant addition during the HAP synthesis lead to the hypothesis that the abundant pore bodies of a certain size can be correlated with the abundance of pore necks that are smaller by a systematic amount.35 Even more, the surfactant P123 increased considerably specific surface area and total pore volume of the hydroxyapatite material, as can be observed from the Table 1.

Table 1. Textural properties of the synthesized sorbents.

| Sorbent | Specific surface, m2/g | Pore Volume, cm3/g | Pore diameter, nm |
| --- | --- | --- | --- |
| HAP | 47.251 | 6.48∙10-2 | 3.12 |
| HAP P123 | 69.153 | 1.59∙10-1 | 3.50 |
| HAP F127 | 31.719 | 6.18∙10-2 | 4.13 |

Relatively large specific surface and pore volume of the synthesized HAP systems highlighted their potential application as adsorbent materials.

  - Influence of sorbent mass on the adsorption process

An important factor influencing the efficiency of the adsorption process from economically point of view is the sorbent mass used to remove the pollutant. The adsorption process is not effective if it requires a large amount of sorbent.

The effect of sorbent mass variation on the adsorption process was investigated at an established metal ion concentration of 50 mg·L-1 at a temperature of 25 °C. Figure 2 shows that with the increase of the sorbent mass from 0.01 g to 0.03 g the sorption capacity of the sorbents decreases. From this figure we can conclude that HAP P123 had a better sorption capacity by comparing with HAP and HAP F127, exhibiting almost similar textural properties.

Figure 2. Dependence of adsorption process on the sorbent mass.

  - Effect of contact time on the sorption process

The influence of contact time on the adsorption of aluminum ions on the three sorbents was studied in a range of 0-180 minutes.

These experiments were performed at a temperature of 25 °C and a metal ion concentration of 50 mg·L-1, the sorbent mass used was 15 mg and the working volume of the solution was 20 mL. The results that were obtained are plotted in Figure 3.

Figure 3. Dependence of adsorption process on the contact time.

It can be seen from Figure 3 that the amount of aluminum ions retained by sorbents increases with increasing contact time, and equilibrium is reached after a period of 90 minutes after which the sorption remains constant. It is noted that in the case of the hydroxyapatite sorbent treated with surfactant Pluronic P123, the sorption of the aluminum ions was more efficient.

  - pH dependence of sorption process

pH is an important parameter that that determines the ionic species in aqueous solution.  In aqueous solutions the solubility of aluminum increases at low pH due to the formation of ionic species: [Al(OH)]2+, [Al(OH)2]+ and [Al (H2O)6]3+.18 In pH range between 5.2 and 8.8 the predominant specie is solid Al(OH)3 while over pH 9 the soluble [Al(OH)4]- is dominant species. To investigate the effect of the pH solution on the sorption process, the experiments were carried out over a range of pH between 2 and 8, all the other parameters being kept constant.

Figure 4. Influence of pH values on the adsorption process of Al(IIII) ions.

From the graphic shown in Figure 4, an increase in aluminum ion retention is observed with increasing the pH of the solution to a value of 4, after which adsorption decreases, probably due to the formation of the insoluble forms of aluminum which block the pores of the sorbent.

  - Effect of initial concentration of aluminum ions on the sorption process

The effect of metal concentration on the adsorption of aluminum ions has also been investigated. Studies were performed at 25 °C, varying the concentration of ions from 25 to 250 mg·L-1 all other parameters maintained constant (pH 4, contact time - 90 minutes, sorbent mass - 0.015 g).

From Figure 5 it can be seen that the sorption process increases with increasing the concentration of aluminum ions up to a value of 100 mg·L-1 after which a decrease of the adsorption process is observed. This variation can be explained by the fact that at high concentration the sorbent binding sites are saturated and other metal ions cannot be retained. Moreover, in dilute solutions the mobility of the metal ions is high and, consequently, their interaction with the sorbent is high. For an efficient removal of metal ions from wastewater, it is suggested to dilute the water containing metal ions prior to the adsorption operation.

Figure 5. Influence of initial aluminium concentration on the adsorption process.

  - Influence of temperature on the adsorption process

The effect of the temperature on the adsorption processes of aluminum ions on the three sorbents was investigated on a temperature range of 20 – 40 °C and the other parameters were kept constant and the results obtained are shown in Figure 6.

Figure 6. Dependence of adsorption process of Al(IIII) ions on the temperature.

Increasing the amount of adsorbed metal with increasing temperature indicates the endothermic nature of this process. This variation can be attributed either to the increase in the number of active sites on the sorbent surface available for sorption, or to the decrease in the thickness of the boundary layer surrounding the adsorbent so that the resistance of the adsorbent layer to the mass transfer decreases. Another explanation may be that with the increase in temperature the diffusion rate of the sorbate molecules increases along the outer layer, as well as in the internal pores of the sorbent particles.

  - Thermodynamic study

The distribution coefficient, Kd, is the ratio between the concentration of the aluminum ions in the sorbent and in aqueous solution at equilibrium, and it is calculated with the Equation (3).

(3)

where C0 is initial concentration of aluminum, (mg∙L-1), Ce is aluminum concentration in aqueous solution at equilibrium, (mg∙L-1), V is the volume of aqueous solution (L), and m is sorbent mass (g).

The thermodynamic parameters, such as: the standard free energy (ΔG°), enthalpy (ΔH°), and entropy of the system (ΔS°) were estimated using Eqs. (4) and (5).

(4)				  			 (5)

Figure 7. Dependence of distribution coefficient on the temperature.

For the calculation of the thermodynamic parameters were used the results obtained from the study of temperature influence on the adsorption. The values of ΔHº and ΔSº were calculated from the slope and the ordered intercept of the 1/T function representation of lnKd (Figure 7). The results obtained are presented in Table 2.

Table 2. Thermodynamic parameters of the adsorption process of Al(III) ions.

| Sorbent | ΔH°, kJ/mol | ΔS°, kJ/mol∙K | ΔG°, kJ/mol |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 293 | 298 | 303 | 308 | 313 |
| HAP | 21.01 | 0.128 | -16.49 | -17.13 | -17.77 | -18.41 | -19.05 |
| HAP 127 | 20.54 | 0.130 | -17.55 | -18.2 | -18.85 | -19.5 | -20.15 |
| HAP 123 | 27.87 | 0.156 | -17.84 | -18.62 | -19.40 | -20.18 | -20.96 |

The positive values obtained for ΔHº and ΔSº indicate that the adsorption process is endothermic, and the affinity of the three sorbents for the aluminum ions is high. Negative Gibbs energy values show that the adsorption process is spontaneous.

  - Adsorption isotherms models

Adsorption isotherms are an important aspect in describing the adsorption phenomenon that occurs at different types of interfaces. Among the various isotherm models, the most common were used in this study.

Langmuir isotherm model

The Langmuir model is widely applied to the metal ion sorption processes. This model describes the quantitative adsorption of a monolayer on the external surface of the sorbent, after which no further adsorption occurs.36 Thus, the Langmuir isotherm is the balanced distribution of metal ions between the solid and liquid phases. The model implies uniform adsorption energy on the surface of the sorbent and no transmigration of the adsorbate in the surface plane. The Langmuir isotherm involves a surface with homogeneous binding points, equivalent sorption energies and excludes any type of interaction between the adsorbed species. The linearized mathematical expression of this isotherm is:36

(6)

where Ce is aluminum ions concentration at equilibrium (mg·L-1), qe is amount of Al (III) adsorbed at equilibrium (mg/g), qmax is maximum adsorption capacity of the sorbent (mg/g) and KL is Langmuir adsorption constant (L/mg). The plot of Ce/qe in function of Ce (Figure 8a) gives a straight line with slope 1/qmax and intercept 1/qmax·KL. KL is a constant that is important in calculating the dimensional parameter (RL) that explains the favorability of the adsorption process; RL is calculated using Eq. (7)

(7)

Thus, 4 situations are distinguished, namely: 1) the adsorption process is unfavorable if RL> 1; 2) adsorption is linear when RL = 1; 3) the adsorption process is favorable when 0 <RL <1 and 4) the adsorption is irreversible if RL = 0. In the studies that were performed we obtained for RL subunit values (Table 3) which proves that the adsorption process of the aluminum ions on the three sorbents was favorable.36

Figure 8. Langmuir (a), Freundlich (b), Flory-Huggins (c), Dubinin-Radushkevich (d) and Temkin (e) isotherms.

Freundlich isotherm model

The Freundlich isotherm is an empirical model that is not limited to monolayer adsorption, but also to the description of multilayer adsorption. The mathematical expression of the linearized form is:37

(8)

where qe is amount of Al (III) adsorbed at equilibrium (mg/g), Ce is concentration of Al(III) in aqueous solution at equilibrium (mg/L); KF and n are Freundlich constants that include factors that affect adsorption capacity and adsorption intensity, respectively. Graphical representation of log qe as function of logCe (Figure 8b) gives a linear graph with slope 1/n and intercept log KF from which Freundlich constants were estimated (Table 3).

Flory-Huggins isotherm model

For a complete characterization of the adsorption process the Flory-Huggins model was used to determine the degree of sorbent surface coverage of the sorbate.38 The linearized mathematical expression of this isotherm is:

(9)

where  is the degree of coverage of the surface, and KFH  is the equilibrium constant of the adsorption. The parameters of Eq. (9) are calculated from the slope and intercept of the graphical representation of log θ /C0 vs log (1-θ), (Figure 8c) and their values are given in Table 3.

Dubinin-Radushkevich isotherm model

Dubinin and Radushkevich proposed another isotherm that is applied to estimate the average free energy of adsorption. The average free adsorption energy per mole of sorbent is the energy required to transfer one mole of adsorbate from solution from infinity to the surface, and is useful in evaluating the nature of the interaction between metal ions and binding sites.39 If the value of E is between 8 and 16 kJ / mol, it can be assumed that the adsorption process involves chemical sorption. In contrast, values of less than 8 kJ / mol indicate that the adsorption process is physical in nature.

(10)

where KDR is a constant related to adsorption energy (mol2/kJ2), Xm is a constant that indicates the sorption capacity of sorbent (mg/g).

Polanyi potential, ε, was calculated with the Eq. (11):

(11)

The free adsorption energy (E) was calculated using the following expression:

(12)

The positive values obtained (see Table 3) indicate that the adsorption process is endothermic, being favored by high temperatures. Also, the values obtained are greater than 8 kJ/mol, indicating a chemosorption process.

Temkin isotherm model

This isotherm model considers the interactions between sorbent and adsorbate. This model assumes that the heat of adsorption process decreases linearly with the increase in coverage of sorbent, and the process is characterized by uniform distribution of the binding energies up to a maximum binding energy.40 The linearized form of this isotherm is given by the equation (13):

(13)

1/bT  indicates the sorption potential of the sorbent, and KT is Temkin constant being calculated for each material and are given in Table 3.

Table 3. Adsorption isotherm parameters.

| Model | HAP | HAP F127 | HAP P123 |
| --- | --- | --- | --- |
| Langmuir qm, (mg∙g-1) KL, (L∙g-1) RL R2 | 104.17 0.021 0.49 0.998 | 109.89 0.023 0.47 0.997 | 117.65 0.03 0.4 0.998 |
| Freundlich KF n R2 | 37.54 5.82 0.974 | 32.59 5.58 0.98 | 22.58 4.32 0.978 |
| Flory-Huggins KFH n R2 | 15.28x103 8.505 0.934 | 12.07x103 7.124 0.913 | 9.18x103 5.87 0.908 |
| Dubinin- Radushkevich KDR Xm (mol∙g-1) E (kJ∙mol-1) R2 | 0.001 102.48 22.36 0.931 | 0.0013 105.61 19.61 0.906 | 0.0017 109.48 17.14 0.863 |
| Temkin bT KT (L∙g-1) R2 | 4.35 3.44 0.983 | 5.79 6.33 0.944 | 44.26 9.38 0.989 |

The results show that the Langmuir isotherm is the one that best describes the adsorption process of aluminum ions on the three sorbents, with a maximum adsorption capacity of 104.17 mg·g-1 for simple hydroxyapatite, 109.89 mg·g-1 for hydroxyapatite synthesized in the presence of Pluronic  F127 and 117.65 mg·g-1 for hydroxyapatite synthesized in the presence of Pluronic  P123. In all three cases, a correlation coefficient of 0.99 was obtained. The high energy adsorption value indicates a chemosorption process for the absorption of aluminum ions.

  - Kinetic studies

Kinetic studies are very important for adsorption processes because they can predict the rate at the pollutants are removed from aqueous solutions and offer some data to understand the mechanism of adsorption. In present study, three known kinetic models were used to investigate the adsorption mechanism.

Pseudo first order kinetic model

Lagergren showed that the rate of adsorption of ions on the sorbent is based on the adsorption capacity.41 Thus, we use a pseudo-order equation for estimating the constant rate, k1. The nonlinear form of this equation is:

(14)

Linearized form of this equation is:

(15)

where qe and qt are the amounts of Al(III) (mg/g) adsorbed at equilibrium and at t (min) time, respectively, and  k1 (1/min) is the rate constant of pseudo-first order. The values of k1 are calculated from the graphical representation of log (qe - qt) vs. t (Figure 9a).

Pseudo-second order kinetic model

This model is widely used for metal ion/sorbent adsorption systems. Adsorption of Al (III) ions may involve a chemical adsorption assuming a strong electrostatic interaction between the negatively charged surface of the sorbent and the metal ions.42 The pseudo-second order kinetic equation is described in the following form:

(16)

Linearized form of this equation is:

(17)

where k2 (g/mg·min) is the rate constant of second order. Linear form of t/qt as function of t is shown in Figure 9b.

Intraparticle diffusion kinetic model

The kinetic model of intra-particle diffusion is based on the theory or equation proposed by Weber and Morris. It is a functional empirical relationship, common with most adsorption processes.43 Metal ions adsorption varies almost proportionally with t1/2 rather than with contact time, t. Weber-Morris equation is:

(18)

where kid is rate parameter of the i step (mg/g·min1/2), estimated from the slope of linear plot qt as function of t1/2. Ci is intercept of i step, giving an idea about the thickness of the boundary layer, that since the intercept is greater, the boundary layer effect is greater. For intra-particle diffusion, the plot of qt vs. t1/2 will be linear and if it passes through the origin, then the determinant rate process is due only to intra-particle diffusion

It can be seen from Figure 9c that the experimental data is distributed along two straight lines. The first sharpened portion is attributed to the diffusion of the adsorbate by solution to the external surface of the sorbent (external diffusion), and the second portion describes the step of gradual adsorption, corresponding to the diffusion of adsorbate within the pores of the sorbent (intra-particle diffusion). It is also noted that kid1 > kid2. This is easy to understand because the concentration of toxic metallic ions that remain in the solution gradually decreases. Parameters obtained from the kinetic models are presented in Table 4.

Figure 9. Pseudo-first order (a), pseudo-second order (b) and intraparticle diffusion kinetic model (c) for Al(III) adsorption onto investigated sorbents.

Table 4. Kinetic parameters of the adsorption of Al(III) ions.

| Kinetic model | Sorbent |  |  |
| --- | --- | --- | --- |
|  | HAP | HAP F127 | HAP P123 |
| Pseudo first order qe, exp (mg∙g-1) qe, calc (mg∙g-1) k1 (min-1) R2 | 45.67 43.61 0.051 0.901 | 55.9 54.60 0.064 0.940 | 60.54 66.91 0.063 0.914 |
| Pseudo second order qe, exp (mg∙g-1) qe, calc (mg∙g-1) k2(g· mg-1∙min-1) R2 | 45.67 49.62 1.91·10-3 0.998 | 55.9 59.52 1.97·10-3 0.999 | 60.54 63.29 1.16·10-3 0.998 |
| Intraparticle difussion kid1 (mg/g·min1/2) kid2 (mg/g·min1/2) C1 C2 (R1)2 (R2)2 | 2.703 0.054 20.024 44.992 0.989 0.772 | 3.781 0.029 23.476 55.545 0.986 0.998 | 2.814 0.0216 35.378 60.272 0.979 0.951 |

From experimental data we can conclude that the adsorption of Al (III) ions follows the pseudo-second order kinetic model, which assumes that chemisorption can be the determining rate step.

In order to determine the effectiveness of the used sorbents, a comparison was made with the results from the literature when other sorbents were used, the results of the comparison being presented in Table 5.

Table 5. Comparative result of adsorption efficiency of different type of sorbents towards Al(III).

| Sorbent | qe, mg/g | Reference |
| --- | --- | --- |
| Beach cast seaweed | 22.49 | 5 |
| PAN beads | 0.245 | 18 |
| PAN beads thermally treated | 0.154 | 18 |
| Rice hull activated carbon | 34.48 | 1 |
| BDH activated carbon | 6.56 | 11 |
| Rhodococcus opacus | 41.58 | 44 |
| Granular activated carbon | 106.5 | 12 |
| Amberlite-IR-120H | 108.7 | 12 |
| Chitine | 18.28 | 45 |
| Chitosan | 23.57 | 45 |
| Hydroxyapatite | 104.17 | This study |
| Hydroxyapatite F127 | 109.89 | This study |
| Hydroxyapatite P123 | 117.65 | This study |

Comparing the experimental data obtained in this study with those obtained by other researchers, we can see that the sorbents used have a higher sorption capacity than some sorbents reported in the literature, which recommends them to use in the removal process of aluminum ions from the waste water.

  - Regeneration and reusability of sorbents

The applicability of potential sorbents depends on their regeneration under convenient conditions and the possibility of their re-use in successive sorption / desorption cycles. Therefore, desorption of Al (III) ions was carried out with a 0.01 M solution of HCl obtained in five successive sorption/desorption cycles as shown in Figure 10.

Figure 10. Cycles of desorption-adsorption for sorbents.

The results show that these sorbents could be successfully regenerated and repeatedly used in the adsorption studies of Al (III) ions without significant loss in their adsorption capacities.

- Conclusions

The sorption of aluminum (III) ions from synthetic wastewaters onto different type of hydroxyapatite has been studied as a function of contact time, the initial metal ion concentration, sorbent mass, pH, sorbent dose  and temperature. Equilibrium, kinetic and thermodynamic data were applied in order to evaluate the efficiency of the investigated sorbents for the removal of Al(III) ions from residual waters. The adsorption process of these ions on the three types of sorbents obeyed of the pseudo-second order kinetics, supporting that the chemisorption would be the rate-determining step. The equilibrium data obtained for the adsorption of aluminum ions onto investigated sorbents well fitted in the Langmuir model with a maximum theoretical adsorption capacity of 104.17 mg Al(III)/g hydroxyapatite, and 109.84 mg Al(III)/g hydroxyapatite F127, and 117.65 mg Al(III)/g hydroxyapatite F127, respectively. The sorption process is endothermic (ΔH° > 20 kJ/mol) and spontaneous (the increase of the negative values of ΔG° with the increase of temperature).  The uptake of Al(III) by these sorbents is a reversible process and the sorbents can be used in five desorption/sorption cycles without significant loss in their adsorption capacities.

All these experimental results showed that hydroxyapatites are suitable adsorbent for removal of aluminum (III) ions from residual waters.

Acknowledgement: This work was supported by IUCN-Dubna project, no. 03-4-1128-2017/2019, theme 100.

References

- N.T. Abdel-Ghani, G.A. El-Chaghaby, E.M. Zahran, Am. J. Anal. Chem. 2015, 6, 71-83. Doi: 10.4236/ajac.2015.61007.

2. N.T. Abdel-Ghani, A.K. Hegazy, G.A. El-Chaghaby, Int. J. Environ. Sci. Technol., 2009, 6, 243-248. http://dx.doi.org/10.1007/BF03327628.

3. P.T. Srinivasan, T. Viraraghavan, K.S.  Subramanyam, Water SA, 1999, 25, 47-55.

4. M.E. Argun, Ş. Dursun, C. Özdemir, M. Karataş, J. Hazard. Mater. 2007, 141, 77-85.  https://doi.org/10.1016/j.jhazmat.2006.06.095.

5. P. Lodeiro, A. Gudina, L. Herrero, R. Herrero, M.E. Sastre de Vicente, J. Hazard. Mater. 2010, 178, 861–866. doi:10.1016/j.jhazmat.2010.02.017.

6. S. Arendze, M. S. Sibiya, Water Sci. Tech. - Water Supply, 2017, 17, 733-744. https://doi.org/10.2166/ws.2016.170.

7. C. N. Martyn, C. Osmond, J. A. Edwardson, D. J. Barker, E. C. Harris, J. A. Edwardson, R. F. Lacey, The Lancet 1989, 333, 59-62. https://doi.org/10.1016/S0140-6736(89)91425-6.

8. M. V. Peto, Rejuv. Res.  2010, 13, 589-598. doi: 10.1089/rej.2009.0995.

9. A. Tassist, H. Lounici, N. Abdi, N. Mameri, J. Hazard. Mater. 2010, 83, 35–43. 10.1016/j.jhazmat.2010.06.078.

10. P. G. Pour, M. A.  Takassi, T. Hamoule, Orient.J. Chem. 2014, 30, 1365-1369.

11. S. A. Al-Muhtaseb, M. H. El-Naas, S. Abdallah, J. Hazard. Mater. 2008, 158, 300-307. doi: 10.1016/j.jhazmat.2008.01.080.

12. M. E. Goher, A. M. Hassan, I. A. Abdel-Moniem, A. H. Fahmy, M. H. Abdo, S. M.  El-sayed, Egypt. J. Aquat. Res. 2015, 41, 155–164. https://doi.org/10.1016/j.ejar.2015.04.002.

13. A. M. Abdullah, J. Pollut. Eff. Cont. 2012, 2, 120-124. doi:10.4172/2375-4397.1000120.

14. F. Ji, C. Li, J. Xu, P. Liu, Coll. Surf. A Physicochem. Eng. Asp. 2013, 434, 88–94. https://doi.org/10.1016/j.colsurfa.2013.05.045.

15. D. Pitre, A. Boullemant, C. Fortin, Chem. Cent. J. 2014, 8, 8-15. doi: 10.1186/1752-153X-8-8.

16. A. Sari, M. Tuzen, J. Hazard. Mater. 2009, 171, 973-979. doi: 10.1016/j.jhazmat.2009.06.101.

17. R. Asrarian, R. Jadidian, H. Parham, S. Haghtalab, Adv. Mater. Res. 2014, 829, 752-756. DOI: 10.4028/www.scientific.net/AMR.829.752.

18. Z. Aly, A. Graulet, N. Scales, T. Hanley, Environ. Sci. Pollut. Res. 2014, 21, 3972-3986. 10.1007/s11356-013-2305-6.

19. F. An, B. Gao, X. Huang, Y. Zhang, Y. Li, Y. Xu, Z. Zhang, J. Gao, Z. Chen, React. Funct. Polym. 2013, 73, 60–65. https://doi.org/10.1016/j.reactfunctpolym.2012.08.022.

20. A. Islam, A. Hilal, N. Zaidi, S. Yadav, Ind. Eng. Chem. Res. 2013, 52, 5213–5220. DOI: 10.1021/ie303300u.

21. G. N. Kousalya, G. M. Rajiv, C. Sairam Sundaram, S. Meenakshi, Carbohydrate Polym. 2010, 82, 594-599. https://doi.org/10.1016/j.carbpol.2010.05.013.

22. A. Paz, D. Guadarrama, M. López, J. E. González, N. Brizuela, J. Aragón, Quim. Nova 2012, 35, 1724–1727. doi:10.1590/S0100-40422012000900004.

23. S. Park, A. Gomez-flores, Y. S. Chung, H. Kim, J. Chem. 2015, 396290. doi:10.1155/2015/396290.

24. G. Ciobanu, M. Harja, L. Rusu, A. M. Mocanu, C. Luca, Korean J. Chem. Eng. 2014, 31, 1021–1027. doi:10.1007/s11814-014-0040-4.

25. T. A. Salah, A. M. Mohammad, M. A. Hassan, B. E. El-Anadouli, J. Taiwan Inst. Chem. Eng. 2014, 45, 1571–1577. doi:10.1016/j.jtice.2013.10.008.

26. P. Wang, C. Li, H. Gong, X. Jiang, H. Wang, K. Li, Powder Technol. 2010, 203, 315–321. doi:10.1016/j.powtec.2010.05.023.

27. A. I. Adeogun, R. B. Babu, Appl. Nanosci. 2015, 5, 1–13. doi:10.1007/s13204-015-0484-9.

28. M. S. M. Arsad, P. M. Lee, L. K. Hung, 2nd International Conference on Biotechnology and Food Science IPCBEE 7, 2011, 184-188.

29. N. Barka, S. Qourzal, A. Assabbane, A. Nounah, Y. Ait-Ichou, J. Saudi Chem. Soc. 2011, 15, 263–267. doi:10.1016/j.jscs.2010.10.002.

30. D. C. Manatunga, R. M. de Silva, K. M. Nalin de Silva, N. de Silva, E. V. A. Premalal, R. Soc. Open Sci. 2018, 5, 171557-171571. doi: 10.1098/rsos.171557.

31. S. Wongsakulphasatch, Eng. J. 2010, 17, 30-37. https://doi.org/10.4186/ej.2013.17.2.29.

32. W. Aili, L. Dong, Y. Hengbo, W. Huixiong, W. Yuji, R. Min, J. Tingshun, C. Xiaonong, X. Yiqing, J. Mat. Sc. Eng. 2007, C27, 865-869. https://doi.org/10.1016/j.msec.2006.10.001.

33. G. M. El Shafei, C. A. Philip, N. A. Moussa, J. Coll. Interf. Sci. 2004, 277, 410–416. DOI: 10.1016/j.jcis.2004.05.002.

34. K. S. W. Sing, D. H. Everett, R. A. W. Haul, L. Moscou, R. A. Pierotti, J. Rouquérol, T. Siemieniewska, Pure Appl. Chem. 1985, 57, 603-619. http://dx.doi.org/10.1351/pac198557040603.

35. J. R. Nimmo, Soil Sci. Soc. Am. J. 1992, 56, 1723- 1730. https://doi.org/10.2136/sssaj1992.03615995005600060011x.

36. I. Langmuir, J. Am. Chem. Soc. 1916, 38, 2221-2295.

37. H. Freundlich, Zeitschrift für Physikalische Chemie 1906, 57, 385-470.

38. C. H. Giles, D. Smith, A. Huitson, J. Coll. Interf. Sci. 1974, 47, 755-765.

39. M. M. Dubinin, L. V. Radushkevich, Physical Chemistry Section USSR, 1947, 55, 331-333.

40. M. Temkin, Zhurnal Fizicheskoi Khimii 1941, 15, 296–332.

41. S. Lagergren, B. K. Svenska, R. Swed. Acad. Sci. Doc. Band. 1898, 24, 1–13.

42. G. McKay, Y. S. Ho, Proc. Biochem. 1999, 34, 451–465. https://doi.org/10.1016/S0032-9592(98)00112-5.

43. W. J. Jr. Weber, J. C. Morris, J. Sanit. Eng. Div. Am. Soc. Civ. Eng. 1963, 89, 31-59.

44. J. E. B. Cayllahua, M. L. Torem, (2010) Chem. Eng. J. 2010, 161, 1-8. https://doi.org/10.1016/j.cej.2010.03.025

45. M.Á. Lobo-Recio, F. R. Lapolli, T. J. Belli, C. T. Folzke, R. R. Zepon Tarpani, Des. Water Treat. 2013, 51, 1735-1743. DOI: 10.1080/19443994.2012.715133.