Industrial wastewater as a source of external organic carbon for the biological nutrient removal

Bibiána Kožárová*, Ronald Zakhar, Zuzana Imreová, Hana Hanuljaková, Ines Karlovská, Miloslav Drtil

Department of Environmental Engineering, Faculty of Chemical and Food Technology, Slovak University of Technology, Radlinského 9, 812 37 Bratislava, Slovak Republic

* Corresponding author: b.kozarova@gmail.com, +421907 478 032

Abstract:

Addition of external organic carbon source for denitrification is generally used in wastewater treatment plants (WWTPs) to intensify nitrogen removal processes. The aim of the laboratory survey was to measure the composition of concentrated industrial wastewater, determine the possibilities of its use as an external denitrification substrate, and assess its overall impact on WWTPs. The results demonstrate that the analysed industrial wastewater is biodegradable, and it can be used as a denitrification substrate without special adaptation of biomass. The denitrification rates with tested wastewater were in the range of 1.6 to 1.9 mgN/g·h. Negative influence of long-term dosing of industrial wastewater on activated sludge were not confirmed. The effect of imported wastewater on WWTP must be assessed comprehensively, including the impact of heavy metals from wastewater on the sludge quality. The instructions on how to calculate this balance are provided in the article.

Keywords: biodegradability of industrial wastewater, biological wastewater treatment with nitrogen removal, heavy metals in sludge, rate and efficiency of denitrification, semicontinuous bioreactors

- Introduction

Over the years, considerable effort has been made to advance and optimize the technologies for effective biological nitrogen removal at wastewater treatment plants (WWTPs).1,2 Organotrophic denitrification is an efficient process in which, through microbiological activity, a reduction of nitrates and nitrites to nitrogen gas occurs3. It has a unique place in the biological removal of nitrogen from wastewater. This is because during the denitrification nitrogen process, it passes from water into the air. Anoxic zones without dissolved oxygen, in which the redox potential values are in the range of approximately -50 mV to 50 mV for calomel electrode and approximately 150 mV to 250 mV for standard hydrogen electrode, it is necessary for this process.4 Denitrification is most often used in wastewater treatment, where the sources of electrons for nitrogen reduction are organic compounds.5 The process takes place even in the absence of exogenous organic carbon (Corg) but its rate is significantly lower. In this case, bacteria use their internal organic compounds as a source of electrons (endogenous process).

In many WWTPs, the absence of readily biodegradable organic substrate in the wastewater is a limiting factor for successful removal of higher nitrogen concentrations. It occurs mainly due to the long sewerage networks in which organic compounds are anaerobically decomposed, while nitrogen remains in the wastewater. Groundwater leakage into the sewer system6 can also be a contributor of excess nitrogen in the wastewater, although this problem is not commonly reported. In the groundwater of the Slovak Republic, there is NO3− usually present at dozens mg/l. The concentration limit (50 mg/l of NO3−) was exceeded several times.7 The average groundwater infiltration into the harmed pipes is 36.85% of the total wastewater volume.8 If the leakage of the groundwater into sewerage is too high, then this nitrogen source is certainly interesting. Increased nitrogen input into wastewater can be also a consequence of the changes in eating habits of a population. While the Slovak standard9 nitrogen production is reported at the level of 11 g/d per capita, Pitter4 already stated at 12 g/d per capita that it is possible to find the production up to 14 g/d per capita.10

In the case of insufficient concentrations of Corg in the wastewater, or that the retention time of wastewater under anoxic conditions at WWTP is too short, a possible solution is the dosing of suitable external organic substrate into the denitrification reactor (to increase the denitrification rate).11

Composition of organic compounds has a strong effect on the presence of denitrifying microorganisms and thus on denitrification efficiency. Available external sources of Corg are alcohols, especially methanol (cost-effective, although it requires some adaptation of biomass and increased demands on operational safety because it is toxic and explosive) or ethanol (does not require such adaptation of biomass but is more expensive).4 Organic acids (mainly acetic acid) also require less problematic adaptation because the biomass at the WWTP recognizes them (they are formed by acidogenesis and acetogenesis in the sewerage system), but they are also more expensive. Another option is saccharides (e.g., glucose, amyloid, sucrose).12 The use of alternative Corg sources such as concentrated wastewater from industries are an interesting option.13,14 In any case, these wastewaters must be treated, and therefore their import to WWTPs, where they increase the efficiency of denitrification, will bring double benefits. The usability of wastewater from the agro-food industry (e.g., milk bottling industries, potato processing industries, wastewater from winery industries) is commonly reported15, however other industries also produce external organic substrates.

The specific denitrification rates reported in mgN/g·h vary considerably – mostly from tenths up to 20 mgN/g·h.12,16–22 For activated sludge adapted to sewage, acetate is reported as the substrate with the highest denitrification rates. Denitrification rates are significantly affected by test conditions (temperature, pH). The values of the rates also depend on the composition of the biomass in the tests, adaptation, and sludge retention time (SRT) (the higher the SRT values, the higher the increase in volumetric rates, but the specific rates related to the unit amount of biomass may also decrease). If denitrification rates are measured in batch kinetic tests, then the test conditions are different from those in the activated sludge reactor. In the batch test, there is a substrate concentration gradient (i.e., at the beginning of the test there are high substrate concentrations, and they only gradually decrease). According to the so-called Monod kinetics, the substrate removal rate decreases with decreasing substrate concentration.23,24 When assessing denitrification rates, it is also necessary to consider whether the organic substrate is single or multicomponent. According to Henze et al.24 and Phillips et al.25, the denitrification rates achieved in batch kinetic tests are divided into 3 parts. In the first phase of the tests, the rate is the highest because an easily degradable organic substrate enters the denitrification; in the second phase of the test, the rate is slower because high molecular weight and insoluble organic compounds requiring hydrolysis are denitrified; and finally in the third phase, the rate is the lowest because only endogenous denitrification is occurring. The rates are calculated according to the recommendations of the technical standards9,11 and based on the level of 0.5–3 mgN/g·h. These rates are observed at real WWTPs, and if we calculate the denitrification rates from the actual loading values26 the denitrification rates valid for temperatures 10–20 °C are 0.1–0.2 mgN/g·h for endogenous denitrification5, 0.6–2 mgN/g·h for raw wastewater, and 1–9 mgN/g·h for methanol and acetate. In summary, denitrification rates measured with a given substrate above 1 mgN/g·h can be considered as a positive result.

The organic matter is an essential factor for microbial growth and development. In addition to the biodegradability, price, and storage options for the choice of external organic substrate is influenced by the following factors: the highest possible chemical oxygen demand (CODCr) concentration and specific CODCr expressed in mg CODCr/mg substrate; efficiency at which the bacteria are able to use it; toxicity of intermediates or substrate itself; composition stability (with the best possible homogeneity). Another factor is the lowest possible portion of nitrogen in the substrate; the highest possible portion of compounds in the substrate entering the denitrification reaction and a low portion of compounds entering the assimilation reaction associated with the growth of new biomass; and the lowest possible ratio of high molecular weight and undissolved compounds.4,5,11

The objectives of this study were to analytically determine the content of components present in industrial wastewater with a high COD concentration, monitor its impact on the biological stage of WWTPs, and to present the possibilities of using concentrated industrial wastewater as an external source for the denitrification (e.g., at municipal WWTPs with the lack of denitrification capacity, where the accelerating of denitrification could help to achieve the legal requirements on treated wastewater and to reduce the payment of fees for discharged nitrogen).27,28

- Materials and Methods

The analysed parameters, their abbreviations, respective symbols, and the method of determination are shown in Table 1. All analyses were performed according to standard procedures.29

Activated sludge for denitrification and respirometry tests was cultivated in three long-term semicontinuous lab-scale bioreactors30 (designated R1, R2, and R3) with a total volume of 1 litre placed on magnetic stirrers. Mixing and aeration of the activated sludge in models R1, R2, and R3 were set up in the following way: 5 hours after the addition of the substrate mixing (i.e., denitrification) followed by 17 hours aeration (i.e., nitrification and oxidation of residual organic compounds with O2), and 2 hours sedimentation and draw off effluent and dosing of the substrate. The volumetric loading expressed in kg CODCr was maintained at 0.88 kg/m3·d. The hydraulic retention time was 1.8 days and the set SRT was 15 days. Reactors were operated at the laboratory temperature 27–30 °C (experiments performed during summer months). The substrate was dosed every 24 hours. Substrate to the reactor R1 (i.e., reference reactor) contained glucose, peptone, and starch. The substrate consisting of glucose, peptone, starch, and industrial wastewater was dosed to reactor R2 in a ratio of 1:1 (mg CODCr,glucose + peptone + starch : mg CODCr, industrial wastewater). Only the industrial wastewater was dosed to reactor R3. The total concentration of CODCr in all 3 substrates was 1,600 mg/l. Nutrients (N and P) were dosed in the form of NH4Cl and KH2PO4. The concentrations of TKN (N-NH4 + Norg) were at the level of 55 mg/l and P-PO4 at the level of 12 mg/l. To ensure the supply of micronutrients for activated sludge, reject water from dewatering of digested sludge at real municipal WWTP was added (30 mlreject water/lof substrate). The pH was adjusted with a sodium hydro-carbonate solution to 7.

Table 1. Analysed parameters, their abbreviations (symbols), and the method of determination.

| Gravimetric methods | Spectrophotometric methods | Atomic absorption spectrometry |
| --- | --- | --- |
| total solids (TS) total suspended solids (TSS) volatile solids (VS) activated sludge concentration (Xc) sludge volume index (SVI) | chemical oxygen demand (CODCr) ammonium nitrogen (N-NH4) total Kjeldahl nitrogen (TKN) nitrite nitrogen (N-NO2) nitrate nitrogen (N-NO3) phosphate phosphorus (P-PO4) | cadmium (Cd) chromium (Cr) copper (Cu) nickel (Ni) lead (Pb) zinc (Zn) |

Note: Spectrophotometer HACH DR5000 and atomic absorption spectrometer ContrAA 700 Analytik Jena were used

Denitrification tests were performed on the 0, 7th, and 22nd day of operation of the laboratory reactors R1, R2, and R3. 22 days is 1.5 times the value of SRT; within 22 days the original activated sludge (inoculum) with SRT of 15 days is completely replaced. For more complicated substrates, due to slower adaptation and slower growing biomass, it is possible to recommend higher SRTs and longer duration of experiments.30 In this research, the 3 week duration of the experiments was also set according to the requirements of the industrial wastewater producer.

Before the denitrification test, activated sludge was taken from the reactors R1, R2, R3 (taken as an excess sludge), diluted to a concentration of 1 g/l and poured into biochemical oxygen demand (BOD) bottles D1, D2, and D3. After a 2-hour aeration to remove residual degradable organic compounds, aeration was replaced by a slow stirring and the tested substrate was added. Initial N-NO3 concentration in all 3 bottles was 30 mg/l. Organic exogenous substrate wasn’t added to the bottle D1 (this denitrification test was comparative and only endogenous denitrification was performed). Organic substrate was added to the BOD bottles D2 and D3 to allow comparison of endogenous and total denitrification rates. If the total respiration rates in bottles D2 and D3 were higher than the endogenous rate in D1, the organic substrate was degradable and usable in denitrification. Glucose was added to bottle D2 in the ratio CODCr : N-NO3 = 15 mg/mg (CODCr = 450 mg/l). The tested industrial wastewater was added to bottle D3, also in the ratio of CODCr : N-NO3 = 15 mg/mg. By comparing the rates in D2 and D3, denitrification with industrial wastewater and a standard biodegradable compound was assessed. At the same time, nutrients N and P were added to bottles D2 and D3 to avoid limiting the denitrification by their absence.

During the tests, changes in pH were also monitored and their values were continuously adjusted to the neutral range of 6.8–7.3 (with a diluted acid or alkali). During denitrification in a closed reactor, the pH can rise, but also fall slightly.31 Except for the decrease in N-NO3, the decrease in CODCr and the possible formation of N-NO2 as an intermediate product of incomplete denitrification were also monitored. The tests lasted 24 hours and the samples for analysis at the beginning of the experiments were taken in 3 hour intervals (during the first 9 hours, 4 samples, including taking sample at time 0); the last sample was taken after 24 hours (the significance of this sample was only a control). Denitrification rates and organic substrate consumption were evaluated according to the decline in N-NO3 and CODCr concentration. For the first 9 hours of the test, the denitrification rate was not limited by the absence of organic substrate and the decline in concentrations was linear. The specific denitrification rates in mgN/g·h could thus be calculated from the slope of decrease of the concentrations divided by time and sludge concentration. The principle of such batch denitrification tests with further details is given in Bodík et al.30

Respirometric determination of biomass activity from individual reactors R1, R2, and R3 was also performed by measuring oxygen consumption rates29,32 and comparing endogenous (rX,ox,en), total (rX,ox,t), and substrate (exogenous) respiration rates (rX,ox) in 300 ml closed BOD bottles. The tests of anoxic biomass activity from denitrification tests were thus supplemented with information about oxic activity.

Respirometric measurements were performed on days 0 and 22. On day 0, only one respirometric measurement was performed, with the exogenous substrate glucose. The aim was to obtain information about the activity of the sludge before the addition of industrial wastewater. On day 22, three respirometric measurements with activated sludge from reactors R1, R2, and R3 were performed to assess changes in oxic activity in all 3 reactors (especially in reactors R2 and R3, where the biomass was exposed for 22 days to industrial wastewater). Before the respirometric tests, sludge taken as excess sludge from reactors R1, R2, and R3 was aerated for 2 hours to remove residual exogenous organic compounds. The biomass was diluted to 1 g/l and the allylthiourea (10 mg/l) was added to suppress oxygen consumption by nitrification. For the first 5 minutes, rX,ox,en was measured and then, for rX,ox,t measurements, the following exogenous substrates were injected into the system: on day 0, glucose was added to the sludge; on day 22, glucose was used for the biomass from reactor R1, glucose and industrial wastewater in the ratio CODCr = 1:1 for biomass from reactor R2 and only industrial wastewater for biomass from reactor R3. The concentration of exogenous CODCr in the BOD bottles after substrate dosing in all three cases was 17 mg/l. By evaluating the respirometric measurements, respirograms were created, from which the respiration rates rX,ox,en, rX,ox,t, rX,ox in mgO2/g·h, and substrate consumption rate rx in mgCHSKCr/g·h were calculated according to Bodík et al.30

- Results and Discussion

The sample of industrial wastewater (from the automotive industry) was partially turbid, grey in colour, and had a faint odour in concentrated form. The tested sample had concentrations of CODCr = 40.3 g/l, N-NH4 = 16 mg/l, N-NO3 = 11 mg/l, P-PO4 = 21 mg/l, TS (105 °C) = 41.5 g/l, TSS (105 °C) = 2.1 g/l, VS (550 °C) = 68 %, and pH 6.2. The relatively small difference between the concentration of TS and CODCr was probably caused by evaporating some of the organic compounds during drying at 105 °C. The concentration of heavy metals is in Table 2, focusing on the metals included in the Act on the application of sewage sludge to soil no. 188/200333, as there is an assumption that the metals present in the wastewater will be adsorbed into activated sludge and can thus influence its treatment and handling. According to their toxicity and bioaccumulation tendency, high concentrations of metals in sewage sludge can be even an obstacle to its reuse.34,35 The other metals listed in the Act of Slovak Republic (no. 188/2003)33 (As, Hg) were not determined; their occurrence in industrial wastewater according to its producer can be neglected. Table 2 also shows the real concentrations of metals in sludge from Slovak municipal WWTPs (average values valid for Slovak WWTPs according to Kozáková et al.36). These concentrations were used in the calculations to assess the acceptable amount of industrial wastewater imported to the WWTP as an external denitrification substrate.

Table 2. The concentrations of heavy metals in industrial wastewater, average concentrations of metals in Slovak WWTP sludge36, and limit concentrations of metals in sludge from WWTP applied to soil.33

| Parameter | Industrial wastewater (mg/l) | Real concentrations of metals in sludge (mg/kg sludge dry matter) | Limit concentrations of metals in sludge (mg/kg sludge dry matter) |
| --- | --- | --- | --- |
| Cd | ≤ 0.1 | 0.8 | 10 |
| Cr | 0.4 | 41 | 1,000 |
| Cu | 0.2 | 168 | 1,000 |
| Ni | 1.8 | 25 | 300 |
| Pb | ≤ 0.1 | 38 | 750 |
| Zn | 38.1 | 979 | 2,500 |

The results of the denitrification tests are shown in Fig. 1. Day 0 assays inform about immediate response of non-adapted biomass to the addition of industrial wastewater (i.e., biomass that has been previously fed only with glucose, peptone, and starch). Subsequently, these tests were repeated on days 7 and 22 to see how the characteristics and parameters of biomass change after long-term exposure to industrial wastewater. The comparison of values measured on day 0 (rx,D,endo = 0.27 mgN/g·h; rx,D,total,industrial wastewater = 1.6 mgN/g·h) shows the immediate biological degradation of organic substances and no need for special adaptation of the biomass. Denitrification tests measured on day 7 and 22 show that industrial wastewater remains degradable for denitrification purposes even after long-term exposure (rates rX,D,endo = 0.17 mgN/g·h vs. rx,D,total,industrial wastewater = 1.9 mgN/g·h and rX,D,endo = 0.25 mgN/g·h vs. rx,D,total,industrial wastewater = 1.6 mgN/g·h). Industrial wastewater did not deactivate the biomass. Denitrification rates measured with industrial wastewater were lower than the rates measured with glucose as a standard organic substrate (rx,D,total,industrial wastewater = 1.6–1.9 mgN/g·h vs. rx,D,total,glucose = 3.1–4.7 mgN/g·h). Nevertheless, industrial wastewater can be used as external organic substrate for denitrification at WWTP. The intermediate N-NO2 and its undissociated form HNO2 were not formed in any of the denitrification tests with industrial wastewater. The CODCr : N-NO3 ratio (ratio of mg CODCr in industrial wastewater consumed in denitrification of 1 mg N-NO3) was 9. According to stoichiometry of denitrification reaction involving both dissimilation and assimilation, standard ratios are in the range of 5–8.4,11 The higher value may be caused by the evaporation of some organic substances from industrial wastewater.

Figure 1. Rates of endogenous denitrification rX,D,endo (test D1), total denitrification rX,D,total,glucose with glucose as organic substrate (test D2), and total denitrification rX,D,total,industrial wastewater with industrial wastewater as organic substrate (test D3).

The long-term impact of industrial wastewater on activated sludge and biomass adaptation was also evaluated from the concentrations of N-NH4 and CODCr in the effluent of models R1, R2, and R3. These indicators were used to monitor the influence on nitrification and the concentration of residual and non-biodegradable organic matter from industrial wastewater (Table 3). At the same time, the values of volatile suspended solids (VSS) (as a share of organic matter in activated sludge) and sludge volume index (SVI) were evaluated (Table 3). All these parameters are important for WWTPs as they decide on a possible deterioration of the effluent from the WWTP, where industrial wastewater would be considered as an external denitrification substrate. Nitrification was efficient throughout the whole experiment, as confirmed by N-NH4 concentrations in the effluents from all 3 models (differences of 1.9 to 3.7 mg/l can be neglected). An important parameter in terms of fees for treated wastewater28 is the residual CODCr. If the industrial wastewater contains some non-biodegradable organic compounds, it is necessary to quantify the possible increase of CODCr concentration in the effluent from the WWTP. The increase of CODCr concentration occurred in models R2 and R3 with dosed industrial wastewater, where the average concentration increased from 59 mg/l to 129 and 145 mg/l. If we balance the average values of CODCr from industrial wastewater in the influent to models R2 and R3 (800 mg/l in model R2 and 1,600 mg/l in model R3) and CODCr increase in the effluent from these models, the impact is as follows:

- In model R2, every 100 mg/l of CODCr from industrial wastewater added to the activated sludge reactor increased the concentration of effluent CODCr by 8.8 mg/l (calculated as (129 mg/l–58 mg/l) / 800 mg/l / 100 mg/l)

- In model R3, every 100 mg/l of CODCr of liquid waste added to the activated sludge reactor increased the concentration of effluent CODCr by 5.4 mg/l (calculated as (145 mg/l–58 mg/l) / 1,600 mg/l / 100 mg/l)

- If we assume, that for denitrification of 10 mg/l N-NO3, it is necessary to add industrial wastewater with CODCr of 90 mg/l (ratio CODCr : N-NO3 = 9 measured in denitrification tests D3), then reduction of 10 mg/l N-NO3 in the effluent from WWTP is connected with CODCr increase 4.9–7.9 mg/l (5.4 mg/l · 90 mg/l / 100 mg/l; 8.8 mg/l · 90 mg/l / 100 mg/l).

The impact of industrial wastewater on biomass was also monitored using the parameters VSS and SVI. The differences between models R1, R2, and R3 are insignificant (negligible accumulation of inorganic compounds and activated sludge retained the formation of compact flocs with good sedimentation properties).

Table 3. Average effluent concentrations and their range for reference model R1, model R2 with glucose and industrial wastewater, and model R3 with only industrial wastewater dosing.

| Parameter | R1 | R2 | R3 |
| --- | --- | --- | --- |
| N-NH4 (mg/l) | 1.9 | 3.5 | 3.7 |
|  | 0.2−6 | 0.4−6 | 1.6−5.3 |
| CODCr (mg/l) | 59 | 129 | 145 |
|  | 49−97 | 87−169 | 61−167 |
| VSS (%) | 79 | 75 | 75 |
|  | 81−82 | 71−86 | 70−82 |
| SVI (ml/g) | 52 | 48 | 51 |
|  | 45−60 | 43−49 | 45−64 |

Results from respirometric measurements obtained while testing industrial wastewater are shown in Table 4. The results confirm that oxic respiration activity (i.e., ability to remove glucose as a reference substrate and industrial wastewater) has changed minimally during the operation of models R1, R2, and R3. The main conclusion is that industrial wastewater was not toxic to the biomass. The measured respiration rates in Table 4 are also compared with the recommended rates and even though they are at the lower end of the typical values from literature30, they are still acceptable and do not affect the previous statement.

Table 4. Results of respirometric measurements.

| Respirometric rates | Typical values according to Bodík et al.30 | Day 0a) | (Model R1) | Day 22b) (Model R2) | (Model R3) |
| --- | --- | --- | --- | --- | --- |
| rX,ox,en (mgO2/g·h) | 1−10 | 3 | 4 | 3 | 4 |
| rX,ox (mgO2/g·h) | 10−100 | 20 | 22 | 22 | 20 |
| rX,max (mgCOD/g·h) | 30−200 | 71 | 68 | 65 | 61 |

a Reference measurement with glucose as an exogenous substrate; measured with biomass used as a common inoculum for models R1, R2, and R3

b Exogenous substrates: glucose for activated sludge from model R1, glucose + industrial wastewater (1:1) for activated sludge from model R2, industrial wastewater for activated sludge from model R3

In the case of additional industrial wastewater to the denitrification reactor, it is also important to assess how many m3 can be imported to the WWTP so that the permitted concentration limits of heavy metals in sludge are not exceeded. Heavy metals in the wastewater are at the WWTPs mostly adsorbed into the primary and activated sludge, and subsequently, remain in the digested sludge removed from the WWTPs. The legislation defines these concentrations for cases where the sludge from WWTP is applied to the soil33. Application to the soil, either directly or as a compost from composting plants, is currently still the most common method of sludge management in Slovakia.36 The following calculation shows an example of how to evaluate such balance for specific heavy metals and specific WWTP. The calculation assumes Cr in industrial wastewater, import of wastewater to WWTP with a capacity of approximately 10,000 inhabitants, inflow of 150 l/d per capita, specific production of sludge dry matter of 40 g/d per capita11, and concentrations of metals (see Table 2):

- WWTP inflow = 10,000 inhabitants · 150 l/d = 1,500 m3/d

- Daily sludge production = 10,000 inhabitants · 40 g/d = 400 kg/d

- Limit concentration of Cr in sewage sludge defined by Slovak legislation = 1,000 mg/kg

- Average background concentration of Cr in sludge at Slovak WWTPs: 41 mg/kg

- Capacity of sludge to adsorb Cr (the limit concentration defined by legislation is not to exceeded) = 1,000 mg/kg–41 mg/kg = 959 mg/kg

- Possibility to import Cr in industrial wastewater to the WWTP = 400 kg/d · 959 mg/kg = 383,600 mg/d = 3.84 kg/d

- Concentration of Cr in industrial wastewater = 0.4 mg/l

- Volume of industrial wastewater with 383,600 mg/d of Cr = 383,600 mg/d / 0.4 mg/l = 959,000 l/d = 959 m3/d

- Conclusion of the example calculation for Cr: at a WWTP with a capacity of 10,000 inhabitants, 959 m3/d of industrial wastewater can be imported as an external denitrification substrate and the Cr concentration in sludge will not exceed the limit of 1,000 mg/kg. This consideration includes simplification that Cr from industrial wastewater is completely absorbed to the sludge. The volume of industrial water (959 m3/d) represents 64% of the WWTP inflow (1,500 m3/d).

The percentage of industrial wastewater imported to the WWTP with a capacity of 10,000 inhabitants calculated for other heavy metals from Table 2 are given in Table 5.

Table 5. The percentage of industrial wastewater to the WWTP (with a capacity of 10,000 inhabitants) for selected heavy metals.

| Heavy metal | Volume of liquid waste (m3/d) | Percentage of liquid waste according to WWTP inflow (%) |  |
| --- | --- | --- | --- |
| Cr | 959 | 64 |  |
| Cd | 36.8 | 2 |  |
| Cu | 1,664 | 111 |  |
| Ni | 61.1 | 4 |  |
| Pb | 2,835 | 189 |  |
| Zn | 15.9 | 1 |  |

According to these balances, Zn represents the worst case since it reduces the percentage of daily imported volume of industrial wastewater to only 1% (15.9 m3/d). However, this amount of industrial wastewater is still interesting. It represents approximately 424 mg/l CODCr and this concentration has a potential to denitrify 47 mg/l N-NO3 (CODCr of industrial wastewater = 40.3 g/l; ratio CODCr : N-NO3 = 9).

- Conclusion

The main results emerging from the testing of industrial wastewater as a possible external denitrification substrate imported to the municipal WWTP to increase the rate and efficiency of denitrification are as follows:

- Industrial wastewater is biodegradable, also for non-adapted biomass

- Denitrification resulted in nitrogen gas production without intermediate products

- The denitrification rates with industrial wastewater as an external substrate were in the range of 1.6 to 1.9 mgN/g·h. Addition of this substrate improves denitrification efficiency

-Negative impact of long-term dosing of industrial wastewater on activated sludge was not confirmed

- Partial increase of CODCr concentration in the effluent from activated sludge reactor was measured, but this problem can be regulated by the amount of industrial wastewater applied into the denitrification reactor. The addition of industrial wastewater with CODCr concentration of 100 mg/l increases the CODCr concentration in the WWTP effluent by 5–9 mg/l

- The impact of the imported industrial wastewater as an external denitrification substrate for WWTP must be assessed comprehensively, including details such as the accumulation of heavy metals from the wastewater in the activated sludge. The instructions on how to calculate this balance are provided in the article.

- References

- T. Kurbus, J. Vrtovšek, M. Roš, Acta Chim. Slov. 2008, 55, 474–479.

- M. Roš, J. Vrtovšek, Acta Chim. Slov. 2004, 51, 779–785.

- J. Vrtovšek, M. Roš, Acta Chim. Slov. 2006, 53, 396–400.

- P. Pitter, Hydrochemistry, VŠCHT, Praha, 1995.

- M. Henze, P. Harremoës, J. La Cour Jansen, E. Arvin, Wastewater Treatment – Biological and Chemical Processes. 2nd Edition, Springer Verlag, Berlin, 1997.

- O. Kracht, W. Gujer, Water Sci. Technol. 2005, 52 (3), 209–218. DOI:10.2166/wst.2005.0078.

- SHMÚ, Evaluation of Groundwater Quality in Slovakia – year 2019, https://www.shmu.sk/File/Hydrologia/Monitoring_PV_PzV/Monitoring_kvality_PzV/KvPzV_2019/KvPzV_2019_hodnotenie.pdf, (assessed: February 23, 2022)

- L. Bekerová, P. Belica, M. Dubcová, P. Hucko, Vodohospodársky spravodajca. 2021, 64 (9–10), 27–31.

- Slovak Technical Standard 75 6401, Sewage Treatment Plants for More Than 500 Population Equivalents, 1999.

- Chan A. Andersson, N. Johansson, M. Christensson, Water Pract. Technol. 2014, 9 (2), 215–224.

DOI:10.2166/wpt.2014.025.

- M. Drtil, M. Hutňan, Technological Project. Slovak Chemical Library FCHPT STU in Bratislava. 1st Edition, 2013.

- M. Pečenka, J. Svojitka, M. Koller, J. Wanner, Optimalisation of Denitrification by Means of External Substrate Dosing. Proceedings of the IWA Specialized Conference: Nutrient Management in Wastewater Treatment Processes and Recycle Streams, Krakow (PL), 1995, pp. 1041–1045.

- A. Mahmoud, R. A. Hamza, E. Elbeshbishy, Sci. Total Environ. 2022, 816, 151578. DOI:10.1016/j.scitotenv.2021.151578.

- S. Lee, T. Moon, S. Park, M. Choi, Ch. Kim, Korean J. Chem. Eng. 2013, 30, 1911–1917. DOI:10.1007/s11814-013-0131-7.

- A. De Lucas, L. Rodríguez, J. Villaseñor, F. J. Fernández, Water Res. 2005, 39 (15), 3715–3726.

DOI:10.1016/j.watres.2005.06.024.

- F. Morgan-Sagastume, J. L. Nielsen, P. H. Nielsen, FEMS Microbiol. Ecol. 2008, 66 (2), 447–461.

DOI:10.1111/j.1574-6941.2008.00571.x.

- C. Cherchi, A. Onnis-Hayden, I. El-Shawabkeh, A. Z. Gu, Water Environ. Res. 2009, 81 (8), 788–799.

DOI:10.2175/106143009X12465435982610.

- M. Swinarski, J. Makinia, K. Czerwionka, M. Chrzanowska, J. Drewnowski, Water Environ. Res. 2009, 81 (9), 896–906.

DOI:10.2175/106143009x407438.

- N. F. Y. Tam, Y. S. Wong, G. Leung, Water Sci. Technol. 1992, 26 (5–6), 1047–1055. DOI:10.2166/wst.1992.0546.

- S. Hallin, M. Pell, Water Res. 1998, 32, 13–18.

DOI:10.1016/S0043-1354(97)00199-1.

- A. Onnis-Hayden, D. Dair, Ch. Johnson, A. Schramm, A. Z. Gu, Proceedings of the Water Environment Federation. 2007, 3099–3119.

DOI:10.2175/193864707787973789.

- P. Cyplik, W. Juzwa, R. Marecik, J. Powierska-Czarny, A. Piotrowska-Cyplik, J. Czarny, A. Drożdżyńska, Ł. Chrzanowski, Chemosphere. 2013, 93 (11), 2823–2831. DOI:10.1016/j.chemosphere.2013.09.083.

- J. Wanner, Activated Sludge Bulking and Foaming Control, CRC Press, 1995.

- M. Henze, M. C. M. van Loosdrecht, G. A. Ekama, D. Brdjanovic, Biological Wastewater Treatment: Principles, modelling and design. IWA Publishing, 2008.

- H. M. Phillips, J. L. Barnard, C. Debarbadillo, A. R. Shaw, M. T. Steichen, C. Wallis-Lage, Proceedings of the Water Environment Federation, 2009, 252–276. DOI:10.2175/193864709793901301.

- M. Drtil, I. Bodík, S. Vlčková, D. Kolníková, R. Brezina, P. Levársky, J. Tichý, Z. Imreová, M. Švorcová, SOVAK. 2018, 3, 12–16.

- Slovak Government Regulation no. 269/2010 Coll. Requirements for the Achievement of Good Water Status.

- Slovak Government Regulation no. 755/2004 Coll. which Establishes the Amount of Unregulated Payments, Fees and Details Related to Charging for Water Use.

- R. Baird, L. Bridgewater, Standard Methods for the Examination of Water and Wastewater. 23rd Edition, American Public Health Association, Washington, D.C., 2017.

- I. Bodík, O. Čižmárová, J. Derco, M. Drtil, M. Hutňan, Z. Imreová, T. Mackuľak, M. Vrabeľ, R. Zakhar, Laboratory Exercises II – Environmental Technologies. STU, Bratislava. Faculty of Chemical and Food Technology. Slovak Chemical Library FCHPT STU in Bratislava, 2021.

- M. Drtil, P. Németh, K. Kucman, I. Bodík, V. Kašperek, Water Res. 1995, 29 (5), 1353–1360.

DOI:10.1016/0043-1354(94)00228-y.

- S. Čech, J. Chudoba, P. Grau, Water Sci. Technol. 1985, 17 (2–3), 259–272. DOI:10.2166/wst.1985.0135.

- Act of the Slovak Republic no. 188/2003 Coll. on the Application of Sewage Sludge and Bottom Sediments into the Land.

- K. Cer Kerčmar, M. Zupančič, P. Bukovec, Acta Chim. Slov. 2008, 55, 1023–1029.

- S. M. Mousavi, S. A. Hashemi, A. Babapoor, A. Savardashtaki, H. Esmaeili, Y. Rahnema, F. Mojoudi, S. Bahrani, S. Jahandideh, M. Asadi, Acta Chim. Slov. 2019, 66, 865–873. DOI:10.17344/acsi.2019.4984.

- K. Kozáková, L. Sumegová, I. Balážová Pijáková, Vodohospodársky spravodajca. 2018, 61 (1–2), 32–34.