Use of total organic carbon analyzer in isotherm measurements of co-adsorption of VOCs and water vapor from the air

Dragana Kešelj1*, Dragica Lazić1, Zoran  Petrović1

1Faculty of Technology, University of East Sarajevo, Karakaj 34A, 75400 Zvornik, BiH

*Corresponding author: E-mail: dragana.keselj@tfzv.ues.rs.ba; draganakeselj@yahoo.com; Tel.: +38766253256

Abstract

The binary adsorption isotherms of volatile organic compounds (VOCs), and water vapor from the air have been the focus of much research in recent years. The content of adsorbed VOCs in the presence of water vapor can be determined by the volumetric or gravimetric method, in a static or dynamic mode. This study focuses on the adsorption technique in a static mode for isotherm measurement of the co-adsorption of VOCs and water vapor from the air using the gravimetric method. The content of  VOCs is determined using a total organic carbon analyzer, while the amount of the adsorbed water was calculated from the difference between total adsorption (VOCs and water) and the adsorbed VOCs. This paper presents several adsorption isotherms with different VOCs (toluene, benzene, methanol, ethanol and isopropyl alcohol) and adsorbents (ZSM-5 zeolite, silica gel and Na-Form mordernite) in the presence of water vapor. The well-known adsorption isotherm models (Langmuir, extended Langmuir, Freundlich, extended Freundlich and Hill) were used for experimental results. The  adjusted R-Squared (adj. R2)  values obtained for those non-linear models for isotherms (total adsorpton (qe,tot) as a function of equilibrium concentration of VOC (Ce) and the adsorbed VOC (qe) as a function of equilibrium concentration of VOC (Ce) are used to determine the best fit isotherm model. The modeling results showed that the 3-parameter models could fit the data better than the 2-parameter model, with relatively higher adj. R2. Experimental results demonstrate that the presented adsorption technique can be used for isotherm measurement of the co-adsorption of VOCs and water vapor from the air.

Keywords: Adsorption, adsorption isotherms, VOCs, water vapor,

- Introduction

The binary adsorption isotherms of VOCs and water vapor from the air have been the focus of much research in recent years.1-7 Much research is dedicated to the adsorption of VOCs on zeolites or activated charcoal in the absence of moisture. Under real conditions, water vapor is always present, and its content may sometimes vary and even exceed that of VOCs. The influence of relative humidity on VOCs diffusion and adsorption is still not well understood. Research in the past couple of years has shown that the presence of water vapor (moisture) affects the adsorption of gases and volatile compounds.8-10 For example, investigations into the adsorption of dichloroethane, ethyl acetate and benzene on metal–organic frameworks (MOFs) show that the adsorption of these volatile organic compounds decreases in the presence of humidity.11 Very limited experimental research has been done on the effect of humidity on the diffusion coefficient.12 The attraction between water molecules and methanol molecules may weaken the interaction forces between the solid surface and the methanol molecule and reduce the total adsorption capacity of methanol.2,11 A piece of equipment that  may be quicker and more effective at measuring pure CO2 adsorption, pure H2O adsorption, and co-adsorption is the DVS Vacuum.12 This has previously been used by Su et al. to measure CO2 and H2O isotherms on an amine-functionalised Mg-MOF-74.13 The DVS Vacuum uses a microbalance to measure the weight change of a sample subjected to various conditions. The temperature, pressure, and composition in the sorption chamber can be controlled very accurately.12,13 Today there are different devices which can perform adsorption of a variety of vapors (H2O, MeOH, EtOH, C6H6 and other non-corosive vapors). A unique principle of the DVS Vacuum is the ability to control and measure sorbate entry and exit flows simultaneously while recording changes in sample mass.12

The determination of adsorption capacity can be done by volumetric or gravimetric method, in a static or dynamic mode. This study sets out to show how co-adsorption isotherms can be performed in a static mode, using a total organic carbon analyzer for gravimetric determination of the amount (mass) of adsorbed VOCs. The total adsorption of VOCs and water vapor was determined gravimetrically, from the difference in the mass of the adsorbent after and before the adsorption, while the amount of adsorbed water is calculated from the difference between total adsorption and the adsorbed VOCs.

- Materials And Methods

  - Materials

Zeolites, porous polymers, composites, aluminophosphates (AlPOs) and silica aluminophosphates (SAPOs), silica gels, activated carbons and metal organic frameworks (MOFs) are important classes of materials used in various sorption-based technologies.

The following adsorbents were used for the purpose of this study: highly silicate ZSM-5 zeolite - two samples with different molar ratio SiO2/Al2O3 (Adsorbent 1- SiO2/Al2O3=394 and Adsorbent 2- SiO2/Al2O3=926), Na-Form mordernite (Adsorbent 3), and silica gel (Adsorbent 4) (Table 1).

Table 1. Physical and chemical characteristics of Adsorbent 1, 2, 3 and 4

| Parameter | Adsorbent 1 | Adsorbent 2 | Adsorbent 3 | Adsorbent 4 |
| --- | --- | --- | --- | --- |
| Loss of annealing, w % | 2.5 | 3.1 | 6.9 | - |
| d(10), μm | 1.3 | - | 2.3 | - |
| d(50), μm | 2.5 | < 10 | 8.8 | 15-35 |
| Molar ratio SiO2/Al2O3 | 384 | 926 | 13.5 | - |
| Na content, w % | 1.2 | 1.32 | 4.9 | - |
| BET, m2/g | 355 | 434 | 420 | 450 – 550 |
| Water residue, w % | - | - | - | < 10 |
| pH (5%) | - | - | - | 6-8 |
| Pore size, nm | - | - | - | 4.7 – 8 |

The adsorbents were pre-dried to remove moisture before the experiments.

The chemicals used as adsorbates were toluene, benzene, methanol, ethanol and isopropyl alcohol. The physical properties of the five VOCs used as adsorbates are listed in Table 2.

Table 2. Physicochemical properties of adsorbates

| Chemical | Chemical formula | Density (g/cm³) | Molecular weight (g/mol) | Boling point (°C) | Vapor pressure (kPa) |
| --- | --- | --- | --- | --- | --- |
| Methanol | CH3OH | 0.792 | 32.04 | 64.7 | 13.02 (20°C) |
| Ethanol | C2H5OH | 0.7893 | 46.07 | 78.4 | 5.95 (20°C) |
| Isopropyl alcohol | (CH3)2CHOH | 0.7855 | 60.10 | 82.4 | 4.4 (20 °C) |
| Benzene | C6H6 | 0.8765 | 78.114 | 80.1 | 12.7 (25 °C) |
| Toluene | C6H5CH3 | 0.866 | 92.14 | 110.6 | 2.8 (20 °C) |

  - Experimental Method And Analysis

The adsorbents were pre-dried to remove moisture before the experiments. 0.5 g of adsorbent is weighed into nine small glass jars with lids. The closed glass jars with adsorbents are placed in the adsorption chambers (2.5 L). Adsorption chambers (2.5 L) with closed glass jars were put in a climate chamber, where they were thermostated and filled with humid air at atmospheric pressure. Then the adsorption chambers were closed. A known volume of VOCs is injected into the adsorption chambers in the range of 10-250 μL. After allowing all the VOCs to evaporate for an hour, a portion of the gas phase was taken and analyzed using a total organic carbon analyzer (Shimadzu TOC high sensitivity). It represents the concentration of the gas-phase VOCs (C0).

For the purpose of the analysis, the manual injection kit is installed on the total organic carbon analyzer (Shimadzu TOC high sensitivity) Figure 1.

Figure 1.  The manual injection kit

After determining the initial VOC concentration, the lids on the adsorbent jars are opened and the co-adsorption of VOC and water is performed. Part of the gaseous phase is taken again after equilibration and analyzed on a total organic carbon analyzer; this represents the equilibrium concentration of VOC (Ce). The amount of adsorbed VOC is calculated using the following equation (1):

qe=C0-CeVm1                                                                                                       (1)

where:

qe – the amount of the adsorbed VOC per gram of adsorbent (g/g)

C0 – VOC concentration at the beginning of adsorption (g/m3)

Ce– equilibrium concentration of VOC (g/m3)

V- adsorption chamber volume (m3)

m1 – mass of the adsorbent (g)

The total adsorption of VOCs and water vapor (me,tot) was determined gravimetrically, from the difference in the mass of the adsorbent before and after the adsorption.

me,tot=m2-m1			(2)

qe,tot=me,totm1	                                    (3)

qe,tot – total mass of adsorbed VOC and water per gram of adsorbent (g/g)

m2- mass of the adsorbent after co-adsorption of VOC and water (g).

The mass of water adsorbed per gram of the adsorbent (qe,w) was determined from the difference between the total mass of VOC and water adsorbed per gram of the adsorbent (qe,tot) and the mass of VOC adsorbed per gram of the adsorbent (qe):

qe,w=qe,tot-qe					(4)

Isotherm modelslike Freundlich and Langmuir are used to discuss the equilibrium behavior of single component adsorption. The Langmuir isotherm can be written as

qe=q0KLCe1+KLCe					(5)

where qo -is the maximum amount of adsorbed surfactant (g/g),

Ce -is the equilibrium concentration of the adsorbate (g/m3) and

KL -is the Langmuir constant (m3/g).

The Freundlich isotherm model mathematically is expressed as:

qe=KF∙Ce1n					(6)

where 𝐾𝐹 -is adsorption capacity (m3/g) and

1/𝑛 -is adsorption intensity.

Freundlich and Langmuir models were used to discuss the equilibrium behavior of single-component adsorption.15

The models used for a single component system are not always suitable for a multicomponent system.15-19 Therefore, the single component isotherm models were modified to suit a multicomponent system. There are many models for analyzing adsorption equilibrium data, and in this study, beside non-linear  Langmuir and Freundlich, we also used the extended Langmuir, extended Freundlich and Hill defined models in software Orgin. These are all 3-parameter models.20-22 Curve fitting calculated as a function of Orgin adjusted R-Squared (adj. R2) are obtained. 23

Adj.R2=1-1-R2n-1n-k-1			(7)

Here,

n- represents the number of data points in our dataset,

k- represents the number of independent variables, and

R- represents the R-squared values determined by the model.

The coefficient of determination (𝑅2) is defined by the following equation:21

R2= qe-qmexp2- qe-qcal2 qe-qmexp2				(8)

where 𝑞e -is the amount of the adsorbate adsorbed by the adsorbent during the experiment (g/g),

𝑞cal -is the amount of the adsorbate obtained by isotherm models (g/g), and

𝑞𝑚exp -is the average value of 𝑞e (g/g).

The advantage of the non-linear method is that the error distribution does not get altered as in the linear regression approach.

- Results And Discussion

The adsorbents used in the study had different characteristics. Adsorbents 1 and 2 are hydrophobic, with different specific surface areas (355 and 434 m2/g, respectively) determined by low-temperature nitrogen adsorption. Adsorbents 3 and 4 are hydrophilic. The adsorbates used in adsorption also had different characteristics: polar (methanol, ethanol), semi-polar (isopropyl alcohol) and non-polar (toluene, benzene).

In this paper six isotherms were performed at atmospheric pressure, defined temperature (t) and relative humidity (rH):

- co-adsorption of isopropyl alcohol -H2O on Adsorbent 1 (rH=65%, t=25°C) (Figure 2);

- co-adsorption of methanol - H2O on Adsorbent 2 (rH=60%, t=25°C) (Figure 3);

- co-adsorption of methanol-H2O on Adsorbent 3 (rH=55%, t=25°C) (Figure 4);

- co-adsorption of ethanol - H2O on Adsorbent 3 (rH=46%, t=25°C) (Figure 5);

- co-adsorption of toluene - H2O on Adsorbent 4 (rH=70%, t=22°C) (Figure 6) and

- co-adsorption of benzene - H2O on Adsorbent 4 (rH=50%, t=26°C) (Figure 7).

The obtained results show that co-adsorption of adsorbate (VOC) and water vapor occurred on all adsorbents. The shape of all isotherms indicates that there is a resemblance to type I or the lowest concentration part of type IV isotherm.

Analyzing the adsorption equilibrium data using a curve fitting tool (user-defined non-linear  Langmuir and Freundlich, extended Langmuir, extended Freundlich and Hill models) by Orgin, adjusted R-Squared (R2) and parameters of models were obtained and presented in Table 3.

The values of corresponding isotherm parameters obtained by fitting of experimental data on the co-adsorption of isopropyl alcohol -H2O on Adsorbent 1 to chosen isotherm models, shows a high value of adj. R2. The highest value of adj. R2 was obtained for the extended Freundlich for qe,tot=f (Ce) (adj.R2= 0,9688)  and the Freundlich model for qe= f (Ce) adj.R2= 0,9566). Very close adj. R2 was obtained for the extended Freundlich model for qe= f (Ce) (adj.R2=0,9495). The order of the isotherm which best fits of experimental data of co-adsorption of isopropyl alcohol -H2O on Adsorbent 1 for co-adsorption of isopropyl alcohol –water vapor on Adsorbent 1 for qe,tot=f (Ce) is the extended Freundlich >Hill> Freundlich> extended Langmuir> Langmuir (adj.R2 were 0.9688; 0.9479; 0.9191; 0.90259; 0.4420) while for qe= f (Ce) the best fitting non-lineare model for adsorption isotherms Freundlich > Langmuir> extended Freundlich > Hill> extended Langmuir (adj.R2 were 0.9566; 0.9536; 0.9439; 0.9495; 0.94792).

The order of the isotherm best fits for adsorption of methanol and water vapor on Adsorbent 2 qe,tot=f (Ce) is extended Langmuir = Hill > extended Freundlich> Langmuir> Freundlich (adj.R2 were 0.99656; 0.99656; 0.9965; 0.9956; 0.93556), whereas for qe= f (Ce) the order is extended Langmuir = Hill > extended Freundlich> Langmuir> Freundlich (adj.R2 were 0.99228; 0.99228; 0.98899; 0.9345; 0.85256).

The values of corresponding isotherm parameters obtained by fitting the experimental data of co-adsorption of methanol and water vapor on Adsorbent 3 shows the following order of models for qe,tot=f (Ce) : Langmuir > extended Langmuir = Hill > extended Freundlich > Freundlich (adj. R2 were 0.9523; 0.94712; 0.94712; 0.9273; 0.77091). The order for qe= f (Ce) is extended Freundlich > Freundlich > extended Langmuir> Hill > Langmuir (adj. R2 were 0.94633; 0.94362; 0.93194; 0.9298; 0.4100).

The order of the isotherm best fits for adsorption toluene and water vapor on Adsorbent 4 qe,tot=f (Ce) is Hill > extended Freundlich > Freundlich> extended Langmuir > Langmuir (adj. R2 were 0.99217; 0.9874; 0.98705; 0.98435; 0.8835), whereas for qe= f (Ce) the order is Langmuir > extended Langmuir > extended Freundlich > Hill > Freundlich (adj. R2 were 0.9924; 0.99217; 0.9900; 0.98434; 0.96059).

For the data obtained for co-adsorption of benzene-voter vapor on Adsorbent 4, the order of the isotherm best fits for qe,tot=f (Ce) is extended Freundlich > Freundlich > Hill > extended Langmuir > Langmuir (adj. R2 were 0.99296; 0.98337; 0.98041; 0.98037; 0.8800) and for qe= f (Ce) the order is Langmuir > extended Freundlich > Freundlich > extended Langmuir = Hill (adj. R2 were 0.9804; 0.97957; 0.97764; 0.97732; 0.97732).

Figures 2-7 show the best fitting non-linear models for adsorption isotherms of VOC-water vapor co-adsorption.

Figure 2. Adsorption Isotherms a- co-adsorption of isopropyl alcohol -H2O; b- isopropyl alcohol on Adsorbent 1 (rH=65%, t=25°C)

Figure 3. Adsorption Isotherms a-co-adsorption of methanol-H2O; b- methanol on Adsorbent 2 (rH=60%, t=25°C)

Figure 4. Adsorption Isotherms a- co-adsorption of methanol-H2O; b- methanol on Adsorbent 3 ( rH=55%, t=25°C)

Figure 5. Adsorption Isotherms a- co-adsorption of ethanol - H2O; b- ethanol on Adsorbent 3  (rH=46%, t=25°C)

Figure 6. Adsorption Isotherms a-co-adsorption of toluene-H2O; b- toluene on Adsorbent 4 (rH=70%, t=22°C)

Figure 7. Adsorption Isotherms a-co-adsorption of benzene-H2O; b- benzene on Adsorbent 4 (rH=50%, t=26°C)

Table 4. Langmuir, Freundlich, extended Langmuir, extended Freundlich and Hill isotherm parameters obtained by non-linear fitting for co-adsorption of VOC (isopropyl alcohol, methanol, ethanol,  toluene, benzene) on adsorbents (Adsorbents 1-4)

| Adsorbate /Adsorbent Model |  |  | Isopropyl Alcohol/ Adsorbent 1 | Methanol/ Adsorbent 2 | Methanol/ Adsorbent 3 | Ethanol/ Adsorbent 3 | Toluene/ Adsorbent 4 | Benzene/ Adsorbent 4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Langmuir | qe,tot | KL(m3/g) | 0.3114 | 0.103 | 2.608 | 29.12 | 0.1554 | 0.06855 |
|  |  | qo(g/g) | 0.1448 | 0.1358 | 0.1192 | 0.1018 | 0.1989 | 0.1379 |
|  |  | Adj. R2 | 0.4420 | 0.9956 | 0.9523 | 0.4100 | 0.8835 | 0.8800 |
|  | qe | KL(m3/g) | 0.1044 | 0.05112 | 0.592 | 1.17 | 0.0707 | 0.01073 |
|  |  | qo(g/g) | 0.1786 | 0.1466 | 0.0948 | 0.0859 | 0.2309 | 0.2444 |
|  |  | Adj. R2 | 0.9536 | 0.9345 | 0.9665 | 0.9309 | 0.9924 | 0.9804 |
| extended Langmuir | qe,tot | A(g/g) | 21.2227 | 0.12882 | 0.11757 | 5.91215 | 17.70209 | 13.862 |
|  |  | B(m3/g)1/1-C | 0.00335 | 0.08734 | 2.81094 | 0.01368 | 0.00271 | 0.00175 |
|  |  | C | 0.81494 | -0.12337 | -0.25522 | 0.89807 | 0.62488 | 0.61706 |
|  |  | Adj. R2 | 0.90259 | 0.99656 | 0.94712 | 0.93194 | 0.98435 | 0.98037 |
|  | qe | A(g/g) | 1.423 | 0.10571 | 0.09826 | 0.1045 | 0.2083 | 0.28798 |
|  |  | B(m3/g)1/1-C | 0.0248 | 0.00973 | 0.57812 | 0.7981 | 0.06503 | 0.01038 |
|  |  | C | 0.5645 | -0.9534 | 0.12835 | 0.4779 | -0.12623 | 0.05433 |
|  |  | Adj. R2 | 0.9439 | 0.99228 | 0.96259 | 0.9769 | 0.99217 | 0.97732 |
| Freundlich | qe,tot | 1/n | 0.18441 | 0.34577 | 0.08446 | 0.10043 | 0.37272 | 0.38071 |
|  |  | KF (g/g)n | 0.07084 | 0.03052 | 0.08891 | 0.07979 | 0.04787 | 0.02433 |
|  |  | Adj. R2 | 0.9191 | 0.93556 | 0.77091 | 0.94362 | 0.98705 | 0.98337 |
|  | qe | 1/n | 0.44875 | 0.49811 | 0.21789 | 0.19472 | 0.53652 | 0.73792 |
|  |  | KF (g/g)n | 0.03162 | 0.01551 | 0.0425 | 0.04533 | 0.02587 | 0.0047 |
|  |  | Adj. R2 | 0.9566 | 0.85256 | 0.86869 | 0.92199 | 0.96059 | 0.97764 |
| extended Freundlich | qe,tot | A(g/g) | 0.0664 | 0.12972 | 0.0858 | 0.07834 | 0.0507 | 0.36699 |
|  |  | B | 0.1458 | -5.05901 | 0.2511 | 0.09095 | 0.3091 | -3.16602 |
|  |  | C | -0.1341 | 1.26742 | 0.2901 | -0.05036 | -0.04299 | 0.59346 |
|  |  | Adj. R2 | 0.9688 | 0.9965 | 0.9273 | 0.94633 | 0.9874 | 0.99296 |
|  | qe | A(g/g) | 0.0334 | 0.11086 | 0.0362 | 0.07912 | 0.0108 | 0.32614 |
|  |  | B | 0.3911 | -16.4310 | 0.5556 | 0.01 | 1.415 | -6.34167 |
|  |  | C | -0.03276 | 1.67984 | 0.2124 | 9.65401 | 0.1731 | 0.74606 |
|  |  | Adj. R2 | 0.9495 | 0.98899 | 0.9636 | 0.77668 | 0.9900 | 0.97957 |
| Hill | qe,tot | Vmax (g/g) | 6.69483 | 0.12882 | 0.11757 | 1.03324 | 16.18856 | 16.65986 |
|  |  | K | 3.49∙1010 | 8.75983 | 0.43895 | 6.341∙109 | 5.439∙106 | 2.577∙107 |
|  |  | n | 0.1869 | 1.12337 | 1.25522 | 0.10983 | 0.37542 | 0.38267 |
|  |  | Adj. R2 | 0.9479 | 0.99656 | 0.94712 | 0.9298 | 0.99217 | 0.98041 |
|  | qe | Vmax(g/g) | 4.26917 | 0.10571 | 0.09826 | 0.1045 | 0.2083 | 0.28798 |
|  |  | K | 44168.7 | 10.71157 | 1.87509 | 1.54257 | 11.32094 | 125.2708 |
|  |  | n | 0.45875 | 1.9534 | 0.87165 | 0.52191 | 1.12623 | 0.94567 |
|  |  | Adj. R2 | 0.94792 | 0.99228 | 0.96259 | 0.97687 | 0.98434 | 0.97732 |

The values of Adjusted R- Squared (R2), which is an indicator of isotherm model suitability, obtained for all six adsorption isotherms for co-adsorption of VOC and water vapor, were lower for the two-parameter models (Langmuir and Freundlich) than for the three-parameter models (extended Langmuirare, extended Freundlich and Hill).

- Conclusions

The adsorption equilibrium data of co-adsorption of VOC and water vapor from the air on the test adsorbents included the total adsorbed VOC and water vapor, adsorbed VOC, initial and equilibrium concentrations of VOC. The initial and equilibrium concentrations of VOC were determined using a total organic carbon analyzer. The experimental data for six co-adsorption isotherms of VOC-water vapor were analyzed. The analysis was performed using nonlinear models, which are considered to be a better tool for calculating isothermal parameters, and adj. R2 was also used to determinate the best fitting isotherm to the experimental data. The values obtained for adj. R2 indicate a good fit to isotherm models, which clearly demonstrates that the technique used in the present work is suitable for studying the co-adsorption of VOCs and water vapor from the air.

ACKNOWLEDGMENTS

The authors would like to acknowledge the support provided by “Zeochem” doo, Zvornik for funding this work through the project “Adsorption isotherms of volatile organic compounds (VOC) on products of the company "Zeochem" d.o.o”.

LITERATURE

- C. Gebald, J. A. Wurzbacher, A. Borgschulte, T. Zimmermann, Environ. Sci. Technol., 2014, 48, 2497–2504. DOI: 10.1021/es404430g

- S. Xian, Y. Yu, J. Xiao, Z. Zhang, Q. Xia, H. Wang, Z. Li, RSC Adv., 2015,  5, 1827–1834. DOI: 10.1039/ C4RA10463C

- R. Veneman, N. Frigka, W. Zhao, Z. Li, S. Kersten, W. Brilman, Int. J. Greenh. Gas Control, 2015, 41, 268–275.

- J. A. Thompson, S. I. Zones, Ind. Eng. Chem. Res., 2020, 59, 18151–18159. DOI: 10.1021/acs.iecr.0c03480

- E.P. Hessou 1, L. A. Bédé, H. Jabraoui  , A. Semmeq, M. Badawi,  V. Valtchev , 2021, Molecules , 26, 5486. DOI: 10.3390/molecules26185486

- J. Rodrı´guez-Mirasol, J. Bedia, T. Cordero, J.J. Rodrı´guez, Separation Science and Technology, 2005, 40, 3113–3135. DOI: 10.1080/01496390500385277

- U. Sager, F. Schmid, Chem. Eng. Technol., 2010, 33, 1203–1207. DOI:10.1002/ceat.201000086

- S.B. Bal’zhinimaev, A. E. Paukshtis, V. A. Toktarev, V. E. Kovalyov, A. M. Yaranova, E.A. Smirnov, S. Stompel, Microporous Mesoporous Mater., 2019, 277, 70–77. DOI: 10.1016/j.micromeso.2018.10.023

- N. Astrath, J. Shen, D. Song, J. H.Rohling, F. B. G. Astrath, J.Zhou, T. Navessin, Z. S. Liu, C.Gu, X. Zhao, J. Phys. Chem. B 2009, 113, 8369–8374. DOI: 10.1021/jp900796w

- M. Kraus, U. Trommler, F. Holzer, F.D. Kopinke, U. Roland, 2018, Chem. Eng. J., 351, 356–363, DOI: 10.1016/j.cej.2018.06.128

- K.Vellingiri, P. Kumar, A. Deep, K.H. Kim, Chem. Eng. J., 2017, 307, 1116–1126. DOI: 10.1016/j.cej.2016.09.012.

- J. Xu, J. S. Zhang, Building and Environment, 2011, 46, 1785-1796 DOI:10.1016/j.buildenv.2011.02.007

- Surface Measurement Systems, “DVS Vacuum Dynamic Vacuum Vapor & Gas Gravimetric Sorption Analyzer.” 2020. https://www.microtrac.com/products/gas-adsorption-measurement/surface-area-pore-size-distribution/belsorp-max-ii/

- J. P Young, V. Martis , S. Garcia , M. van der Spek, CO-Adsorption And Pure-Component Isotherm Measurements On Direct Air Capture Adsorbents Using The Dvs VacuUM, TCCS-11 - Trondheim Conference on CO2 Capture, Transport and Storage Trondheim, Norway - June 21-23, 2021,pp45-50

- S. Kalam, S.A. Abu-Khamsin, M. S. Kamal, S. Patil,  ACS Omega, 2021, 6, 32342−32348. DOI: 10.1021/acsomega.1c04661

- L. J. Dunne , G. Manos, Phil. Trans. R. Soc. A, 2018, 376: 20170151.  DOI: 10.1098/rsta.2017.0151

- C. R. Girish, International Journal of Civil Engineering and Technology, 2017, 8, 80–86. http://www.iaeme.com/ijciet/issues.asp?JType=IJCIET&VType=8&IType=10

- S. Divekar, A. Nanoti, S. Dasgupta, Aarti, R. Chauhan, P. Gupta, M. O. Garg, S.P. Singh, I. M. Mishra, J. Chem. Eng. Data, 2016, 61, 2629–2637. DOI: 10.1021/acs.jced.6b00294

- CM. Simon, E. Braun, C. Carraro, B.Smit,  PNAS, 2017, 114, 287–296. DOI:10.1073/pnas.1613874114

- X. Chen,  Information, 2015, 6, 14-22. DOI:10.3390/info6010014

- N. Ayawei, A. N.Ebelegi, D. Wankasi, Journal of Chemistry, 2017,2017, 1-11. DOI: 10.1155/2017/3039817

- T. A. Osmari, R. Gallon, M. Schwaab, E. Barbosa-Coutinho, J. Baptista Severo Jr., J.C. Pinto, Adsorption Science & Technology,  2013, 31,  433-458. DOI: 10.1260/0263-6174.31.5.433

- S. Dubey, D. Gusain, Y. C. Sharma, Journal of Molecular Liquids , 2016, 219, 1–8. DOI: 10.1016/j.molliq.2016.01.021