SUPPLEMENTARY MATERIAL

Validation of high-resolution continuum source flame atomic absorption spectrometry for determination of selected metals in the decontamination process of wastewater discharged in natural receivers

Bame Sanah Senna,1 Wellington Masamba ,1 Veronica Obuseng,2 Tiberiu Frentiu, 3,4 Bogdan Simion Angyus, 5 Eniko Covaci 3,4,*

1 Botswana International University of Science and Technology, Faculty of Science, Department of Chemical and Forensic Sciences, Plot 10071 Khurumela Ward, Private Bag 16, Palapye, Botswana

2 University of Botswana, Faculty of Science, Department of Chemistry, Plot 4775 Notwane Road. Private Bag UB 022, Gaborone, Botswana

3 Babes-Bolyai University, Faculty of Chemistry and Chemical Engineering, Arany Janos 11, 400028 Cluj-Napoca, Romania

4 Babes-Bolyai University, Research Center for Advanced Analysis, Instrumentation and Chemometrics, Arany Janos 11, 400028 Cluj-Napoca, Romania

5 National Institute for Research and Development of Optoelectronics INOE 2000 INCD Bucharest, Research Institute for Analytical Instrumentation, Donath 67, 400293 Cluj-Napoca, Romania;

*Corresponding author: e-mail: eniko.covaci@ubbcluj.ro

This online resource contains:

- 2D absorption spectrum for Cu 324.754 nm recorded with HR-CS FAAS in air-acetylene flame

- Fishbone diagram for uncertainty contributions in the metal concentration determination by HR-CS FAAS and ICP-OES

- The contribution of individual error sources in the determination of metals in water CRMs by HR-CS FAAS and ICP-OES

- The contribution of individual error sources in the determination of metals in wastewater and river water (natural receiver) samples by HR-CS FAAS and ICP-OES

- Concentration of Na, K, Ca and Mg as matrix in wastewater and river water (natural receiver) samples

- 2D absorption spectrum for Cu 324.754 nm recorded with HR-CS FAAS in air-acetylene flame

Fig. S1. 2D absorption spectrum for Cu 324.754 nm recorded with HR-CS FAAS in air-acetylene flame

- Fishbone diagram for uncertainty contributions in the metal concentration determination by HR-CS FAAS and ICP-OES

Fig. S2. Fishbone diagram for uncertainty contributions in the metals concentration determination by HR-CS FAAS and ICP-OES

- The contribution of individual error sources in the determination of metals in water CRMs by HR-CS FAAS and ICP-OES

Fig. S3. The contribution of individual error sources in the laboratory relative uncertainty (%) in the determination of metals in water CRMs by HR-CS FAAS (a) and ICP-OES (b)

The laboratory relative uncertainty value (urel lab(%)) in the determination of metals in water CRMs was calculated for both methods using equation:

urel lab=uCRM2+uss2+usp2+ucs2+ umeth2 ×100=uc lab2  ×100=uc lab ×100

where, uCRM is the uncertainty from the certificate, uss is the uncertainty of concentration of stock solution, usp is the uncertainty of sample preparation, ucs is the uncertainty of calibration standards preparation, umeth is the uncertainty of the method measurement, and uc lab is the laboratory combined uncertainty.

- The contribution of individual error sources in the determination of metals in wastewater and river water (natural receiver) samples by HR-CS FAAS and ICP-OES

Fig. S4. The contribution of individual error sources in the relative uncertainty (%) in the determination of metals in wastewater samples by 
HR-CS FAAS (a) and ICP-OES (b)

The relative laboratory uncertainty value (urel lab(%)) in the determination of metals in test water samples was similarly calculated with that of Fig. S3, with the mention that the uncertainty of CRM concentrations was not considered.

- Concentration of Na, K, Ca and Mg as matrix in wastewater and river water (natural receiver) samples

Table S1. Concentration of Na, K, Ca and Mg as matrix in wastewater and river water samples

| Sample | Mean concentration ± Ulaba (µg L–1) |  |  |  |
| --- | --- | --- | --- | --- |
|  | Na | K | Ca | Mg |
| Wastewater before decontamination | 7480 ± 1730 | 6680 ± 820 | 106000 ± 12570 | 50500 ± 4620 |
| Wastewater before decontamination | 7440 ± 1350 | 6620 ± 670 | 108000 ± 11800 | 52000 ± 4630 |
| Decontaminated wastewater | 4590 ± 690 | 2070 ± 300 | 27500 ± 4740 | 10600 ± 2290 |
| River water | 7300 ± 1000 | 13000 ± 2530 | 35400 ± 5850 | 19000 ± 2660 |

aUlab is the absolute uncertainty in laboratory (k = 2, n = 3 parallel measurements and 95% confidence level)